Dear Editor and reviewers,

We greatly appreciate the constructive feedback given by all of you. We have made substantial changes to both text and figures to adhere to them and we believe that the manuscript has improved greatly as a result. We hope you find it to your liking.

All references to specific lines made in our responses relate to the numbering in the clean copy of the revised manuscript.

Best regards,

Erik Clemensson

Line-by-line responses:

Editorial Comments:
• Add email addresses for coauthors on lines 14-18

Response: This has been done, please see lines 15 to 18.

• Adjust the highlighted text so that it fits the limit for the video recording

Response: This has been addressed

• List webpage citations in reference list rather than in text

Response: This has been done, please see references 14, 18-22.

• Number your supplementary files, and reference then accurately in the text

Response: This has been done. Please see lines 152, 275, 388, 445.

• Define GPIO

Response: This has been done. Please see line 187 & 529-530.

• Update numbering of protocol points following editorial changes

Response: This has been done.

• Define ITI

Response: This was already defined on line 498.

• Line 581 “8C”, Fig. 8?

Response: Yes, this has been addressed.

• Specify button clicks, menu selections, etc. for numerous points relating to the use of DeepLabCut.

Response: The initial and revised version of the steps relating to the use of DeepLabCut were written in accordance with how other authors have described this process in JoVE protocols (Bova et al 2019). In that protocol, the authors describe how to build an automatic pellet reaching chamber for rats, how to train rats to reach for pellets in it, how to track the movements of individual knuckles on the rats’ forepaw during the reaching movements, and how to analyse these movement patterns. The authors give a description of how to use DeepLabCut for this purpose that is very similar to the one written in the earlier versions of our protocol, in terms of the amount of details given.

While providing a more in-depth protocol of how to work with DeepLabCut is appealing, we don’t consider it particularly practical or suitable to do in this protocol. This is because each of the steps involve multiple button clicks, menu selections and descriptions of either several different aspects of the GUI, or the specific Python commands being used. If you are interested, we have pasted a more thorough descriptions detailing the button clicks and menu selections of the DeepLabCut GUI at the end of this rebuttal letter. The text is roughly 2.5 pages long, meaning that if the different detailed steps of this process are to be included in the video protocol, there would not be space for much else. Further, the steps and specific button clicks are well-described in other recent publications (Ref. 16). Thus, it makes more sense that this protocol primarily refers to these while giving some tips that relate more specifically to how DeepLabCut is applied in this particular protocol (such as training a network to specifically recognize the position of a light when it is shining, but not when it is switched off).

We have rewritten parts of the protocol text in an attempt at making the general process more understandable (lines 279-285) and specifying the specific functions of DeepLabCut that are used in the different steps (e.g. “Use DeepLabCut’s frame grabbing function” (line 289), Use DeepLabCut’s Labeling Toolbox (line 305). As you did not ask us to clarify anything in point 4.7.1 (previously 6.1.), which was written in a similar way, we assume that this level of detail is sufficient for aiding the narrative.

However, if this does not provide a satisfactory solution for you we can definitely add the longer description shown at the end of the rebuttal letter, with accompanying figures, to the protocol. It is, however, our belief that that is unnecessary.

Note: The points noted above were adapted from comments made in the manuscript file, and placed here with corresponding responses for convenience.

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

Response: This has been checked. 

• Protocol Language: Please ensure that all text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Examples NOT in imperative voice: 1.2, 1.17, 1.19, 2.2.1

Response: The noted points have been addressed, and additional text has been worked over. Please let us know if we overlooked any points.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Response: We have looked through the discussion and believe that it adheres well with these guidelines. If there are concerns, please specify which aspect of the discussion are not in accordance with the guidelines. 

• Figure/Table Legends:
1) Label the video as video 1, include a legend, and include a call out to the video in text.

Response: This has been addressed for all videos included in the manuscript. 

• References:Please spell out journal titles.

Response: This has been addressed. 

• Commercial Language:JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are Raspberry Pi-, Raspberry Pi NoIR v.2,
1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

Response: This has been addressed.

• Table of Materials:Please sort items in alphabetical order.

Response: This has been addressed.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Response: All figures are original to this publication.

Comments from Peer-Reviewers: 

Reviewer #1: 
Manuscript Summary:
This manuscript describes instructions for building a small Raspberry Pi-based camera, with all accompanying software, and a generalized method for using DeepLabCut to track spatial features of rodent location in operant behavioral chambers. Additionally, the authors describe how to collect data for two new metrics (head location and velocity). The technical design and description of the Raspberry Pi-based camera set-up is robust with wide implications across the behavioral field;with minor edits, the instructions portion of the manuscript are detailed enough for most researchers to successfully build the proposed camera and train DeepLabCut.

Response: Thank you for this positive feedback. We have revised the previous figures (Fig. 1 and 5), added additional figures (Fig. 2, 3, 4) and improved the protocol text to give a more detailed description of how to prepare the camera. We have also had two people with no prior experience in using the equipment or programming carry out the protocol successfully.

However, the DeepLabCut and behavior metric portion appears to echo the original DeepLabCut publication without new insight or validation.

Response: To some degree it does echo what was displayed in the original publication. However, tracking the condition of a light inside the operant conditioning chamber as a way to identify short segments of interest in videos that cover entire test sessions (often 30-minutes or longer) represents something that to our knowledge has not been shown previously. This is an important feature for how we are currently using DeepLabCut to improve our workflow for video analysis. Moreover, the protocol does not simply describe that DeepLabCut can be used to track positions (such as in the original publication), but also that knowledge of an animal’s position at certain points during cognitive tasks enables the analysis of behavioural aspects that cannot be obtained through the data logs produced by the systems.

We have rewritten large parts of the introduction, preliminary data and discussion to put clearer emphasis on these aspects.

Additionally, much of the manuscript is missing citational support and the manuscript rhetoric needs significant editing.

Response: Please see detailed comments below. Several claims that were made too strongly before have now been removed or edited. If the rhetoric needs additional changes, please specify which sentences /sections are of concern.

Overall, this work is worth publication, though will need to add methodological validation and considerable revision.

Response: Thank you. We hope that our revisions have sufficiently addressed your concerns. 

Major Concerns:
-Overall, the manuscript uses lengthy prose and too many vague terms (ex: line 59-60 "…what the animal did during specific steps of a given protocol", line 107-108 "The animal is then allowed to perform a response…" and line 67-69 "But it can also allow a more thorough understanding of what might be perceived as a simple behavior, such as the act of just responding to operanda"). This leads to some ambiguities in interpretation (ex: the obscurity relating to Figure 4 representing one or two trial/recordings/events - described later)

Response: We have gone through the text as a whole and made multiple changes to sentence structure, and also addressed the specific examples you point out. If there are additional specific examples, please point them out so that we can address them.

-I'm having trouble figuring out what message the authors are trying to communicate: the Raspberry Pi camera set-up or that DeepLabCut can be used for its intended purpose of tracking animal position from video.

Response: The messages that we want to communicate are the following: (1) Equipping your operant conditioning chambers with video cameras are important to enable thorough descriptions of how animals behave in complex tests of cognitive function (2) One can either buy suitable camera equipment to do this, or construct a versatile and inexpensive camera using this protocol (3) DeepLabCut can be used to track the state of a strong light signal inside the chambers, which will help greatly when identifying and extracting short segments of interest from the long videos that are recorded. (4) The camera described here provide videos of good enough quality to allow tracking of animal position with DeepLabCut (5) These tracking results can subsequently be used to obtain an improved understanding of the animals’ behaviours inside the chambers.

We have rewritten large parts of the introduction, preliminary data and discussion to better highlight this.

The camera portion of this manuscript would be extremely useful to the behavioral field at large and would open this technological option to many researchers without engineering confidence or background. Furthermore, there are many other applicable situations that would benefit from a small, cheap camera like the one described in this manuscript (recording in an animal cage placed on a cage rack in an animal facility, for example).

Response: Thank you for this positive feedback. We hope the additional revisions that have been made to this segment are to your liking. We have added a short sentence commenting that the applications of the camera do not stop at recording videos from operant conditioning chambers (please see line 85-86 in the clean revised document), but for the messages we would like to convey it still serves as the most prominent example.

However, the DeepLabCut portion is a chicken and egg dilemma: alone, it does not add to the field unless specific types of behaviors have been identified, but researchers need to learn how to use DeepLabCut in order to identify said behaviors. The way the behaviors in this manuscript (head location and velocity) are shown, it is impossible to judge their validity or utility. It would help if the authors added data showing how their method correctly tracks a validated, relevant, and widely used behavior such as tracking rearing, grooming, or whisking. This can be performed using the same videos used to derive the head location and velocity metrics.

Response: The aim of the DeepLabCut portion is to trigger an interest in using this or similar tools for analysing animal behaviours during complex cognition tests performed in operant conditioning chambers. In our experience, many researchers avoid video recording their test sessions simply because they do not consider manual scoring of animal behaviours to be efficient or accurate enough. By showing here that one can use an open source tool to aid in segmenting the long videos recorded from test sessions as well as track the position of the animals, it would further motivate researchers to build the described camera and use it in their research. However, we do see how the representative data described in the initial submission did not clearly convey the utility of the method. We have addressed this by describing in more detail the type of behaviors that can be evaluated, and their utility (see Fig. 11). Regarding this, analysis of an animals’ general movements and head placement can be used to evaluate strategies used by rodents on complex tests of cognition (see refs 6-10). For this protocol, it is therefore more interesting to show that one can reliably track position and head movements rather than specific behaviours such as grooming, rearing and whisking. What we are interested in conveying is that DeepLabCut can be used to track the animal’s position inside the chamber, and that this tracking in turn can be used to gain insight into an animal’s performance on a complex cognitive test. We see that the representative data shown in the initial submission was not sufficient to clearly communicate this and have therefore changed large parts of the introduction and added additional representative data (Fig. 11) to further showcase this.

-The manuscript highlights that automated methods of behavioral video-analysis (such as the DeepLabCut protocol described here) offer options to measure "complex behaviors," but the authors do not show that capability - though they mention this shortcoming in lines 465-467.

Response: What was meant with “complex behaviors” primarily related to strategies and mediating behaviors that animals use to manage complex test of cognition. As explained, an understanding of this can be obtained by analysing movement and position of an animal, and does not necessarily require tracking of specific complex movements (e.g. grooming). To make this clearer, we have refrained from talking about “complex behaviors”.

The authors spend a good portion of the instructions describing how to use DeepLabCut without showing its validated efficacy and which already has detailed instructions elsewhere (citation 14 in this manuscript).

Response: The parts relating to DeepLabCut have largely been modelled on another JoVE publication where it is used to track paw movements in a reaching test (Bova et al. 2019). The protocol steps and representative results described in our initial submission are from what we can see comparable to what was presented there. The authors of that publication also, from what we can see, do not specifically address the efficacy or accuracy of DeepLabCut in general, or details regarding their example data.

We have added additional information detailing DeepLabCut’s performance in our hands to the representative data (See Fig. 10 and Vid. 1 in particular). The protocol parts have also been expanded somewhat, to try to address comments from both you and the editor.

Minor Concerns:
-Line 45 - "run" is inaccurate

Response: This has been addressed, please see line 48 (clean file).

-Line 46-65 - provide appropriate citations for sentences claiming how typical operant systems are comprised and what data is collected

Response: The statements made here are very general and would typically not require specific citation, as they are not in any way controversial. As such, finding research articles or other scientific literature that clearly relate to these sentences is tricky. We have adjusted the text a bit and added a few references and hope that it is to your liking, please see lines 48-60 (clean file).

-Specifically, line 62-64 "As such….non-existent" needs support of a citation.

Response: The sentence has been rewritten and additional citations have been added. Please see lines 60-62.

-Line 70-71 - the sentence beginning with "Unfortunately…" needs citation support

Response: In the process of the extensive rewrites, this statement has been removed.

-Line 73 - remove the comma after "static"

Response: In the process of the extensive rewrites, this statement has been removed.

-Line 77-78 - "This type of analysis, however, suffers from a low throughput, a strong component of subjectivity and cannot reliably be used to assess complex and discreet aspects of behaviors." These types of statements need a citation, or some other support, and more explanation. Though manual scoring is prone to human bias and error, manual video scoring is well-suited to assess complex and discreet aspects of behavior - it is still the accepted ground-truth or gold standard with common intra class correlation coefficients and Cohen's kappa of >0.9 for many scoring types. Manual scoring can be better-suited than automated algorithms which often have their own significant error and bias (common intra class correlation coefficients and Cohen's kappa tend to be in the 0.7-0.9 range). Perhaps describing "complex and discreet aspects of behavior" in more detail would help clarify your meaning.

Response: We agree that this was strongly overstated in the initial submission and have removed this and similar claims throughout the manuscript. 

o Some relevant citations:
o 1) Zheyuan Wang1 & S. Abdollah Mirbozorgi1 & Maysam Ghovanloo. An automated behavior analysis system for freely moving rodents using depth image. Medical & Biological Engineering & Computing (2018) 56:1807-1821 https://doi.org/10.1007/s11517-018-1816-1.
o 2) Wong, J., Shah, P.K. 3D Kinematic Gait Analysis for Preclinical Studies in Rodents. J. Vis. Exp. (150), e59612, doi:10.3791/59612 (2019) doi:10.3791/59612
o 3) Haji Maghsoudi, O., Vahedipour, A. & Spence, A. A novel method for robust markerless tracking of rodent paws in 3D. J Image Video Proc. 2019, 79 (2019). https://doi.org/10.1186/s13640-019-0477-9

Response: We would happily add these references, but in the protocol’s current state we do not clearly see where these are appropriate. Comments regarding how DeepLabCut compares to other tracking software have been removed.

-Line 84-85 - change to "These have, in some studies, successfully…"

Response: In the process of the extensive rewrites, this statement has been removed.

-Line 85 - need to define what delineates a "classic" tracking software from a "neural networks" approach

Response: Sentences contrasting DeepLabCut with classical tracking softwares have been removed.

-Line 92 - there is no logical rhetoric flow between confirming the need to develop neural networks to building a camera

Response: The introduction has been extensively rewritten in order to change the background of the protocol. It currently focuses more strongly on using the camera in combination with DeepLabCut as an alternative to commercially available equipment for recording videos in operant chambers.

-Line 93 - need to define IR and LEDs (I assume IR = infrared, but you must write out any acronym the first time you use it in a paper regardless of how common it feels to your field)

Response: This has been addressed, please see lines 70 and 84.

-Line 100-113 - this should be 2 paragraphs: 1st paragraph describes the protocol's intent and limitations; 2nd paragraph describes the details of the example data (which need to be edited to include the relevant details and how it is being used as an example)

Response: Details regarding the example data has been moved to the result section, to improve flow of the text. Please refer to lines 496-502, Fig. 6A, Fig. 10 and Fig. 11.

-Line 131 - need to give the full name of NOOBS too (I assume New Out Of Box Software?)

Response: This has been addressed, please see line 124.

-Line 136 - the "magnetic metal ring" is not listed anywhere on the parts list, nor is the recommended SD card

Response: The recommended SD card was listed on row 5 in the initial submission’s material list. It is now listed on row 2. The magnetic ring comes together with the component for the camera stand and lens, which has now been specified.

-Line 154 - "open a terminal window" needs more description

Response: We have added an additional figure (Fig. 3) to better explain these points.

-Line 143-157 - this portion needs an image of the GUIs with callouts if it's not going to be included in the JoVE video

Response: We have added an additional figure (Fig. 3) to better explain these points.

-Line 161 - "edit the rc.local file" needs more description

Response: The description of how to edit the rc.local file is given in the steps that follow this particular one (under its related sub headers). We have rewritten the step to make that clearer (see line 157. We have also added an additional figure (Fig. 4) to better explain these points.

-Line 167 - "... bottom of it (?), and make some space" needs more description

Response: We have added an additional figure (Fig. 4), and updated the text (lines 157-170) to better explain these points.

-Line 176 - hold all 3 commands or do them in sequence?

Response: The exact way of writing in the commands are displayed in Fig.4 and explained lines 157-170.

-Line 177 - Figure 1B has insufficient detail to follow these instructions. The figure needs text describing the components - possibly even call-outs to the instruction number for how to attach each component (more on this below)

Response: The text now refers to Fig. 5A (please see line 181). The intention with this figure is to show a schematic view of the switches and LEDs and not to give a detailed description of how to solder them. Guides on soldering are available on various internet sources, and we do not think it is necessary to include that here. More detailed description of how to attach the components to the GPIO pins are now given on lines 204-220. Information regarding how to count the pins on the microcomputer have been added in Fig 1 and 5.

-Line 177 - step 1.15 should be included in the video.

Response: We have addressed this, please see line 181.

-Line 261 - change "is" to "in"

Response: This particular sentence is no longer in the manuscript, a comparable one is written on lines 299-303. It should not contain this particular typo.

-Line 269 - even though DeepLabCut has been described elsewhere, "start the training…" needs more description

Response: We have rewritten the steps describing how to use DeepLabCut somewhat, but as you do not specify what information you think is lacking it is difficult to know if the rewriting has efficiently addressed your concerns (lines 287-343). The initial description of how to use DeepLabCut was similar to that given in other JoVE protocols using DeepLabCut (Bova et al. 2019). To try to address comments from the editor, we have added some additional detail to these steps. However, as pointed out above, an in-depth description of how to work with DeepLabCut is outside the scope of this particular protocol.

-Line 271-272 - 48 hours for what video lengths?

Response: The training of the neural network is done with a set of video frames, not video sequences. The time needed to train a neural network is primarily dependent on the resolution of the video frames and the type of neural network that one chooses (resnet setting). We have adjusted the sentence a bit to better convey this (line 318-320).

-Line 284 - Step 7 should also include a calibration protocol for converting video information into real distances and accounting for the severe parallax created by using a fish-eye lens

Response: While this would be important for some applications of the camera, we have not seen the need to do either at this time. The parameters we evaluate concern the animal’s position in relation to certain points within the chamber, and whether these are calculated with number of pixels or mm is of little importance. Moreover, the area of the operant chamber is limited to the central part of the camera’s field of view, where the parallax created by the fish-eye lens is very mild. The general topic is, however, more clearly addressed in the representative results (Fig. 9) (lines 441-449) and in Supplementary file 4. We believe that this is sufficient.

-Line 299 - Load the data files to where?

Response: The protocol points relating to the data management (lines 354-412) have been reduced to improve readability. This point is no longer in the protocol.

-Line 352 - "reflexes" should be changed to "reflections"

Response: We have addressed this, please see lines 427 and 604.

-Figure 4 - ambiguitiy about whether this is a single trial/recording/event. Perhaps include a table showing what % of points were accurately tracked vs missed for all trials. As it stands, Fig 4 gives a hopefully false impression that DeepLabCut does not work well to track rat head position using the current set-up

Response: We have noted more specifically what one should aim/expect to achieve in terms of tracking accuracy (lines 342, 461-462, 474-477, 709-713, Fig. 10, Vid. 1). The example data has been changed to specifically show inaccurate and accurate tracking of one specific example trial (analysed with two different networks), and there should not be any ambiguity regarding this (Fig. 10) (Vid. 2, 3), (line 651-658).

-Figures 4 and 5 - do not use the same colors (blue and red) to mean different things. In Figure 4 red means "tracked" and blue means "missed" but that changes in Figure 5 for red to mean "erroneously tracked" and blue to mean "correctly tracked"

Response: These particular examples are no longer part of the representative data. They have been replaced with Fig. 10C-E, which should not contain the noted discrepancy.

-Line 395-408 - This level of detail should be included in the instruction portion of the main manuscript. As mentioned previously, more instructional detail should be included, specifically in Fig 1B (i.e. "button to the left" described in line 402 is unclear because no buttons are labeled on the figure)

Response: This has been addressed. Numbering of the GPIO pins are displayed in Fig. 1 and 5. Labels have been added to the components in Fig. 5. In addition, the specific pins used for the components are described on lines 204-220.

-Line 410-420 - again, more detail is needed. Elements called out in the text (ex: "reward tray" from line 412) are not labeled on the figure. Readers unfamiliar with operant assays will have difficulty understanding.

Response: Numbered labels of noted components of the chambers have been added in Fig. 7 and 8.

-Line 415 - "reflexes" should be changed to "reflections", and the reflections should be called out with arrows or text on the image

Response: This has been addressed, the noted reflections have been given numbered labels in Fig. 7.

-Line 416 - "reflex" should be changed to "reflection" and called out in the image using arrows or text

Response: This has been addressed, the noted reflections have been given numbered labels in Fig. 7.

-Line 418 - again, call out the IR beam break detectors in the image using arrows or text

Response: One of these have been indicated with an arrow in Fig. 7C. We chose to not label all of them to avoid cluttering the image.

-Line 420 - "house lights" and "cue lights" should be better described in the text. There's some ambiguity in how they are used throughout the text that could be misinterpreted to indicate the "room" lights, "operant chamber" lights, or the LEDs attached to the Raspberry Pi set-up. These lights should also be labelled using text on the respective images in which they appear

Response: This particular sentence has been removed, as it is not important to specify which lights are shining, but only that the chamber is brightly lit (see lines 607-608). Regarding the use of “house light” and “cue light” these should be consistently used throughout all text as far as we can tell. The position of the house light is the same in all example images, and have been indicated with specific labels in Fig. 7A, 8C, and arrows/called out colored dot from DeepLabCut in Fig. 6B, 8A. The cue light of the nose poke openings is very difficult to see in still images from the videos, but where they are of importance, they have been noted with arrows (Fig. 6D, Fig. 11F).

-Line 422-427 - the red, blue, and green dot colors are difficult to discern on the images. Making them brighter and labelling them with text on the image would help

Response: The red and green dot seem fine to us. We have superimposed a yellow dot on top of the blue one for the images, to more clearly note the rat’s head position. Videos currently retain the original label colors as relabelling them would require quite some processing time with DeepLabCut, which we have not had the time for. As the dots mark the head and tail of a rat, we do not believe that readers need additional guidance with written labels to find them. The position of the house light has also been noted in several figures and is consistent between figures.

-Line 431 - unclear what "For both trackings…" means

Response: This particular figure is no longer part of the representative data.

-Line 429-441 - the body text and the figure legend for Figure 4 are ambiguous and do not appear to match. It is unclear in the body text that Fig 4 represents 2 separate trials/recordings/events - the "red line" trial where the animal was accurately tracked and the "blue" trial where the animal was not accurately tracked. The description can be misinterpreted to indicate the correctly tracked and incorrectly tracked portions of a single trial. This needs to be better clarified in the body text and image

Response: This particular figure is no longer part of the representative data. It has been replaced with Fig 10, which we believe is clearer in these regards.

-Line 429-441 - features such as "smooth change" and "jagged and exaggerated changes" need to be called out via text in Fig 4B

Response: This comment now better refers to Fig 10C-E, where this has been addressed through a liberal use of arrows.

-Line 457 - remove the comma after "positions"

Response: This particular sentence is no longer in the manuscript.

-Line458-460 - the sentence beginning with "In comparison…" needs citation support

Response: The sentence has been removed.

-Line 488 - change "selecting" to "select"

Response: The sentence has been removed.

-Line 489 - change "in deemed" to "is deemed"

Response: The sentence has been removed.

-Line 508-514 - alternately, using a visual 3-dimensional calibration grid can get around the parallax ("curving") created by the fisheye lens

Response: We believe that Fig.9 and the text on lines 441-449 addresses these concerns well.

-There is not strong justification for why a Raspberry Pi camera needs to be used instead of any other camera until the discussion (lines 492-506)- the authors need to highlight the unique features of this camera and what need it fulfills much earlier in the manuscript.

Response: The introduction and general aims of the protocol have been rewritten in order to remove points that previously claimed that DeepLabCut tracking is superior to manual video scoring. In this process, the use of the camera, together with DeepLabCut, as an alternative to commercially available video recording setups for operant chambers has been more strongly highlighted. Please see lines 68-91.

-This manuscript is completely lacking any sort of quantitative validation for how well DeepLabCut performed against manual tracking of the same behaviors, though the authors claim manual scoring and tracking is inferior.

Response: We acknowledge that this constituted a strong overstatement on our part and have removed all such claims, as gathering such data is not feasible at this time. 

Reviewer #2:
Manuscript Summary:
Both the title and abstract are appropriate for this article given that they reflect clearly what will be presented and discussed.

Response: Thank you. We hope that this is still the case, following the extensive rewrites that were done on the manuscript. 

The authors discuss that this protocol if for operant conditioning analysis, and they do not seem to leave out that it can also be applied to operant tasks other than de 5CSRTT.

All materials discussed are listed.

All the critical steps seem to be highlighted in this Raspberry Pi/ DeepLabCut protocol, and the anticipated results seem reasonable and useful as a reference for readers who will be applying this protocol to this 5CSRTT or other operational tasks.

Response: Thank you. To address the points raised by reviewer #1, we have added several figures relating to both the protocol and representative results. We hope that it is still to your liking.

The references included are useful, but it seems important to include more about basic programming and what deep convolutional neural networks are.

Response: We have included a few sentences to try to help new-comers find suitable references to get going with the programming needed for the data management (please see lines 359-361). Building the camera does not require any programming skills. This has been tested by having two persons with no programming skills or prior experience with the equipment carry out the protocol successfully. We have also downplayed the deep convolutional neural network aspect of DeepLabCut compared to the initial submission. The descriptions given should be largely in line with what is presented in other JoVE articles using DeepLabCut (Bova et al. 2019).

Minor Concerns:
Although there are many steps described, they seem to be all present and lead to the described outcome. The steps seem clearly explained for someone familiar with programming; however, I suggest that they clarify further for people not familiarized with programming. It would be useful to include a basic programming guide (or at least cite a recommend paper) for those not familiarized with the programs described in the protocol (Python, DeepLabCut programming, etc.). Also, it seems important that they define in the introduction of what a deep convolutional neural network is.

Response: We have added additional clarifications of the protocol text, and figures to make the camera construction more accessible (note specifically Fig 3 and 4). We have specifically asked people with no programming experience to carry out the protocol, and they have done so successfully.

We don’t believe that adding a general introduction to programming would be suitable or practical, but have added valuable references for anyone who wants to start developing these skills (please see lines 359-361). We have also added some supplementary text (Supplementary file 2), and a related python script (Supplementary file 3), to help readers with little prior knowledge manage the conversion of the video files, as well as editing them a bit (video editing supplement). We agree that this is beneficial, but suggest to keep it separate from the main protocol.

Following the extensive rewrites of the introduction and other parts of the protocol, there is much less emphasis on neural networks. As such, an introduction to this topic does at this point seem superfluous. This should be in line with other JoVE publications that use DeepLabCut (Bova et al. 2019).

Alternative text for steps 4 and 5 of the protocol:

4. Neural network training using DeepLabCut

NOTE: This section gives a rough outline for how to use DeepLabCut to train a neural network in tracking the protocol step indicator and the head of a rat. Installation and use of DeepLabCut is well-described in other published protocols15,16. Each step can be done through specific Python commands or the program’s graphic user interface. The steps outlined below refer to the latter.

4.1. Install DeepLabCut and start its graphic user interface.

4.2. Create and configure a new project by following the steps outlined below.

4.2.1. Under the “Manage Project” tab, select “Create new project” and enter a project name as well as the name of an experimenter.

4.2.2. Click on the “Load Videos” button and select the videos recorded in step 3.

4.2.3. Click on the “Ok” button. This creates a folder for your project.

4.2.4. Click on the “Edit config file” button.

4.2.5. In the opened text file, navigate to the header “bodyparts” and replace the automatically added “- bodypart1”, “- bodypart2”, “- bodypart3” and “- objectA” with “-head” and  “-protocolstepindicator”.

4.3. Extract video frames from one or more videos by following the steps outlined below.

4.3.1. Under the “Extract frames” tab, select “manual” extraction method and click on the “Ok” button.

4.3.2. In the window that opens, click the “Load videos” button and select a video from the project’s video folder.

4.3.3. Use the slider bar to navigate through the video and click the “Grab Frames” button to save individual video frames into the project folder.

4.3.4. Extract 700-900 video frames.

4.3.4.1. Make sure to include video frames that display both the active (Fig. 8A) and inactive (Fig. 8B) state of the protocol step indicator.

4.3.4.2. Makes sure to include video frames that cover the range of different positions, postures and head movements that the rat may show during the test. This should include video frames where the rat is standing still in different areas of the chamber, with its head kept both along the chamber floor and angled downwards video frames where the rat is actively moving, entering nose poke openings and the pellet trough.

NOTE: If the animals differ considerably in fur pigmentation or other visual characteristics, it is advisable that the 700-900 extracted video frames are split across several videos. Through this, one trained network can be used to track different individuals.

4.4. Manually label the extracted video frames by following the steps outlined below.

4.4.1. Under the “Label frames” tab, click the “Label frames” button. In the window that opens, click the “Load frames” button and select the folder for the video that was used in step 4.3.

4.4.2. Use the “< <Previous” and “Next> >” buttons to jump between the video frames extracted in step 4.3.

4.4.3. Mark the position of the rat’s head in each video frame by placing the mouse cursor at a point centrally between the rat’s ears and right-clicking (ensure that “head” is selected under “Select a bodypart to label”. If the initial label placement is not satisfactory, move the label by clicking and holding the left mouse button, when hovering over it with the mouse cursor.

4.4.4. Mark the position of the houselight or other protocol step indicator in video frames where it is active (Fig. 8A,B).

4.5. Create a training data set from the labeled video frames by navigating to the “Create training dataset” tab, selecting “resnet_101” under “Select the network” and clicking the “Ok” button.

4.6. Start the training of a neural network by navigating to the “Train network” tab and clicking the “Ok” button.

NOTE: Throughout steps 4.3. to 4.6, ensure that the path to the project’s config.yaml file is correct.

4.7. Stop the training of the network when the training loss has plateaued below 0.01. This may take up to 500,000 training iterations.

NOTE: When using a GPU machine with approximately 8 GB of memory and a training set of about 900 video frames (resolution: 1640 x 1232 pixels), the training process has been found to take approximately 72 h.

5. Reviewing tracking accuracy and analyzing videos using the trained network

5.1. Use the trained network to analyze videos by following the steps outlined below.

5.1.1. In the DeepLabCut graphic user interface, navigate to the “Analyze videos” tab. Select videos in the drop-down menu next to “Choose the videos”, specify the file format in the drop-down menu under “Specify the videotype”, select “Yes” under “Want to save result(s) as csv?” and click the “Ok” button. This creates data files listing the coordinates for the tracked positions of the head and protocol step indicator in each frame of the analyzed videos.

5.1.2. Once the analysis is done, prepare marked-up videos that show the tracked positions of the points of interest. For this, navigate to the “Create Videos” tab, select the videos to be marked under the drop-down menu next to “Choose the videos”, specify the file format in the drop-down menu under “Specify the videotype” and click the “RUN” button.

5.2. Evaluate the accuracy of the tracking by following the steps outlined below.

5.2.1. In DeepLabCut’s graphic user interface, navigate to the “Evaluate network” tab and click on the “Ok” button. This provides an automated evaluation based on the video frames that were labeled in step 4.4, detailing how far away on average the position tracked by the network is from the manual label.

5.2.3. Select one or more brief video sequences (of 200 video frames each) in the marked-up videos obtained in step 5.1.2. Go through the video sequences, frame by frame, and note in how many frames the labels correctly indicate the positions of the rat’s head, tail, etc, and in how many frames the labels are placed in erroneous positions or lost.

5.2.4. If the tracking of an object is frequently lost or mislabeled, identify the situations where tracking fails. Extract and add labeled frames of these occasions by repeating steps 4.3. and 4.4. Then retrain the network and reanalyze the videos by repeating steps 4.5-4.7 and 5.1. Ultimately, tracking accuracy of >90% accuracy should be achieved.