# Submission ID #: 61436

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18738028

Title: Assessing the Expression of Major Histocompatibility Complex Class I on Primary Murine Hippocampal Neurons by Flow Cytometry

Authors and Affiliations: Kristen E. Funk1 and Sarah K. Lotz1

1Department of Biological Sciences, University of North Carolina at Charlotte

# Corresponding Author:

# Kristen E. Funk

# kfunk@uncc.edu

# Co-authors:

# slotz@uncc.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

Dissection scope: Swift M29TZ-SM99CL-BTW1. Inverted tissue culture microscope: Olympus CKX53

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Script Length

Number of shots: 50

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Sarah Lotz: This protocol uses flow cytometry to quantitatively assess extracellular MHCI expression on primary neurons cultured from mice [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Kristen Funk: In situ immunostaining for MHCI expression can also be performed to avoid a loss of signal due to protein tertiary structure changes, permeabilization, or denaturing conditions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Sarah Lotz: In addition to directing immune responses to infections, MHCI modulates neuronal synaptic connections. However, the factors that regulate MHCI expression are still unknown [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Kristen Funk: The embryonic brain dissection steps take practice to master. When learning the technique, take care to practice the dissection without worrying about the time or subsequent culturing process [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of North Carolina at Charlotte.

# Protocol

- Embryonic Hippocampus Dissection

  - For isolation of the embryonic hippocampus, place the first harvested mouse embryonic brain under a stereo dissection microscope [1-TXT] and use two pairs of sterile Dumont number 5 forceps to pinch off the olfactory bulbs and to thoroughly pull away the meninges [2].

    - WIDE: Talent placing brain under microscope TEXT: See text for brain harvest details

    - SCOPE: Bulbs being pinched, the meninges being pulled NOTE: This and next shot together Videographer: Important step

  - Once the meninges have been completely removed, the superior side of the cortex will open laterally to expose the hippocampus [1].

    - SCOPE: Cortex being opened laterally

  - Use the forceps to pinch the hippocampus away from the attached cortex [1] and carefully transfer the isolated hippocampus to a sterile 15-milliliter conical tube containing 5 milliliters of Hibernate-E medium on ice [2-TXT].

    - SCOPE: Hippocampus being pinched NOTE: This and next shot are both CAM and SCOPE Videographer: Important step

    - Talent placing hippocampus into tube TEXT: Repeat for each hemisphere/brain

- Hippocampal Neuron Dissociation and Culture

  - When all of the hippocampi have been collected into a single, 15-milliliter tube [1-TXT], sediment the brain tissue by centrifugation [2-TXT].

    - WIDE: Talent adding brain to tube TEXT: Cortex may be isolated and processed for cortical neuron culture

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 1000 x g, RT

  - Replace the supernatant with 0.5 milliliters of freshly prepared papain dissociation per embryo [1-TXT] and mix the tube several times by inversion [2].

    - Shot of tissue at bottom of tube, then papain being added to tube, with papain, DNase I, and medium containers visible in frame TEXT: See text for all solution preparation details NOTE: This and next shot together

    - Talent inverting tube

  - Place the tissues at 37 degrees Celsius for 30 minutes, mixing the samples by inversion every 10 minutes [1], before collecting the tissue again by centrifugation [2-TXT].

    - Talent removing tube from 37 °C to invert

    - Talent placing tube into centrifuge TEXT: 10 min, 125 x g, RT

  - Replace the supernatant with an equal volume of fresh Hibernate E medium [1] and use a fully open, glass, fire polished Pasteur pipette to triturate the tissue 10 times [2].

    - Medium being added to tube, with medium container visible in frame

    - Shot of fully open pipette, then tissue being triturated Videographer: Important step

  - After letting the tissue settle for 2 minutes, transfer the supernatant into a new 50-milliliter conical tube [1].

    - Shot of settled tissue, then supernatant being transferred to new tube NOTE: 3.5.1 – 3.6.2 shot together Videographer: Important step

  - Add an equal volume of Hibernate E medium back to the tissue [1] and use a half-open, glass, fire polished Pasteur pipette to triturate tissue 10 times [2].

    - Talent adding medium to tube, with medium container visible in frame Videographer: Important step

    - Shot of half open pipette, then tissue being triturated NOTE: The first 3.6.2 is slated as pipette prep Videographer: Important step

  - After letting the tissue settle for another 2 minutes, pool the supernatant in the 50-milliliter tube [1].

    - Shot of settled tissue, then supernatant being transferred to new tube NOTE: This and next shot together Videographer: Important step

  - Add an equal volume of Hibernate E medium to the tissues [1] and triturate the tissue 10 times with a quarter-open, glass, fire polished Pasteur pipette [2].

    - Medium being added to tube, with medium container visible in frame

    - Shot of quarter open pipette, then tissue being triturated

  - After letting the tissue settle for 2 minutes, pool the supernatant in the 50-milliliter tube [1-TXT].

    - Shot of settled tissue, then supernatant being transferred to new tube Videographer: Important step TEXT: Discard any non-dissociated tissue

  - Collect the dissociated cells in the supernatant by centrifugation [1-TXT] and resuspend the pellet in 5 milliliters of neuron growth medium [2] for counting [3].

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 125 x g, RT

    - Shot of pellet if visible, then medium being added to cells, with medium container and counter visible in frame

    - Added shot counting

  - Dilute the cells to a final plating density of 5 x 105 viable cells per milliliter of neuron growth medium [1] and add 1 milliliter of cells to each well of a 12-well, poly-D-lysine-coated plate [2].

    - Talent adding medium to tube, with medium container visible in frame, with plate visible in frame NOTE: This and next shot together

    - Cells being added to plate

  - Then place the plate in the cell culture incubator [1], replacing half of the medium with an equal volume of fresh medium twice a week for the lifespan of the culture [2].

    - Talent placing plate into incubator NOTE: Use the second shot with Sarah

    - Medium being refreshed in well(s), with medium container visible in frame

3.12.2B Added shot: refresh

- Flow Cytometric Major Histocompatibility Complex (MHCI) Expression Analysis

  - To assess the ability of the cultured neurons to express MHC (M-H-C) one, at the appropriate day of culture, replace 0.5 milliliter of supernatant in each well with 0.5 milliliters of fresh neuron growth medium supplemented with 200 units/milliliter of interferon-beta [1] for a 6-72-hour incubation in the cell culture incubator [2-TXT].

    - WIDE: Talent adding medium to well(s), with medium and INF-beta containers visible in frame TEXT: Control wells: medium alone

    - Talent placing plate into incubator	NOTE: Reuse 3.12.1

  - At the end of the incubation, wash each well one time with cold neurobasal medium without supplements [1] before adding 0.5 milliliters of non-supplemented cold neurobasal media supplemented with 1 microgram/milliliter of Fc (F-C) block and 1 microgram/milliliter of fluorescence-conjugated anti-MHC one antibody to each well [2].

    - Talent washing well(s), with medium container visible in frame

    - Talent adding medium to well(s), with Fc block and antibody containers visible in frame

  - After a 45-minute incubation at 4 degrees Celsius protected from light [0], wash each well one time with cold Dulbecco’s PBS [1].

4.3.0 Added shot: fridge

    - Talent washing well(s), with DPBS container visible in frame NOTE: 4.3.1 – 4.4.2 together

  - Next, add 0.5 milliliters of room-temperature enzyme-free cell dissociation buffer to each well [1] and agitate to dislodge the cells [2].

    - Talent adding buffer to well(s), with buffer container visible in frame

    - Plate being agitated

  - Confirm dissociation under an inverted tissue culture microscope [1] and add 0.5 milliliters of FACS (facks) buffer to each well [2-TXT].

    - Talent checking dissociation

    - Talent adding buffer, with buffer container visible in frame TEXT: FACS: fluorescence-activated cell sorting NOTE: 4.5.2 – 4.6.2 together

  - Triturate the cells to disperse clumps [1] and transfer the entire volume from each well into individual 1.7-milliliter microcentrifuge tubes [2].

    - Cells being triturated

    - Talent adding cells to tube(s)

  - Collect the cells by centrifugation [1-TXT] and resuspend the pellet in 100 microliters of fresh FACS buffer per tube [2].

    - Talent adding tube(s) to centrifuge TEXT: 5 min, 1000 x g

    - Talent adding buffer to tube, with buffer container visible in frame NOTE: This and next shot together

  - Transfer each suspension into individual wells of a 96-well, U-bottom plate [1] and add 100 microliters of fixative reagent to each well [2].

    - Talent adding cells to well(s), with tubes visible in frame

    - Talent adding fixative to well, with fixative container visible in frame

  - Triturate several times to avoid cell clumping [1] and incubate the plate for 15 minutes at room temperature protected from light [2].

    - Well(s) being triturated NOTE: This and next shot together

    - Talent covering plate

  - At the end of the incubation, centrifuge to collect the cells at the bottom of the wells [1-TXT] and resuspend the pellets in 200 microliters of fresh FACS buffer per well [2].

    - Talent adding plate to centrifuge TEXT: 5 min, 500 x g, RT

    - Talent adding buffer to well(s), with buffer container visible in frame

  - After centrifuging, resuspend the pellets in 100 microliters of permeabilization reagent supplemented with fluorescence-conjugated anti-neuronal nuclei antibody per well [1].

    - Talent adding reagent to well(s), with reagent and antibody containers visible in frame

  - After mixing, incubate the plate for 20 minutes at room temperature with rocking protected from light [1].

    - Talent placing plate onto rocker

  - At the end of the incubation, collect the cells by centrifugation three times [1], resuspending the pellets in 100 microliters of fresh FACS buffer between centrifugations [2].

    - Talent placing plate into centrifuge NOTE: reuse 4.10.1.

    - Talent adding buffer to well(s), with buffer container visible in frame

  - After the last wash, resuspend the cells in 100 microliters of 2% paraformaldehyde in FACS buffer with thorough mixing [1-TXT].

    - Talent adding PFA to well(s), with PFA container visible in frame TEXT: Optional: Store ≤1 wk at 4 °C before analysis

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.1., 2.3., 3.4.-3.7.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

# Results

- Results: Representative Gating Strategy and MHCI Quantification

  - Neurons can be identified through the sequential gating of total events [1] to exclude cellular debris and doublets [2] and by their neuronal nuclei-positivity [3].

    - LAB MEDIA: Figures 1A-1C Video Editor: please emphasize gates in Figure 1A

    - LAB MEDIA: Figures 1A-1C Video Editor: please emphasize gates in Figure 1B

    - LAB MEDIA: Figures 1A-1C Video Editor: please emphasize gate in Figure 1C/cells in gate in Figure 1C

  - Neuronal nuclei-positive cells can then be further analyzed for their MHC one-positivity [1].

    - LAB MEDIA: Figure 1D Video Editor: please emphasize bracket and MHCI+ text

  - From this data, the percentage of neurons positive for MHC one staining [1] and the median fluorescence intensity can be calculated [2], revealing that, for example, interferon-beta treatment significantly upregulates the percentage and intensity of MHC one neuron expression [3].

    - LAB MEDIA: Figures 1E and 1F Video Editor: please emphasize Figure 1E

    - LAB MEDIA: Figures 1E and 1F Video Editor: please emphasize Figure 1F

    - LAB MEDIA: Figures 1E and 1F Video Editor: please emphasize red data bars

# Conclusion

- Conclusion Interview Statements

  - Kristen Funk: With slight modifications, these methods can be used to culture other neuronal populations, like cortical neurons, or to test different cellular markers, stimulating molecules, or genetic modifications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera