Submission ID #: 61439

Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18738943

Title: In Vivo Intracellular Recording of Type-Identified Rat Spinal Motoneurons During Trans-Spinal Direct Current Stimulation

Authors and Affiliations: Marcin Bączyk1,* and Piotr Krutki1,*

*These authors contributed equally

1Department of Neurobiology, Poznań University of Physical Education

Corresponding Author:

Marcin Bączyk

baczykump@gmail.com

Co-author:

krutki@awf.poznan.pl

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y

If Yes, can you record movies/images using your own microscope camera?

Y

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?  N

Protocol Length

Number of shots: 62

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Marcin Bączyk: This protocol uses intracellular recordings of spinal motoneurons to directly investigate the influence of trans-spinal direct current stimulation on the function of spinal networks [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Marcin Bączyk: The major advantage of this technique is that it allows intracellular recordings to be performed on fully mature nervous systems, facilitating translation of the experimental observations to practical applications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the local ethics committee and were performed in accordance with the Polish Law on the Protection of Animals and European Union regulations.

# Protocol

NOTE to Video Editor: Authors have uploaded all required lab media, including the microscope camera shots. All the shots are numbered exactly as they appear in the protocol.

- Intravenous Line Placement

  - After confirming a lack of response to pedal reflex in an anesthetized, 6-month-old, male, Wistar rat [1-TXT], use a dissecting microscope and a number 21 blade to make a longitudinal skin incision from the sternum to the chin [2] and use blunt dissection to expose the right jugular vein [3].

    - WIDE: Talent pinching toe Videographer: More Talent than rat in shot TEXT: Anesthesia: sodium pentobarbital 60 mg/kg i.p.

    - LAB MEDIA: To be provided by Authors: Incision being made

    - LAB MEDIA: To be provided by Authors: Vein being exposed

  - Place two 4-0 ligatures beneath the section of the vein without branching points [1] and make one loose knot on the proximal end of the vein segment [2] and one loose knot on the distal end of the segment [3].

    - LAB MEDIA: To be provided by Authors: Sutures being placed beneath vessel

    - LAB MEDIA: To be provided by Authors: Loose knot being made at proximal end

    - LAB MEDIA: To be provided by Authors: Loose knot being made at distal end

  - Clamp the vein proximal to the heart [1] and ligate the distal end of the vein [2].

    - LAB MEDIA: To be provided by Authors: Vein being clamped

    - LAB MEDIA: To be provided by Authors: Vein being ligated

  - Use iris scissors to make an incision between the clamp and the distal ligature [1] and, holding a flap of the vein, introduce a pre-filled catheter to the point where the vein is blocked by the clamp [2].

    - LAB MEDIA: To be provided by Authors: Incision being made

    - LAB MEDIA: To be provided by Authors: Vein flap being held, then catheter being introduced

  - Then remove the clamp [1] and push the catheter several millimeters into the vein [2].

    - LAB MEDIA: To be provided by Authors: Clamp being removed

    - LAB MEDIA: To be provided by Authors: Catheter being pushed into vein

- Tracheal Tube Introduction

  - For tracheal tube placement, use blunt forceps to separate the two mandibular glands covering the sternohyoid muscles [1] and separate the sternohyoid muscles at the midline to expose the trachea [2].

    - WIDE: Talent separating glands Videographer: More Talent than rat in shot

    - LAB MEDIA: To be provided by Authors: Muscles being separated

  - Place three 4-0 ligatures beneath the trachea [1] and make two knots below the tracheal tube insertion point and one knot above [2].

    - LAB MEDIA: To be provided by Authors: Ligatures being placed

    - LAB MEDIA: To be provided by Authors: Third knot being made, with other knots visible in frame

  - Then insert a tracheal tube into the trachea below the third tracheal cartilage [1] and secure the tube in place with the pre-prepared ligatures [2-TXT].

    - LAB MEDIA: To be provided by Authors: Tube being inserted

    - LAB MEDIA: To be provided by Authors: Suture(s) being tied TEXT: Add additional ligature to skin

- Hind Limb Nerve Dissection

  - To dissect the hind limb nerves, use a number 21 blade to make a longitudinal cut on the posterior side of the left hind limb from the Achilles tendon to the hip [1] and use scissors to make a cut between the anterior and posterior regions of the popliteal fossa at the back of the knee joint [2].

    - WIDE: Talent making incision Videographer: More Talent than rat in shot

    - LAB MEDIA: To be provided by Authors: Incision being made between muscles

  - Moving upwards, cut two heads of the biceps femoris all the way to the hip to expose the sciatic nerve [1-TXT] and separate the lateral head from the medial head of the gastrocnemius muscle to expose the tibial nerve and its branches [2].

    - LAB MEDIA: To be provided by Authors: Head(s) being cut TEXT: Cauterize bleeding as necessary

    - LAB MEDIA: To be provided by Authors: Head(s) being separated

  - Then use number 55 forceps to carefully dissect the medial gastrocnemius and the lateral gastrocnemius and soleus nerves, disconnecting them from the surrounding tissues while maintaining their connection to their respective muscles [1].

    - LAB MEDIA: To be provided by Authors: Nerves being dissected

- Laminectomy

  - To perform the laminectomy, use a number 21 blade to make a longitudinal incision from the sacrum up to the thoracic vertebrae [1] and identify the Th13 vertebra as the lowest thoracic segment with a rib insertion [2].

    - WIDE: Talent making incision Videographer: More Talent than rat in shot

    - Shot of vertebra

  - Then use fine rongeurs to remove the spinous processes and laminae from the Th13 to the L2 vertebrae [1] to expose the lumbar segments of the spinal cord [2].

    - Process(es) being removed

    - Shot of exposed lumbar spinal cord segments

- Recording and Stimulation Preparation

  - To fix the vertebral column, place the rat into a custom-made frame on a 37-degree Celsius heating pad connected to a closed-loop heating system [1] and use the skin flaps to form a deep pool over the exposed spinal cord [2].

    - WIDE: Talent placing rat into frame Videographer: More Talent than rat in shot

    - Deep pool being formed

  - Place metal clamps below the Th12 transverse processes and at the L3 spinous process [1] and fill the pool with 37-degree Celsius mineral oil [2].

    - Clamp being placed below L3 process, with clamp below Th12 process visible in frame

    - Pool being filled

  - Use the skin flaps to make a deep pool of mineral oil over the exposed tibial, medial gastrocnemius, and lateral gastrocnemius and soleus nerves [1] and place the nerves on bipolar silver-wire stimulating electrodes [2].

    - Shot of pool, then oil being added

    - Nerves being placed onto electrode(s)

  - Then connect the electrodes to a square pulse stimulator using separate stimulation channels for each nerve [1].

    - Electrode(s) being connected

- Surface Electrode Placement

  - For surface electrode placement, under the dissecting microscope, place a silver ball electrode on the left caudal side of the exposed spinal cord [1-TXT], with a reference electrode inserted in the back muscles [2], and connect both electrodes to the differential DC amplifier [3].

    - WIDE: Talent placing electrode Videographer: More Talent than rat in shot TEXT: Electrode will record nerve afferent volleys

    - LAB MEDIA: To be provided by Authors: Reference electrode being placed

    - Talent connecting electrode(s) to amplifier

  - Use a constant-current stimulator to stimulate the medial gastrocnemius and lateral gastrocnemius and soleus nerves with square pulses of a 0.1-millisecond duration repeated at a 3-hertz frequency and observe the afferent volleys [1].

    - LAB MEDIA: To be provided by Authors: Nerves being stimulated

  - At the end of the stimulation, move the surface electrode rostrally [1] and repeat the stimulation to identify the spinal segments at which the amplitudes of the volleys are the highest for each nerve [2].

    - LAB MEDIA: To be provided by Authors: Electrode being moved

    - LAB MEDIA: To be provided by Authors: Nerves being stimulated

  - After determining the location of the maximum volley, deliver a neuromuscular blocker intravenously to paralyze the rat [1] while an assistant connects the tracheal tube to an external ventilator in line with a rodent-compatible capnometer [2-TXT].

    - LAB MEDIA: To be provided by Authors: Blocker being injected

    - Talent connecting tube to ventilator Videographer: More Talent than rat in shot TEXT: Monitor and maintain end-tidal CO2 concentration at 3-4%

- Dura and Pia Mater Opening

  - To open the dura and pia mater, use number 55 forceps to gently lift the dura mater [1] and cut the tissue caudally from the L5 segment rostrally up to the L4 segment [2].

    - WIDE: Talent lifting mater Videographer: More Talent than rat in shot

    - LAB MEDIA: To be provided by Authors: Tissue being cut

  - Then use a pair of ultra-thin 5SF (five-S-F) forceps to make a small patch in the pia covering the dorsal column between the blood vessels [1] exactly at the level of the maximum afferent volley from the medial gastrocnemius or lateral gastrocnemius and soleus nerve [2].

    - LAB MEDIA: To be provided by Authors: Patch being made

    - LAB MEDIA: To be provided by Authors: Shot of patch

- Trans-Spinal Direct Current Stimulation (tsDCS) Electrode Placement and Motoneuron Tracking and Penetration

  - To place the trans-spinal direct current stimulation electrodes, place a saline-soaked sponge on the dorsal side of the Th12 vertebra [1] and use fine manipulation to press the sponge with an active trans-spinal direct current stimulation electrode [2].

    - Talent placing sponge Videographer: More Talent than rat in shot

    - LAB MEDIA: To be provided by Authors: Sponge being pressed

  - Then mount a custom-pulled microelectrode onto the micromanipulator, allowing a 1-2-micron stepping movement and stereotaxic calibration [1-TXT], and drive a micropipette tip into a selected patch in the pia at a 15-20-degree medio-lateral angle [2].

    - Talent mounting electrode onto micromanipulator TEXT: See text for microelectrode pulling details

    - LAB MEDIA: To be provided by Authors: Micropipette being inserted

- Motoneuron Membrane and Firing Property Recording and tsDCS

  - To record the motoneuron membrane and firing properties, in the bridge mode of the intracellular amplifier [1], stimulate the respective nerve branches to identify the motoneuron on the basis of the “all-or-nothing” appearance of the antidromic action potential [2].

    - WIDE: Talent stimulating motoneuron Videographer: More Talent than rat in shot

    - SCREEN: Screen 1

  - In the discontinuous current-clamp mode of the intracellular amplifier with a current switch rate mode 4-8 kilohertz [1], use a 0.5-millisecond intracellular depolarizing current pulses to evoke an orthodromic action potential in a motoneuron [2-TXT].

    - Nerve being stimulated

    - SCREEN: Screen 2 TEXT: Repeat x20

  - To calculate the cell input resistance, stimulate a motoneuron [1] with 40, short, 100-millisecond pulses of hyperpolarizing 1-nanoamp current [2].

    - Nerve being stimulated

    - SCREEN: Screen 3

  - To determine the rheobase value as the minimum amplitude of the depolarizing current required to elicit a single spike [1], stimulate a motoneuron with 50-millisecond square-wave pulses at increasing amplitudes [2].

    - Nerve being stimulated

    - SCREEN: Screen 4

  - Then inject 500-millisecond square-wave pulses of depolarizing current at increasing amplitudes [1] in 0.1-2 nanoamp steps to evoke rhythmic discharges of motoneurons [2].

    - Nerve being stimulated Videographer: Important step

    - SCREEN: Screen 5

  - For trans-spinal direct current stimulation, start the polarization procedure by trans-spinal application of direct current [1] while maintaining a stable penetration of the motoneuron [2].

    - Nerve being stimulated Videographer: Important step

    - Shot of response on intracellular amplifier digital display

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

10.5.1., 10.6.1.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

The most difficult steps are 2.4.2 Vein flap being held, then catheter being introduced and 8.2.1 Patch being made

# Results

- Results: Representative Action Potentials and Membrane Property Analyses

  - Here a typical orthodromic action potential evoked by intracellular stimulation that meets all of the criteria for data inclusion is shown [1].

    - LAB MEDIA: Figure 1A

  - In this analysis, a cell response to a 100-millisecond hyperpolarizing current pulse of 1 nanoamp [1], from which both the peak [2] and plateau input resistance of a motoneuron can be determined from the voltage deflection [3], can be observed [4].

    - LAB MEDIA: Figure 1B

    - LAB MEDIA: Figure 1B Video Editor: please add/emphasize IR Peak text and arrows

    - LAB MEDIA: Figure 1B Video Editor: please add/emphasize IP Plateau text and arrows

    - LAB MEDIA: Figure 1B

  - This expanded voltage trace of a rheobasic spike [1] exhibits a clearly marked voltage threshold of the spike [2], indicating the level of membrane depolarization at which voltage-gated sodium channels are activated to initiate the action potential [3].

    - LAB MEDIA: Figure 1C

    - LAB MEDIA: Figure 1C Video Editor: please emphasize dotted line

    - LAB MEDIA: Figure 1C Video Editor: please emphasize data line above dotted line

  - These graphs provide examples of intracellular voltage traces [1] from two motoneurons stimulated intracellularly with 500-millisecond square pulses of depolarizing current [2] before [3], during [4], and after trans-spinal direct current stimulation application [5].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please sequentially emphasize top row of graphs then bottom row of graphs

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Control graphs

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Polarization graphs

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Post polarization graphs

  - Anodal trans-spinal direct current stimulation was found to act toward an increased motoneuron excitability and higher frequencies of rhythmic firing [1], while cathodal trans-spinal direct current stimulation acted toward firing inhibition [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize top row of graphs

    - LAB MEDIA: Figure 2 Video Editor: please emphasize bottom row of graphs

  - Moreover, the effects of both types of trans-spinal direct current stimulation outlasted the period of polarization [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Post polarization graphs

  - Inaccurate data can be acquired [1] if the data inclusion criteria are compromised due to imperfect cell penetration [2], a failure to compensate the microelectrode resistance and capacitance [3], or a spinal cord instability [4].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Figure 3A

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Figure 3B

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Figure 3C

# Conclusion

- Conclusion Interview Statements

  - Marcin Bączyk: It is imperative that no damage is done to the spinal cord during the dissection, as injury can result in spinal shock, making further recordings impossible [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (5.2., 8.1., 8.2.)

  - Marcin Bączyk: It is possible to harvest tissue samples for further histological or immunocytochemical analysis. For example, the measurement of c-fos expression can be used as a proxy of neuronal activity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera