## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Durgs and solutions
Atropinum sulfuricum | Polfa Warszawa | - | -
Glucose | Merck | 346351 | -
NaHCO3 | Merck | 106329 | -
Pancuronium Jelfa | PharmaSwiss/Valeant | - | Neuromuscular blocker
Pentobarbital sodium | Biowet Puławy Sp. z o.o | - | Main anesthetic agent
Pottasium citrate | Chempur | 1534146 | -
Tetraspan | Braun | - | HES solution
Surgical equipment
21 Blade | FST | 10021-00 | Scalpel blade
Cauterizer | FST | 18010-00 | -
Chest Tubes | Mila | CT1215 | -
Dumont #4 Forceps | FST | 11241-30 | Muscle forceps
Dumont #5 Forceps | FST | 11254-20 | Dura forceps
Dumont #5F Forceps | FST | 11255-20 | Nerve forceps
Dumont #5SF Forceps | FST | 11252-00 | Pia forceps
Forceps | FST | 11008-13 | Blunt forceps
Forceps | FST | 11053-10 | Skin forceps
Hemostat | FST | 13013-14 | -
Rongeur | FST | 16021-14 | For laminectomy
Scissors | FST | 15000-08 | Vein scissors
Scissors | FST | 15002-08 | Dura scissors
Scissors | FST | 14184-09 | For trachea cut
Scissors | FST | 104075-11 | Muscle scissors
Scissors | FST | 14002-13 | Skin scissors
Tracheal tube | - | - | Custom made
Vein catheter | Vygon | 1261.201 | -
Vessel cannulation forceps | FST | 18403-11 | -
Vessel clamp | FST | 18320-11 | For vein clamping
Vessel Dilating Probe | FST | 10160-13 | For vein dissection
Sugrgical materials
Gel foam | Pfizer | GTIN 00300090315085 | Hemostatic agent
Silk suture 4.0 | FST | 18020-40
Silk suture 6.0 | FST | 18020-60
Equipment
Axoclamp 2B | Molecular devices | discontinued | Intracellular amplifier/ new model Axoclamp 900A
CapStar-100 End-tidal CO2 Monitor | CWE | 11-10000 | Gas analyzer
Grass S-88 | A-M Systems | discontinued | Constant current stimulator
Homeothermic Blanket Systems with Flexible Probe | Harvard Apparatus | 507222F | Heating system
ISO-DAM8A | WPI | 74020 | Extracellular amplifier
Microdrive | - | - | Custom made/replacement IVM/Scientifica
P-1000 Microelectrode puller | Sutter Instruments | P-1000 | Microelectrode puller
SAR-830/AP Small Animal Ventilator | CWE | 12-02100 | Respirator
Support frame | - | - | Custom made/replacement lab standard base 51601/Stoelting
Spinal clamps | - | - | Custom made/replacement Rat spinal adaptor 51695/Stoelting
TP-1 DC stimulator | WiNUE | - | tsDCS stimulator
Miscellaneous
1B150-4 glass capillaries | WPI | 1B150-4 | For microelectrodes production
Cotton wool | - | - | -
flexible tubing | - | - | For respirator and CO2 analyzer connection
MicroFil | WPI | MF28G67-5 | For filling micropipettes
Silver wire | - | - | For nerve electrodes

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=