# Submission ID #: 61440

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18739248

Title: Improved UPLC-UV Method for the Quantification of Vitamin C in Lettuce Varieties (Lactuca sativa L.) and Crop Wild Relatives (Lactuca spp.)

Authors and Affiliations: Inés Medina-Lozano1,4*, Juan Ramón Bertolín2,4*, Raquel Zufiaurre3, and Aurora Díaz1,4

*These authors contributed equally

1Unidad de Hortofruticultura, Centro de Investigación y Tecnología Agroalimentaria de Aragón (CITA)

2Unidad de Producción y Sanidad Animal, Centro de Investigación y Tecnología Agroalimentaria de Aragón (CITA)

3Dpto Química Analítica, Escuela Politécnica Superior, Universidad de Zaragoza

4Instituto Agroalimentario de Aragón (IA2, CITA-Universidad de Zaragoza)

# Corresponding Author:

Aurora Díaz

adiazb@cita-aragon.es

# Co-authors:

imedina@cita-aragon.es

jrbertolin@cita-aragon.es

zufi@unizar.es

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 57

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Aurora Díaz: Vitamin C is an indicator of the nutritional value of fruits and vegetables. We need an easy and reliable method for quantifying it, especially in lettuce, the most consumed leafy vegetable worldwide [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Inés Medina-Lozano: This method prevents vitamin C degradation and provides an enhanced extraction and a fast, reliable quantification of both ascorbic and dehydroascorbic acids, thanks to its high resolution, accuracy, and sensitivity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Aurora Díaz: This method can be used in food technology to create nutritional fact labels, in medicine to study food effects on health, and in plant breeding to increase vitamin C in different species [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: can cut for time

# Introduction of Demonstrator on Camera

  - Aurora Díaz: Demonstrating the procedure with Inés Medina Lozano will be José Ángel Aranjuelo and Arántzazu Castellanos, two laboratory analysts from my laboratory [1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera Author NOTE: Inés Medina Lozano is the youngest of the two ladies acting as a talent from step 3

# Protocol

- Plant Material Preparation

  - To prepare the plant samples, harvest at least one outer [1] and one inner leaf per plant [2-TXT] and immediately freeze the leaves in liquid nitrogen before placing them in minus 80 degree-Celsius storage [3].

    - WIDE: Talent removing outer leaf

    - Inner leaf being removed, with tube with outer leaf visible in frame TEXT: Harvest ≥3 replicates/sample

    - Shot of leaves in tube, then tube being submerged in LN2

  - To lyophilize the frozen plant samples, place the uncapped sample tubes on the trays within the freeze dryer chamber of a lyophilizer and program the lyophilizer as indicated [1-TXT].

    - Talent placing tube(s) onto tray

    - Talent programming lyophilizer TEXT: -25 °C, 72 h; -10 °C, 10 h; 0 °C, 10 h; 20 °C, ≤4 h NOTE: This shot was not filmed because the lyophilizer is broken down though we would like the corresponding narration and the text to be kept (if the previous shot is long enough

  - Maintain the condenser temperature at minus 80.2 degrees Celsius [1] and the vacuum constant at 112 millitorrs [2].

    - Talent setting temperature (pressing button “Freeze”)

    - Talent setting vacuum constant (pressing buttons “Vacuum” and “Vac Ctrl”)

    - When the material is completely dry, add 10-millimeter-diameter stainless steel balls to the lyophilized samples in 20-milliliter polypropylene tubes [1] and use a multitube vortexer at the appropriate time and intensity [2] to grind the samples into a fine dust [3-TXT]. NOTE: This should be 2.4. as it is a narrative.

    - Talent adding balls to tube, with sample in tube visible in frame Videographer: Important step NOTE: shot should be slated as 2.4.1, but is actually slated as 2.4.21 on clapperboard.

    - Sample being vortexed Videographer: Important step TEXT: Vortex protected from light NOTE: Shot should be slated as 2.4.2. as it was changed by the videographer.

    - Shot of powder at bottom of tube NOTE: Shot should be slated as 2.4.3. as it was changed by the videographer.

- Ascorbic Acid (AA) Standard Preparation

  - To prepare ascorbic acid standard stock and dilution solutions, weigh exactly 10 milligrams of ascorbic acid standard on a precision balance [1] and add 90 milliliters of mobile phase to the sample [2].

    - WIDE: Talent adding AA onto balance

    - Talent adding water to sample

  - Use a magnetic stirrer to dissolve the sample [1] and use a volumetric flask to accurately measure 100 milliliters of the resulting solution, adding additional ultrapure water acidified at pH 2 with formic acid as necessary [2].

    - Sample being stirred

    - Talent adding sample to flask NOTE: Please do not show the talent putting the cap in the flask as another action is needing before the solution is ready (that is an action that is not going to be recorded).

  - Then prepare five dilutions from the stock to obtain a calibration curve [1].

    - Talent preparing AA dilutions in vials visible in frame

- AA and Dehydroascorbic Acid (DHAA) Extraction

  - Working under a low light intensity, add 50 milligrams of lyophilized ground sample [1] and 5 milliliters of extraction solvent to a 15-milliliter polypropylene centrifuge tube [2-TXT] and vortex the solution for 5 seconds [3].

    - WIDE: Talent adding sample to tube Videographer: Important/difficult step

    - Talent adding solvent to tube, with solvent container visible in frame Videographer: Important/difficult step TEXT: See text for all solvent and solution preparation details

    - Solution being vortexed Videographer: Important/difficult step

  - After shaking the sample for 10 minutes on an orbital shaker at 2000 revolutions per minute [1], transfer the tube to an ultrasonic bath for 10 minutes at room temperature [2] and collect the sample by centrifugation [3-TXT].

    - Shot of tube shaking on shaker

    - Talent placing sample into ultrasonic bath and pressing the start button

    - Talent placing tube(s) into centrifuge TEXT: 10 min, 4000 x g, 4 °C

  - Then strain the supernatant through a 0.22-micron regenerated cellulose filter into a 5-milliliter amber vial to extract both, the ascorbic and the dehydroascorbic acids in Extract 1 [1].

    - Supernatant being dispensed from syringe into vial labelled “Extract 1”

  - To prepare the dilution for determining the ascorbic acid concentration in the leaf samples, add 200 microliters of extract 1 [1] and 800 microliters of ultrapure water into a 2-milliliter, amber, liquid chromatography vial [2] and close the vial with a PTFE (P-T-F-E)-silicone plug [3].

    - Talent adding Extract 1 into vial, with extract vial container visible in frame Videographer: Important step

    - Talent adding water to vial Videographer: Important step

    - Plug being placed

- DHAA Reduction for Total AA (TAA) Extraction

  - For total ascorbic acid extraction, transfer 200 microliters of the extract 1 into a 2-milliliter, amber, liquid chromatography vial [1] and add 200 microliters of reducing solution to the vial [2].

    - WIDE: Talent adding extract to vial, with extract and LC vials visible in frame Videographer: Important step

    - Talent adding reducing solution to vial, with reducing solution container visible in frame Videographer: Important step

  - Close the vial with a plug [1] and vortex the solution for 5 seconds [2].

    - Talent placing plug onto vial

    - Solution being vortexed

  - After a 30-minute incubation at room temperature protected from light [1], use 200 microliters of 0.4-molar sulfuric acid to stop the reaction and to stabilize the ascorbic acid to an acidic pH [2].

    - Talent setting timer, with vial visible in frame

    - H2SO4 being added to tube labelled “Extract 2”, with H2SO4 container visible in frame

  - To prepare the dilution for determining the total ascorbic acid concentration in the samples, add 400 microliters of ultrapure water to total ascorbic acid extract 2 [1], close the vial with a plug [2].

    - Talent adding water to vial Videographer: Important step

    - Talent placing plug Videographer: Important step

- Ultra-High-Performance Liquid Chromatography-Ultraviolet Preparation

  - At least one hour before starting the experiment, confirm that all of the working solutions have been loaded into the UPLC (U-P-L-C) system [1-TXT] and switch on the three UPLC modules [2].

    - WIDE: Talent checking bottles and/or UPLC system TEXT: See text for working solution preparation details

    - Talent switching on module(s)

  - When the internal calibration process has finished, open the software [1] and load the instrumental program [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: screenshot_1: 00:07-00:13

  - Once the software is loaded, click Quaternary Solvent Manager and click the right mouse button to select Launch Console to access the UPLC management console [1].

    - SCREEN: screenshot_2: 00:07-00:20

  - Click System, Control, and Startup to proceed to the preparation and stabilization of the UPLC instrument and click Prime Solvents, QSM, Check A, B, C, D, Seal Wash, and Duration of prime greater than 5 minutes to purge all of the UPLC lines for at least 5 minutes [1].

    - SCREEN: screenshot_3: 00:07-00:26

  - Click SM, Check Wash solvent greater than 45 seconds, Check Purge solvent, and 35 cycles to purge and clean the injector [1].

    - SCREEN: screenshot_4: 00:08-00:23

  - To equilibrate the UPLC to method conditions, click Equilibrate to Method and QSM and set the Flow to 0.3 milliliters/minute, Solvent A to 2%, Solvent B to 0%, Solvent C 98%, and Solvent D to 0% [1].

    - SCREEN: screenshot_5: 00:07-00:25

  - Click Equilibrate to Method and SM and set the Sample to 5 degrees Celsius and the Column to 30 degrees Celsius [1].

    - SCREEN: screenshot_5: 00:26-00:34

  - Then click Equilibrate to Method and Other, select Lamp On, and click Start [1].

    - SCREEN: screenshot_5: 00:35-00:46

  - Allow the equipment to stabilize for at least an hour [1]. To verify the stability, click Launch Console – System and QSM and select QSM System Pressure only to check the pressure in the column [2].

    - Talent setting timer, with equipment visible in frame

    - SCREEN: screenshot_6: 00:08-00:30 Video Editor: please speed up

  - If there are no identifiable trends in the pressure changes and the delta value is less than 10 pounds per square inch of pressure [1], in the QuickStart screen, fill the matrix with the names of the standards and samples to be analyzed [2].

    - SCREEN: screenshot_7: 00:05-00:10

    - SCREEN: screenshot_7: 00:28-00:48 Video Editor: please speed up

- AA Determination

  - To determine the ascorbic acid concentration in the standards, inject 5 microliters of each dilution into the UPLC instrument [1] and carry out the chromatography, starting from most diluted to the most concentrated solution, as indicated in the Table [2].

    - WIDE: Talent placing dilution in the carrousel of the instrument

    - LAB MEDIA: Table 2 Video Editor: please emphasize rows from Column to Running time

  - To determine the ascorbic acid and the total ascorbic acid concentration in the leaf samples, inject 5 microliters of the diluted Extract 1 and Extract 2, respectively, into the UPLC instrument for chromatographic analysis [1].

    - Sample solutions being placed in the carrousel of the instrument

  - To determine the total ascorbic acid concentration in the samples, inject 5 microliters of the extract 2 into the UPLC instrument for analysis [1].

    - Talent placing solution in the carrousel of the instrument Videographer: Important step NOTE: This shot was filmed at the same time that 7.2.1 (7.2.1. and 7.3.1. were merged together)

- AA and DHAA Quantification

  - To calculate the ascorbic acid and total ascorbic acid concentrations, in the software [1], click QuickStart, Browse Project, Channels, the name of the standard or the sample, and PDA Channel 1 245 nanometers at 1.2 nanometers to open the standard and sample chromatograms [2].

    - WIDE: Talent clicking QuickStart, with monitor visible in frame

    - SCREEN: screenshot_8: 00:08-00:24 Video Editor: please speed up

  - Click on the starting point of the chromatogram and drag it to the end point to integrate the corresponding peak in the standards and samples [1].

    - SCREEN: screenshot_9: 00:06-00:11

  - Then use the data from the ascorbic acid standard dilutions to build a calibration curve to represent the chromatographically determined absorbance values [1] and interpolate the absorbance values of the sample to obtain the ascorbic acid and total ascorbic acid concentration according to the formula [2-TXT].

    - SCREEN: screenshot_10: 00:04-00:10

    - SCREEN: screenshot_10: 00:13-00:31 Video Editor: please speed up TEXT:
y=mx+n

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.4., 4.1., 4.4., 5.1., 5.4., 7.3.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.1. the conditions need to be optimized to guarantee ascorbic acid and dehydroascorbic acid complete extraction while their integrity is preserved.

# Results

- Results: Representative Vitamin C Quantification in Lactuca Species

  - Vitamin C quantification in Lactuca matrixes requires the development of a chromatographic approach that can ensure reliable results [1].

    - LAB MEDIA: Figure 1

  - Here a chromatogram resulting from a non-optimized protocol [1], presenting an ascorbic acid peak [2] together with an unidentified minor “shoulder”, can be observed [3].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize Figure 1A

    - LAB MEDIA: Figure 1 Video Editor: please emphasize tall peak in Figure 1A

    - LAB MEDIA: Figure 1 Video Editor: please emphasize Figure small peak in Figure 1A

  - Nevertheless, after improving the extraction and chromatographic conditions, a resolved ascorbic acid peak without interferences of unknown compounds can be achieved [1].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize tall peak in Figure 1B

  - In addition, the use of UPLC-ultraviolet equipment instead of HPLC-ultraviolet reduces the retention and running times [1].

    - LAB MEDIA: Figure 1

Author NOTE: Perhaps it would be helpful if the video editor emphasizes the time (around 3 in Figure 1A and around 1.9 in Figure 1B) of the peaks when “reduces the retention …” is said.

  - Interferences in ascorbic acid peaks consistently result in underestimation of the vitamin C content due to an insufficient separation during the chromatographic process [1], as the overlapping peak areas are integrated by a vertical drop at the deepest point between them [2].

    - LAB MEDIA: Figures 1A and 2

    - LAB MEDIA: Figures 1A and 2 Video Editor: please emphasize dark grey DHAA and TAA data shapes in Figure 2 and deepest point in curve in Figure 1A

  - Furthermore, the use of a non-optimized protocol prevents the extraction of any useful conclusion from the results, as all of the samples appear to have a similar vitamin C content, in any of its forms [1]. Author NOTE: It would be useful to make disappear all the right halves of “violins” and leave only the left ones (corresponding to the non-optimized method). I can supply that edited image if you need it!

NOTE about Images for 9.6 and 9.7: Corresponding author would be happy to provide the edited images. If they are needed, please reach out to her directly at adiazb@cita-aragon.es.

    - LAB MEDIA: Figure 2 Video Editor: please add a “ns” text over the left half of each violin of data for DHAA, AA, and TAA

  - In contrast, using the optimized protocol [1] allows the detection of statistically significant differences between the different types of samples [2]. Author NOTE: On the contrary, here it would be useful to make disappear all the left halves of “violins” and leave only the right ones (corresponding to the optimized method) in both steps. I can supply that edited image if you need it!

    - LAB MEDIA: Figure 2 and Table 4 Video Editor: please emphasize Optimized p-values for DHAA and TAA

    - LAB MEDIA: Figure 2 and Table 4 Video Editor: please add two asterisks over the right half of each violin of data for DHAA and one asterisk over the right half of each violin of data for TAA

# Conclusion

- Conclusion Interview Statements

  - Inés Medina-Lozano: Be sure to collect multiple samples, to preserve the samples correctly, to minimize sample exposure to oxidizing agents, and to quantify both forms of Vitamin C [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.1.-2.3., 5.1.-5.3.)

  - Aurora Díaz: The total vitamin C content can be quantified not only in any plant species, but also in any fruit, vegetable, or even processed food with few technique modifications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: can cut for time