Screenshot Summary

- 61440_screenshot_1

- 6.3.2 (Empower3 | Run Samples | Vitamin C method | UPLC_PDA | Use QuickStart) 00:05 – 00:15

- 61440_screenshot_2

- 6.4.2 (Quaternary Solvent Manger being clicked, then Launch Console) 00:04 – 00:21

- 61440_screenshot_3

- 6.5.1 (System, Control, and Startup being clicked, then Prime Solvents, QSM, Check ABCD and Seal Wash, and Duration of primer greater than 5 minutes being clicked) 00:14 – 00:29

- 61440_screenshot_4

- 6.6.1 (Prime Solvents, SM, Check Wash solvent greater than 45 seconds, and Check Purge solvent greater than 35 cycles being clicked) 00:05 – 00:20

- 61440_screenshot_5

- 6.7.1 (Equilibrate to Method and QSM being clicked and parameters being set, Equilibrate to Method and SM being clicked and parameters being set, then Equilibrate to Method, Other, Check Lamp On, and Start being clicked) 00:06 – 00:48

- 61440_screenshot_6

- 6.8.2 (Launch Console, QSM, and QSM System Pressure being clicked) 00:06 – 00:27

- 61440_screenshot_7

- 6.9.1 (Shot of pressure readout) 00:05 – 00:11

- 6.9.2. (QuickStart screen being opened and names being entered into matrix) 00:12 – 01:15

- 6144_screenshot_8

- 8.1.2 (QuickStart, Browse Project, Channels, the name of the standard or the sample, and PDA Channel 1 245 nanometers at 1.2 being clicked) 00:06 – 00:21

- 6144_screenshot_9

- 8.2.1 (Starting point being clicked and dragged/peak being integrated) 00:06 – 00:11

- 6144_screenshot_10

- 8.3.1 (Calibration curve being built) 00:04 – 00:12

- 8.3.2 (Values being interpolate in y=mx+n) 00:13 – 00:33