## Tabelle1
Material | Company | Ref. Number
1.5 ml tubes for sample incubation | Eppendorf, Hamburg, Germany | 30120086
1-Thioglycerol | Promega, Walldorf, Germany | A208
Agilent tape station software 3.2 | Agilent, Waldbronn, Germany
dsDNA HS Kit | ThermoFisher Scientific, Schwerte, Germany | Q32851
FFPE DNA Purification Kits (Kit A) | Norgene Biotek, Heidelberg, Germany | 47400
FFPE tissue samples n=5 | Munich Vascular Biobank,Munich, Germany
GeneRead DNA FFPE Kit (Kit B) | Qiagen, Hilden, Germany | 180134
Heating blocks, set to 80°C and 65°C | VWR,Darmstadt,Germany | 460-0250
High Sensitivity D5000 reagents | Agilent, Waldbronn, Germany | 5067-5593
High Sensitivity D5000 ScreenTape | Agilent, Waldbronn, Germany | 5067-5592
Incubation Buffer | Promega, Walldorf, Germany | D920
Maxwell Blood Kit RSC including: Lysis Buffer, Elution Buffer, Proteinase K | Promega, Walldorf, Germany | AS1400
Maxwell RSC 48 Instrument | Promega, Walldorf, Germany | AS8500
Microcentrifuge | Eppendorf, Hamburg, Germany
NanoDrop 2000c Spectrometer | ThermoFisher Scientific, Schwerte, Germany | ND-2000C
Optical caps | Agilent, Waldbronn, Germany | 401425
Optical tube strips | Agilent, Waldbronn, Germany | 401428
Pipettors and pipette tips | Eppendorf, Hamburg, Germany
Prism 6 for statistics, version 6.01 | GraphPad Inc., San Diego, California
Qubit 3.0 Fluorometer | ThermoFisher Scientific, Schwerte, Germany | Q33216
TapeStation 4200 | Agilent, Waldbronn, Germany
Tecan Infinite M200 Pro | Tecan, Männedorf, Swizerland | IN-MNANO