# Submission ID #: 61452

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18742908

Title: Optimized High-Quality DNA Extraction from Formalin-Fixed Paraffin-Embedded Human Atherosclerotic Lesions

Authors and Affiliations: Sabine Bauer1,2,4, Jessica Pauli1,2, and Jaroslav Pelisek 1,3

1Department for Vascular and Endovascular Surgery, Klinikum rechts der Isar, Technical University Munich

2Deutsches Zentrum für Herz-Kreislaufforschung (DZHK), partner site Munich Heart Alliance

3Department of Vascular Surgery, University Hospital Zuric

4Department of Experimental Cardiology, German Heart Centre, Technical University Munich

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Sabine Bauer

# s.bauer@tum.de

# Co-Authors:

jessica.pauli@tum.de

jaroslav.pelisek@usz.ch

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Lipid Dissolution and Deparaffinization

  - Begin by using a microtome to acquire five to eight 10-micron tissue sections from formalin-fixed paraffin-embedded samples [1], placing the sections into individual 1.5-milliliter tubes as they are collected [2].

    - WIDE: Talent at microtome, sectioning tissue

    - Talent placing tissue into tube

  - When all of the samples have been collected, centrifuge the tubes to collect each sample to the bottom of its tube [1-TXT] and add 300 microliters of commercially available incubation buffer and 6 microliters of 1-thioglycerol to each sample [2].

    - Talent placing tube(s) into centrifuge TEXT: 1 min, 5000 x g, RT

    - Talent adding buffer and/or 1-thioglycerol to tube, with buffer and 1-thioglycerol containers visible in frame

  - Then vortex for 10 seconds [1] and incubate the samples for 10 minutes in a heat block at 80 degrees Celsius and 500 revolutions per minute to solubilize paraffin [2].

    - Talent vortexing tube(s)

    - Talent placing tube(s) into heat block

- Sample and Protein Digestion and Cell lysis

  - At the end of the incubation, let the samples cool to 60 degrees Celsius [1] before adding 30 microliters of Proteinase K solution to each tube [2].

    - WIDE: Talent placing tubes into rack on bench

    - Talent adding proteinase K to tube(s), with proteinase K container visible in frame

  - After vortexing, incubate the mixture at 65 degrees Celsius and 500 revolutions per minute overnight in a heating block with occasional vortexing [1].

    - Talent placing tube(s) into heat block

  - The next morning, add 400 microliters of lysis buffer from the blood kit [1] and briefly vortex the tubes [2] before placing the tubes back into the 65-degree Celsius heat block for 30 minutes at 500 revolutions per minute [3].

    - Talent adding buffer to tube(s), with blood kit visible in frame

    - Tube(s) being vortexed

    - Talent placing tube(s) into heat block

  - Then let the sample cool to room temperature to allow the paraffin to harden [1].

    - Talent placing samples into rack

- Pre-Dispensed Cartridge Preparation

  - To prepare a pre-dispensed cartridge, turn on the machine and associated table computer [1] and start the software app [2].

    - WIDE: Talent turning on machine and/or computer

    - Talent starting software app, with monitor visible in frame

  - Click Door to open the instrument [1] and remove the rack [2].

    - Talent clicking door/opening instrument, with monitor visible in frame

    - Talent removing rack

  - Insert the pre-filled cartridge into the probe rack [1], making sure that the cartridge clicks twice as it is fit into place [2].

    - Talent inserting cartridge into probe rack

    - Cartridge being clicked into place Videographer/Video Editor: please include click sounds as possible

  - Remove the sealing foil [1] and add the plunger to the last well of the cartridge [2].

    - Foil being removed

    - Talent adding plunger to well

  - Then add 65 microliters of elution buffer to the provided 500-microliter elution tubes [1] and place the tubes into the dedicated position in the front part of the rack after the cartridge [2].

    - Talent adding buffer to tube(s), with buffer container and kit visible in frame

    - Talent placing tube(s) into rack

- Automated DNA Extraction

  - For automated DNA extraction, carefully puncture the paraffin on top of each sample tube [1] and transfer the entire 730-microliter volume of each sample to the appropriate wells of the cartridge without mixing the samples with the paraffin [2].

    - WIDE: Talent puncturing paraffin

    - Talent adding sample to well

  - When all of the samples have been loaded, insert the rack into the automated DNA extraction machine [1], taking care that the rack locks into the back of the machine first before clicking into the front [2].

    - Talent inserting rack

    - Rack locking into front than back of instrument

  - Click Start to begin the extraction [1]. A window with different pre-installed protocols will open [2].

    - Talent clicking Start, with monitor visible in frame

    - SCREEN: To be provided by Authors: Window appearing

  - Select Blood DNA protocol and click Yes to confirm that the plunger, elution tube, and sample have been added [1].

    - SCREEN: To be provided by Authors: Blood DNA protocol being selected and Yes being clicked

  - The door of the instrument will close automatically [1] and the run will start [2].

    - Door closing

    - Light turning green

  - At the end of the run, click the Door button to open the instrument [1] and remove the rack [2].

    - Talent clicking button, with monitor visible in frame

    - Talent removing rack

  - Discard the cartridges [1] and reinsert the empty rack into the instrument [2].

    - Talent discarding cartridge(s)

    - Talent inserting rack

  - Close the instrument door and the software app [1] and turn off the machine and tablet computer [2].

    - SCREEN: To be provided by Authors: Door button being clicked, then software being closed

    - Talent turning off machine and/or tablet

  - Then store the eluates according to the timing of the downstream analysis [1-TXT].

    - Talent placing eluate into storage TEXT: Short-term storage: 4 °C; long-term storage: -20 °C

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 196. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Fragmentation Analyses

  - In this representative analysis, the mean concentration of five tissue samples measured with micro-volume spectrometry [1] and microplate reader technology for DNA extracted with the semi-automated protocol [2] exhibited a significant, a four-times higher, concentration compared to column-based protocols [3].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2A

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Figure 2B

    - LAB MEDIA: Figure 2 Video Editor: please emphasize black data lines in Figures 2A and 2B

  - Similar results were found by using fluorimetric measurements [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize black data line in Figure 2C

  - Semi-automated DNA isolation provided samples with comparable and reproducible quality [1], whereas the DNA quality widely fluctuated using column-based isolation methods [2].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Kit C data bars in all graphs

    - LAB MEDIA: Figure 3 Video Editor: please emphasize Kit A and Kit B data bars in all graphs

  - Similar DNA fragmentation patterns were observed for all of the samples and in all three of the kits [1], with differences in DNA fragmentation observed depending on the amount starting material analyzed [2].

    - LAB MEDIA: Figure 4 Video Editor: please sequentially emphasize Kit A, Kit B, and Kit C data columns in Figure 4A

    - LAB MEDIA: Figure 4 Video Editor: please sequentially emphasize first 4 data points, then next 5, then next 5

  - Here the mean distribution of the fragment sizes [1] for the semi-automated cartridge system kit [2] as well as for the two manual kits are shown [3].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize bottom row

    - LAB MEIDA: Figure 5 Video Editor: please top two rows

  - Although no differences between the three isolation methods could be detected in the overall DNA fragmentation observed [1], the DNA isolated with the optimized semi-automated kit appears to be less fragmented [2] than the DNA isolated with the column-based kits [3].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5A

    - LAB MEDIA: Figure 5 Video Editor: please emphasize histograms in bottom row

    - LAB MEDIA: Figure 5 Video Editor: please histograms in top and middle rows

  - When the detectable fragments are displayed via agarose gel electrophoresis [1], both samples with large maximum fragments [2] as well as samples with only 200 base pairs of maximum fragments can be observed, independent of the extraction method used [3].

    - LAB MEDIA: Figure 6

    - LAB MEDIA: Figure 6 Video Editor: please emphasize samples 1, 2, and 8 in all Patient gels

    - LAB MEDIA: Figure 6 Video Editor: please emphasize samples 6 and 7 in all Patient gels

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.