# Submission ID #: 61463

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18746263

Title: Real-Time fMRI Brain Mapping in Animals

Authors and Affiliations: Sangcheon Choi1,2, Kengo Takahashi1,2, Yuanyuan Jiang1,3, Sascha Köhler4, Hang Zeng1,2, Qi Wang1,2, Yan Ma1,2, and Xin Yu1,3

1Max Planck Institute for Biological Cybernetics

2Graduate Training Centre of Neuroscience

3MGH/MIT/HMS Athinoula A. Martinos Center for Biomedical Imaging, Department of Radiology, Harvard Medical School, Massachusetts General Hospital

4Bruker BioSpin, Ettlingen

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Xin Yu

# xin.yu@tuebingen.mpg.de

# xyu9@mgh.harvard.edu

# Co-Authors:

sangcheon.choi@tuebingen.mpg.de

kengo.takahashi@tuebingen.mpg.de

yuanyuan.jiang@tuebingen.mpg.de

sascha.koehler@bruker.com

hang.zeng@tuebingen.mpg.de

qi.wang@tuebingen.mpg.de

yan.ma@tuebingen.mpg.de

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 15

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Anatomical Magnetic Resonance (MR) Image Measurement and Real-Time Functional MR Imaging (fMRI) Software Setup

  - To acquire anatomical images covering the whole brain in the coronal view, click the Scan button to run a T2-weighted RARE (rare) sequence [1-TXT].

    - WIDE: Talent clicking Scan button, with monitor visible in frame TEXT: RARE: rapid acquisition with relaxation enhancement

  - To set up the real-time fMRI (F-M-R-I) software, open a terminal window [1] and use the command to navigate to the real-time AFNI (A-F-N-I) plugin path [2].

    - Talent opening terminal window, with monitor visible in frame

    - SCREEN: To be provided by Authors: Command being entered, plug path being navigated TEXT: AFNI: analysis of functional neuroimages; script included in Supplementary files

  - Use the commands as indicated to execute the AFNI software with the real-time plugin [1].

    - SCREEN: To be provided by Authors: Commands being entered/software being executed

  - Use the Dimon command and options to monitor the upcoming AFNI BRIK files [1].

    - SCREEN: To be provided by Authors: Command and options being entered

  - Use the pvcmd (P-V-C-M-D) command with the options as indicated to run the background macro script [1].

    - SCREEN: To be provided by Authors: Command and options being entered

  - To obtain the EPI (E-P-I) acquisition parameters, use the exec pvcmd command and options [1-TXT].

    - SCREEN: To be provided by Authors: Command and options being entered TEXT: EPI: 3D echo-planar imaging

  - To convert the 3D echo-planar imaging raw data to AFNI files in real-time in the background macro script, use the exec to3d command and options, making sure that EPI geometrical information is consistent with the anatomy orientation [1].

    - SCREEN: To be provided by Authors: Command and options being entered, then shot of EPI geometrical information

- fMRI Response Visualization

  - To visualize response electrical stimulation responses by fRMI, turn on an electrical stimulus isolator [1-TXT] and use stimulation blocks to perform electrical forepaw stimulation for one evoked fMRI analysis [2-TXT].

    - WIDE: Talent turning on isolator TEXT: See text for rat preparation and scanner placement details

    - Forepaw being stimulated TEXT: e.g., 3Hz, 4s pulse width 300us, 2.5mA

  - At the end of the stimulation, click the Scan button to run a T2 star-weighted 3D EPI sequence for BOLD (bold)-fMRI imaging [1-TXT].

    - SCREEN: To be provided by Authors: Scan being clicked/performed TEXT: BOLD: blood-oxygen-level-dependent

  - To overlay the EPI images onto the anatomical RARE images, first use the command to convert the RARE images to an AFNI BRIK dataset [1] and use the script and options to register the EPI images to the anatomical images [2].

    - SCREEN: To be provided by Authors: Command being entered/images being converted

    - SCREEN: To be provided by Authors: Script and options being entered/images being registered

  - To process functional maps of the BOLD responses, use the command and options to calculate the deconvolution of the 3D plus time dataset with a specific stimulus time series [1].

    - SCREEN: To be provided by Authors: Command and options being entered, then deconvolution being calculated

  - Then, to visualize functional maps of the BOLD signals, select the Define Overlay option and use the Clusters function from the AFNI user interface menu to generate an interactive clustering in the AFNI software [1].

    - SCREEN: To be provided by Authors: Define overlay and Clusters being selected/clustering being generated

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 62. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Real-Time Voxel-Wise fMRI and Functional Maps of BOLD Responses

  - In this representative real-time voxel-wise BOLD-fMRI time course [1], the voxel-wise time course of the contralateral primary forepaw somatosensory cortex [2] corresponding to the block-design paradigm in the real-time acquisition format after electrical forepaw stimulation can be observed [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize black data line

    - LAB MEDIA: Figure 3 Video Editor: please emphasize red data line

  - As illustrated, activated BOLD maps corresponding to the electrical forepaw stimulation can also be generated [1] with the activated regions detected and displayed as colored clusters [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video Editor: please emphasize yellow and red sections of images

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.