## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
ANIMALS
Hirudo verbana | Leech.com, https://www.leech.com/collections/live-leeches |  | live leeches 2-3 grams
CHEMICALS
ARTIFICIAL POND WATER
CaCl2 | Sigma Aldrich | C5670-100G | 1.8 mM add last after adjusting pH
glucose | Sigma Aldrich | G7021-100G | 10 mM
HEPES | Sigma Aldrich | H4034-100G | 10 mM
Instant Ocean (sea salt ) | Spectrum Brands Inc., Madison, WI |  | 0.05% (w/v) diluted in deionized water
KCl | Sigma Aldrich | P9333-500G | 4 mM
NaCl | Sigma Aldrich | S7653-250G | 115 mM
NaOH 0.1 N Solution | Sigma Aldrich | 2105-50ML | Adjust to pH 7.4 with NaOH
MICROELECTRODES
K Acetate | Sigma Aldrich | P1190-100G | 2 M
KCl | Sigma Aldrich | P9333-500G | 20 mM
SALINE
EQUIPMENT
#5 Forceps | Fine Science Tools Dumont | 11251-30 OR 11251-20 | For general leech dissection
AxoClamp 2A/2B DCC electrometer | Axon Instruments Molecular Devices | 2A/2B | For recording of neuronal membrane potential and discontinuous current clamp
Black resin | Dow Sylguard | 170 | Lines general dissect dish
Capilary glass 1 mm outer diameter, 0.75 mm inner diameter | A-M Systems | 615000 | For fabricating sharp microelectrodes
Clear resin | Dow Sylguard | 184 | Lines Petri dish used to mount ganglion for electrophysilogy
Dark field condenser | Nikon | Dry 0.95-0.80 MBL 1210 | For illuminating the ganglion preparation during cell impalement
Digidata 1440A | Axon CNS Molecular Devices | 1440A | Performs A to D and D to A for data acquisition and stimulation during electrophysiology
Digital signal processing board | dSpace | CLP1104 | Our software implements all the conductances/currents in our model HN neuron on a DS1103 dSPACE PPC Controller Board in real-time at a rate of 20 kHz with a ControlDesk GUI (dSPACE, Paderborn, Germany)9.
Falming/Brown Microelectrode Puller | Sutter Instruments | P-97 | For fabricating sharp microelectrodes
Fiber-Lite high intensity illuminator | Dolan Jenner Industries | 170D | For illuminating the general dissection and for illuminating the ganglion preparation during cell impalement
Headstage amplifier for AxoClamp 2A | Axon Instruments | HS-2A Gain:0.1LU | Now part of Molecular Devices for recording of neuronal membrane potential and discontinuous current clamp
Light guide | Dolan Jenner Industries | Rev R 38 08 3729107 | For illuminating the general dissection and for illuminating the ganglion preparation during cell impalement
Micromanipulator | Sutter Instruments | MPC-385 | Micromanipulator for cell impalement with microelectrodes
Micromanipulator controller | Sutter Instruments | MPC-200 | Controls micromanipulators for cell impalement with microelectrodes
Minuten pins | BioQuip | 0.15 mm diameter 1208SA | Should be shortened by curtting to ~5 mm
Optical Breadboard 3' x 5' x 8" | Newport | Obsolete | With the 4 pneumatic Isolators below used to construct a vibration free workspace for electrophysiology
Oscilloscope | HAMEG Instruments | HM303-6 | To monitor electrode setteling during DCC
Pascheff-Wolff spring scissors | Moria |  | Supplied by Fine Science Tools (Foster City, CA) catalog # 15371-92
pClamp 9 Software | Axon Instruments | 9 | Now part of Moleculear Devices uses the Digidata 1440 for data acquisition and stimulation during electrophysiology
Pneumatic Isolators 28" | Newport | Obsolete | With optical breadboard used to construct a vibration free workspace for electrophysiology
Simulink / MATLAB software | MathWorks | 2006 (Obsolete) | Implements dynamic clamp on the digital signal processing board
Stereomicroscope | Wild | M5A | 10x Eye Pieces used for dissecting the leech and removingand desheathing ganglia
Steromicroscope | Wild | M5 | 20x Eye Pieces used in electrophysiologcal station to visualize neuron for microelectrode penetration
Student Vannas Spring Scissors | Fine Science Tools | 91500-09 | For general leech dissection