TITLE

Contribution of the Na/K pump to rhythmic bursting, explored with modeling and dynamic clamp analyses.

AUTHORS AND AFFILIATIONS:

Ricardo Javier Erazo Toscano1,2, Parker J. Ellingson2, Ronald L. Calabrese*1, and Gennady S. Cymbalyuk*2

1Department of Biology, Emory University, Atlanta GA 30322 USA

2Neuroscience Institute, Georgia State University, Atlanta GA 30303 USA

*These authors equally co-directed the research.

Correspondence to: Ronald L. Calabrese at biolrc@emory.edu

Keywords: bursting activity, dynamic clamp, hybrid systems, leeches, modulation, Na/K pump, neuronal models

e-mail

Ricardo Javier Erazo Toscano: rerazotoscano@gsu.edu

Parker Ellingson: pellingson1@student.gsu.edu

Ronald L. Calabrese; biolrc@emory.edu

Gennady S. Cymbalyuk: gcymbalyuk@gsu.edu

SUMMARY

Presented here is a method for manipulating the Na/K pump and persistent Na current in leech heart interneurons using dynamic clamp.

ABSTRACT

The Na/K pump, often thought of as a background function in neuronal activity, contributes an outward current (Ipump) that responds to the internal concentration of Na+ ([Na+]i). In bursting neurons, such as those found in central pattern generators (CPGs) neuronal networks that produce rhythmic movements, one can expect the [Na+]i and thus Ipump to vary throughout the burst cycle. This variation with electrical activity and the independence from membrane potential endow Ipump with dynamical properties not available in channel-based currents (e.g. voltage- or transmitter- gated, or leak channels). Moreover, in many neurons the pump’s activity is modulated by a variety of modulators further expanding the potential role of Ipump in rhythmic bursting activity. Here we will show how to use a combination of modeling, and dynamic clamp methods to determine how Ipump and its interaction with persistent Na current influence rhythmic activity in a CPG. Specifically, we will focus on a dynamic clamp protocol and computational modeling methods in heart interneurons of medicinal leeches.

Video Link

The video component of this article can be found at http://www.jove.com/video/

INTRODUCTION

Heartbeat in leeches is driven by a central pattern generator (CPG) consisting of 9 bilateral pairs of heart interneurons (HN) distributed across as many mid-body segmental ganglia.  At the core of the CPG are mutually inhibitory pairs interneurons in the 3rd and 4th segmental ganglia that form half-center oscillators (HCOs) (Figure 1A) but retain rhythmic bursting when synaptically isolated pharmacologically using bicuculline1. Others, such as the pair in the 7th segmental ganglia – the focus of this protocol are independent bursters receiving only descending input and thus easily isolated by severing the ganglion from the rest of the nerve cord. This independent bursting activity is sensitive to introduced leak current caused by penetration with sharp microelectrodes for recording but vigorously burst when recorded with loose patch methods1.

We have previously modeled both individual HN neurons and HN HCOs (Hodgkin-Huxley based single isopotential compartment models of HN neurons containing all known voltage-gated and synaptic currents) and successfully captured all the burst characteristics of living system2. Myomodulin, an endogenous neuropeptide in leeches, markedly decreases period (T) of the burst rhythm of isolated HN neurons and HN HCOs. This modulator acts to increase h current (hyperpolarization-activated inward current, Ih) and to decrease Ipump3. This observation led us to explore how Ipump interacts with Ih, and their co-modulation contributes to rhythmic activity of HN neurons. We found that activation of the pump by increasing [Na+]i (using the ionophore monensin) speeds the HN burst rhythm in both HN HCOs and isolated HN neurons4. We also found that this speed up was dependent on Ih; when Ih was blocked (2mM Cs+) then the burst period was not altered by this method of pump activation, but the burst duration (BD) was curtailed and the interburst interval (IBI) increased in both HN HCOs and isolated HN neurons4.

The goal of the protocol described here is to manipulate Ipump precisely and reversibly in real time to discover how it interacts with voltage gated currents (in the current protocol persistent Na current) to control rhythmic bursting in single heart interneurons. To accomplish this goal we use dynamic clamp, which artificially introduces, upon command, a precise amount of any current that can be calculated as the model is running. This method has advantage over pharmacological manipulation of the pump, which affects the entire tissue, can have off target effects, are often hard to reverse, and cannot be precisely manipulated in amount. Dynamic clamp5,6 reads the voltage of a recorded neuron in real time (Figure 1B) and calculates and injects in real time the amount of any current based on model equations and the set values of any gx or Ixmax. Similar methods can easily be applied to any neuron that can be recorded intracellularly but parameters will have to be rescaled to the neuron chosen and the neuron should be isolated from synaptic inputs, e.g. pharmacologically.

PROTOCOL

Invertebrate animal experimental subjects are not regulated by the NIH or Emory and Georgia State Universities. All measures are nevertheless taken to minimize suffering of the leeches used in this work.

1. Prepare isolated Ganglion 7 from the leech nerve cord

1.1. Maintain leeches Hirudo verbana in artificial pond water (0.05% (w/v) sea salt) diluted in reverse osmosis water at 16o on a 12:12 light-dark cycle.

1.2. Prepare leeches for dissection, by cold-anesthetizing in a bed of crushed ice >10 minute until immobile.

1.3. Fill a black resin lined dissecting dish submerge to a depth of ~1cm with chilled saline with 115 NaCl, 4 KCl, 1.7 CaCl2, 10 D-glucose, and 10 HEPES (in mM); pH adjusted to 7.4 with 1 M with NaOH. Pin the leech dorsal side up in a black resin lined chamber at least 20 x 10 cm with a depth of at least 2 cm above the resin and the resin at least 2 cm thick.

1.4. Under a steromicroscope at 20 X magnification with oblique light guide illumination, make a longitudinal cut at least 3 cm long with 5 mm spring scissors through the body wall in the rostral 1/3 of the body.

NOTE: Any stored blood meal can be removed by suction with a fire polished Pasteur pipette.

1.5. Use pins to pull aside the body wall and expose internal organs. Isolate an individual mid-body ganglion 7 (seventh free segmental ganglion caudal to the brain).

1.6. Open the sinus in which the nerve cord resides using the 5 mm spring scissors. Be sure to split the sinus dorsally and ventrally leaving two strips of sinus. Use sharp #5 forceps to help guide the cutting and hold the sinus.

1.6.1. Keep the sinus attached to each of the two bilateral nerve roots that emerge from the ganglion (it adheres tightly to each root), because these strips of sinus will be used for pinning out the ganglion.

1.7. Remove the ganglion from the body by cutting the rostral and caudal connective nerve bundles that link the ganglia as far from the 7th ganglion as possible and the sinus strips, and then cut the roots lateral to where they emerge from the sinus.

1.8. Pin (using old blunted #5 forceps) with shortened minuten insect pins, ventral side up, in clear resin lined petri dishes. Insert pins in the strips of sinus and loose tissue adhering to the roots and the rostral and caudal connectives as far from the ganglion as possible. Make sure the ganglion is taught both longitudinally and laterally.

1.9. Increase the magnification of the steromicrosciope to 40 X or greater, and adjust the oblique illumination so the neuronal cell bodies can be easily seen on the ventral surface of the ganglion just below the perineurium.

1.10. Remove the perineurium (desheath) the ganglion with microscissors. Start the desheathing by cutting the loose sheath between the roots on one side and continue the cut laterally to the other side making sure to keep the scissor blades superficial and not harm the neuronal cell bodies directly beneath the sheath.

1.11. Make a similar superficial cut caudally from the lateral cut along the midline. Then grab the caudolateral flap of sheath on one side with the fine #5 forceps and pull it away from the ganglion and cut it off with the microscissors.

1.12. Repeat on the other side; this exposes both HN(7) neurons for recording with microelectrodes.

1.13. Place the preparation dish in the recording setup and superfuse with saline at a flow rate of 50mL/min at room temperature.

2. Identify and record leech heart interneurons with sharp microelectrodes

2.1. For the duration of the recording of HN(7) neuron (recordings last between 30 to 60 minutes), acquire and digitize the intracellular current and voltage traces from a neurophysiological electrometer sampling at rate of 5 KHz with a digital data acquisition (A to D) and stimulation (D to A) system and display on a computer screen.

2.2. Under a steromicroscope at 50 to 100X with dark field illumination (from below), tentatively identify a HN(7) neuron of the bilateral pair by its canonical location at the posteriolateral position in midbody ganglion seven.

2.3. Now aim to penetrate the putative HN(7) neuron with a sharp microelectrode filled with 2 M K Acetate am 20 mM KCl using a micromanipulator.

2.4. Place the microelectrode very near the target cell body. Continuously observe the recorded potential with the electrometer and set this potential to zero mV before penetrating the neuron.

2.5. Penetrate the neuron with the microelectrode along a single axis of movement of the manipulator moving slowly and using the electrometer buzz function set a 100 ms until a negative shift in membrane potential and spiking is observed.

2.6. Set the electrometer in discontinuous current clamp mode (DCC) ≥ 3 KHz to simultaneously record membrane potential and pass current with the single microelectrode (capacity compensation set to just below ringing and then dialed back 10%). Inject a steady current of 0.1 nA with the electrometer steady current injector for a minute or two to stabilize the recording.

2.7. Definitively identify the HN(7) neuron is by its characteristic spike shape and weak bursting activity (Figure 1C).

2.8. Perform any data analysis offline after the experiment is completed and all data is stored to disk.

3. Build a real time HN or other model neuron

3.1. Custom build the software using a digital signal processing board (DSB) in a desk-top computer to implement in real time the model currents described in2,4 or different model currents for other neurons/experiments.

3.2. Use Hodgkin-Huxley style equations as these are the generally preferred method for representing model currents. See7 for a detailed description of the implementation of the real time HN model and dynamic clamp prior to the addition of the pump current.

[Explanatory Note: All the currents of a living HN(7) neuron, including the pump current, Ipump, are incorporated in the HN model as follows:

CdVdt=-INa+IP+IK1+IK2+IKA+Ih+ICaF+ICaS+ILeak+Ipump		(1)

where C is the membrane capacitance (in nF), V is the membrane potential (in V), t is time (in s). See2,4 for detailed ionic current descriptions and equations. The complete HN model neuron runs in real time (Figure 2). The software will be made available on GitHub upon publication suitable to run on the digital signal process board described in the Table of Materials.

Here the focus of enquiry is the Na+/K+ pump (Ipump) current and voltage-gated currents contributing significant Na+ flux: a fast Na+ current (INa), a persistent Na+ current (IP).

The Na+/K+ pump exchanges three intracellular Na+ ions for two extracellular K+ ions, thus producing a net outward current; importantly it exchanges 3 time as much Na+ as this current indicates, which is important for calculating the intracellular Na+ concentration. The Na+/K+ pump current depends on intracellular Na+ concentrations, and is expressed with the following sigmoidal function:

Ipump=Ipump max1+expNaih-NaiNais 			(2)

where [Na]i is the intracellular Na+ concentration, Ipump max is the maximum Na+/K+ pump current, [Na]ih is the intracellular Na+ concentration for the half-activation of the Na+/K+ pump, and [Na]is the sensitivity of the Na+/K+ pump to [Na]i. Intracellular Na+ concentration that occur as a result of the Na+ fluxes carried by ionic currents and the Na/K pump (The contribution of Ih and ILeak to the Na+ flux is small and not considered in the real-time model.):

dNaidt=-IP + INa  + 3 IpumpvF  			(3)

where, v is the volume (~6.7 pL) of the intracellular Na+ reservoir, F is Faraday’s constant, and the extracellular Na+ concentration is kept constant.

We differentiate between voltage-gated and leak conductances and the pump current which is regulated by calculated intracellular Na+ concentration ([Na+]i). [Na+]i is built up through Na+ entry via the fast Na current (INa) that produces action potentials (spikes) and the persistent Na current (IP) that provides the depolarization to support spiking. [Na+]i is in turn reduced by the action of the pump – extrusion of Na+.]

4. Implement and vary dynamic clamp conductances/currents

4.1. Use the custom built dynamic clamp software for the DSB to implement and then change in real time dynamic clamp any of the GUI (Figure 3) accessible programed conductances/currents of the HN real-time model of the HN(7) neuron.

4.2. Use GUI entry boxes in the software (Figure 3) to make changes as the model is running in the Ipumpmax and gP.

4.2.1. First add small amounts of Ipumpmax and gP with dynamic clamp to stabilize bursting of the HN(7) neuron (Figure 1C), which is weakened by microelectrode induced leak.

NOTE:

4.2.2. Start by adding a baseline value of Ipump (Ipumpmax  = 0.2 nA), which makes up for the microelectrode induced leak but depresses excitability, and then gradually increase gP, which increases excitability, until regular bursting ensues usually about 1-4 nS (Figure 4).

4.2.3. Now systematically co-vary these currents (0.1 nA steps Ipumpmax and 1 nS steps gP) to the recorded HN(7) neuron with dynamic clamp (Figure 3) and assess their effects on burst characteristics: spike frequency (f – reciprocal of the average of the interspike interval during a burst), interburst interval (IBI – time between the last spike in one burst to the first spike in the next burst), burst duration (BD – time between the first spike in a burst and the last spike in a burst), burst period (T – time between the first spike in a burst and the first spike in the subsequent burst).

4.2.4. Change these values, to become familiar with the technique and then venture out. Specifically holding a fixed value of Ipumpmax sweep through 1 nS steps of gP. Now increase the fixed value of Ipumpmax by 0.1 nA and again sweep through gP). Each parameter pair must be implemented for at least 8 bursts so that reliable average measures of f, IBI, BD, and T can be made.

4.2.5. Continue with sweeps for as long as the neuron remains viable as assessed by strong spiking and a stable baseline potential of oscillation. Collect data from several neurons (from different animals) to generate a composite graph like in Figure 5.

Representative Results

Modeling with the addition of Ipump4 brought the experimental findings presented in Introduction into sharper focus and began to explain the pump-assisted mechanism of bursting. The real time model demonstrated here has been tuned (gx or Ixmax parameters chosen) so that it produces regular rhythmic activity falling within the bounds of normal activity as observed in experiments – spike frequency (f), IBI, BD, T) and continues to produce such activity when the myomodulin-modulated parameters Ipumpmax (the maximal pump current) and gh (maximal h conductance) are varied or co-varied in the model. The parameters values determined can be used as a benchmark or canonical set for modeling experiments. In these model instances Ipump oscillates throughout the burst cycle as [Na+]i around a baseline level. Ipump contributes to burst termination during the burst phase and activates Ih during the IBI; notice its maximal level near burst initiation (Figure 2).

The real-time HN model has all implemented currents2,4 available for dynamic clamping but here the focus was on Ipumpmax and gP which are changeable on the fly in the dynamic clamp GUI (Figure 3). Dynamic clamp allows the experimenter to add or subtract (negative gx or Ixmax) any conductance or current into a neuron artificially that mimics the voltage and ionic dependence of a real conductance or current. Thus, it is possible to fully explore how a particular conductance/current interacts with the cells endogenous conductances/currents.

The real time HN model indicates that the persistent Na current (IP) in HN neurons contributes much of the Na+ entry determining [Na+]i (Figure 2) and thus Ipump. Because IP is active at relatively negative membrane potentials, it opposes Ipump even during the IBI. These observations indicate that it is instructive to explore interactions between Ipumpmax and gP in isolated HN neurons with dynamic clamp as in 8,9.10. These experiments (currently continuing) are performed with sharp microelectrodes recordings in single synaptically isolated HN(7) neurons (seventh ganglion severed from the nerve cord). Thus far these experiments show that robust bursting is restored in tonically active HN neurons (due to microelectrode penetration introduced leak) by co-addition of IP and Ipump with dynamic clamp (Figure 4). This is an important observation indicating that a bursting mechanism is available in these neurons (even when leak compromised) that results from the interaction of Ipump and IP. Preliminary results indicate a strong complicated space of interaction, which can be explored in model and experiment (Figure 5).

We conclude:

- Ipump in response to periodic increases in [Na+]i during bursting activity contributes to the burst rhythm through burst termination (decreasing BD).

- Interaction of IP and Ipump constitutes a mechanism which is sufficient to support endogenous bursting activity; this mechanism can reinstate robust bursting in HN interneurons recorded intracellularly in ganglion 7.

- The interaction between IP and Ipump through [Na+]i affects HN burst period non-monotonically and ensures robustness of autonomous bursting.

- These conclusions are in line with experiments and modeling in vertebrate systems11,12.

Discussion

Modeling, dynamic clamp, and the resulting analyses that it enables are useful techniques for exploring how individual and groups of ionic conductance/currents contribute to the electrical activity of neurons. The herein demonstrated use of these techniques shows how the Na/K pump’s current (Ipump) interacts with voltage-gated currents, particularly the persistent Na current (IP) to promote robust bursting in the leech heartbeat pattern generator’s core heart interneurons. By adding dynamic clamp experiments to modeling it is possible to test models in way that are not possible with ordinary voltage recording and current clamp techniques. The results gathered in the dynamic clamp experiments (Figure 5) will be used to further refine the HN model. The basic method of dynamic clamping demonstrated here can be customized to reflect the properties of any neuron under study as long and a mathematic model of neuronal currents can be determined with voltage clamp experiments.

To be successful in implementing experiments of the type shown here require carful impalement of a HN or other neuron when using a sharp microelectrode, because strong bursting is curtailed by the electrode penetration1. (Whole cell patch recording techniques, which minimize introduce leak, are also applicable to other neurons but do not work well on leech neurons.) It is critical that the impalement of the HN neuron cause minimal damage to the neuron (added leak) and input resistance should be monitored and must be in the range of 60 - 100 MOhms for successful experiments4.

Dynamic clamp is a powerful technique, but it has limitations imposed by neuronal geometry because the artificial conductances are implemented at the site of the recording electrode – usually the cell body – not at the site where rhythm-generating currents are usually localized5,6,10. In leech HN neurons, the cell body is electrically close to integration zone (main neurite) of the neuron where most active currents are localized, and spikes are initiated.

Disclosures

None

Acknowledgements

We thank Christian Erxleben for preliminary dynamic clamp experiments on HN(7) neurons that demonstrated their bursting capabilities. Angela Wenning aided the experiments with expert advice.

References

1. Cymbalyuk, G. S., Gaudry, Q., Masino, M.A., & Calabrese, R. L. Bursting in leech heart interneurons: cell-autonomous and network-based mechanisms. Journal of Neuroscience. 22, 10580-10592 (2002).

2. Hill, A. A., Lu, J., Masino, M. A., Olsen, O. H., Calabrese, R. L. A model of a segmental oscillator in the leech heartbeat neuronal network. Journal of Computational Neuroscience. 10, 281-302 (2001).

3. Tobin, A. E., & Calabrese, R. L. Myomodulin increases Ih and inhibits the NA/K pump to modulate bursting in leech heart interneurons. Journal of Neurophysiology. 94, 3938-3950 (2005).

4. Kueh. D., Barnett, W. H., Cymbalyuk, G. S., & Calabrese, R. L. Na(+)/K(+) pump interacts with the h-current to control bursting activity in central pattern generator neurons of leeches. eLife. Sep 2;5. pii: e19322. doi: 10.7554/eLife.19322 (2016).

5. Sharp, A. A., O'Neil, M. B., Abbott, L. F., & Marder, E. Dynamic clamp: computer-generated conductances in real neurons. Journal of Neurophysiology. 69, 992-995 (1993).

6. Prinz, A. A., Abbott, L. F., & Marder, E. The dynamic clamp comes of age. Trends in Neuroscience. 27, 218-224 (2004).

7. Barnett, W., & Cymbalyuk, G.  Hybrid Systems Analysis: Real-Time Systems for Design and Prototyping of Neural Interfaces and Prostheses. From: Biohybrid Systems: Nerves, Interfaces, and Machines, pp. 115-138. R. Jung, ed., Wiley VCH Verlag, Weinheim (2011).

8. Sorensen, M., DeWeerth, S., Cymbalyuk, G., & Calabrese, R. L. Using a hybrid neural system to reveal regulation of neuronal network activity by an intrinsic current. Journal of Neuroscience. 24, 5427-5438 (2004).

9. Olypher, A., Cymbalyuk, G., & Calabrese, R. L. Hybrid systems analysis of the control of burst duration by low-voltage-activated calcium current in leech heart interneurons. Journal of Neurophysiology. 96, 2857-2867 (2006).

10. Calabrese, R. L., & Prinz, A. A. Realistic modeling of small neuronal networks. From: Computational Modeling Methods for Neuroscientists, pp. 285-316. E. DeSchutter, ed., MIT Press, MA, (2010).

11. Rybak, I. A., Molkov, Y. I., Jasinski, P. E., Shevtsova, N. A., & Smith, J.C. Rhythmic bursting in the pre-Bötzinger complex: mechanisms and models. Progress in Brain Research. 209, 1-23 (2014).

12. Picton, L. D., Nascimento, F., Broadhead, M. J., Sillar, K. T., & Miles, G. B. Sodium Pumps Mediate Activity-Dependent Changes in Mammalian Motor Networks. Journal of Neuroscience. 37, 906-921 (2017).

Figure 1

Figure 1. Leech heart interneuron electrical activity and implementation of Ipump and gP with dynamic clamp. (A) Normal bursting activity recorded extracellularly and intracellulary in a leech heartbeat HCO from a third ganglion; schematic of the recorded neuron and their mutually inhibitory synaptic connections at right. (B) Dynamic clamp schematic when recording a HN(7) interneuron in an isolated ganglion 7; note there is no synaptic interaction between the two HN(7) interneurons. (C) Bursting in a leak compromise HN(7) interneurons recommenced by adding a baseline value of Ipump (Ipumpmax = 0.2 nA), which makes up for the microelectrode induced leak but depresses excitability, and gP, which increases excitability, until regular bursting ensues (4 nS). Black dashed lines indicate baseline values.

Figure 2

Figure 2. Single cell HN interneuron model showing traces for membrane potential (Vm), Ih, Ipump, [Na+]i, and IP. Outward hyperpolarizing currents are negative and inward depolarizing currents are positive. Black dashed lines indicate baseline values.

Figure 3

Figure 3. GUI of real time HN model and dynamic clamp implemented on a digital signal processing board.

Upper Left: Red Math are user-determined parameter boxes are for the real time model whereas Blue Live are user-determined parameter boxes are for the dynamic clamp. El, reversal potential of the leak current; Gl, leak conductance; Gh, h current maximal conductance; Gp, P current maximal conductance; GCaS, slow calcium current maximal conductance; PumpMax, pump maximal current; [GSyn2 maximal synaptic conductance to the respective neuron; ThreshSyn2 spike crossing threshold for mediating a synaptic potential – these used to make a hybrid half center oscillator and not illustrated here.]. Lower Left for Dynamic Clamp. At the very left are 5 computed values of dynamic clamp variables IPump, pump current injected; Ih, h current injected (not used here); IP, P current injected; NaI, calculated internal Na concentration; ENa, calculated sodium reversal potential. Lower Left for Dynamic Clamp. To the right of the computed variables are 6 user determined parameter boxes; GNa, assumed endogenous fast sodium maximal conductance use to calculate Na+ flux associated with action potentials; PumMaxL, maximal pump current to be injected by dynamic clamp; Naih see equation (2); Gh, maximal conductance to determine h current to be injected by dynamic clamp; Gp, assumed endogenous p maximal conductance use to calculate Na+ flux associated with endogenous P current; GpinHNLive, maximal conductance to determine P current to be injected by dynamic clamp.

Figure 4

Figure 4. Dynamic clamp analysis of independent HN(7) bursting. Upregulation of gP from 4.0 to 9.0 nS slows down the independent HN burst rhythm. Experimental traces show rhythmic bursting in isolated HN(7) neuron with dynamic clamp. The ranges of oscillation of [Na+]i and Vm increase with upregulated gP. Traces top to bottom: recorded Vm, injected Ipump, calculated [Na+]i, and injected IP. Black dashed lines indicate baseline values.

Figure 5

Figure 5. Dynamic clamp analysis of independent HNHN model bursting. Upregulation of gP tends to decrease, and then increase HN burst period. Colors represent levels of across Ipumpmax.

Figure Legends

Figure 1. Leech heart interneuron electrical activity and implementation of Ipump and gP with dynamic clamp.

(A) Normal bursting activity recorded extracellularly and intracellulary in a leech heartbeat HCO from a third ganglion; schematic of the recorded neuron and their mutually inhibitory synaptic connections at right. (B) Dynamic clamp schematic when recording a HN(7) interneuron in a isolated ganglion 7; note there is no synaptic interaction between the two HN(7) interneurons. (C) Bursting in a leak compromise HN(7) interneurons recommenced by adding a baseline value of Ipump (Ipumpmax  = 0.2 nA), which makes up for the microelectrode induced leak but depresses excitability, and gP, which increases excitability, until regular bursting ensues (4 nS). Black dashed lines indicate baseline values.

Figure 2. Single cell HN interneuron model showing traces for membrane potential (Vm), Ih, Ipump, [Na+]i, and IP.

Outward hyperpolarizing currents are negative and inward depolarizing currents are positive. Black dashed lines indicate baseline values.

Figure 3. GUI of real time HN model and dynamic clamp implemented on a digital signal processing board.

Upper Left: Red Math are user-determined parameter boxes are for the real time model whereas Blue Live are user-determined parameter boxes are for the dynamic clamp. El, reversal potential of the leak current; Gl, leak conductance; Gh, h current maximal conductance; Gp, P current maximal conductance; GCaS, slow calcium current maximal conductance; PumpMax, pump maximal current; [GSyn2 maximal synaptic conductance to the respective neuron; ThreshSyn2 spike crossing threshold for mediating a synaptic potential – these used to make a hybrid half center oscillator and not illustrated here.]. Lower Left for Dynamic Clamp. At the very left are 5 computed values of dynamic clamp variables IPump, pump current injected; Ih, h current injected (not used here); IP, P current injected; NaI, calculated internal Na concentration; ENa, calculated sodium reversal potential. Lower Left for Dynamic Clamp. To the right of the computed variables are 6 user determined parameter boxes; GNa, assumed endogenous fast sodium maximal conductance use to calculate Na+ flux associated with action potentials; PumMaxL, maximal pump current to be injected by dynamic clamp; Naih see equation (2); Gh, maximal conductance to determine h current to be injected by dynamic clamp; Gp, assumed endogenous p maximal conductance use to calculate Na+ flux associated with endogenous P current; GpinHNLive, maximal conductance to determine P current to be injected by dynamic clamp.

Figure 4. Dynamic clamp analysis of independent HN(7) bursting.

Upregulation of gP from 4.0 to 9.0 nS slows down the independent HN burst rhythm. Experimental traces show rhythmic bursting in isolated HN(7) neuron with dynamic clamp. The ranges of oscillation of [Na+]i and Vm increase with upregulated gP. Traces top to bottom: recorded Vm, injected Ipump, calculated [Na+]i, and injected IP. Black dashed lines indicate baseline values.

Figure 5. Dynamic clamp analysis of independent HN(7) bursting.

Upregulation of gP tends to decrease, and then increase HN burst period. Colors represent levels of across Ipumpmax.