- 61481_screenshot_1

  - 3.3.1 (Talent at the computer starting the imaging software. (screen capture of opening software)) 00:05 – 00:50

- 61481_screenshot_2

  - 3.5.1 (AlexaFluor 488 selected in the dyes list.) 00:06-00:30

- 61481_screenshot_3_take2

  - 3.6.1 (HV, gain, and offset selected; Laser power adjusted to 5%; Pinhole size set to 300 micrometers and focus x2 scanning selected.) 00:04 – 00:48

- 61481_screenshot_4

  - 3.7.1 (Stage moved and image refocused.) 00:01 – 00:43

- 61481_screenshot_5

  - 3.8.1 (Image clipped, Interval window set, and Num window set) 00:04 – 00:38

- 61481_screenshot_6

  - 3.9.1 (Time option and XYt option selected and imaging initiated) 00:03 – 00:20

- 61481_screenshot_7

  - 3.10.1 (Series Done selected and movie saved) 00:15 – 00:58