## Hoja1
Microscope Type: | Epifluorescence Microscope Olympus BX53
Light Source: | High-pressure 130 W mercury arc lamp (U-HGLGPS)
Acquisition Software: | CellSens Standard
Filters Sets: | Catalog Number |  | Excitation Range | Dichromatic mirror | Suppression Range
| U-FUW |  | 340 - 490 nm | 410 nm | 420 nm
| U-FBW |  | 460 - 495 nm | 505 nm | 510 nm
| U-FGW |  | 530 - 550 nm | 570 nm | 575 nm
Camera: | Model: |  | CCD-camera UC50
| Spectral range: |  | 290 – 1000 nm
| CCD chip size: |  | 2/3 in, 2588 (Width *7) X 1960 (Height *8) pixels
| Pixel Size: |  | 3.4 X 3.4 µm
Fluorochrome: | Name |  | Excitation Wavelength (nm) | Emission *3 Wavelength (nm) | Emission Color
| 4, 6-diamidino-2-phenyl-indole HCI (DAPI) |  | 345 | 455 | Blue
| Tetramethylrhodamine-isothyocyanate (TRITC) |  | 541 | 572 | Red
| Fluorescein-isothiocyanate (FITC) |  | 494 | 519 | Green
| Cy3 |  | 552 | 565 | Red
Mounting Medium and immersion oil: | Name |  |  | Indexof refraction of the media *1
| Air (nothing between the slide and the lens) |  |  | 1.0003
| Antifade Mounting Medium with DAPI |  |  | 1.45
| Permount Mounting Medium |  |  | 1.519
| Low autofluorescence immersion oil (MOIL-30 Type F) |  |  | 1.518
Magnification Lens (Plan Fluorite) | Magnification | Numerical Aperture (NA) *2 | Resolution (µm) | Image pixel spacing (nm) *5 | Slice spacing Z-axis (nm) *6
| 4X | 0.13 | 2.12 | 850 | 3000
| 10X | 0.3 | 0.92 | 340 | 3000
| 20X | 0.5 | 0.55 | 170 | 2000
| 40X | 0.75 | 0.37 | 85 | 1000
| 100X | 1.3 | 0.21 | 34 | 1000