Previously:

| 3. | Around 4:12 | Text shows” Anesthesia: ketamine 80 mg/kg + xylazxine 8mg/kg i.p.” but this is used to sedate the mouse (put it to sleep) which was done off camera. The video shows drops being added to anesthesize the cornea and for dilation. | Show the text of ketamine and xylazine on a black background prior to showing the video of the dilation drops being added with the appropriate voice over description. |
| --- | --- | --- | --- |

Now at the same location (4:15) There is a typo

Anesthesia: ketamine 80 mg/kg + xylazine 8 mg/kg i.p.

Previously:

| 4. | 7:18 | 7:18 the image shown is an example of unacceptable drift in the recording. This is NOT an example of bubbles eliminated using the vacuum chamber prior to assembling the microelectrode holder. A more suitable image for this voice over would be Figure 1D which has the raw traces recorded showing low peak to peak noise and low drift. Alternatively, if the image of the abrupt drift will be shown (current image shown) a more appropriate voice over description would be ”when bubbles detach from the surface of the glass and move along the length of the electrode this causes abrupt changes in the direction of the baseline drift that cannot be compensated by drift subtraction.” This probably makes more sense to show since the following images describe how the drift subtraction is performed. | Either change the image shown or more preferably change the audio voice over. |
| --- | --- | --- | --- |

At 7:31-7:32 the image shown is an example of unacceptable drift in the recording.  This cannot be corrected by drift subtraction.  The camera than pans to show an example of drift subtraction.  Please omit showing the image at 7:31 as it is misleading.  Please just skip ahead and show the drift subtracted example at 7:34.