Dear Dr. DSouza,

Thank you very much for handling our manuscript and for providing us with valuable advice.

We are grateful that all reviewers found our protocol useful and that it will help plant scientists working with inositol phosphate research interested in employing this method.

We are also grateful for the reviewers’ concerns and believe that they helped to substantially improve the quality of our manuscript.

Please find a point-by-point response to the reviewers’ comments below. Corresponding changes in the manuscript are highlighted in red.

We hope that with the additional data and information, our revised manuscript now meets the high standards for publication in JoVE.

With best regards,

Philipp Gaugler

Dear Dr. Gaugler,

Your manuscript, JoVE61495 "Extraction and quantification of soluble, radiolabeled inositol polyphosphates from different plant species using SAX-HPLC," has been editorially and peer reviewed, and the following comments need to be addressed. Note that editorial comments address both requirements for video production and formatting of the article for publication. Please track the changes within the manuscript to identify all of the edits.

After revising and uploading your submission, please also upload a separate rebuttal document that addresses each of the editorial and peer review comments individually. Please submit each figure as a vector image file to ensure high resolution throughout production: (.psd, ai, .eps., .svg). Please ensure that the image is 1920 x 1080 pixels or 300 dpi. Additionally, please upload tables as .xlsx files.

Your revision is due by May 01, 2020.

To submit a revision, go to the JoVE submission site and log in as an author. You will find your submission under the heading "Submission Needing Revision". Please note that the corresponding author in Editorial Manager refers to the point of contact during the review and production of the video article.

Best,

Alisha DSouza, Ph.D.
Senior Review Editor
JoVE
617.674.1888
Follow us: Facebook | Twitter | LinkedIn

____________________________________
You will find Editorial comments and Peer-Review comments listed below. Please read this entire email before making edits to your manuscript.
NOTE: Please include a line-by-line response to each of the editorial and reviewer comments in the form of a letter along with the resubmission. 

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

• Protocol Highlight: The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Response: We believe that our protocol has all the specific details included that are necessary to replicate the methodology with a different technical setup. We decided not to give precise instructions on how exactly the HPLC components are started (e.g. button clicks), since most likely other scientists using our protocol will have their own setup, which will be controlled differently. We recommend to get acquainted with the respective HPLC setup available and how it is controlled before the first try with our protocol and with this method in general. Furthermore, we did not highlight steps in the protocol that we judge to be easily understandable or that are routinely performed in a lab working with plants (e.g. seed sterilization). We believe this will keep the video concise and with a focus on the complex steps that profit the most from being shown in a video, while still having a cohesive and logical narrative. Similarly, in the discussion we mainly focussed on the described method, not only mentioning the critical steps and potential difficulties that can be encountered, but also providing additional information about limitations and advantages of our protocol, especially compared to other existing methods. Furthermore, we suggested future applications and indicated where and how further improvements could be applied to this protocol.


• References: Please spell out journal names.

Response: We thank the editor for making us aware of this and changed the names accordingly.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Comments from Peer-Reviewers: 

Reviewer #1: 
Manuscript Summary:
This is a very useful protocol for scientists who work with inositol phosphates. Analysis of IPs can be a barrier to many labs embarking on IP research, so this protocol would prove to be very useful.

Major Concerns:
None.

Minor Concerns:
I have a list of questions/suggestions that struck me as I read through the protocol.

Line 118: 1.1. "Set up a system consisting of two independent HPLC pumps (binary pump)"
Authors should state if the pumps have to be binary (i.e. could quaternary pumps be used or is there a particular reason why these could not be used)

Response: Indeed, we did not specify that the use of quaternary pumps is also possible without compromising the results (at least in our hands). We routinely use this method with a binary pump (Kontron) and a quaternary pump (Waters Alliance), but the latter still with the indicated binary gradient and see no apparent differences. This information is now included.

Line 164: 'Leucopore tape', is a brand name, maybe try microporous surgical tape (such as Leucopore or Micropore tape)

Response: Changed accordingly.

Line 166: "through bare skin. Always wear gloves when handling radioactive material or equipment that has direct or indirect contact to radioactive material"

Authors could add something here about training in safe use of radiochemicals or following the local rules for safe handling (for example, I would swab down surfaces for scintillation counting to check for spillage etc.)

Response: We agree that additional information about safe handling is useful – it is now  included in the revised version.

Line 160: How important is it to obtain tritiated inositol with a specific activity of 30 - 80 Ci/mmol? Lower specific activities are available, but would these limit the detection of less abundant IPs?

Response: Despite not having tested this ourselves, we expect that the detection of less abundant InsPs (especially of InsP8) will be negatively affected by using a lower activity. Even using the activity that we are recommending in the current version of our protocol, we are often at the limit of reliably detecting InsP8. One might overcome a lower specific activity by simply using a larger volume of the activity, but this might result in ethanol toxicity if inositol solved in 90 % ethanol is used (as described in the Table of Materials). This toxicity effect is not present if it is solved in water, but we chose to use ethanol-solved inositol to minimize the risk of bacterial and fungal contaminations. Considering that there is a minimal price difference between myo-inositol with lower and higher specific activity, we do recommend the use of the one mentioned in our protocol.

Line 171: "Do not overfill the tube, and place no more than 100 mg FW/tube, in case too many seedlings were labeled."
I am not sure what the authors mean by 'too many seedlings were labelled'. Wouldn't they all be labelled? Or do some individual plants take up more label than others and you don't want too many of these individuals in any one extraction? The following sentence about the potential to dilute the acid extraction solution is much clearer.

Response: We rephrased the sentence and hope that it is now more understandable.

Line 190: Change to something like this 'Immediately prior to extraction, add EDTA to both solutions to a final concentration of 3 mM (eg from a filtered 250 mM EDTA stock solution).'

Both are made using ultra-pure deionized water followed
195 by vacuum filtration through 0.2 uM pore-sized membrane filters.

Response: Changed accordingly.

Line 215: flow-rate should not exceed 2 mL/min. After washing, the column is ready for the analysis and, when properly handled, can be used for 20 - 40 runs.
What needs to be done after 20-40 samples have been analysed on the column? Washing with water? (Or is this all the analysis that can be done on one column?)

Response: We included more information on how to handle the column once it shows signs of decay and that it ultimately needs to be replaced if those measures don’t help. However, in our experience, columns cannot be used more than 40 times. We believe this is caused by the harsh conditions of the eluent (i.e. low pH and high salt).

Line 237: gloves
The authors should mention eye protection too.

Response: Changed accordingly.

Line 239: 'disposed of accordingly.'
The authors should mention that the research should follow their Local Rules for safe disposal of radioactive material. (This should remind naïve researchers to check with their Radiation Officer before embarking on a tritium labelling experiment).

Response: We agree that no one should perform radioactive experiments without being aware of the local rules and included the recommendation as suggested.

241 4.1. 'Prepare the working solutions by adding EDTA to the extraction buffer and the neutralization buffer to a final concentration of 3 mM. Prepare at least 600 L of extraction buffer and 400uL neutralization buffer per sample and keep them on ice.'
The authors probably don't need to mention addition of the EDTA as this is already covered in section 3.1
Perhaps try: Prepare the working solutions for the extraction and neutralization buffer. 600ul of extraction buffer and 400ul neutralization buffer will be needed for each sample.

Response: Changed accordingly.

Line 260: Remind the reader that any tubes used for extractions or containing pellets, should be treated as solid (low-level) radioactive waste, and that they should follow their local rules for safe disposal.

Response: Inserted a reminder as suggested.

Line 282: What volume of sample is injected?

Response: We included the information that the whole sample/supernatant is injected (approx. 750 µL).

Line 293: The authors should use a better term than 'older' for the column after '15-20' runs (as this is not many runs).

Response: We agree with the reviewer. ‘Old’ referred to number of runs not actually time after purchase. We removed the term to avoid confusion. 

Line 316 6. Measuring the fractions
Mention the programme/settings used on the TRI-CARB 2900TR Scintillation Counter. What should be used as a Blank for the Counter?

Response: We agree that this information is important, especially for scientists that never used an LSC or measured 3H samples, and included as Supplemental Figure 1 screenshots of the settings used. We hope that this will be helpful to program other available scintillation counters.

Line 334: " 7.3. To compare samples with each other, normalize the data by summing up the values from minute 25 to the end of the run (minute 96) for each individual sample. Then divide the lower sum by the higher sum and multiply all individual values of the run with the higher some with this factor. In the end, the sum of the cpm values from minute 25 to the end should be equal for all samples compared with each other. Only normalized runs should be presented in the same graph/figure."

This description of normalization was not clear. 'Summing the values', be more specific, eg For every HPLC analysis/sample, sum the CPM from each eluted fraction from minute 25 to 96. The rest of the instructions are also a bit vague. The authors should be a bit more detailed. eg (if I have understood this correctly) Normalise all data to the sample with the highest total cpm (in fractions 25-96) by dividing the total cpm from a sample by the total cpm from the sample with the highest cpm, the resulting factor can be used to normalize the cpm from each fraction.
This raises a few questions: How different can the labelling be between samples in the same treatment?
Also, if comparing mutants or different growth conditions, should these be normalized to the WT/control treated plants, or should samples from different treatments be normalized within the treatment group? Presumably, some treatments or mutations might affect the destination of the labelled inositol (eg more inositol channeled into the cell wall), so the total cpm in the IP pool may be genuinely lower or higher than in the control treated or WT plants. In this case, wouldn't it be a bad idea to normalize to the most highly labelled control plants? I may be misunderstanding the data normalization procedure, so I think a few more details on how to carry this out (maybe a worked example, here or in the video) are necessary.

Response: We rephrased the paragraph and included additional information to make the normalization procedure clearer. This included Supplemental Figure 2, which shows the formulas used for the calculations in Excel, and Supplemental Figure 3, which shows the process of data analysis in Origin.

Absolute quantification with this method is quite challenging because the extraction efficiency with our protocol can be variable for reasons not clear to the authors, e.g. sometimes observed when replica of the same genotypes and treatments are analyzed.

Therefore, we recommend to normalize samples. We agree with the reviewer that important genotype or treatment differences with respect to the overall labeling efficiency will get lost with our normalization procedure. In the revised version of our manuscript, we point this limitation out. We also included a sentence that normalization should be omitted in cases were labeling efficiency is to be analyzed.

It might be worth suggesting that researchers carry out a QC run after every 5 or 6 samples. The QC could be tritiated IP standards, made up to a particular concentration, aliquoted and frozen. This would give an indication of loss of sensitivity or resolution (although not in real time). However, if it is only possible to use the column for 30-40 samples before it needs replacing, this may be a waste of column. If the column can only be used for a relatively small number of samples, it would be good if the authors could explicitly state this early on (as most HPLC users wouldn't consider a column to be even close to 'old' after 30-40 runs).

Response: We agree that QC runs improve the confidence of results. However, we want to point out that only very few 3H InsP standards, such as Ins(1,4,5)P3 and InsP6, are commercially available (the quality of InsP6 that we purchased was in fact insufficient, as in our hands these standards eluted in several peaks) and that the PP-InsPs, which are generally the first InsPs that become difficult to detect when the column gets older, are not commercially available. In our hands, runs of WT Arabidopsis or WT yeast grown under the standard conditions can serve as QC runs, as those provide the full array of InsPs in one sample, with a high degree of reproducibility if following the recommendations stated in the protocol. We now reinforce the information that the column will most likely deteriorate after 30 – 40 runs and then needs to be replaced. We have not been able to find a method to rejuvenate older columns. While these columns are expensive, they still make up less than 20 % of the overall costs for consumables of one run (assuming that they last 40 runs).

This said, we point out in the revised version of our manuscript that standards are very helpful to provide information about loss of sensitivity and resolution and also help to assign peaks to possible isomers (despite the shortcoming that enantiomers and probably also not all non-enantiomeric isomers cannot be separated by HPLC). There is a great body of work particularly from the lab of Charles Brearley at the University of East Anglia that established methods to generate various standards that his lab has successfully used in his SAX-HPLC protocols. This work (and also that of some other labs) is now referred to in the revised version of our manuscript.

Line 347 7.4. To quantify certain inositol polyphosphate peaks…
Can the peaks be quantified? Peak areas of the same IP can be compared between samples, or the relative proportion of different IPs within a sample, so would this be better described as relative quantification?
Could some of the peaks be quantified if compared to tritiated IP standards? I noticed that it is possible to buy tritiated IP3 and IP6, but at lower specific activities than the inositol used for labelling here (which was why I was wondering if inositol with a lower specific activity could be used for labelling), or does the variability in labelling IPs in vivo make quantification impossible.
Also, if a researcher is comparing the relative amount of particular IPs between different treatments, should they use raw or normalized data?

Response: We agree that the term quantification alone can be misleading, as in most cases only relative quantification is presented. Regarding the use of standards, please see our response above.

To compare the relative amount of particular InsPs between different treatments, normalized data are necessary, unless they are calculated as percentage of total InsPs of each individual run.

FIGURES
Line 388: In the figure legend the authors refer to an 'old' column. It would be useful to know what exactly they mean by 'old'. How many samples can be analysed on the column before the chromatography deteriorates? As columns are expensive, it would be good to know how much analysis can be achieved per column.

Response: We specified the term ‘old’ in this case and state now earlier in the manuscript the average number of times these Partisphere HPLCcolumns can be used.

Line 380 Figure 1:
Are B and C zoom-ins of A? It is not clear from the wording.
It is not immediately obvious how the different scales compare in this set of panels, and there is a temptation to just look at the number scale (at least I did this for a while). It might be clearer to re-label the y axis to be all at 105.

Response: We rephrased the sentence to make it more clear that B and C are zoom-ins of A. We agree that the different scales of the y-axis can be confusing and therefore changed them all to 105.

Figure 2. Are A,B and C the same chromatogram?
It might be useful to add one of the chromatograms from figure 1 to make comparison with the Arabidopsis profile a bit easier.

Response: A, B and C show indeed the same HPLC run as B and C are zoom-ins to allow visualization of the individual InsP3-5 isomers and the more highly phosphorylated PP-InsPs. As suggested by Reviewer 3, we included panel D that shows bar graphs of the quantification of InsP3-8 from Arabidopsis and Lotus side by side to make the comparison easier.

Figure 3. How was IP6 relatively quantified? In the bar graph it has a relative level of 80%. Is this 80% of the total IP profile? It would be worth describing how this was calculated.

Response: Yes, it was 80 % of all InsP species eluting after minute 25. We agree that this information was missing and described this now in more detail.


Reviewer #2: 
Manuscript Summary:
This protocol is very clearly written, with sufficient introduction and a wealth of experimental details. I want to thank the authors for providing such a detailed method to the community.

Major Concerns:
none

Minor Concerns:
Line 433, the authors mention the need to normalize to compare different experiments. Could they quickly comment on the methods that can be used for normalization.

Response: We reworked the whole normalization and data analysis paragraph to provide more details on how normalization can be done, what the options are and when normalization might not be needed or should be avoided. Please see also answer to Reviewer 1 above.


Reviewer #3:
Manuscript Summary:
The use of in vivo [3H]-myo-inositol labeling and SAX-HPLC to analyze InsP profile in plant tissues have been previously reported in several studies. This manuscript is intended to provide an accessible workflow for InsP analysis in plant tissues, from system set-up, in planta radiolabeling, InsP extraction, and SAX-HPLC operation to data processing. The results from studying two plant species were presented in this manuscript and the post-extraction stability of InsP was assessed. The authors provided a thoughtful discussion on the pros and cons of InsP profiling by SAX-HPLC and its limitation in detecting PP-InsP (InsP7 and InsP8) in comparison with PAGE analysis followed by TiO2 enrichment.

Major Concerns:
(1) Because [3H]-myo-inositol labeling and SAX-HPLC analysis have been used to study InsP in plants since two decades ago (e.g., Brearley & Hanke, 1996, Biochem. J.; Stevenson-Paulik et al., 2006, Methods), the authors should compare or comment on the differences among methods and the modifications and/or improvements in their current protocol.  
(2) InsP standards should be used for the assignment of InsP isomers on the chromatograms presented in this manuscript.

Response: We agree that it is important to compare the described method not only with available alternatives like MS, NMR or PAGE, but also to compare it with previously published protocols using [3H]-myo-inositol and SAX-HPLC. In the revised version of the manuscript we point out that one of the first SAX-HPLC protocols for the analysis of InsPs from plant samples was developed by the lab of Charles Brearley. Different labs have contributed to the improvement and adaptability of the method, such as the labs of John York and Adolfo Saiardi. Our protocol describes improvements to more reliably detect PP-InsPs due to modified labeling conditions (e.g. more plant material and the use of [3H]-myo-inositol with higher specific activity, 30 – 80 Ci/mmol), modified extraction and neutralization buffer (1 M HClO4 and 1 M K2CO3) and a modified gradient to better separate higher anionic species (i.e. InsP5 isomers, InsP6 and PP-InsPs). In addition, we provide a guideline for relative quantification of these molecules.

We agree that the use of standards is very helpful in such chromatography-based methods. As mentioned before in the response to Reviewer 1, we point that out in the revised version of our manuscript.

Minor Concerns:
To demonstrate how data analysis is performed according to step 7.3 and 7.4 of the protocol, an additional figure is highly recommended that presents quantification bar graphs based on the results of A. thaliana and L. japonicas to support the conclusion drawn in the discussion (line 443-454).

Response: We agree that a figure like this will be helpful and included it as Figure 2 D.


Reviewer #4: 
This article, "Extraction and quantification of soluble, radiolabeled inositol polyphosphates from different plant species using SAX-HPLC" describes an advanced technique that is critical for studying inositol pyrophosphates (PP-InsPs) and their precursors. Understanding PP-InsP synthesis and signaling is becoming exceedingly important and while there are other methods to study PP-InsPs, this technique is the most sensitive and quantitative to date. Visualization of this technique will help laboratories who are unfamiliar techniques perform them efficiently and accurately. Overall, this article is well written and very meticulous, though there are some minor revisions are necessary.

line 41: add comma after "PP-InsPs"

Response: Changed accordingly.

line 61: Although minor, the authors should remove the word "extensively" and replace it with "rigorously" or another synonymous term. As PP-InsPs in plants have been studied by a handful of groups and their roles in signaling are still being explored, an alternative word to extensively would be more appropriate.

Response: We agree and rephrased the sentence accordingly.

lines 62-65: The authors state that InsP8 regulates defenses against herbivores/pathogens and then state that this was proposed to be mediated by the complex. While the data in Laha et al 2015 is compelling in suggesting InsP8 regulates these defenses, there is still work to be done before this can be concluded. Please rephrase this statement accordingly.

Response: We agree that still more work needs to be done on this topic to completely elucidate the mechanism and rephrased the sentence accordingly.

lines 118-123: It would be helpful for readers, especially those who are less familiar with this technique, to include the buffer name, molarity, and pH when introducing line A and B as well as a brief rationale. Perhaps: "Designate one pump for buffer A (termed pump A, consisting of 1mM EDTA) and one for buffer B (termed pump B, consisting of 1.3 M (NH4)2HPO4; pH 3.8 with H3PO4). Utilizing these specific buffers results in elution of highly charged PP-InsPs from the column." Alternatively, the authors could switch the order of section 2 (plant cultivation and labeling with [3H]-myo-inositol) and section 3 (preparation of buffers, column, and HPLC system) to provide a more logical workflow so that the buffers are discussed prior to sample preparation.

Response: We agree and switched the order of sections 2 and 3.

lines 273-275: The authors redirected the reader to the materials and methods section for the scintillation cocktail however from this table, it was not straightforward as to which solution is the cocktail. Please reword this sentence to include the abbreviated scintillation cocktail name stated from the materials and methods section in the sentence.

Response: We included the name of the scintillation cocktail.

lines 334-339 (section 7.3). Please rewrite this section and provide full details on this very important process, data normalization. I recommend starting with an overall rationale for why only incorporated counts are used. In describing the normalization process, the authors need to be clear on each step such as why a lower number is divided by a higher value. A formula perhaps might be useful to describe these steps. The software program "Origin" was mentioned, however, there are details that must be included: determining peak areas (how are the peaks themselves determined for each InsP/PP-InsP species?), are overlapping fractions considered for adjacent species?, cut-off values for the analysis (area under the curve), and other key details for analyzing this data. From my experience, there are many cohesive ways this data can be analyzed. This section needs to be better explained to help those who are unfamiliar with the technique to understand how to process their data. Change "some" to "sum" in line 336.

Response: We rephrased the paragraph and included additional information to make the normalization procedure clearer. This included Supplemental Figure 2, which shows the formulas used for the calculations in Excel, and Supplemental Figure 3, which shows the process of data analysis, including peak determination and background subtraction in Origin.