## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
BSA | Roche | 10735086001 | Bovine Serum Albumin (BSA) as a buffering agent, stabilizer, standard and for blending.
Calibration Beads | Miltenyi Biotec / MACS | #130-093-607 | MACQuant calibration beads are supplied in aqueous solution containing 0.05% sodium azide. 3.5 ml for up to 100 tests
CD133/1 (AC133)-PE | Milteny Biotec / MACS | #130-080-801 | Antibody conjugated to R-Phycoerythrin in PBS/EDTA buffer
CD184 (CXCR4)-PE-VIO770 | Miltenyi Biotec / MACS | #130-103-798 | Monoclonal, Isotype recombinant human IgG1, conjugated
CD309 (VEGFR-2/KDR)-APC | Miltenyi Biotec / MACS | #130-093-601 | Antibody conjugated to R-Phycoerythrin in PBS/EDTA buffer
CD34-FITC | Miltenyi Biotec / MACS | #130-081-001 | The monoclonal antibody clone AC136 detecs a class III epitope of the CD34
CD45- VioBlue | Miltenyi Biotec / MACS | #130-092-880 | Monoclonal CD45 Antibody, human conjugated
Conical Tubes | Thermo SCIENTIFIC | #339651 | 15ml conical centrifuge tubes
Cytometry Tubes | FALCON Corning Brand | #352052 | 5 mL Polystyrene Round-Bottom Tube. 12x75 style. Sterile.
EDTA | BIO-RAD | #161-0729 | Heavy metals, (as Pb) <10ppm, Fe<0.01%, As<1ppm, Insolubles<0.005%
Improved Neubauer | Without brand | Without catalog number | Hemocytometer for cell counting. (range 0.1000mm, 0.0025mm2)
K2 EDTA Blood Collection Tubes | BD Vacutainer | #367863 | Lilac plastic vacutainer tube (K2E) 10.8mg, 6 mL.
Lymphoprep | Stemcell Technologies | 01-63-12-002-A | Sterile and checked on the presence of endotoxins. Density: 1.077±0.001g/mL
Paraformaldehyde | SIGMA-ALDRICH | #SZBF0920V | Fixation of biological samples, (powder, 95%)
Pipette Transfer 1,3mL | CRM Globe | PF1016, PF1015 | The transfer pipette is a tool that facilitates liquid transfer with greater accuracy.
Test Tubes | KIMBLE CHASE | 45060 13100 | Heat-resistant test tubes. SIZE/CAP 13 x 100 mm

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=