# Submission ID #: 61504

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18758768

Title: Systems Analysis of the Neuroinflammatory and Hemodynamic Response to Traumatic Brain Injury

Authors and Affiliations: Rowan O. Brothers1,*, Sara Bitarafan2,3,*, Alyssa F. Pybus1,3, Levi B. Wood1,2,3,#, and Erin M. Buckley1,4,5,#

*These authors contributed equally

#These authors contributed equally

1Wallace H. Coulter Department of Biomedical Engineering, Georgia Institute of Technology and Emory University

2George W. Woodruff School of Mechanical Engineering, Georgia Institute of Technology

3Parker H. Petit Institute for Bioengineering and Bioscience, Georgia Institute of Technology

4Department of Pediatrics, Emory University School of Medicine,

5Children’s Healthcare of Atlanta, Children’s Research Scholar

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Erin M. Buckley

erin.buckley@emory.edu

# Levi B. Wood

# levi.wood@me.gatech.edu

# Co-authors:

robroth@emory.edu

sbitarafan74@gatech.edu

afpybus@gatech.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 46

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Mild Traumatic Brain Injury (TBI) Weight-Drop Model

  - To induce an injury, confirm a lack of response to toe pinch in an anesthetized mouse [1-TXT] and place mouse in the prone position on the center of a thin membrane [2].

    - WIDE: Talent pinching toe Videographer: More Talent than mouse in shot TEXT: Anesthesia: 4.5% isoflurane

    - Talent placing mouse onto membrane Videographer: More Talent than mouse in shot

  - Using both hands to hold the tissue taut [1], secure the mouse’s tail under a thumb [2] and position the mouse head under the guide tube [3].

    - Tissue being grasped/held taut Videographer: can combine 2.2.1. and 2.2.2. as appropriate

    - Tail being secured Videographer: can combine 2.2.1. and 2.2.2. as appropriate

    - Head being positioned under tube

  - When the mouse is in position, drop the bolt from the top of the guide tube onto the dorsal aspect of the mouse’s head, aiming for impact between the back of the eyes and the front of the ears [1-TXT].

    - Bolt being dropped Videographer: do not show impact

  - Upon impact, the mouse will break through the tissue, allowing rapid acceleration of the head about the neck [1].

    - Mouse breaking through tissue OR LAB MEDIA: Figure 2C Video Editor: Please include shot according to veterinarian recommendation

  - After the injury, allow the mouse to recover in the supine position on a 37-degree Celsius warming pad [1].

    - Talent placing mouse onto pad Videographer: More Talent than mouse in shot

- Diffuse Correlation Spectroscopy (DCS) Cerebral Blood Flow Assessment

  - After a 2-minute period of stabilization, gently rest the DCS (D-C-S) sensor over the right hemisphere of the mouse’s skull [1] such that the top edge of the optical sensor lines up with the back of the eye and the side of the sensor lines up along the midline [2].

    - WIDE: Talent placing sensor Videographer: More Talent than mouse in shot

    - Shot of edge of sensor Video Editor: please emphasize back of eye and midline when mentioned

  - Cup a hand over the sensor to shield it from room light [1] and acquire 5 seconds of data [2].

    - Talent cupping hand over sensor

    - Data being acquired

  - Then reposition the sensor over the left hemisphere [1] and acquire 5 seconds of left hemisphere data [2].

    - Sensor being moved

    - Data being acquired

- Multiplexed Cytokine and Phospho-Protein Quantification

  - To assess multiplexed cytokine and phospho-protein production, add 150 microliters of mixed lysis buffer per approximately 3 micrograms of harvested animal brain tissue [1-TXT] and use a 1000-microliter pipette tip to mechanically triturate the tissue up and down 15-20 times [2].

    - WIDE: Talent adding buffer to tissue, with buffer container visible in frame TEXT: See text for tissue harvest details

    - Tissue being triturated

  - Place the homogenized samples on a rotator for 30 minutes at 4 degrees Celsius [1] before collecting the tissue debris by centrifugation [2-TXT].

    - Talent placing sample(s) onto rotator

    - Talent placing tube(s) into centrifuge TEXT: 10 min, 15,000 x g, 4 °C

  - Transfer the supernatants into new tubes [1-TXT] and centrifuge the samples to remove any remaining precipitate [2-TXT].

    - Talent adding supernatant to tube TEXT: Optional: Store tissue at -80 °C until analysis

    - Talent placing tube(s) into centrifuge TEXT: 10 min, 9167 x g, RT

  - Transfer the supernatants to new tubes [1] and determine the protein concentration by Luminex assay according to standard protocols [2-TXT].

    - Talent adding supernatant to tube(s)

    - Talent opening assay kit, with sample(s) visible in frame TEXT: See text for sample dilution curve preparation details

  - Prepare 25 microliters of each of sample at the optimal protein concentration as determined by the linear range analysis in new tubes [1], using assay buffer to normalize the total volume of each sample to 200 microliters [2].

    - Talent adding sample to tube

    - Talent adding buffer to tube(s), with buffer container and kit visible in frame

  - To prepare an assay plate, add 200 microliters of wash buffer to each well of a 96-well plate [1] and shake the plate on a shaker for 10 minutes at 750 revolutions per minute [2].

    - Talent adding buffer to well(s), with buffer container visible in frame TEXT: See text for all buffer preparation details

    - Plate shaking on shaker

  - At the end of the incubation, decant the wash buffer [1] and tap the plate onto a paper towel to remove any residue [2].

    - Talent decanting buffer

    - Talent tapping plate

  - Next, add 25 microliters of assay buffer to each well [1] followed by 25 additional microliters of buffer to the background wells [2].

    - Talent adding buffer to well(s), with buffer container visible in frame

    - Buffer being added to well(s), with buffer container visible in frame

  - Add 25 microliters of the diluted samples to the appropriate sample wells [1] and vortex the vial multiplex magnetic beads for 1 minute [2] before adding 25 microliters of the thoroughly resuspended beads to each well [3].

    - Talent adding sample to well(s)

    - Talent vortexing vial

    - Talent adding beads to well(s), with bead container visible in frame

  - When all of the beads have been added, seal the plate with a plate sealer [1] and cover the plate with foil for an overnight incubation at 2-8-degrees Celsius [2].

    - Talent sealing plate

    - Talent placing covered plate at 2-8 °C

  - The next morning, place the plate on magnetic separator, making sure that the wells are aligned with the magnets [1].

    - Plate being placed onto separator

  - After 2 minutes, decant the well contents with the plate still attached to the magnetic separator [1] and add 200 microliters of wash buffer to each well [2].

    - Talent decanting well contents Videographer/Video Editor: shot will be used again

    - Talent adding wash buffer to well(s) Videographer/Video Editor: shot will be used again

  - After 2 minutes, place the plate back onto the magnetic separator for 2 minutes [1].

    - Talent placing plate onto separator

  - Then decant the well contents with the plate still attached to the magnetic separator [1] and wash the plate with a fresh 200 microliters of wash buffer per well as just demonstrated [2].

    - Use 4.12.1. Plate being decanted

    - Use 4.12.2. Plate being decanted

  - After the second wash, add 25 microliters of detection antibody per well [1] and re-cover with foil for a 1-hour incubation at 750 revolutions per minute at room temperature [2].

    - Talent adding antibody to well(s), with antibody container(s) visible in frame

    - Covered plate shaking on shaker

  - At the end of the incubation, add 25 microliters streptavidin-phycoerythrin to each well [1] and return the plate to the shaker for an additional 30 minutes at room temperature [2].

    - Talent adding SAPE to well(s), with SAPE container visible in frame

    - Talent placing plate onto shaker

  - At the end of the incubation, place the plate onto the magnetic separator for 2 minutes [1] before decanting the well contents [2].

    - Talent placing plate onto separator

    - Plate being decanted

  - Wash the plate two times with 200 microliters of fresh washing buffer per wash [1] and add 75 microliters of the appropriate assay buffer to each well [2].

    - Use 4.12.1. Talent adding wash buffer to well(s)

    - Talent adding buffer to well, with buffer container visible in frame

  - Then resuspend beads on the plate shaker for 5 minutes at room temperature [1] and read the plates on the analyzer according to the manufacturer’s instructions [2].

    - Plate on shaker

    - Talent loading plate onto analyzer

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 167. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Traumatic Brain Injury Neuroinflammatory and Hemodynamic Response Analyses

  - In this analysis, the cerebral blood flow was measured with diffuse correlation spectroscopy 4 hours after the last injury [1].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize purple data line

  - The cerebral blood flow index [1] and mean cerebral flow index for each hemisphere can then be determined [2].

    - LAB MEDIA: Figures 4B and 4C Video Editor: please sequentially emphasize red and blue data lines in Figure 4B

    - LAB MEDIA: Figures 4B and 4C Video Editor: please emphasize red and blue data clusters in Figure 4C

  - A linear range analysis can be conducted to determine an appropriate protein loading prior to collecting data from all samples [1].

    - LAB MEDIA: Figure 8 Video Editor: please emphasize data line

  - Cytokine data can be prepared by subtracting the background measurements from the sample data [1] and the resulting z-scoring data for each analyte [2].

    - LAB MEDIA: Figure 7A

    - LAB MEDIA: Figure 7A Video Editor: please emphasize z-score legend

  - Partial Least Squares Regression can be conducted [1], using an appropriate phagocyte-microglial activation marker as the response variable [2] and the cytokine measurements as the predictor variables [3].

    - LAB MEDIA: Figure 7B

    - LAB MEDIA: Figure 7B Video Editor: please emphasize Measured Data graphs

    - LAB MEDIA: Figure 7B Video Editor: please emphasize Marker Weight graphs

  - Varimax rotation can be performed to maximize the co-variance of the data on LV1 with the activation marker measurements [1].

    - LAB MEDIA: Figure 7D Video Editor: please emphasize data line

  - High loading weights in LV1 correspond with the cytokine expressions most associated with high expression of the activation marker [1].

    - LAB MEDIA: Figure 7C Video Editor: please emphasize data bars OR no animation

  - Linear regressions between the activation marker and cytokines illustrate that those cytokines with the greatest loading weights in LV1 were also statistically significant for this analysis [1].

    - LAB MEDIA: Figure 7E Video Editor: please emphasize data line

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.