# Submission ID #: 61512

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18761208

Title: Accessing the Cytotoxicity and Cell Response to Biomaterials

Authors and Affiliations: Anabela Baptista Paula*1-4, Mafalda Laranjo*2-5, Ana Sofia Coelho1-4, Ana Margarida Abrantes2-5, Ana Cristina Gonçalves2-4,6, Ana Bela Sarmento-Ribeiro2-4,6, Manuel Marques Ferreira2-4,7, Maria Filomena Botelho2-5, Carlos Miguel Marto1-4,8, and Eunice Carrilho1-4

*These authors contributed equally

1 University of Coimbra, Institute of Integrated Clinical Practice, Faculty of Medicine

2 University of Coimbra, Coimbra Institute for Clinical and Biomedical Research (iCBR) area of Environment Genetics and Oncobiology (CIMAGO)

3 University of Coimbra, Center for Innovative Biomedicine and Biotechnology (CIBB)

4 Clinical Academic Center of Coimbra (CACC)

5 University of Coimbra, Institute of Biophysics, Faculty of Medicine

6 University of Coimbra, Laboratory of Oncobiology and Hematology, Faculty of Medicine

7 University of Coimbra, Institute of Endodontics, Faculty of Medicine

8 University of Coimbra, Institute of Experimental Pathology, Faculty of Medicine

# Corresponding Author:

# Anabela Baptista Paula 	anabelabppaula@sapo.pt

# Co-Authors:

mafaldalaranjo@gmail.com

anasofiacoelho@gmail.com

mabrantes@fmed.uc.pt

acc.goncalves@gmail.com

absarmento@fmed.uc.pt

m.mferreira@netcabo.pt

mfbotelho@fmed.uc.pt

cmiguel.marto@uc.pt

eunicecarrilho@gmail.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage? N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

Protocol Length

Number of Shots: 35

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Anabela Paula: With the explosion of new materials for medical applications, the initial screening should be made systematically. So, this protocol can be a fundamental tool for researchers aiming to develop and characterize novel biomaterials.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: Lab media: Figure 2

  - Mafalda Laranjo: The methodology allows the quantitative and qualitative evaluation of cytotoxicity and bioactivity of biomaterials and pharmaceutical formulations, both solid and liquid. Following cell exposure, several complementary assays can be performed. Suggested B-roll: Lab media: Figure 3

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Eunice Carrilho: The establishment of biomaterial cytotoxicity can have relevant implications for clinical practice. For instance, this knowledge may empower the clinician to choose the most appropriate biomaterial for a specific patient or condition.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Carlos Miguel Marto: This protocol allows the characterization of novel biomaterials in different areas, such as dentistry, orthopedics, surgery, ophthalmology, cardiology, among others. The evaluation performed should allow concluding on the biomaterial bioactivity in living tissues, besides cytotoxicity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Pellet Preparation and Soluble Biomaterial Extracts Acquisition

  - As close as possible to the beginning of the experiment, use a spatula to load the freshly prepared biomaterial into the PVC (P-V-C) molds [1-TXT] and let the material set for the appropriate amount of time at room temperature [2].

    - WIDE: Talent adding material to mold(s) TEXT: Prepare biomaterials according to manufacturer's instructions. Videographer: This step is important!

    - Talent placing filled mold onto counter/setting timer/similar “allowing to set” action. Videographer: This step is important!

  - When the material has solidified, remove the pellets from the molds [1] and place them in an appropriately sized container [2].

    - Talent removing pellet(s). Videographer: This step is important!

    - Talent placing pellet(s) into container, Videographer: This step is important!

  - Then sterilize the pellets under ultraviolet light lamp for 20 minutes per side [1].

    - Talent turning on UV lamp over pellets Videographer: This step is important!

  - To extract the biomaterials from the pellets, place the sterilized pellets in a 50-milliliter tube [1] and add the appropriate cell culture medium to the pellets [2].

    - Talent placing pellets into tube Videographer: This step is important!

    - Talent adding medium to tube, with medium container visible in frame Videographer: This step is important!

  - Place the tubes at 37 degrees Celsius for 24 hours [1]. The next day, use fresh medium to dilute the extract to the appropriate volumes of interest [2].

    - Talent placing tube at 37 °C

    - LAB MEDIA: Figure 1 Video Editor: please sequentially add/emphasize dark blue arrows OR no animation

- Morphology Evaluation

  - To evaluate the cell morphology in response to biomaterial exposure, use sterile tweezers to place an appropriately sized, sterile glass coverslip into each well of a multiwell plate [1] and add cells to each coverslip at an adequate concentration to reach after overnight culture at 37 degrees Celsius and 5% carbon dioxide with humidity [2].

    - WIDE: Talent adding coverslip to well(s)

    - Talent adding cells to well(s)

  - Add the appropriate volume of the extract dilution of interest to each well [1] and return the cells to the cell culture incubator for the appropriate incubation period [2].

    - Talent adding extract to well(s), with dilution tubes visible in frame Videographer/Video Editor: shot will be used again

    - Talent placing plate into incubator

  - At the end of the incubation, aspirate the supernatant from each well to allow the coverslips to dry at room temperature [1].

    - Supernatant being removed

  - When the samples have dried, add cover each coverslip with a sufficient volume of May-Grünwald solution for a 3-minute incubation at room temperature [1-TXT].

    - Talent adding solution to well(s), with solution container visible in frame TEXT: See text for all solution preparation details

  - After removing the dye, wash the coverslips with an appropriate volume of distilled water for 1 minute [1] followed a 15-minute incubation in a sufficient volume of Giemsa solution [2].

    - Talent adding water to well(s)

    - Talent adding Giemsa to well(s), with Giemsa container visible in frame

  - At the end of the incubation, wash the coverslips in running water [1] and image the cells by light microscopy [2].

    - Talent washing coverslip

    - Talent at microscope, imaging cells

- Cell Function Assessment

  - To assess the cell function by protein expression evaluation, after exposure to the biomaterial of interest as demonstrated [1], wash each well of cells with PBS [2] before fixing the cells with 3.7% paraformaldehyde for 30 minutes at room temperature [3].

    - WIDE: Use 4.2.1. Talent adding extract to well(s)

    - Talent washing cells, with PBS container visible in frame Videographer/Video Editor: Shot will be used again

    - Talent adding PFA to well(s), with PFA container visible in frame

  - At the end of the incubation, wash the cells two times with PBS [1] and permeabilize the cells with 0.5% Triton in PBS for 15 minutes [2].

    - Use 5.1.2. Cells being washed

    - Talent adding Triton to well(s), with Triton container visible in frame

  - At the end of the permeabilization, block the peroxidase with 0.3% hydrogen peroxide in PBS for 5 minutes [1] followed by two washes with PBS [2].

    - Talent adding hydrogen peroxide to well(s), with hydrogen peroxide container visible in frame

    - Use 5.1.2. Cells being washed

  - After the second wash, wash the cells two times with 0.5% BSA (B-S-A) [1-TXT] before blocking the non-specific binding with 2% BSA for 45 minutes [2].

    - Talent washing cells with 0.5% BSA, with 0.5% BSA container visible in frame Videographer/Video Editor: Shot will be used again TEXT: BSA: bovine serum albumin

    - Talent adding 2% BSA to well(s), with 2% BSA container visible in frame

  - At the end of the incubation, wash the cells one time with 0.5% BSA [1] before incubating the cells with a primary antibody against the protein of interest for 60 minutes at room temperature [2] followed by five washes with fresh 0.5% BSA [3].

    - Use 5.4.1. Cells being washed with 0.5% BSA

    - Talent adding antibody to well(s), with antibody container visible in frame

    - Use 5.4.1. Cells being washed with 0.5% BSA

  - After the last wash, incubate the cells with the appropriate secondary antibody of interest for 90 minutes at room temperature [1] followed by five, 1-minute washes in 0.5% BSA [2].

    - Talent adding antibody to well(s), with antibody container visible in frame

    - Use 5.4.1. Cells being washed with 0.5% BSA

  - After the last wash, incubate the cells with an appropriate substrate and chromogen mixture at a 20 microliters chromogen/milliliter of substrate concentrations for 25 minutes [1].

    - Talent adding solution to well(s), with substrate/chromogen kit visible in frame

  - At the end of the incubation, wash the cultures two times with 0.5% BSA in PBS [1] and counterstain the cells with hematoxylin for 15 minutes [2].

    - Use 5.4.1. Cells being washed with 0.5% BSA

    - Talent adding hematoxylin to well(s), with hematoxlyin container visible in frame

  - Wash the counterstained cells for 5 minutes with 0.037 moles/liter of ammonia [1] and for 5 minutes with distilled water to remove any excess dye [2] and use glycerol to mount the coverslips onto slides [3].

    - Talent washing well(s) with ammonia, with ammonia container visible in frame

    - Talent washing well(s)

    - Talent mounting coverslip onto slide, with glycerol container visible in frame

- Mineralized Formation Assessment

  - To assess the formation of minerals within the extract-treated cell cultures, wash each well three times with PBS [1] before fixing the cells with 4% paraformaldehyde for 15 minutes at room temperature [2].

    - WIDE: Use 5.1.2. Talent washing well(s) with PBS

    - Talent adding 4% PFA to well(s), with PFA container visible in frame

  - After the last wash, stain the cells with an appropriate volume of Alizarin Red staining solution for 20 minutes at 37 degrees Celsius in the dark [1].

    - Talent adding dye to well(s)

  - At the end of the incubation, wash the wells with PBS until the excess dye has been completely removed [1] and image the cells by light microscopy [2].

    - Talent washing well(s), with PBS container visible in frame

    - Talent at microscope, imaging cells

  - Then add extraction solution to each well for a 40-minute incubation with stirring at room temperature [1] and measure the absorbance in each well on a spectrophotometer at a 490-nanometer wavelength [2].

    - Talent adding solution to well(s), with solution container visible in frame

    - Talent loading plate onto spectrophotometer

# Results

- Results: Representative Cell Viability, Morphology, and Protein Expression in Response to Biomaterial Exposure

  - An MTT assay can be used to obtain an overview of the cytotoxicity of the materials in a quick and straightforward manner [1] as measured by its effects on metabolic activity [2].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please add/emphasize asterisks

  - Viable cell reduction analyses also allow the cytotoxicity of a material of interest to be evaluated [1], as more highly cytotoxic materials induce a higher percentage of cell death at the same concentration [2].

    - LAB MEDIA: Figures 3A and 3B

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize light grey, grey and black data bars in Figure 3A

  - Reductions of more than 30% are considered to be critical and define materials as at risk of low biocompatibility [1].

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize white 50 data bar in Figure 3A

  - In addition, more cytotoxic materials are characterized by an accentuated decrease in cell viability [1] and a late apoptosis and necrosis cell death profile [2], while less cytotoxic materials induce less cell death [3] and a more apoptotic and late apoptotic profile [4].

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize white 6,25 and 50 data bars in Figure 3A

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize dark grey and black 6,25 and 50 data bars in Figure 3A

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize white 6,25 and 50 data bars in Figure 3B

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize dark grey and black 6,25 and 50 data bars in Figure 3B

  - Morphologic evaluation complements the cell viability evaluation [1], as changes in the cell morphology can indicate an apoptotic or necrotic profile [2] as well as reveal the presence of material particles [3].

    - LAB MEDIA: Figure 3C

    - LAB MEDIA: Figure 3C Video Editor: please emphasize Calcium hydroxide images

    - LAB MEDIA: Figure 3C Video Editor: please add/emphasize red arrows/emphasize particles indicate by red arrows in in Tricalcium Silicate image

  - In addition, the effects of materials of interest on protein expression can be observed independently of effects on viability [1].

    - LAB MEDIA: Figure 4A

  - For example, in this analysis, one material induced an increase in protein expression [1], while the other promoted a significant decrease [2]. In both cases, the concentration of the extracts directly influenced the protein expression [3].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize right image column

    - LAB MEDIA: Figure 4A Video Editor: please emphasize left image column

    - LAB MEDIA: Figure 4A Video Editor: please emphasize 6,25 then 50 rows of images

# Conclusion

- Conclusion Interview Statements

  - Mafalda Laranjo: In the extract’s preparation, appropriate biomaterial surface to medium volume ratios is critical. Additionally, the samples must be sterilized using methods that do not alter their properties. Another detail to remember is extracts pH that should be registered without adjustment. If needed, perform additional controls.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested b-roll: 2.3.1, 2.4.1 and 2.5.2

  - Filomena Botelho: The biomaterial extracts can be used for chemistry studies and several other cellular and molecular biology techniques. Further on, the obtained results provide the basis for future in vivo biocompatibility testing.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.2.1, 3.2.2

  - Eunice Carrilho: Cytotoxicity evaluation is crucial for the development of any material intended for medical use. Therefore, this protocol provides a systematic and comprehensive approach for evaluating new biomaterials or new applications of others already existing in the different medical areas.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera