# Submission ID #:  61519

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18763343

# Title:   Leveraging Turbidity and Thromboelastography for Complementary Clot Characterization

# Authors and Affiliations:

# Ziqian Zeng1,2, Tanmaye Nallan Chakravarthula1,2, Nathan J Alves1,2

# 1 Emergency Medicine Department, Indiana University School of Medicine, Indianapolis, IN

# 2 Weldon School of Biomedical Engineering, Purdue University, West Lafayette, IN

# Corresponding Authors:

Nathan J. Alves

# nalves@iu.edu

# Email Addresses for All Authors:

zeng155@purdue.edu

tnallanc@purdue.edu

nalves@iu.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done.

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps: 11

Number of Shots: 29, 10 SC or Lab Media.

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Nathan J Alves: Thromboelastography and turbidity assays are two simple and distinctive methods for clot characterization. These techniques together offer a more comprehensive understanding of how clotting variables impact clot features.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Ziqian Zeng: Both of these assays not only offer endpoint clot analysis but also track fibrin clot formation over time, unlike many other clot characterization tools.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Tanmaye Nallan Chakravarthula: These techniques can help develop a physiologically relevant synthetic clot platform that can provide reliable diagnosis of the fibrinolytic state of thrombosis patients.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Turbidity

  - To monitor clot turbidity over time, use any commercially available spectrometer that has an absorbance range of 350 to 700 nanometers [1]. Turn on the spectrometer and open the corresponding analysis software [2], then select plate 1 and open the plate settings tab. Click ABS and Kinetic to monitor a dynamic absorbance over time [3].

    - WIDE: Establishing shot of talent walking to the spectrophotometer.

    - Talent turning on the spectrophotometer and opening the software.

    - SCREEN: 61519_screenshot_1.mp4. 0:00 – 0:10. Plate 1 selected, settings tab opened, ABS and Kinetic clicked.

  - Select 550 nanometers in the wavelength tab, then switch to the timing tab and adjust the total run time to 60 minutes with an interval of 30 seconds. Select the wells of interest by highlighting them [1].

    - SCREEN: 61519_screenshot_1.mp4. 0:11 – 0:32. Wavelength selected, run time and interval set in the timing tab, wells highlighted.

  - Pipette 140 microliters of PBS into one well of a UV transparent 96-well plate [1], then add 10 microliters of thrombin and mix [2-TXT]. Immediately initiate clotting by adding 50 microliters of fibrinogen to the well [3-TXT] and pipette up and down 5 times using only the first stop of the pipette, taking care to avoid creating bubbles [4]. Videographer: This step is important!

    - Talent adding PBS to a well, with the PBS container in the shot.

    - Talent adding thrombin to the well and mixing it. TEXT: 20 U/mL

    - Talent adding fibrinogen to the well. TEXT: 12 mg/mL

    - Talent pipetting up and down.

  - Place the plate in the plate holder [1] and click Read in the software to start the turbidity reading [2]. When the read has finished, retrieve the turbidity data and obtain a turbidity tracing curve by plotting the absorbance change over time [3].

    - Talent putting the plate in the plate holder.

    - SCREEN: 61519_screenshot_1.mp4. 0:33 – 0:50. Start clicked.

    - Talent at the computer plotting the absorbance over time.

  - Derive maximum turbidity by taking the max absorbance value of the curve over time [1], then calculate 90% maximum turbidity by multiplying maximum turbidity by 0.9 [2]. Derive the time to maximum turbidity by computing the time from clot initiation to 90% maximum turbidity [3].

    - LAB MEDIA: Representative Turb Curve.tiff.

    - LAB MEDIA: Representative Turb Curve.tiff. Video Editor: Emphasize the 90% Turbmax.

    - LAB MEDIA: Representative Turb Curve.tiff. Video Editor: Emphasize the Time to 90% Turbidity.

- Thromboelastography (TEG)

  - Turn on the thromboelastograph, or TEG, analyzer and wait for the temperature to stabilize at 37 degrees Celsius [1]. Then, open the TEG software and create an experiment name under the ID section [2].

    - Talent turning on the TEG.

    - Talent at the computer opening the TEG software.

  - Click the TEG tab and follow the on-screen prompts to conduct an e-test for all channels [1], then place the lever back to the load position once all checks are complete [2]. Click Done in the information page, input sample information for channels that will be used [3].

    - SCREEN: 61519_screenshot_2.mp4. 0:17 – 0:42. TEG tab clicked and on screen prompts being clicked for the e-test.

    - Talent placing the lever back to load position.

    - SCREEN: 61519_screenshot_2.mp4. 0:43 – 1:07. Information being put in.

  - Place a clear uncoated TEG cup in its corresponding channel [1]. Slide the carrier up to the top and press the cup bottom 5 times to affix the pin to the torsion rod [2], then lower the carrier and press the cup downward into the base until it clicks [3]. Videographer: This step is important!

    - Talent putting the TEG cup in the channel.

    - Talent sliding the carrier up and pressing the cup bottom 5 times.

    - Talent lowering the carrier and pressing down the cup.

  - Pipette 20 microliters of thrombin solution into the TEG cup [1], then initiate clotting by adding 340 microliters of fibrinogen into the cup to obtain a 360-microliter clotting solution [2]. Mix the contents of the cup by pipetting up and down five times [3]. Videographer: This step is important!

    - Talent pipetting thrombin into the cup. TEXT: 18 U/mL

    - Talent adding fibrinogen into the cup. TEXT: 3.2 mg/mL

    - Talent pipetting the mixture up and down.

  - Slide the cup loaded carrier up, move the lever to the read position [1], and click Start in the software to initiate the TEG reading [2]. Once the reading is completed, retrieve the parameters and obtain a TEG tracing curve by plotting amplitude over time [3]. Videographer: This step is important!

    - Talent sliding the loaded carrier up and moving the lever to the read position.

    - Talent clicking start in the software.

    - SCREEN: 61519_screenshot_2.mp4. 1:58 – 2:28. Curve being plotted.

  - Collect MA as maximum amplitude, which is indicative of clot strength, and TMA as time to maximum amplitude from the software [1].

    - SCREEN: 61519_screenshot_2.mp4. 2:30 – 2:52. MA and TMA values.

# Results

- Results: Turbidity and TEG Data Trends

  - Representative turbidity [1] and TEG tracing curves [2] of human and bovine fibrin clots at different fibrinogen levels are shown here [3-TXT].

    - LAB MEDIA: Figure 1 and Figure 2. Video Editor: Emphasize Figure 1 plots.

    - LAB MEDIA: Figure 1 and Figure 2. Video Editor: Emphasize Figure 2 plots.

    - LAB MEDIA: Figure 1 and Figure 2. Video Editor: Label A in both figures “Bovine” and B in both figures “Human”.

  - The tracing curves demonstrate that after a lag period following clot initiation, clot turbidity or clot amplitude increases over time and levels off at the end of clot formation [1].

    - LAB MEDIA: Figure 1 and Figure 2.

  - Maximum turbidity and time to maximum turbidity are the two parameters derived from turbidity [1] while maximum amplitude and time to maximum amplitude are derived from TEG [2]. At a higher level of fibrinogen in the clotting solution, all four values increase [3].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize A.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 3.

  - Maximum turbidity is an optical measure of clot structure which is indicative of fibrin fiber thickness and fibrin network density [1], while maximum amplitude is a mechanical measure that reflects absolute clot strength [2]. Taken together, the two values provide complementary insight about the clot microstructures [3].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the TurbMax axis in A.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the TEGMax axis in B.

    - LAB MEDIA: Figure 3.

# Conclusion

- Conclusion Interview Statements

  - Tanmaye Nallan Chakravarthula: This procedure demonstrates a simplified clotting model to examine variables that mainly effect fibrin polymerization. This model can be customized by inclusion of additional clotting factors to study other parameters.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.4.

  - Ziqian Zeng: The clotting model can be easily modified using clinical plasma samples to monitor clot formation and dissolution in the presence of antithrombotic drugs. Results could guide therapeutic management in patients.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.