## Sheet1
DEPC Water
Add 0.1% DEPC to ultrapure water and incubate the bottle (covered) in the 37°C oven overnight and autoclave next day.
DEPC PBS (10X)
Mix the following:
80 g | NaCl (final 1.37 M)
2 g | KCl (final 27 mM)
14.2 g | Na2HPO4 (final 100 mM)
2.7 g | KH2PO4 (final 20 mM)
Ultrapure water to 1L
Filter (0.22 μm) into a glass bottle.
Add 0.1% DEPC and follow the instruction for DEPC water.
To make 1X solution, dilute 10 times with DEPC water.
1M DEPC sodium phosphate buffer, pH 7.4
Mix the following:
115 g | Na2HPO4
22.8 g | NaH2PO4
Ultrapure water to 1 L
Filter (0.22 μm) into a glass bottle.
Add 0.1% DEPC and follow the instruction for DEPC water.
4X fixing solution (16% formaldehyde)
5 mL | 20% formaldehyde
500 µL | DEPC water
750 µL | 1M DEPC sodium phosphate buffer, pH 7.4
Store at 4 °C for up to 2-4 weeks.
CAUTION: Formaldehyde is toxic. Wear gloves and use a fume hood when making this solution.
Wash solution
Mix the following:
10 mL | Formamide (final 25%)
4 mL | 20X SSC (final 2X)
Fill DEPC water to 40 mL
Filter (0.22 μm) and store at 4 °C
CAUTION: Formamide is toxic. Wear gloves and use a fume hood when making this solution.
Pre-hybridization solution
200 µL | Formamide (final 20%)
100 µL | 20X SSC (final 2X)
10 µL | 100X VRC (final 1X)
25 µL | 4% (w/v) BSA (final 0.1%)
685 µL | DEPC water
NOTE: Vortex the VRC stock before taking 10 µL out.
CAUTION: Formamide is toxic and a known teratogen. Wear gloves and handle it under a fume hood.
Probe hybridization solution
200 µL | Formamide (final 20%)
100 µL | 20X SSC (final 2X)
10 µL | 100X VRC (final 1X)
25 µL | 4% (w/v) BSA (final 0.1%)
10 µL | 40 mg/mL E. coli tRNA (final 0.4 mg/mL)
200 µL | 50% dextran sulfate (final 10%)
x µL | 5’ mRNA probe set (from Step 1.12) to final 4 nM.
y µL | 3’ mRNA probe set (from Step 1.12) to final 4 nM.
- | DEPC water to make the total volume 1 mL
NOTE: Add dextran sulfate last. Because it is very viscous, cut the end of a pipette tip before taking 200 μL out from the 50% stock. After adding dextran sulfate, pipette up and down to homogenize the solution.