## Table of materials
Table of materials
Antibodies | Distributor | Catalog Number | Dilution
iPSC pluripotency marker
Mouse anti-SSEA4 | Abcam | ab16287 | 1 to 33
Rabbit anti-Oct3/4 | Abcam | ab19857 | 1 to 200
NGN2 neuron markers
Mouse anti- TUBB3 | R & D | MAB1195 | 1 to 500
Rabbit anti-BRN2 | NEB | 12137 | 1 to 1,000
mDA neuron markers
Chicken anti-TH | Pel-Freez Biologicals | 12137 | 1 to 750
Mouse anti-MAP2 | Santa Cruz | sc-74421 | 1 to 750
Secondary antibodies
Goat anti-chicken IgY, Alexa Fluor 488 | Invitrogen | A11039 | 1 to 2,000
Goat anti-mouse IgG, Alexa Fluor 488 | Invitrogen | A11029 | 1 to 2,000
Goat anti-mouse IgG, Alexa Fluor 594 | Invitrogen | A11032 | 1 to 2,000
Goat anti-rabbit IgG, Alexa Fluor 488 | Invitrogen | A11008 | 1 to 2,000
Goat anti-rabbit IgG, Alexa Fluor 488 | Invitrogen | A11008 | 1 to 2,000
Goat anti-rabbit IgG, Alexa Fluor 594 | Invitrogen | A11012 | 1 to 2,000
Nuclei counterstaining
Hoechest 33342 | Invitrogen | H3570 | 1 to 8,000
Instruments | Distributor | Catalog Number | Description/Application
Agilent TapeStation system | Agilent technologies | 4200 | Automated electrophoresis for DNA and RNA samples
Automated -20 °C storage system | Hamilton Storage Technologies | Sample Access Manager (SAM -20C, 3200 series) | Storage of reagents
Barcode reader | Honeywell | Barcode Reader Orbit | Barcode scanner
Brightfield cell cytomat | Nexcelom | Celigo | Confluence check and cell counting
CellVoyager 7000 | Yokogawa | CellVoyager 7000 | Automated confocal microscope
Cytomat for cell cultures | Thermo Fisher Scientific | Cytomat 24 C, CU | 12 stackers pitch 28 mm, 12 stackers pitch 23 mm (total of 456 plates)
Cytomat for thawing samples | Thermo Fisher Scientific | Cytomat 2-LIN, 60 DU (Drying Unit) | 2 stackers pitch 28 mm (total of 42 plates)
HEPA filters | Hamilton Robotics | Hood Flow Star UV | Modified by Hamilton Robotics
Liquid handling station | Hamilton Robotics | Microlab Star | Channels: 8x 1-ml, 4x 5 ml and 96 Channel MPH
Media reservoir | Hamilton Robotics | 188211APE | Media/reagents reservoir
Pure water system | Veolia Water | ELGA PURELAB Classic | Provides pure water for needle wash station
QuantStudio 12K Flex Real-Time PCR System | Thermo Fisher Scientific | QSTUDIO12KOA | Real-time PCR machine
Robotic arm | Hamilton Robotics | Rackrunner | Transport of plates
Turn table | Hamilton Robotics | Turn Table | Adjust plate orientiation
Uninterruptible power supply | APC | Smart UPS RT Unit, 10000 VA Power supply | Backup power supply
VIAFLO-pipettes | Integra | 4500 | Electronic pipette
ViiA 7 Real-Time PCR System | Applied Biosystems | 4453545 | Real-time PCR machine
Materials | Distributor | Catalog Number | Notes
1-well culture plate (84 cm²) | Thermo Fischer Scientific | 165218 | Nunc OmniTray
6-well culture plates (9.6 cm²) | Greiner Bio-One | 657160 | TC treated with lid
12-well culture plate (3.9 cm²) | Greiner Bio-One | 665180 | TC treated with lid
96-well culture plate (0.32 cm²) | Perkin Elmer | 6005558 | CellCarrier-96 Black plate
Tips, 50-µL | Hamilton Robotics | 235987 | 50-uL tips
Tips, 300-µL | Hamilton Robotics | 235985 | 300-µL tips
Tips, 1000-µL | Hamilton Robotics | 235939 | 1000-µL tips
Tips, 5-mL | Hamilton Robotics | 184022 | 5-mL tips
Tubes, 15-mL | Greiner Bio-One | 188271 | 15-mL tubes
Tubes, 50-mL | Greiner Bio-One | 227261 | 50-mL tubes
Nalgene cryogenic 2.0 mL vials | Sigma Aldrich | V5007 | Cryovials
Plasmids | Distributor | Catalog Number | Notes
pLV_hEF1a_rtTA3 | Addgene | 61472 | Kind gift from Ron Weiss
pLV_TRET_hNgn2_UBC_Puro | Addgene | 61474 | Kind gift from Ron Weiss
pLVX-EF1a-AcGFP1-N1 lentivirus | Takara Bio | 631983
Primers | Sequence (forward) | Sequence (reverse) | Source
iPSC pluripotency
OCT4 (ID 4505967a1) | CTTGAATCCCGAATGGAAAGGG | GTGTATATCCCAGGGTGATCCTC | PrimerBank
NANOG (ID 153945815c3) | CCCCAGCCTTTACTCTTCCTA | CCAGGTTGAATTGTTCCAGGTC | PrimerBank
REX1 (ID 89179322c1) | AGAAACGGGCAAAGACAAGAC | GCTGACAGGTTCTATTTCCGC | PrimerBank
NGN2 neurons
MAP2 (ID 87578393c1) | CTCAGCACCGCTAACAGAGG | CATTGGCGCTTCGGACAAG | PrimerBank
BRN2 (ID 380254475c1) | CGGCGGATCAAACTGGGATTT | TTGCGCTGCGATCTTGTCTAT | PrimerBank
CUX2 (ID 291045458c2) | CGAGACCTCCACACTTCGTG | TGTTTTTCCGCCTCATTTCTCTG | PrimerBank
NCAM1 (ID 336285437c3) | TGTCCGATTCATAGTCCTGTCC | CTCACAGCGATAAGTGCCCTC | PrimerBank
SYNAPSIN1 (ID 91984783c3) | TGCTCAGCAGTACAACGTACC | GACACTTGCGATGTCCTGGAA | PrimerBank
mDA neurons
TH | CGGGCTTCTCGGACCAGGTGTA | CTCCTCGGCGGTGTACTCCACA | NCBI primer-BLAST
MAP2 | GGATCAACGGAGAGCTGAC | TCAGGACTGCTACAGCCTCA | NCBI primer-BLAST
Housekeeping genes
GAPDH | GAAATCCCATCACCATCTTCCAGG | GAGCCCCAGCCTTCTCCATG | NCBI primer-BLAST
OAZ1 | AGCAAGGACAGCTTTGCAGTT | ATGAAGACATGGTCGGCTCG | NCBI primer-BLAST
RPLPO | CCTCATATCCGGGGGAATGTG | GCAGCAGCTGGCACCTTATTG | NCBI primer-BLAST
RPL13A | GCCTACAAGAAAGTTTGCCTATC | TGGCTTTCTCTTTCCTCTTCTC | NCBI primer-BLAST
Media and Reagents | Distributor | Catalog Number | Use concentration
Coating matrix
Extracellular matrix (Matrigel) | Corning | 354277 | 10 μg/mL
Fibronectin | Corning | 356008 | 2 μg/mL
Laminin | Sigma | L2020 | 5 - 10 μg/mL
Poly-L-Ornithine (PLO) | Sigma | P3655 | 0.1 mg/mL
Culture media
iPSC culture medium (Essential 8 Flex medium) | Gibco | A2858501
NGN2 neurons - NGN2 medium
2-mercaptoethanol | Gibco | 21985023 | 0.909 mL (50 µM)
B27 supplement | Gibco | 12587010 | 10 mL (1%)
DMEM/F-12, GlutaMAX | Gibco | 31331093 | 484.75 mL
GlutaMAX | Gibco | 35050038 | 5 mL ( 2 mM)
Insulin | Sigma | I9278 | 0.25 mL (2.5 µg/mL)
MEM Non-Essential Amino Acids | Gibco | 11140050 | 5 mL (0.5%)
N2 supplement | Gibco | 17502048 | 5 mL (0.5%)
Neurobasal medium | Gibco | 21103049 | 485 mL
mDA neurons - SRM medium
2-mercaptoethanol | Gibco | 21985023 | 0.5 mL (55 µM)
GlutaMAX | Gibco | 35050038 | 5 mL (2 mM)
Knockout DMEM/F-12 | Gibco | 12660012 | 409.5 mL
Knockout serum replacement (serum replacement) | Gibco | 10828028 | 75 mL (15%)
MEM Non-Essential Amino Acids | Gibco | 11140050 | 5 mL (1%)
Penicillin-Streptomycin | Gibco | 15140122 | 5 mL (1%)
mDA neurons - N2 medium
B27 supplement | Gibco | 12587010 | 10 mL (2%)
GlutaMAX | Gibco | 35050038 | 5 mL (2 mM)
N2 supplement | Gibco | 17502048 | 5 mL (1%)
Neurobasal medium | Gibco | 21103049 | 475 mL
Penicillin-Streptomycin | Gibco | 15140122 | 5 mL(1%)
mDA neurons - Differentiation medium
B27 supplement | Gibco | 12587010 | 10 mL (2%)
Neurobasal medium | Gibco | 21103049 | 485 mL
Penicillin-Streptomycin | Gibco | 15140122 | 5 mL (1%)
NGN2 neurons - Supplements
Brain-Derived Neurotrophic Factor (BDNF) | Peprotech | 450-02 | 10 ng/mL
CHIR99021 (CHIR) | R&D | 4423/10 | 2 μM
Doxycyline (dox) | Sigma | D9891 | 2.5 μg/mL
Glial-Derived Neurotrophic Factor (GDNF) | Peprotech | 450-10 | 10 ng/mL
L-ascorbic acid 2-phosphate magnesium (AA2) | Sigma | A8960 | 64 mg/L
Neurotrophic factor-3 (NT-3) | Peprotech | 450-10 | 10 ng/mL
Purmorphamine (PMA) | Cayman | 10009634 | 0.5 μM
Puromycin | Sigma | P8833-10MG | 0.5 μg/mL
Thiazovivin | Merk Millipore | 420220-10MG | 2 μM
mDA neurons - Supplements
Brain-Derived Neurotrophic Factor (BDNF) | Peprotech | 450-02 | 20 ng/mL
CHIR99021 (CHIR) | R&D | 4423/10 | 3 μM
DAPT | Cayman | 13197 | 10 µM
Dibutyryl-cAMP (db-cAMP) | Sigma | D0627 | 1 mM
Fibroblast Growth Factor 8B (FGF-8b) | Peprotech | 100-25 | 100 ng/mL
Glial-Derived Neurotrophic Factor (GDNF) | Peprotech | 450-10 | 20 ng/mL
L-ascorbic acid (AA1) | Sigma | A4403 | 0.2 mM
LDN193189 (LDN) | Cayman | 11802 | 100 nM
Purmorphamine (Purm) | Cayman | 10009634 | 2 μM
Sonic Hedgehog/Shh (C24II) N-Terminus (SHH) | R&D | 1845-SH | 100 ng/mL
SB431542 (SB) | Cayman | 13031 | 10 μM
Transforming Growth Factor type ß3 (TGFß3) | R&D | 243-B3 | 1 ng/mL
Y-27632 | Cayman | 10005583 | 10 µM
Dissociation reagents
Single cell dissociation reagent (StemPro Accutase) | Gibco | A1110501 | 1x
UltraPure 0.5M EDTA, pH 8.0 | Gibco | 11575020 | 0.5 mM
RNA isolation and cDNA kit
RNA isolation kit | Qiagen | 74106 | Rneasy MiniKit
RNA lysis buffer | Thermo Fisher Scientific | 15596018 | Trizol lysis buffer (RNA lysis buffer)
Reverse transcriptase (kit) | Thermo Fisher Scientific | 18080-085 | SuperScript III Reverse Transcriptase
Software | Company | Catalog Number | Description/Application
Cell Culture Framework (CCF) (Graphical user interface, GUI) | Hamilton Robotics | Custom-made | User interface for the automated system
CellPathFinder software (image analysis software 1) | Yokogawa | CellPathfinder HCS Software | Image analysis tool
CellVoyager Measurement System | Yokogawa | Included with CellVoyager 7000 | Microscope controlling software
Columbus software (image analysis software 2) | Perkin Elmer | Columbus | Image analysis tool
Cloud based qPCR app | Thermo Fisher Scientific | Themo Fisher cloud | Analysis software for qRT-PCR data
Venus software | Hamilton Robotics | VENUS Two Dynamic Schedular 5.1 Software | Controlling software for the automated system