# Submission ID #: 61529

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18766393

Title: Chromatographic Fingerprinting by Template Matching for Data Collected by Comprehensive Two-Dimensional Gas Chromatography

Authors and Affiliations: Federico Stilo1, Chiara Cordero1, Carlo Bicchi1, Daniela Peroni2, Qingping Tao3, and Stephen E. Reichenbach3,4

1Dipartimento di Scienza e Tecnologia del Farmaco, Università degli Studi di Torino

2SRA Instruments

3GC Image, LLC

4Computer Science and Engineering Department, University of Nebraska

☒   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

- We added a comma in Affiliation 3 and removed city for SRA Instruments.

# Corresponding Authors:

Chiara Cordero

chiara.cordero@unito.it

# Stephen E Reichenbach

# reich@cse.unl.edu

# Co-Authors:

federico.stilo@unito.it

carlo.bicchi@unito.it

peroni@srainstruments.com

qtao@gcimage.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

We have added all screen captured videos of pertinence at the link.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☒ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

If Yes, how far apart are the locations?

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 41

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Chiara Cordero: Chromatographic fingerprinting by template matching is significant because it can automatically extract rich untargeted and targeted chemical information from GC-by-GC chromatograms across multiple samples with consistent cross-alignment.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Stephen E. Reichenbach: The main advantages of this technique are (A) comprehensive coverage of untargeted and targeted analytes and (B) consistent matching of chromatographic features across multiple chromatograms and samples by cross-alignment.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward a particularly challenging application? How so?

  - Federico Stilo: The technique has broad applications, but here we apply it to foodomics — specifically, to characterize the chemical information encrypted in the volatile fraction, or volatilome, of extra-virgin olive oils. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into?

  - Stephen E. Reichenbach: The technique is foundational for research using machine learning to discover complex relationships between sample chemistry and external factors, for example, for food, with sensory quality, production methods, et cetera.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Federico Stilo: The quality of chromatography is fundamental.  If the separations are poor, the power of the technique is limited, but if the chromatograms are good, the method is fairly automated.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Chiara Cordero: GC-by-GC visualizes structure-retention relationships in images.  The human eye is well adapted to perceive two-dimensional patterns, so seeing the method shows its power in a very direct manner.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☒ Yes

Has any author been assigned more than two statements? ☒ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Importing Raw Data

  - To create a two-dimensional raster array for visualization and processing, launch the image software [1] and select File and Import to open the raw data files of interest [2].

    - WIDE: Talent launching software

    - SCREEN: To be provided by Authors: File and Import being selected, then file being selected and opened

  - In the Import dialog, set the Modulation Period to 3.5 seconds, click OK, and select File and Save Image As [1].

    - SCREEN: To be provided by Authors: Modulation Period being set, OK being clicked, then File and Save Image As being selected

  - Navigate to the desired folder, enter the file name, and click Save [1].

    - SCREEN: To be provided by Authors: Folder being selected, file name being entered, Save being clicked

  - To shift the modulation phase, select Processing and Shift Phase and set the Shift Amount to minus 0.8 seconds [1].

    - SCREEN: To be provided by Authors: Processing and Shift Phase being selected, then Shift Amount being set and OK being clicked

- Baseline Correction

  - For baseline correction, select Graphic and Draw Rectangle [1] and click-and-drag to draw a rectangle in the image in which no peaks are detected [2].

    - WIDE: Talent selecting Graphic and Draw Rectangle, with monitor visible in frame

    - SCREEN: To be provided by Authors: Rectangle being drawn

  - Select Tools and Visualize Data and note the mean and standard deviation of the detector signal [1].

    - SCREEN: To be provided by Authors: Tools and Visualize Data being selected Video Editor: please emphasize mean and standard deviation when mentioned

  - Then close the tool and selecting Processing and Correct Baseline [1].

    - SCREEN: To be provided by Authors: Tool being closed, then Processing and Correct Baseline being selected

- Chromatographic Image Coloring and 2D Peak Analyte Detection

  - To color the chromatographic images using value and color maps, select View and Colorize [1].

    - WIDE: Talent selecting View and Colorize, with monitor visible in frame

  - Open the Import-Export tab and select the number AAAA custom color map and click Import [1].

    - SCREEN: To be provided by Authors: Tab being opened, custom color map being selected, and Import being clicked

  - Then, in the Value Mapping controls, set the value range to the minimum and maximum values and click OK [1].

    - SCREEN: To be provided by Authors: Value range being set to min and max and OK being clicked

  - For 2D peak analyte detection, select Processing and Detect Blobs. Some peaks will be split and some spurious detections will be observed [1].

    - SCREEN: To be provided by Authors: Processing and Detect Blobs being selected, then shot of peaks Video Editor: please emphasize split peaks and spurious detections when mentioned

  - Select Configure, Settings, and Blob Detection. Set Smoothing to 0.1 for 1D samples and to 2 for 2D modulations and set the Minimum to 1 x 106 [1].

    - SCREEN: To be provided by Authors: Configure, Settings, and Blob Detection being selected, then Smoothing and Minimum being set

  - Then click OK, select Processing and Detect Blobs, and observe the improvements [1].

    - SCREEN: To be provided by Authors: Ok being clicked, then Processing and Detect Blobs being selected, then data being displayed

- 2D Peak Filtration and Peak Spectra Location

  - To remove meaningless detections, first select Processing and Interactive Blob Detection [1].

    - WIDE: Talent selecting Processing and Interactive Blob Detection

  - Note the blob detection settings and click Detect [1].

    - SCREEN: To be provided by Authors: Shot of blob detection settings, then Detect being clicked

  - In the Advanced Filter builder, click Add. In the New Constraint window, select Retention two and click OK [1].

    - SCREEN: To be provided by Authors: Add being clicked, then Retention II being selected

  - Then, in the Constraint sliders, set the minimum and maximum 2D retention times for the filter to reduce the number of false peaks without losing the true peaks and click Apply and Yes [1].

    - SCREEN: To be provided by Authors: Min and max retention times being set, then Apply and Yes being clicked

  - To search for the peak spectra in an NIST MS (N-I-S-T M-S) library of interest, select Configure, Settings, and Search Library and set the Type of Spectrum to Peak MS, the Intensity Threshold to 100, the NIST Search Type to Simple Similarity, the NIST Retention Indices Column Type to Standard Polar, and the NIST Retention Indices Tolerance to 10 [1].

    - SCREEN: To be provided by Authors: Configure, Settings, and Search Library TEXT: NIST: National Institute of Standards and Technology; MS: mass spectrometry being selected then Parameters being set

  - Then click OK and select Processing and Search Library for All Blobs [1].

    - SCREEN: To be provided by Authors: Ok and Processing and Search Library for All blobs being selected

- Targeted Peak Template Creation and Template Matching and Application

  - To create a template with targeted peaks, in the image view [1], click on the first peak and control click on any additional peaks to select the peaks of interest [2].

    - WIDE: Talent opening image view, with monitor visible in frame

    - SCREEN: To be provided by Authors: Peak being clicked, then subsequent peaks being clicked

  - Click Add to Template and select File and Save Template. Then specify the folder and file name and click Save [1].

    - SCREEN: To be provided by Authors: Add to Template being clicked, then File and Save Template being selected, then folder and file name being selected and Save being clicked

  - To match and apply the template, select File and Open Image and navigate to and open the chromatogram file of interest [1].

    - SCREEN: To be provided by Authors: File and Open Image being selected, then file being opened

  - Set the cursor mode to Template and Select Objects and select Template and Load Template [1].

    - SCREEN: To be provided by Authors: Cursor mode being set, then Template and Load Template being selected

  - In the Load Template window, click Browse and open the targeted peaks template [1].

    - SCREEN: To be provided by Authors: Browse being clicked and template being selected

  - In the Load Template dialog, click Load and Dismiss [1].

    - SCREEN: To be provided by Authors: Load and Dismiss being clicked

  - In the Image view, right-click on a template peak to inspect its object properties, including the qualifier chemical logic expression or  qCLIC and reference MS [1].

    - SCREEN: To be provided by Authors: Peak being right clicked, the properties being displayed Video Editor: please emphasize qCLIC and ref MS when mentioned

  - Select Template and Interactive Match and Transform Template. In the Interactive Match interface, click Match All and review the matching results in the table and in the image. Each template peak will be marked with an unfilled circle. If a match is made, there will be a link to a filled circle for the detected peak [1].

    - SCREEN: To be provided by Authors: Template and Interactive Match and Transform Template being selected, Match All being clicked, then results being displayed Video Editor: please emphasize unfilled circle(s) and filled circle(s)/link(s) when mentioned

  - Then edit the matches as appropriate and click Apply to transfer the metadata from the template to the chromatogram [1].

    - SCREEN: To be provided by Authors: Match(es) being edited and Apply being clicked

- Template Transformation (Optional)

  - If chromatographic conditions vary substantially, causing the template to be misaligned with a new chromatogram, load the Targeted template 2.bt file [1] and select Template and Interactive Match Template and click Edit Transform [2].

    - WIDE: Talent loading Targeted template 2.bt file, with monitor visible in frame

    - SCREEN: To be provided by Authors: Template and Interactive Match Template being selected and Edit Transform being clicked

  - In the Transform Template interface, vary the 1D and 2D scales, translations, and shears to better align the template with the detected peaks and click Transform Template [1].

    - SCREEN: To be provided by Authors: 1 and 2D scales, translations, and shears being varied/template being aligned and transform template being clicked

  - When the template has been transformed, click Edit Match and match the template peaks as demonstrated [1].

    - SCREEN: To be provided by Authors: Edit March being clicked, then Match All being clicked and/or edited

- Untargeted and Targeted Chromatogram Analysis

  - To establish correspondences between untargeted and targeted analytes, select File and Open analysis [1] and open the file as indicated [2].

    - WIDE: Talent selecting File and Open analysis, with monitor visible in frame

    - SCREEN: To be provided by Authors: File being selected and opened

  - Open the Compounds tab to review the metric values and statistics for specific analytes or untargeted analytes with identifiers aligned across all of the chromatograms [1].

    - SCREEN: To be provided by Authors: Tab being opened, values and specifics being displayed

  - Open the Attributes tab to review values and statistics for specific metrics across the chromatograms and open the Summary tab to review the summary statistics for both compounds and features [1].

    - SCREEN: To be provided by Authors: Attributes tab being opened, then Summary tab being opened

  - If the chromatograms are from different classes, the Summary tab will list Fisher ratio statistics that provide insight into the features for discriminating between classes [1].

    - SCREEN: To be provided by Authors: Shot of Summary tab results Video Editor: please emphasize Fisher ratio statistics

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

4.3.1; 4.4.1; 6.6.1; 6.8.1; 7.2.1; 8.4.1

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

4.4.1 - Detecting blobs is fundamental to delineating 2D patterns and capturing metadata to create a consistent template for cross-samples analysis.

6.8.1 - Template transformation is an interactive procedure that requires analyst supervision to understand the actual misalignment between a reference template and a sample’s pattern. The tuning of transform parameters ensures proper re-alignment of the template peaks and a low false-negative matching rate.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 200. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Chromatographic Fingerprinting

  - In these graphs, relative retention patterns for homologous series and classes are shown [1] with annotations for linear saturated hydrocarbons [2], unsaturated hydrocarbons [3], linear saturated aldehydes [4], mono-unsaturated aldehydes [5], polyunsaturated aldehydes [6], primary alcohols [7], and short-chain fatty acids [8].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1A Video Editor: please emphasize black circles

    - LAB MEDIA: Figure 1A Video Editor: please emphasize yellow circles

    - LAB MEDIA: Figure 1A Video Editor: please emphasize blue circles

    - LAB MEDIA: Figure 1A Video Editor: please emphasize red circles

    - LAB MEDIA: Figure 1 Video Editor: please emphasize salmon circles

    - LAB MEDIA: Figure 1 Video Editor: please emphasize green circles

    - LAB MEDIA: Figure 1 Video Editor: please emphasize cyan circles

  - Detected 2D peaks can be identified [1] by comparing the average MS spectrum extracted from the entire 2D peak [2] or from the largest spectrum [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize blob spectra

    - LAB MEDIA: Figure 2 Video Editor: please emphasize apex spectra

  - The collection of identified 2D peaks can be adopted to build a template of targeted peaks to promptly establish reliable correspondences between the same compound across all of the sample chromatograms [1].

    - LAB MEDIA: Figure 1B

  - In this analysis, a partial misalignment between the targeted template and the actual chromatogram can be observed [1].

    - LAB MEDIA: Figure 3 top chromatogram

  - For minimal misalignments, interactive template transformations can reposition the template peaks for a better fit [1].

    - LAB MEDIA: Figure 3 top chromatogram Video Editor: please emphasize sequentially add/replace previous figure with second, third, and fourth chromatograms

  - The untargeted feature template is composed of 2D peaks from analytes detected in the composite chromatogram that are matched by the reliable-peaks template [1].

    - LAB MEDIA: Figure 5A

  - The mass spectra of the composite peaks, as well as their retention times, are then recorded in the feature template [1].

    - LAB MEDIA: Figure 5B

  - When unsupervised pattern recognition by Principal Component Analysis is applied to targeted peaks distribution within the 20 analyzed samples [1], Sicilian and Tuscany oils cluster separately [2], suggesting that pedoclimatic conditions and terroir impact the relative prevalence of volatiles [3].

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6B

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Origin Sicily oval and text box in Figure 6A

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Origin Sicily oval and text box in Figure 6B

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Stephen E. Reichenbach: When first learning the procedure, it is important to check the results at each step.  Also, the people at GC Image are very helpful in answering questions.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (3.3, 4.6, 5.6, 6.8)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Chiara Cordero: We are using the technique to explore new questions with analyses of other food products, including hazelnuts, cocoa, and teas, and of bio-fluids (saliva,urine, and feces) for nutrimetabolomic applications.  [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☒ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.