# Submission ID #: 61563

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18776763

Title: Super-Resolution Live Cell Imaging of Subcellular Structures

Authors and Affiliations: Rajesh Ranjan1 and Xin Chen1

1Department of Biology, The Johns Hopkins University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Rajesh Ranjan

rranjan4@jhu.edu

Xin Chen

xchen32@jhu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If you require a microscope for your technique but can record movies/images through your microscope with your own camera, please indicate Yes here: Enter Yes or No.

If you require a microscope but do not have a camera, JoVE will need to use our scope kit to film through a camera port or one of the oculars of your microscope. Please list the make and model of your microscope here: Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 33

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Glass Bottom Cell Culture Dish Preparation

  - Begin by cutting a 12-14-kilodalton molecular weight cutoff dialysis membrane into small pieces [1] and soaking the pieces with 100 microliters of live cell medium for about 5 minutes [2-TXT].

    - WIDE: Talent cutting membrane

    - Talent adding membrane to medium, with medium container visible in frame TEXT: See text for all medium and solution preparation details

  - While the membranes are soaking, cut the outer ring of a 50-milliliter tube into small pieces [1] and sterilize the pieces in 70% ethanol [2].

    - Talent cutting ring

    - Talent adding ring to ethanol, with ethanol container visible in frame

  - Then place the 25-millimeter-diameter ring onto the elevated side of a 35-millimeter dish [1] place a coverslip onto the ring [2].

    - Talent placing ring onto dish

    - Talent placing coverslip onto ring

- Testes Dissection and Mounting

  - For testes dissection and mounting, transfer ten 2-3-day-old male flies into a dissection dish under a dissecting microscope [1] and use fine forceps to remove the testes [2].

    - WIDE: Talent placing flies into dish

    - SCOPE: Testes being removed

  - When all of the testes have been collected, wash the tissues two times in live cell medium [1] and use a pipette tip to spread 100-150 microliters of live cell medium to the prepared glass bottom dish [2].

    - Talent adding medium to dish/flies being washed, with medium container visible in frame

    - Medium being spread around dish, with medium container visible in frame

  - Use fine forceps to transfer the flies to the center of the dish [1] and remove all but about 10 microliters of the medium [2].

    - Flies being moved to center of dish

    - Medium being removed

  - Quickly place the pre-wet membrane onto the testes [1] and place 2-3 small, plastic weights onto the membrane [2].

    - Membrane being placed

    - Weight(s) being placed

  - Immediately add 100-150 microliters of fresh live cell medium [1] and place the ring back onto the elevated side of the dish [2].

    - Talent adding medium to dish, with medium container visible in frame

    - Talent placing ring onto dish

  - Place the coverslip back onto of the ring [1] and swirl a piece of tissue paper in water [2] before placing it onto the coverslip [3].

    - Talent placing coverslip onto ring

    - Paper being swirled

    - Talent placing paper onto coverslip

  - Then cover the dish with a lid [1] and secure the dish onto the stage of a super-resolution microscope [2].

    - Talent placing lid onto dish

    - Talent placing dish onto

- Live Cell In Situ Male Drosophila Germline Stem Cell (GSC) Imaging

  - For germline stem cell imaging, open the imaging software [1] and turn on the transmitted light [2].

    - WIDE: Talent opening imaging software, with monitor visible in frame

    - Talent turning on light

  - Use the 63x objective to focus on the testis tissue [1] and turn on the lasers [2].

    - Talent focusing on tissue

    - Talent turning on lasers

  - Click Live to locate germinal stem cells [1-TXT].

    - SCREEN: To be provided by Authors: Live being clicked and GSC being located TEXT: Avoid testes with low fluorescence and/or with niche away from surface

  - Adjust the focus and click Frame Size to set the frame size to between 512 x 512 and 1024 x 1024 pixels and Averaging to set the frame average to 1 or 2 [2].

    - SCREEN: To be provided by Authors: Focus being adjusted

    - SCREEN: To be provided by Authors: Frame Size being clicked and set, then Averaging being clicked and set

  - Click Lasers to set the laser power to 1-2% and click Master Gain to set the electron-multiplying gain to less than 800 [1].

    - SCREEN: To be provided by Authors: Lasers and Master Gain being set

  - Zoom in to the region or cell of interest to reduce the image acquisition time and to reduce photobleaching and confirm that the image has been optimally configured before clicking Start Experiment to start the time-lapse image capture [1].

    - SCREEN: To be provided by Authors: ROI being magnified, shot of optimal image, then Start Experiment being clicked

  - If “Airyscan acquisition is not configured optimally” is displayed, click Optimal in the frame size, z-stack, and scan area sections and optimize the time interval, number of z-slices, and duration of the time-lapse imaging according to the experimental design and type of specimen [1].

    - SCREEN: To be provided by Authors: Message being displayed, then Optimal being clicked in sections and image being optimized

  - After imaging, select Processing, Batch, and Airyscan Processing and select the images to be processed [1].

    - SCREEN: To be provided by Authors: Processing, Batch, and Airyscan Processing being clicked, then images being selected

  - Then click Run-Process to obtain the super-resolution images [1].

    - SCREEN: To be provided by Authors: Run/Process being clicked/images being obtained

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 197. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Microtubule Time-Lapse Imaging

  - Live cell imaging of Drosophila testes expressing alpha-tubulin-GFP cells in early-stage germ cells using a spinning disk confocal microscope [1] allows visualization of the asymmetric intensity of GFP (G-F-P) signals at two centrosomes as a brighter signal at the mother centrosome [2-TXT] and a relatively weaker signal at the daughter centrosomes [3].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize green arrows TEXT: GFP: green fluorescent protein

    - LAB MEDIA: Figure 2A Video Editor: please emphasize red arrows

  - The difference in brightness is likely reflected by the temporal asymmetry of the microtubule nucleation [1], but the detailed morphology and quantity of the microtubules cannot be resolved using spinning disk confocal microscopy [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize white signal in images

  - In contrast, live cell super-resolution imaging allows the visualization and quantification of microtubule morphology and numbers [1].

    - LAB MEDIA: Figure 2B Video Editor: please emphasize microtubules in images

  - This improved resolution also reveals patterns of asymmetric microtubule nucleation, elongation, and increased interaction with the nuclear membrane [1].

    - LAB MEDIA: Figure 2B Video Editor: please emphasize magenta arrow

  - Live cell imaging also allows the visualization of asymmetric nuclear membrane invagination [1] but not of individual microtubules that directly enter the nucleus [2].

    - LAB MEDIA: Figure 3A Video Editor: please emphasize Lamin-GFP alpha-tubulin-mCh image column

    - LAB MEDIA: Figure 3A Video Editor: please emphasize orange arrowheads in Lamin image column

  - In contrast, this live cell super-resolution technique allows the direct observation of these events by simultaneous imaging of both the microtubules and the nuclear lamina [1].

    - LAB MEDIA: Figure 3B Video Editor: please emphasize pink and orange arrows

  - During metaphase, both sister centromeres can be detected as one signal using spinning disc microscopy [1], although the microtubule-centromere attachment cannot be observed [2].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize Meta images

    - LAB MEDIA: Figure 4A

  - In contrast, super-resolution live imaging allows visualization of the microtubule-centromere attachment in early prophase [1].

    - LAB MEDIA: Figure 4B Video Editor: please emphasize Early prophase images

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.