# Submission ID #:  61565

# Scriptwriter Name: Domnic Colvin

# Project Page Link:  https://www.jove.com/account/file-uploader?src=18777373

# Title:   Flow cytometric characterization of murine B cell development

# Authors and Affiliations:

Faith M. Harris1*, Karoline A. Meagher1*, Maggie Zhong1, Benjamin J. Daniel2, Mark Eckersdorff1, Jesse A. Green1, Vera Voronina1, Chunguang Guo1, Andre Limnander3 and Lynn E. Macdonald1

1Regeneron Tech Centers, Regeneron Pharmaceuticals, Inc., Tarrytown, NY 10591

2Regeneron Therapeutic Proteins, Regeneron Pharmaceuticals, Inc., Tarrytown, NY 10591

# 3Immunology and Inflammation, Regeneron Pharmaceuticals, Inc., Tarrytown, NY 10591

☐   All author names and affiliations are correct.

# Corresponding Authors:

Karoline Meagher (karoline.meagher@regeneron.com)

# Email Addresses for All Authors:

# faith.harris@regeneron.com

# maggie.zhong@regeneron.com

# benjamin.daniel@regeneron.com

# mark.eckersdorff@regeneron.com

# jesse.green@regeneron.com

verav33@gmail.com

chunguang.guo@regeneron.com

andre.limnander@regeneron.com

Lynn.Macdonald@regeneron.com

karoline.meagher@regeneron.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  19

Number of Shots:  50

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - All mouse studies were overseen and approved by Regeneron’s Institutional Animal Care and Use Committee (IACUC).

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Stain cells and prepare compensation

  - Begin by aliquoting a million of each cell type from each animal into a 96-well U-bottom plate. Make sure sufficient wells are available for all samples and controls, including full stain, FMO, unstained, and optional ingle-color compensation for each fluorophore [1-TXT].

    - Talent adding 1 million cells to the 96 well plate. TEXT: FMO-fluorescence-minus-one

  - For the bone marrow maturation panel and the spleen maturation panel, aliquot cells into 2 wells, 1 million cells per well, for each full stain sample [1]. For the single-color compensation viability controls, add 2 million cells of each cell type to individual wells [2].

    - Talent aliquoting 1 million cells of BM and spleen in the wells for full stain.

    - Talent aliquoting 2 million cells of BM and spleen in the wells for single-color compensation.

  - Centrifuge the plate at 845 times g for 2 minutes at 4 degrees Celsius [1]. Decant the supernatant by quickly inverting and flicking the plate over a sink, being careful not to cross-contaminate the wells [2].

    - Talent centrifuging the plates.

    - Talent decanting the supernatant by inverting or flicking the plate.

  - Wash the cells twice in 200 microliters of DPBS [1]. Centrifuge the plate [2] and decant the supernatant after each wash [3].

    - Talent adding DPBS to the wells.

    - Talen centrifuging the plate.

    - Talent removing the supernatant by inverting or flicking the plate.

  - Resuspend the cells in 100 microliters of viability dye diluted in DPBS at the ratio of 1 to 1,000, avoiding the cells used for single-color compensation [1].

    - Talent adding viability dye to the cells.

  - For each stain set, leave several unstained wells for a completely unstained sample and any other controls you might need as well as an additional unstained well for the viability FMO control [1].

    - Prepared plate with control wells.

  - Resuspend the cells of single-color compensation viability controls in 200 microliters of diluted viability dye [1]. Transfer 100 microliters of these cells to a 1.5-milliliter microcentrifuge tube [2] and heat them for 5 minutes at 65 degree Celsius [3]. Then, transfer the heated cells back to the original well with the remaining live cells [4].

    - Talent adding viability dye to the cells of single-color compensation viability controls.

    - Talent transferring 100 microliters of the cells to a microcentrifuge tube.

    - Talent heating the tube.

    - Talent transferring heated cells back to the well.

  - Incubate the cells at 4 degrees Celsius for 30 minutes protected from light [1]. After the incubation, centrifuge the cells [2] and decant the supernatant by flicking or inverting the plate without cross contaminating the other wells [3].

    - Talent incubating the plate at 4 degree Celsius.

    - Talent centrifuging the plate.

    - Talent decanting the supernatant by flicking the plate.

  - Resuspend the cells in 200 microliters of DPBS [1]. Centrifuge [2] and flick the plate to decant the supernatant [3]. Add 50 microliters of Fc block diluted with stain buffer at a ratio of 1 to 50 to get a final concentration of 10 micrograms per microliter [4].

    - Talent adding DPBS to the plate.

    - Talent centrifuging the plate.

    - Talent flicking the plate to remove the supernatant.

    - Talent adding Fc block diluted in stain buffer solution to the cells.

  - For peritoneal cells, add 5 microliters of monocyte blocker to reduce the non-specific staining [1], then incubate the cells at 4 degrees Celsius for 15 minutes, protected from light [2].

    - Talent adding monocyte blocker to peritoneal cells.

    - Talent incubating the plate at 4 degree Celsius.

  - Prepare full stain master mixes and FMOs in the stain buffer for a final volume of 100 microliters per million cells using the antibody tables in the text manuscript [1]. Without removing Fc block, add 100 microliters of full stain mixes and FMOs to selected wells [2].

    - Talent preparing the stain master mixes. Videographer take a single shot of all the prepared solutions.

    - Talent adding the prepared solutions to the cells.

  - Prepare single-color compensation controls for each antibody in a stain set [1]. Follow the manufacturers’ directions if using compensation beads [2].

    - Talent preparing single-color compensation controls.

    - Talent preparing compensation beads.

  - If using cells, add titrated antibody in 100 microliters of stain buffer to the reserved cells without viability dye [1]. If all cells in the sample are positive for a particular marker, set aside unstained cells to be used when acquiring compensation data on the flow cytometer [2].

    - Talent adding the antibody to the cells in the plate without validity dye.

    - Talent setting aside the unstained cells to acquire data on flow cytometer.

  - Incubate the cells and the beads at 4 degrees Celsius for 30 minutes protected from light [1]. Then, centrifuge [2] and decant the supernatant by inverting and flicking the plate [3]. Wash the cells and beads in 200 microliters of stain buffer twice, centrifuging and decanting the supernatant each time [4].

    - Talent incubating the plate at 4 degree Celsius.

    - Talent centrifuging the plate.

    - Talent decanting the supernatant by flicking the plate.

    - Talent adding stain buffer to the cells.

  - Resuspend the cells and beads in 200 microliters of 2% paraformaldehyde in DPBS to fix the samples for analysis [1-TXT]. Incubate the cells and beads at 4 degrees Celsius for 30 minutes, protected from light [2], then centrifuge and decant the supernatant by inverting or flicking the plate [3].

    - Talent adding paraformaldehyde to the cells. TEXT: CAUTION: Paraformaldehyde is a serious health hazard and flammable

    - Talent incubating the plate.

    - Talent centrifuging the plate.

  - Place a filter plate over a clean 96 well U-bottom plate [1] and transfer each sample to a well of the filter plate using a multi-pipette [2]. Centrifuge the filter plate and decant the supernatant [3].

    - Talent placing filter plate over 96-well U-bottom plate.

    - Talent transferring each sample to the wells of the filter plate.

    - Talent centrifuging the filter plate and decanting the supernatant.

  - For the bone marrow and spleen maturation panels, resuspend the fully stained cells in 100 microliters of stain buffer [1]. Combine the 2 wells for each animal into 1 well [2].

    - Talent adding stain buffer to the bone marrow and spleen panels.

    - Talent combining the 2 wells of each animal into 1 well.

  - Resuspend the remaining panels, FMOs, and controls in 200 microliters of stain buffer [1]. Incubate fixed cells and beads at 4 degree Celsius overnight, protected from light [2].

    - Talent adding stain buffer to the remaining panels.

    - Talent incubating the plate overnight.

- Flow cytometric data acquisition and analysis

  - Record compensation controls for each stain panel using the prepared single stain compensations [1] and set positive and negative gates for each sample [2]. Calculate the compensation matrix using the software [3].

    - Talent recording the recording the compensation controls for each stain panel.

    - Talent setting the positive and negative gates.

    - Talent calculating the compensation matrix.

  - Start acquiring the first sample, making sure that the gates are set appropriately [1]. Set the machine to record the various cell events as mentioned in the text manuscript [2]. For each stain panel, run and record the fully stained samples for each animal, an unstained sample, and the FMOs [3].

    - Talent acquiring data of first sample.

    - Talent setting the machine to record various cell events.

    - Talent recording the fully stained samples for each stain panel for each animal, unstained sample and the FMOs.

  - Proceed with data analysis using flow cytometry analysis software, following the gating strategies in the text manuscript [1].

    - Talent proceeding with data analysis.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 172. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Flow cytometric analysis for the characterization of B cells

  - Flow cytometric analysis for characterization of peritoneal B cells in the peritoneum shows the frequencies of viable peritoneal cells [1], total B cells [2], B-1 and B-2 subsets [3], as well as B-1a and B-1b cells in mice [4].

    - LAB MEDIA: Figure 1. Video Editor emphasize the first chart.

    - LAB MEDIA: Figure 1. Video Editor emphasize the fourth chart.

    - LAB MEDIA: Figure 1. Video Editor emphasize the fifth chart.

    - LAB MEDIA: Figure 1. Video Editor emphasize the sixth chart.

  - When bone marrow B cells were analyzed, frequencies of viable cells [1], total B cells [2], Fraction A [3], pre-pro-B cells [4], Fraction B [5], Fraction C , Fraction C’ [6], Fraction D [7], immature Fraction E, transitional Fraction E [8], and Fraction F B-cells in mice were determined [9]. Authors: How do you pronounce Fraction C’?

    - LAB MEDIA: Figure 2. Video Editor emphasize the viable cell group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the B cells group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr A group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the pre-pro cell group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr B cell group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr C and Fr C’ cell groups.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr D cell group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr E cell group.

    - LAB MEDIA: Figure 2. Video Editor emphasize the Fr F cell group.

  - Analysis of splenic B cells shows the frequencies of viable spleen cells [1], total B cells [2], transitional B cells [3], T1, T2, T3 cells [4], mature B cells [5], follicular I (‘one’) cells, follicular II (‘two’) cells [6], precursor and mature marginal zone cells [7], and B-1 cells in mice [8].

    - LAB MEDIA: Figure 3. Video Editor emphasize the viable cell group.

    - LAB MEDIA: Figure 3. Video Editor emphasize the B cells group.

    - LAB MEDIA: Figure 3. Video Editor emphasize the Transitional 8 cell group.

    - LAB MEDIA: Figure 3. Video Editor emphasize the T1, T2, and T3 cell groups.

    - LAB MEDIA: Figure 3. Video Editor emphasize the mature 88 cell group.

    - LAB MEDIA: Figure 3. Video Editor emphasize the Fol I and Fol II cell groups.

    - LAB MEDIA: Figure 3. Video Editor emphasize the mature and precursor MZ cell groups.

    - LAB MEDIA: Figure 3. Video Editor emphasize the B1 cells group.

  - The frequencies of Igk+ (pronounce “Immunoglobulin-kappa”) and Igl+ (pronounce “Immunoglobulin-lambda”) B cells in mice were determined with flow cytometric analysis of the spleen [1].

    - LAB MEDIA: Figure 4. Video Editor emphasize the last chart.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.