Stephanie Hutin, PhD 
Laboratoire de Physiologie Cellulaire and Végétale,

Université Grenoble Alpes/

CNRS/CEA/INRA/BIG,

Grenoble, France
Tel: +33 (0) 6 47 25 23 16

Alisha DSouza

Senior Review Editor

JoVE

Dear Dr. DSouza,

Thank you very much for the possibility to improve the manuscript to publish in JoVE. We tried to address each of the questions and comments of the editorial board as well as the reviewers.

Please find our comments attached to this letter and the new version of the manuscript uploaded.

I am looking forward to hearing from you at your earliest convenience

Mark Tully and Stephanie Hutin

Please note that the reviewers raised some significant concerns regarding your method and your manuscript. Please revise the manuscript to thoroughly address these concerns. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.

You will find Editorial comments and Peer-Review comments listed below. Please read this entire email before making edits to your manuscript.
NOTE: Please include a line-by-line response to each of the editorial and reviewer comments in the form of a letter along with the resubmission.

We thank the editor and reviewers for their useful and thoughtful revision. Please find below our comments and corrections concerning each point.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

Thank you very much for the advice, we ask native speakers to control the text.

• Protocol Numbering: All steps should be lined up at the left margin with no indentations. There must also be a one-line space between each protocol step.
We corrected this.

• Protocol Highlight: Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps. Please see JoVE’s instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the reader.

1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.
2) Some of your shorter protocol steps can be combined so that individual steps contain 2-3 actions and maximum of 4 sentences per step.
3) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.
4) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.
5) Notes cannot be filmed and should be excluded from highlighting.

2.5 pages are highlighted

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We rewrote the discussion accordingly.


• Figures: Please provide each figure (if multiple panels are present per figure, keep them within 1 file) as an individual SVG, EPS, AI, TIFF, or PNG file.

We uploaded all images as single PNG files.

• Table of Materials: Sort this alphabetically.

Please find the table in alphabetical order.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Our Figures are originals and produced by us and not published before.

Reviewer: 1

Manuscript Summary:
The article describes a procedure for deconvolving overlapping peaks in SEC-SAXS data using widely available software. It will be a useful resource to the community when published. However, I have several major concerns detailed below, as several steps of the procedure failed when I attempted to do them. Some of these had little effect on my ability to do the rest of the analysis, but some of them, such as the incorrect description of how to set the buffer region in BioXTAS RAW (using the currently available version), and the failure of the Dmax window to open in Scatter, represent major issues. Scatter is also not available from the website provided by the authors, which is another major issue. The manuscript needs major revision, and then should be reviewed again to verify they have fixed these issues in the protocol.

Other notes:
Because I found several bugs in the Scatter software, of which one of the article authors is the author, I have included the following information for their use in debugging:
Downloaded from: sibyls webpage (bioisis.net doesn't work)
Version: Scatter IV (downloaded April 27, 2020), no other version information is obvious.
Java JDK: 14.0.1, 64 bit
Operating system: MacOS 10.14.6

Thank you for your thoughtful reviewing, we are trying to incorporate your suggestions.

Major Concerns:
-bioisis.net is not available, you can't download Scatter from there. Nor is the in-depth protocol for analysis mentioned in section 4 available. This should be made available elsewhere and appropriately mentioned in the paper or added to the paper itself.

We are moving server, but the latest version of the program can always be made available by contacting Rob Rambo directly. By the time the manuscript will be published the new server should be operational.

-The protocol fails at step 2.2.3, where I was unable to select an output directory for the SEC-SAXS data. After loading files as directed, I cannot select 'Choose' in the save directory dialog.

We are sorry that this step failed, but we retested it and in the latest version it works.

-The protocol fails at 2.2.4, clicking 'Edit Details' does nothing.

Again, we are sorry that this step failed, it works for us.

The authors are using an outdated version of BioXTAS RAW (version 1.2.3 is 3 years old, according to the BioXTAS RAW release notes). Authors should download and use the latest version, currently 1.6.4, as that is what will be available for readers of the article. This will change parts of the protocol, as noted below, and the protocol needs to be updated appropriately.

We updated BioXTAS RAW to the version 2.0.0 and changed the protocol accordingly. Please see the main manuscript.

-In section 3, the authors need to provide some guidance on how to pick the correct range for deconvolution and how to pick the right number of significant singular values for deconvolution. That seems to be at the heart of this method, but is glossed over.

Thank you for pointing this out. Using the new version of BioXTAS RAW, this problem is solved within the program and the protocol is adjusted to it.

-The protocol fails at step 4.6. In 4.6.1, right clicking and selecting 'Find DMAX' does not open a new window. It appears the options described are available in the bar below the plot, but there doesn't seem to be a 'Start' button. The rest of 4.6 cannot be carried out.

This problem is now fixed in the new version of Scatter 03Mar2020B1.

-The protocol fails at step 4.7. No text box opens for comments. No PDF is saved.

This potential problem is now fixed in the new version of Scatter 03Mar2020B1 as well.

Minor Concerns:

-There are several available methods for deconvolving SEC-SAXS data, primarily EFA as implemented in BioXTAS RAW and the Gaussian peak deconvolution as implemented in US-SOMO but also other methods such as the Guinier optimized maximum likelihood method implemented in the DELA software (Malaby et al. J. Appl. Cryst 2015). Authors only use one of these methods. They should adjust their title, abstract, and manuscript comments to clarify this fact, comment on the existence of other methods, and if appropriate should mention why they use the EFA method over the Gaussian deconvolution or other methods.

We added a paragraph in the introduction discussing other methods and our choice and changed the title accordingly to “Analysis of SEC-SAXS data via EFA deconvolution and Scatter“ and adjusted the abstract.

-While reference 10 is one of the original references for EFA, a more modern and useful reference that could be included is Practical Data Analysis in Chemistry by Maeder & Neuhold (2007), published by Elsevier Science. I suggest including both.

Thank you, we added the citation.

-Line 65, 107: It is not clear to me that the phrase thermodynamic state or thermodynamic measurement is appropriate here. While technically true, usually the use is accompanied by definition of state variables. The use also often, but not always implies, a system in equilibrium, which is not required for SAXS. It would be useful if the authors can clarify what they mean by these phrases.

You are correct, a more rounded explanation of thermodynamic should be incorporated, but as this is not really required for this this paper, we have removed the term.

-I suggest that the authors provide more citations in their introduction. Citing several recent review papers for SAXS would be useful for readers who are not as familiar with SAXS, and there are several appropriate places those could be added.

People who are not familiar with working with SAXS are invited to take a look in our first JoVE publication Brennich et al. as cited right at the start of the method. Reviews and other citations are now added in the introduction.

-Line 76: The authors cite a SEC-SANS paper without ever mention SANS. I think that this either ought to be mentioned or the citation removed.

We took the reference out.

-Recently SEC-SAXS has been demonstrated on a lab source. The authors should comment on whether these methods are restricted to SEC-SAXS at a synchrotron or can be applied to laboratory SEC-SAXS as well.

Technically, the method will work with any lab source, given that we do not have any experiences we did not go into detail here. Still, it is mentioned in the introduction now

-Lines 95-96: When discussion EFA, the authors state "A SAXS specific implementation can be found in several programs for example in BioXTAS RAW." If there are other SAXS specific implementations, those should be cited as well. If appropriate, the authors should discuss why they chose to use BioXTAS RAW for this paper.

We added an entire paragraph to discuss our choice.

-Lines 99-110: There are a lot of different techniques mentioned in this paragraph. Citations to relevant literature that explain the how/why of these techniques should be included.

We added citations accordingly.

-Line 118: Type of column (10/300, 5/150, etc) should be included here.

The 5/150 was included in the text

-Line 139: Output directory is labeled "Save as ::" in Scatter IV, not "Out Dir ::".

This problem was taken care of and the manuscript and the new version are now aligned.

-Line 139: Unable to select an output directory in Scatter IV.

This problem was fixed in the new version.

-Protocol step 2.2.8 is unclear. Which plot is the main plot? If it is the signal plot, then why refer to it with two different names? How do you select an ROI? Is it the same as selecting a buffer region? Is the buffer region just an ROI? Please clarify.

We changed it to: 2.2.8	Identify a region of interest (ROI).  On the main signal plot, select the general region of the peak that you are interested in. This populates three plots in the right hand panel. The top two plots are linked with crosshairs moving between them, a signal plot (top right) showing only the ROI selected with the intensity of each frame in blue and the corresponding Rg of each frame in red and a corresponding heat map showing the residuals for each frame colored according to the Durbin-Watson auto-correlation analysis. Regions of high similarity will be colored cyan (Durbin-Watson, d=2) while dissimilar frames will follow darker blues to pinks and finally to reds depending on the severity of the dissimilarity (d>2). The bottom plot is a subtracted I vs. q curve for the central selected frame. The arrow keys can be used to navigate through the subtracted frames. The I vs. q plot will demonstrate the quality of the subtracted frames from the SEC experiment.

-In step 2.2.6 the authors use signal plot to refer to the integral ratio to background plot, whereas in 2.2.8 they use it to refer to the plot labeled 'signal'. This is confusing and should be clarified.

The text is changed now to main plot to signal plot.

-In Step 2.2.8 I would find it helpful if the authors mentioned that the vertical line in the 'signal' plot corresponds to the subtracted profile displayed in the bottom plot (at least, that's my assumption).

This is correct, we have added extra wording to highlight this.

-In step 2.2.9, zooming out with a left click swipe to the right compressed the correlation plot into uselessness.

We do not see that problem. We assume that you will not have this problem in the new version any longer.

-Line 185: It is BioXTAS not Bio-XTAS

We corrected this typo.

-Line 189: In BioXTAS RAW 1.6.4 it is the 'Plot Series' button, not 'Plot SEC'.

We corrected this in the text.

-Line 190: It displays on the 'Series' plot in the Plot Panel.

We corrected this in the text.

-Line 191: In BioXTAS RAW 1.6.4 it is the 'Series' tab not the 'SEC' tab

We corrected this in the text.

-In step 3.4, this does not work in BioXTAS RAW 1.6.4. You now use the LC Series Analysis panel to do buffer subtraction for a series, as described here: https://bioxtas-raw.readthedocs.io/en/latest/tutorial/s1_sec.html

Step 3.4 adapted to  BioXTAS RAW 2.0.0 and was rewritten.

-Line 195, 200, 203, 208, 314, 331: 'EFA' not 'EFF'

We corrected this in the text.

-Line 212: Should read 'selecting "save selected file(s)" from the menu pop up'?

We corrected this in the text.

-In the section 'representative results' the authors state "The advantage of using deconvolution over classical frame selection is the better signal to noise ratio". While this is true, it is a somewhat limited perspective. Often the peak overlap may be sufficiently strong that you cannot obtain monodisperse data for one or more of the eluted components through 'classical frame selection'. The authors should correct/discuss this. They actually observe it in their results, but do not sufficiently comment on it.

We changed it to: The advantage of using deconvolution over classical frame selection is to remove the influence of other species on to one another, producing a monodisperse scattering signal.

-Figures are poor quality. Can the authors generate higher resolution figures? Also, some of this may be from the generation of the review PDF, but the authors should look into this.

We will upload them in svg and png to ensure high quality.

-Figures 2, 3 and 4 legend should be EFA not EFF.

We corrected this in the text.

-Ideally all links in the document would be provided as https, not http, when available.

Bioisis was not a https but this will be solved by moving the server

-The link for Scatter IV in the table of materials doesn't work.

This will be solved with the new server

-In the table of materials, it should be 'Sibyls' beamline not 'Sibylis' beamline. Also, I believe it is capitalized (SIBYLS).

We corrected this in the table.

Scatter IV specific suggestions or bugs, not required to be fixed for publication:
-Program suggestion: I would find it extremely helpful to be able to fine tune the selected ROI range without having to click and drag on the main plot. For example, when testing the protocol for the paper I found myself wanting to remove ~4 frames from the start of the ROI, but found it hard to click that precisely (e.g. changing start frame from 687 to 691 while keeping the same end frame). It is possible to zoom in on the plot, but I found that not terribly useful, as you couldn't control the amount of zoom.
-Program bug: There is a bug in Scatter IV where the selected ROI displayed on the main plot disappears when zooming in on the main plot.
-Program suggestion: It would be very useful if the ROI was displayed dynamically while clicking and dragging on the plot.

We thank you very much for this useful and thoughtful revision and your comments to improve Scatter IV.

Reviewer #2:
Manuscript Summary:
The authors reported the usability of EFA for SEC-SAXS data in this manuscript. The reviewer admits the importance of such a trial for obtaining the reliable mono-disperse data. On the other hand, the detailed processes applied for real sample is totally missing in the present version of manuscript. The reviewer believes that complete set of these information will be quite helpful for future readers, hence they should describe them in more detail. Other comments are described below.

Thank you for your input.

Major Concerns:
1. The authors should explain the principle of EFA. Without it, it is very difficult to catch up with
the advantage of this method beyond conventional SVD methods.

We added a paragraph in the introduction discussing why we choose EFA and mention different alternatives.

2. They should describe the dissociation contant of E9 exominus and DNA.
Without it, feature readers might consider that two peaks are originated from pure E9 exominus and
pure DNA. Other experimental technique such as AUC is needed for validating the existence of complex
of E9 exominus and DNA. Only the SEC chart is not sufficient for proving the detection of complex.

We agree that a SEC chart is not sufficient for proving the detection of complex, but the complex was described in: The vaccinia virus DNA polymerase structure provides insights into the mode of processivity factor binding. Tarbouriech N, Ducournau C, Hutin S, Mas PJ, Man P, Forest E, Hart DJ, Peyrefitte CN, Burmeister WP, Iseni F. Nat Commun. 2017 Nov 13;8(1):1455. doi: 10.1038/s41467-017-01542-z.  Further we added suggestions in the discussion and provided supplementary informations.

3. 3.5.4 A bit of trial and error is required here.
>> The reviewer believes that this procedure
is the crucial step for successful EFA,so the authors should describe more information about obtaining
reliable minimum chi2 value.

We agree, we have completely changed this section to remedy this.

4. Detailed process for EFA is totally missing. Hence the reviewer could not judge the validity
of this analysis for E9 exominus and DNA system. The authors should describe the procedures step by step in more detail.

We agree, we have completely changed this section to remedy this

Minor Concerns:
1. It is better to include the information of HPLC.

The HPLC procedure was described in: The vaccinia virus DNA polymerase structure provides insights into the mode of processivity factor binding. Tarbouriech N, Ducournau C, Hutin S, Mas PJ, Man P, Forest E, Hart DJ, Peyrefitte CN, Burmeister WP, Iseni F. Nat Commun. 2017 Nov 13;8(1):1455. doi: 10.1038/s41467-017-01542-z. A detailed description of how to perform a HPLC run on the beamline can be found in one of our earlier JoVE publications: Brennich, M.E., Round, A.R., Hutin, S. Online Size-exclusion and Ion-exchange Chromatography on a SAXS Beamline. Journal of Visualized Experiments. (119), doi: 10.3791/54861 (2017). Hence we only cite the two papers.

2. At all the sections, it is better to include the brief flow charts.
It will be helpful for understanding the procedures at each section.

Given that the protocol will be filmed, we assume that a flow chart will not be necessary.

3. The reviewer considers that the globular protein have a maximum at QRg=root(3) in the
Kratky plot. But the reviewer could not understand the meaning of Guinier-Kratky point at (root(3), 1.1)
especially for 1.1. Please explain it in more detail.

The scattering pattern of a globular protein follows Guinier’s law I(q) = I(0) exp (−(qRg)2/3). The corresponding dimensionless Kratky plot exhibits a maximum with a value 3 exp (−1) = 1.104 at qRg = √3. A link to the original paper where this was first defined has been added.


Reviewer #3: 
In this manuscript Tully et al describe a protocol to analyze SEC-BioSAXS data. SAXS is an incredibly powerful structural biology technique but achieving high quality data can be challenging. This detailed protocol describes the steps to deconvolute scattering curves from SEC profiles with partially resolved peaks. Aside from the minor comments below this protocol is acceptable for publication in JoVE.

Thank you for your comments.

Minor Comments:
1.1.2 - Please provide the suggested concentration of E9 exo as this is an important parameter for SAXS

The concentration is now included in point 1.1.2.

2.2.4 - Please elaborate on what the experimental details entail

We elaborated point  2.2.4 to Edit your experimental details, use the “Edit Details” button and fill out as many fields as possible, these include sections on which source/beamline was used to collect data, the collection parameters and sample details. These will be saved with your data and allow you to more easily populate the “Data collection parameters” section in your future publications.

3.5 - Please define the EEF acronym

This was a typo we corrected. It should have been EFA.

Representative Results - It would be very useful to show an example SEC-BioSAXS trace where this method fails.

Although we are thankful for the comment we disagree with the idea of showing negative results because we do not see the point why that would help in a protocol describing a method. We are giving here a complex example.

Discussion - This discussion seems too brief. I suggest that the authors elaborate on more of the benefits of this particular method. Aside from Scatter couldn't a similar analysis also be carried using the ATSAS data suite?

The discussion was rewritten including this point.

Reviewer #4: 
Manuscript Summary:
The authors report a detailed method for the deconvolution of SEC-SAXS data. Briefly, structural characterization of biological molecules by SAXS requires that the scattering curve corresponds to a monodisperse entity. However, this is not always possible to obtain even by using size-exclusion chromatography. Species of different sizes can overlap and undergo chemical exchange. To overcome this, Meisburger et al (2016) reported an algorithm for the deconvolution of SEC-SAXS data, which is accomplished using the software BioXTAS. In this manuscript, the authors described a detailed protocol for 1. acquisition, 2. Primary data processing, 3. Data deconvolution, 4. SAXS properties analysis of SEC-SAXS.

Major Concerns:
No major concerns.

Minor Concerns:
Overall, this is a very technical and detailed protocol destined at users that are already familiar with BioSAXS, but have never performed deconvolution. I found that the following minor points to be corrected.

Thank you for pointing them out.

Line 64: "but again the samples are not in a close to physiological condition using this technique." Please rephrase. Also, because of the flash-freezing process, cryoEM is arguably as close to physiological as SAXS. I don't think it is necessary at all to state that.

During the last couple of years cryo-electron microscopy delivered similar high-resolution structures of large macromolecules / macromolecular complexes, but although the samples are closer to physiological condition they are still frozen, hence immobile and static. Bio-Small Angle X-ray Scattering (BioSAXS) provides a structural measurement of the macromolecule’s thermodynamic state in conditions that are relevant to biology.

Line 85: "...the complex recently solved". Please add "... by X-ray crystallography".

We added it.

Lines 86-90: For this paragraph, please indicate in which section "data rechecking" is shown.

We added it.

Line 132: The Bioisis website is currently down, so I could not verify the section 2
We are moving server, but the latest version of the program can always be made available by contacting Rob Rambo directly. By the time the manuscript will be published the new server should be operational.

Line 249: Please define the Sibyls plot, this is not common knowledge even in the SAXS field.

This is a relatively new plot, the paper on the Porod-Debye law by Rambo and Tainer gives a great explanation. We have directed users to this.

Lines 307-319: Please define better the "first" and "second" peaks by providing their frame numbers. Also please indicate exactly which 10 frames were used for generating the green curve in Fig. 2. I thought this should correspond to the peak of interest (the complex), which I assume would elute earlier in SEC. Please clarify.

We rewrote the entire explanation and discussion on this point.

Again, we would like to thank all reviewers and our editor for their thoughtful and helpful suggestions.

Sincerely,

Mark Tully and Stephanie Hutin