TITLE:

Quantification of Circulating Pig-Specific DNA in the Blood of a Xenotransplantation Model

AUTHORS AND AFFILIATIONS:

Yangyang Deng1,2,#, Ming Zhou1,3,#, Ying Lu1, Jiao Chen1, Zuhui Pu4, *, Dongjing Yu1,5, Yifan Dai6, Yongqiang Zhan7, Lisha Mou1

1Shenzhen Xenotransplantation Medical Engineering Research and Development Center, Institute of Translational Medicine, Shenzhen University Health Science Center, Shenzhen University School of Medicine, First Affiliated Hospital of Shenzhen University, Shenzhen Second People's Hospital, Shenzhen, Guangdong, China

2Xianning Hospital of Traditional Chinese Medicine, Xianning, China

3Liver-biotechnology (Shenzhen) Co., Ltd., Shenzhen, China

4Department of Radiology, Health Science Center, Shenzhen Second People's Hospital/First Affiliated Hospital of Shenzhen University Shenzhen, Guangdong, China

5Department of Life Sciences, University of Toronto, Toronto, ON, Canada

6Jiangsu Key Laboratory of Xenotransplantation, Nanjing Medical University, Nanjing, Jiangsu, China

7Department of Hepatopancreatobiliary Surgery, Shenzhen Second People's Hospital, The First Affiliated Hospital of Shenzhen University, Shenzhen, Guangdong, China

# The two authors contribute equally to this manuscript.

197435426@qq.com

zhouming2004@126.com

345889700@qq.com

614314038@qq.com

pupeter190@163.com

lorraine.yu@mail.utoronto.ca

daiyifan@njmu.edu.cn

yqzhan@sina.com

molly__molly@163.com

CORRESPONDING AUTHOR:

yqzhan@sina.com

molly__molly@163.com

KEYWORDS:

specific primers, circulating pig-specific DNA, qPCR, xenotransplantation, biomarker,immune rejection

SUMMARY:

In this protocol, porcine specific primers were designed, plasmids-containing porcine specific DNA fragments were constructed, and standard curves for quantitation were established. Using species-specific primers, cpsDNA was quantified by qPCR in pig-to-mouse cell transplantation models and pig-to-monkey artery patch transplantation models.

ABSTRACT:

Xenotransplantation is a feasible method to treat organ failure. However, how to effectively monitor the immune rejection of xenotransplantation is a problem for physicians and researchers. This manuscript describes a simple and effective method to monitor immune rejection in pig-to-mouse cell transplantation models and pig-to-monkey artery patch transplantation models. Circulating DNA is a potentially non-invasive biomarker for organ damage. In this study, circulating pig-specific DNA (cpsDNA) was monitored during xenograft rejection by quantitative real-time PCR (qPCR). In this protocol, porcine specific primers were designed, plasmids-containing porcine specific DNA fragments were constructed, and standard curves for quantitation were established. Species-specific primers were then used to quantify cpsDNA by qPCR in pig-to-mouse cell transplantation models and pig-to-monkey artery patch transplantation models. The value of this method suggests that it can be used as a simple, convenient, low cost, and less invasive method to monitor the immune rejection of xenotransplantation.

INTRODUCTION:

Organ failure is one of the main causes of death1{TG, 1993 #334}. Transplantation of cells, tissues and organs is an effective way to treat organ failure2. Nevertheless, the shortage of donor organs limits the clinical application of this method3,4. Studies have shown that pigs can be used as a potential source of human organs for clinical transplantation5,6. However, cross-species organ transplantation faces dangerous immune rejection. Therefore, it is crucial to monitor the immune rejection of xenotransplantation. Currently, clinical monitoring of immune rejection depends mainly on the patient's signs and symptoms, as well as laboratory tests (e.g., biopsy, immunobiochemical analysis, and ultrasound)7-9. However, these monitoring methods have many disadvantages. The signs and symptoms of immune rejection in patients usually appear late10, which is not conducive to early detection and early intervention; biopsy has the disadvantage of being invasive11, which is not easy for patients to accept; immunobiochemical analysis lacks sensitivity or specificity, and ultrasound is auxiliary and expensive. Therefore, it is urgent to find an effective and convenient method to monitor the immune rejection.

Circulating DNA is an extracellular type of DNA found in blood. Mandel and Metais12 first reported the presence of circulating DNA in peripheral blood in 1947. Under normal physiological conditions, circulating DNA in the blood of healthy people is relatively low at baseline. However, in some pathologies, such as tumors, myocardial infarction, autoimmune diseases, and transplant rejection, the level of circulating DNA in the blood can be significantly increased13,14 due to the massive release of circulating DNA caused by apoptosis and necrosis. The origin of circulating DNA is associated with apoptosis and necrosis15, which are characteristic of xenograft rejection16.

Circulating DNA has been proven to be a minimally-invasive biomarker for detecting cancers17-19. High through-put sequencing of donor-derived circulating DNA is reliable for the detection of rejection after organ transplantation20,21. However, this method requires a high concentration and quality of extracted DNA. The DNA requirements in addition to the high cost and time-consumption make this method ineligible for routine clinical use. Donor-derived circulating DNA can be precisely quantified by quantitative real-time PCR (qPCR), which is both specific and sensitive. Therefore, quantifying porcine circulating DNA by qPCR is a feasible method to monitor the immune rejection of xenotransplantation. This is less invasive, highly sensitive and specific, low cost, and time-saving. Pigs and human beings are genetically separate with quite different genomic sequences (Figure 1). Therefore, circulating porcine DNA can be released into the recipient's blood post-xenotransplantation because of xeno-rejection. CpsDNA could be precisely quantified by qPCR with species-specific primers in the recipient’s blood. Previously, we have demonstrated the rationale and feasibility of cpsDNA as a biomarker for xenotransplantation22,23. Here, we disclose more experimental tips and details. The experiment consists of the following steps. Firstly, porcine specific primers were designed, and genomic DNA was isolated, which were used to verify the specificity of the primers by regular PCR. Secondly, constructing the standard curve of cpsDNA and isolating cpsDNA from the sample blood. Finally, the circulating pig-specific DNA was quantified using real-time PCR.

PROTOCOL:

All experiments were performed in accordance with the relevant guidelines and regulations of the Institutional Review Board of Shenzhen Second People's Hospital, First Afﬁliated Hospital of Shenzhen University.

- Design porcine specific primers

  - Perform whole-genome BLAST analysis to identify porcine specific genes that were different from those of humans, monkeys or mouse, using NCBI software (www.ncbi.nlm.nih.gov).

  - Design primers according to 19 pig-specific genes (Table 1) using software. Purchase them commercially (Table of Materials).

- Isolating genomic DNA

NOTE: The genomic DNA (including blood from pigs, monkeys, volunteer humans, monkeys with pig grafts, and mice with porcine cells) were extracted using a commercial genomic DNA extraction kit (Table of Materials).

  - Place 500 µL of the whole blood of above samples into different microcentrifuge tubes, respectively.

  - Add 20 µL of protease K and 500 µL of lysate into the above microcentrifuge tubes, and then thoroughly shake and mix.

  - Put these microcentrifuge tubes in a water bath at 56 °C for 10 min and shake 2-3 times during this process until the solution becomes clear.

  - Centrifuge briefly to remove the liquid beads from the inner wall of the tube covers. Add 500 µL of anhydrous ethyl alcohol and shake thoroughly.

  - Transfer the mixture into the adsorption column, centrifuge at 6,200 x g for 2 min, and finally, discard the waste liquid.

  - Add 800 µL of rinse solution to each adsorption column; centrifuge for 1 min at 6,200 x g. Place the columns at room temperature for a few minutes to dry the remaining rinse solution.

NOTE: The rinse solution is provided by the manufacturer.

  - Transfer the adsorption columns to another clean centrifugal tube, add 50 µL of elution buffer to the middle of the adsorption films, and place them at room temperature for 2-5 min. Centrifuge 6,200 x g for 1 min.

NOTE: The elution buffer is provided by the manufacturer, but the TE buffer, containing 10 mM Tris-HCl (pH 8.0) and 0.1 mM EDTA, can also elute the DNA.

  - Store the DNA solution at -20 °C.

- Verify the specificity of the primers

NOTE: Species specificities of the above 19 primers were confirmed by PCR, which was performed using polymerase (Table of Materials) and primers presented in Table 1.

  - Prepare the pre-mixed solution of 12.5 µL of 2x polymerase (Table of Materials), 1 µL of 5' primer (10 µM), 1 µL of 3' primer (10 µM), and 8.5 µL of ddH2O. Prepare the mix including 2 extra samples.

  - Split 23 µL of pre-mixed solution into 0.6 mL microcentrifuge tubes, add 2 µL of genomic DNA, and carefully cap the tubes. Then mix and centrifuge slightly.

  - Place the 0.6 mL microcentrifuge tubes into the PCR-cycler and perform the following: Denaturation: 95 °C for 5 s; Annealing: 60 °C for 30 s; extension:72 °C for 30 s.

  - Perform agarose electrophoresis.

    - Weigh 1.2 g of agarose into a flask containing 100 mL of 1x TAE and boil it for 5 min in the microwave. Add 5 µL of nucleic acid dye (Table of Materials) into the flask after it cools to about 70 °C. Pour it into the plate along the edge slowly, and place it at room temperature until it solidifies into a gel.

    - Add 5 µL of sample and 2-Log DNA Ladder (0.1–10.0 kb) or DNA marker I (0.1–0.6 kb), which contain 1 µL of 6x DNA loading buffer, into the agarose gel. Then electrophorese at 120 mA until the bands are separated.

    - Visualize the agar gel containing DNA fragments with an ultraviolet imager.

NOTE: Using the PCR, the primers specific for amplified porcine genomic DNA were identified. Further, two species-specific primers were determined to amplify pig DNA in the pig-to-monkey artery patch and the pig-to-mouse cell transplantation models.

- Standard curve of cpsDNA

  - Transform the pMD19-T plasmid containing a fragment of porcine DNA into DH5a, which could be specifically amplified by primer #4 or primer #11 (Table 1). Screen for positive bacteria using 50 µg/mL ampicillin.

Primer #4 in human/monkey cohort (forward: 5′‐TTCAATCCCA CTTCTTCCACCTAA‐3′, reverse: 5′‐CTTCATTCCATCTTCATAATAAC CCTGT‐3′)

Primer #11 for mouse model (forward: 5′‐TGCCGTGGTTTCC GTTGCTTG‐3′, reverse: 5′‐TCACATTTGATGGTCGTCTTGTCGTC T‐3′)

NOTE: Details of all the primers can be found in Table 1.

  - Harvest the above plasmids following the protocol below.

    - Isolate a single colony from a freshly streaked selective plate and inoculate a culture of 1- 5 mL of LB medium containing the appropriate selective antibiotic. Incubate for ~12-16 hours at 37 °C with vigorous shaking (~ 300 rpm).

    - Centrifuge at 10,000 x g for 1 minute at room temperature. Decant or aspirate and discard the culture media.

    - Add 250 µL of Solution I/RNase A. Vortex or pipet up and down to mix thoroughly. Complete resuspension of cell pellet is vital for obtaining good yields.

NOTE: RNase A must be added to Solution I before use.

    - Transfer suspension into a new 1.5 mL microcentrifuge tube. Add 250 µL of Solution II. Invert and gently rotate the tube several times to obtain a clear lysate. A 2-3 minute incubation may be necessary.

NOTE: Avoid vigorous mixing as this will shear chromosomal DNA and lower plasmid purity. Do not allow the lysis reaction to proceed more than 5 minutes.

    - Add 350 µL of Solution III. Immediately invert several times until a flocculent white precipitate forms.

NOTE: It is vital that the solution is mixed thoroughly and immediately after the addition of Solution III to avoid localized precipitation.

    - Centrifuge at maximum speed (≥13,000 x g) for 10 minutes. A compact white pellet will form. Promptly proceed to the next step.

    - Insert a DNA mini column into a 2 mL collection tube.

    - Transfer the cleared supernatant from 4.2.7 by carefully aspirating it into the DNA mini column. Be careful not to disturb the pellet and that no cellular debris is transferred to the DNA mini column.

    - Centrifuge at maximum speed for 1 minute. Discard the filtrate and reuse the collection tube.

    - Add 500 µL of HBC Buffer. Centrifuge at maximum speed for 1 minute. Discard the filtrate and reuse collection tube.

NOTE: HBC Buffer must be diluted with 100% isopropanol before use.

    - Add 700 µL of DNA Wash Buffer. Centrifuge at maximum speed for 1 minute. Discard the filtrate and reuse the collection tube.

NOTE: DNA Wash Buffer must be diluted with 100% ethanol prior to use.

      - Repeat for a second DNA wash buffer wash step.

    - Centrifuge the empty DNA mini column for 2 minutes at maximum speed to dry the column matrix.

NOTE: It is important to dry the DNA mini column matrix before elution. Residual ethanol may interfere with downstream applications.

    - Transfer the DNA mini column to a clean 1.5 mL microcentrifuge tube.

    - Add 30-100 µL of Elution Buffer or sterile deionized water directly to the center of the column membrane.

NOTE: The efficiency of eluting DNA from the DNA Mini column is dependent on pH. If using sterile deionized water, make sure that the pH is around 8.5.

    - Let sit at room temperature for 1 minute.

    - Centrifuge at maximum speed for 1 minute.

NOTE: This represents approximately 70% of bound DNA. An optional second elution will yield any residual DNA, though at a lower concentration.

  - Verify the above plasmids using by double restriction enzyme digestion using EcoR I (15 U/µL) and Bam H1(15 U/µL)22.

    - Perform the following on ice. Prepare the reaction system of 1 µL of EcoR I (15 U), 1 µL of Bam H1 (15 U), 2 µL of 10x Buffer, 1 µg of plasmid; add ddH2O to 20 µL of total volume. Incubate in a water bath at 37 °C for 2 hours.

    - Separate the digested products by 1% agarose followed by electrophoresis and expose to UV light as before.

  - Dilute the concentrated plasmid into 2 x 1011 copies/mL for the starting standard solution using ddH2O. Take the plasmid (P2) containing fragment of porcine DNA and calculate the following:

    - Calculate the number of plasmids in 1 mL of starting standard solution: N = (2 x 1011)/ (6.02 x 1023) mol.

    - Calculate the molecular weight of P2: M = 2810 bp x 650 D/bp = 2810 x 650 D (g/mol).

    - Calculate the mass of P2: m=N*M= (2 x 1011)/ (6.02 x 1023) mol x 2810 x 650 g/mol.

    - Calculate the volume of P2: V = m/C = [(2 x 1011)/(6.02 x 1023) x 2810 x 650] g/C, where C is the concentration of P2 (ng/µL), which is measured by a spectrophotometer.

  - Dilute the starting standard solution serially 10-fold into 2 x 1010 copies/mL, 2 x 109 copies/mL, 2 x 108 copies/mL, 2 x 107 copies/mL…, and 2 x 100 copies/mL for standard solution using ddH2O. Vortex thoroughly during dilution.

  - Establish the standard curve.

    - Prepare reaction system of qPCR (all steps are protected from light): Add the pre-mixed solution which contains 325 µL of qPCR Mix (Table of Materials), 13 µL of 5' primer, 13 µL of 3' primer, and 169 µL of ddH2O into a 1.5 mL microcentrifuge tube, which was then thoroughly mixed and slightly centrifuged.

    - Split the 40 µL above pre-mixed solution into an 8-tube strip and add 10 µL of standard DNA of different concentrations. Cap carefully, mix and centrifuge slightly.

    - Put the 8-tube strip into the qPCR machine following the procedure shown in Figure 2.

- Isolate circulating DNA from the blood samples

  - Using EDTA tubes, collect blood samples at different time points in the pig-to-monkey artery patch models and the pig-to-mouse cell transplantation models.

  - Collect blood samples of about 400 µL (from the pig-to-monkey artery patch models) or 100 µL (from the pig-to-mouse cell transplantation models) and transfer to 1.5 mL centrifuge tubes. Remove the blood cells from the blood samples by centrifugation at low temperature and high speed (3,000 x g, 4 °C, 5 min).

  - Transfer the supernatant to a new 1.5 mL centrifuge tube and remove the cell debris by centrifugation at 16,000 x g for 10 min.

  - Transfer the supernatant to a new 1.5 mL centrifuge tube. Extract the circulating DNA from the above supernatant using a commercial serum/circulating DNA extraction kit following protocol 2 of the isolating genomic DNA manufacturers’ protocol.

  - Condense the volume of circulating DNA to 40 µL and store at -20 °C.

- Quantitation of circulating pig-specific DNA

  - Prepare the pre-mixed solution of 25 µL of qPCR Mix (Table of Materials), 1 µL of 5' primer, 1 µL of 3' primer, 10 µL of Sample DNA, and 13 µL of ddH2O. Prepare the mix including 2 extra samples.

  - Split the 40 µL pre-mixed solution into an 8-tube strip, and add 10 µL of sample DNA, followed by careful capping. Prepare two more reactions than needed.

  - Put the 8-tube strip into the qPCR machine following the same procedure as the standard curve. It is better to run a standard first to make sure the reaction is critical for quantification in advance. The procedure of the reaction system of qPCR was shown in Figure 2.

REPRESENTATIVE RESULTS:

In this protocol, porcine specific primers were designed, plasmids-containing porcine specific DNA fragments were constructed, and standard curves for quantitation were established (Figure 3). Species specificities of the 19 primers were confirmed by PCR. Species-specific primers (primer #4 and primer #11) were then used to quantify cpsDNA by qPCR in pig-to-mouse cell transplantation models and pig-to-monkey artery patch transplantation models.

Agarose electrophoresis was used to isolate amplified DNA fragments from the above samples, which is then visualized in an ultraviolet imager. Using PCR, the primers specific for amplified porcine genomic DNA was first identified (Figure 4A). Further, certain species-specificities of these primers that specifically amplified pig DNA in the cohort of monkey/human genomic or in the cohort of mouse genomic DNA were confirmed (Figure 4B). Finally, two species-specificities primers were further proven to specifically amplify pig DNA in the pig-to-monkey artery patch and/or pig-to-mouse cell transplantation models, respectively (Figure 4C).

Figure 1: Gene identity between pig (sus scrofa, ssc) and human (homo sapiens, hsa) or monkey (Macaca fascicularis, mfa). The gene sequences from three different species were compared by BLAST analysis. BLAST sequence analysis used genomic annotation information (the mRNA sequence) from the three species downloaded from NCBI (www.ncbi.nlm.nih.gov). The mRNA sequences of human, monkey, and pig genes were 139116, 65927, and 71498, respectively22.

Figure 2: The procedure for the qPCR reaction.

Figure 3: Establishment of the standard curve for absolute quantification. The amplification plots, the melt curve plots, and the standard curve views of (A) primer #4 and (B) primer #11 from the qPCR machine (see Table of Materials) are exhibited. A good standard (R value close to 1, amplification efficiency is within 100%±5%) could be used for up to half a year.

Figure 4: Regular PCR validates specificity of porcine specific primers. (A) The pig genomic DNA fragments were amplified by primers 1-19. (B) The human/monkey/mice genomic DNA fragment could not be amplified by some primers (primer #4 and #11). The stars (＊) indicate no amplifications in human/monkey genomic DNA. The pound sign (#) indicates no amplification in mouse genomic DNA. (C) The two species-specificities primers (primer #4 and #11) were further proven to specifically amplify pig DNA in the pig-to-monkey artery patch and/or pig-to-mouse cell transplantation models, respectively.

DISCUSSION:

Quantifying porcine circulating DNA represents a feasible approach to monitor the immune rejection of xenotransplantation. Gadi et al.24 found that donor-derived circulating DNA (ddcfDNA) content in the blood of patients with acute rejection was significantly higher than that of patients without rejection. These studies suggest that ddcfDNA may be a common biomarker for monitoring organ graft damage. In recent years, qPCR has increasingly been applied to the analysis of nucleic acids because of its simple operation, high degree of automation, high sensitivity, good specificity, and low cost.

In this study, porcine specific primers were designed based on the results of bioinformatics analysis. Their specificity was verified by regular PCR. The cpsDNA of the blood samples of the pig-to-monkey artery patch models and the pig-to-mouse cell transplantation models could be precisely quantified by real-time quantitative PCR (qPCR)with species-specific primers. The main advantages of the approach are as follows. Firstly, based on the highly specific primers, this method of quantifying DNA is highly sensitive and specific. In addition, the protocol of the approach is very simple to perform, which consisted of isolation of DNA, design of specific primers, and real-time PCR analysis over 1 working day, which is timesaving. It is a non-invasive methods that starts from a small volume of serum or plasma material. Meanwhile, we have demonstrated that this method is highly reproducible22. In contrast to high-throughput sequencing and flight mass spectrometry, this method is low cost.

Monitoring immune rejection by quantification of circulating pig-specific DNA in the blood of pig-to-monkey artery patch models and pig-to-mouse cell transplantation models using qPCR has laid the foundation for the basic research and the clinical application of porcine-human xenotransplantation.

ACKNOWLEDGMENTS:

This work were supported by grants from National Key R&D Program of China (2017YFC1103704), Shenzhen Foundation of Science and Technology (JCYJ20170817172116272), Special Funds for the Construction of High Level Hospitals in Guangdong Province (2019), Sanming Project of Medicine in Shenzhen (SZSM201412020), Fund for High Level Medical Discipline Construction of Shenzhen (2016031638), Shenzhen Foundation of Health and Family Planning Commission (SZXJ2017021, SZXJ2018059).

DISCLOSURES:

The authors report no conflicts of interest.

REFERENCES:

1	TG, B. Multiple organ failure. Current Opinion In General Surgery. 26-31 (1993).

2	Wang X, C. Z., Mou L. Advances in the study of MicroRNA in the diagnosis of diabetes and the monitoring of islet grafts. Organ Transplantation. 9 (1), 79-82 (2018).

3	M, L.-F. et al. A needed Convention against trafficking in human organs. Lancet (London, England). 383 (9936), 2187-2189 (2014).

4	Zhao C, Y. X., Chen J. Monitoring of immune rejection after abdominal aortic patch suture in cynomolgus monkeys. Organ Transplantation. 8 (2), 127-131 (2017).

5	S, R. New life for pig-to-human transplants. Nature. 527 (7577), 152-154 (2015).

6	Z, S., DKC, C., Z, C. & L, M. Expression and Regulation Profile of Mature MicroRNA in the Pig: Relevance to Xenotransplantation. BioMed Research International. 2018, 2983908 (2018).

7	Chung, H. et al. CD4(+) /CD8(+) T-cell ratio correlates with the graft fate in pig-to-non-human primate islet xenotransplantation. Xenotransplantation. e12562 (2019).

8	Yoon, C. H., Choi, S. H., Lee, H. J., Kang, H. J. & Kim, M. K. Predictive biomarkers for graft rejection in pig-to-non-human primate corneal xenotransplantation. Xenotransplantation. 26 (4), e12515 (2019).

9	S, A.-E. et al. Circulating cell-free DNA as a biomarker of tissue injury: Assessment in a cardiac xenotransplantation model. The Journal of Heart and Lung Transplantation. 37 (8), 967-975 (2018).

10	A, D. V. D. et al. Are symptom reports useful for differentiating between acute rejection and pulmonary infection after lung transplantation? Heart & Lung. 33 (6), 372-380 (2004).

11	Miller, C. A. et al. Non-invasive approaches for the diagnosis of acute cardiac allograft rejection. Heart. 99 (7), 445-453 (2013).

12	Mandel, P. & Metais, P. Les acides nucléiques du plasma sanguin chez l'homme. Comptes Rendus des Seances de l Academie des Sciences. 142 (3-4), 241-243 (1948).

13	Okkonen, M. et al. Plasma cell-free DNA in patients needing mechanical ventilation. Critical Care. 15 (4), R196 (2011).

14	Wagner, J. Free DNA--new potential analyte in clinical laboratory diagnostics? Biochemia Medica. 22 (1), 24-38 (2012).

15	Schwarzenbach, H., Nishida, N., Calin, G. A. & Pantel, K. Clinical relevance of circulating cell-free microRNAs in cancer. Nature Reviews Clinical Oncology. 11 (3), 145-156 (2014).

16	MM, M. et al. Chimeric 2C10R4 anti-CD40 antibody therapy is critical for long-term survival of GTKO.hCD46.hTBM pig-to-primate cardiac xenograft. Nature Communications. 7 11138 (2016).

17	Bettegowda, C. et al. Detection of circulating tumor DNA in early- and late-stage human malignancies. Science Translational Medicine. 6 (224), 224ra224 (2014).

18	Dawson, S. J. et al. Analysis of circulating tumor DNA to monitor metastatic breast cancer. New England Journal of Medicine. 368 (13), 1199-1209 (2013).

19	Newman, A. M. et al. An ultrasensitive method for quantitating circulating tumor DNA with broad patient coverage. Nature Medicine. 20 (5), 548-554 (2014).

20	Snyder, T. M., Khush, K. K., Valantine, H. A. & Quake, S. R. Universal noninvasive detection of solid organ transplant rejection. Proceedings of the National Academy of Sciences of the United States of America. 108 (15), 6229-6234 (2011).

21	De Vlaminck, I. et al. Noninvasive monitoring of infection and rejection after lung transplantation. Proceedings of the National Academy of Sciences of the United States of America. 112 (43), 13336-13341 (2015).

22	Zhou. M. et al. Circulating pig-specific DNA as a novel biomarker for monitoring xenograft rejection. Xenotransplantation. 26 (4), e12522 (2019).

23	Huo, Q. et al. Circulating mi RNA or circulating DNA —Potential biomarkers for organ transplant rejection. Xenotransplantation. 26 (1), (2019).

24	Gadi, V. K., Nelson, J. L., Boespflug, N. D., Guthrie, K. A., Kuhr, C. S. Soluble donor DNA concentrations in recipient serum correlate with pancreas-kidney rejection. Clinical Chemistry. 52 (3), 379-382 (2006).