## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Adenine | Acros Organics | 147440250 | Soluble in water upto 3.5 mM
Aperture | Edmund Optics | 39-905 | 1000 μm Aperture Diameter, Gold-Plated Copper Aperture
Aperture holder | Edmund Optics | 53-287 | 25.8mm Outer Diameter, Precision Pinhole Mount
Catalse | Sigma Aldrich | C-40 | Catalase from bovine liver, lyophilized powder, ≥10,000 units/mg protein
COMPex Pro laser | Coherent | 1113836 | COMPexPRO 102, F-Vversion, KrF laser, No XeCl
Dithiotheitol (DTT) | Promega | V3151 | DTT, Molecular Grade (DL-Dithiothreitol)
Fraction collector | GenNext Technologies, Inc. | N/A | Automated fraction collector
Fused silica capillay | Molex | 1068150023 | Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 100 µm, Outer Diameter 375 µm, TSP100375
Glutamine | Acros Organics | 119951000 | L(+)-Glutamine, 99%
Holder for lens | Edmund Optics | 03-668 | 53 mm Outer Diameter, Three-Screw Adjustable Ring Mount
Hydrogen peroxide | Fisher Scientific | H325-100 | Hydrogen Peroxide, 30% (Certified ACS), Fisher Chemical
LC-MS/MS system | Thermo Scientific | IQLAAEGAAPFADBMBCX | Dionex Ultimate 3000 coupled to Orbitap Fusion Tribrid mass spectrometer
Mas spec grade Acetonitrile | Fisher Scientific | A955-1 | Acetonitrile, Optima LC/MS Grade, Fisher Chemical
Mass spec grade formic acid | Fisher Scientific | A117-50 | Formic Acid, 99.0+%, Optima™ LC/MS Grade, Fisher Chemical
Mass spec grade water | Fisher Scientific | W6-4 | Water, Optima LC/MS Grade, Fisher Chemical
MES buffer | Sigma Aldrich | M0164 | MES hemisodium salt
Methionine amide | Bachem | 4000594.0005 | H-met-NH2.HCl
Micro V clamp | Thor Labs | VK250 | Micro V-clamp with stainless steel blades
Motorized stage | Edmund Optics | 68-638 | 50mm Travel Motorized Stage System with Manual Control
Nano C18 colum | Thermo Scientific | 164534 | Acclaim PepMap 100 C18 HPLC Columns
Optical bench | Edmund Optics | 56-935 | 18" x 18" breadboard
Pioneer FPOP Module System | GenNext Technologies, Inc. | N/A | Inline FPOP Radical Dosimetry System
Post holder | Edmund Optics | 58-979 | 3" Length, ¼-20 Thread, Post Holder
Sodium phosphate dibasic | Fisher Scientific | BP331-500 | Sodium Phosphate Dibasic Heptahydrate (Colorless-to-White Crystals), Fisher BioReagents
Sodium phosphate monobasic | Fisher Scientific | BP330-500 | Sodium Phosphate Monobasic Monohydrate (Colorless-to-white Crystals), Fisher BioReagents
Syringe | Hamilton | 81065 | 100 µL, Model 1710 RN SYR, Small Removable NDL, 22s ga, 2 in, point style 3
Syringe pump | KD Scientific | 788101 | Legato 101 syringe pump
Trap C18 column | Thermo Scientific | 160454 | Thermo Scientific Acclaim PepMap 100 C18 HPLC Columns
Tris | Sigma Aldrich | 252859 | Tris(hydroxymethyl)aminomethane
Trypsin | Promega | V5111 | Sequencing Grade Modified Trypsin
UV plano convex lens | Edmund Optics | 84-285 | 30 mm Dia. x 120 mm FL Uncoated, UV Plano-Convex Lens