# Submission ID #: 61585

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18783473

Title: Preparation, Administration, and Assessment of In Vivo Tissue-Specific Cellular Uptake of Fluorescent Dye-Labeled Liposomes

Authors and Affiliations: Victoria Osinski1,2, Alexander L. Klibanov1,3, and Coleen A. McNamara1,3

1Robert M. Berne Cardiovascular Research Center, University of Virginia

2Department of Pathology, University of Virginia

3Department of Medicine, Division of Cardiovascular Medicine, University of Virginia

# Corresponding Author:

# Victoria Osinski

# vo3sc@virginia.edu

# Co-Authors:

alk6n@virginia.edu

# cam8c@virginia.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 52

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Coleen McNamara: Our protocol couples an accessible method for preparing tesaglitazar-loaded liposomes with a thorough approach for assessing liposome uptake at a cellular level [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Alexander Klibanov: This technique provides an unbiased method for assessing the uptake of fluorescently labeled liposomes that are prepared using low temperatures and easy-to-acquire equipment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Virginia.

# Protocol

- Fluorescent Liposome Labeling and Loading

  - To prepare fluorescence-labeled liposomes loaded with calcium acetate and tesaglitazar, first use a half-inch probe to emulsify an ether-chloroform solution of lipids by sonication for 30 seconds at room temperature, 20 kilohertz, and 50% power [1-TXT].

    - WIDE: Talent emulsifying solution TEXT: Keep probe tip at bottom of vial to avoid foaming

  - Immediately transfer the homogenized water-in-oil emulsion solution onto a rotary evaporator with a special adapter, manometer gauge, and a pressure regulator valve [1] and connect the evaporator to a vacuum line [2].

    - Talent placing vial onto evaporator

    - Talent connecting line

  - To remove the organic solvents, set the rotation rate to 100 revolutions per minute [1] and the vacuum to 0.5 atmospheres [2-TXT].

    - Talent setting rpm

    - Talent setting vacuum TEXT: Release if excessive foaming

  - After a gel forms and disappears [1], increase the vacuum to 0.9 atmospheres [2] and filter the liposome aqueous dispersion back-and-forth through a 200-nanometer-pore polycarbonate filter in a liposome extruder equipped with two gas-tight syringes multiple times [3].

    - Shot of gel forming and disappearing Videographer: Important step

    - Talent increasing vacuum

    - Dispersion being filtered Videographer: Important step

  - After verifying the size distribution by dynamic light scattering [1], use a 2-milliliter spin column to remove any unentrapped tesaglitazar from the liposomes [2] and use a spectrophotometer to determine the entrapped drug concentration [3].

    - Talent adding sample to DLS instrument

    - Talent adding suspension to column Videographer: Important step

    - Talent adding sample to spectrophotometer

  - Then add no more than 500 microliters of liposome sample to the dry column gel bed [1].

    - Talent adding sample to bed

- Liposome Administration

  - To administer the liposomes by retro-orbital injection, gently press down on the skin above and below the exposed eye [1-TXT] to lift the eye above the plane of the face [2].

    - WIDE: Talent pressing skin Videographer: More Talent than mouse in shot TEXT: Anesthesia: 1.5% Isoflurane

    - ECU: Shot of lifted eye Videographer: Important/difficult step

  - Then carefully insert the tip of the needle at the front corner of the eye, making sure that the needle is below the orb without touching it [1], and slowly inject the liposomes into the retro-orbital space [2].

    - ECU: Tip being inserted Videographer: Difficult step

    - ECU: Liposomes being injected Videographer: Diffiult step

- Tissue Harvest

  - To harvest the blood sample, at the appropriate experimental end point, carefully make an incision in the skin at the edge of the caudal end of the mouse’s ribcage [1] and cut a 1-centimeter, straight line up toward the head of the animal until the pectoralis muscles are exposed [2].

    - WIDE: Talent making incision Videographer: More Talent than mouse in shot

    - Incision being made

  - At the initial incision site, make two small cuts perpendicular to the line toward the head [1] and carefully cut away the pectoralis muscle on one side of the rib cage in the exposed area to allow better access to and visualization of the needle insertion site [2].

    - Cut(s) being made

    - Muscle being cut

  - Insert the needle between the third and fourth ribs, keeping it as close to the center line of the rib cage as possible [1], and gently pull up on the syringe to begin collecting blood [2].

    - Needle being inserted Videographer: Important step

    - Syringe being pulled Videographer: Important step

  - When as much volume as possible has been collected, transfer the blood to a microcentrifuge tube containing 10 microliters of 0.5-molar EDTA on ice [1-TXT].

    - Talent adding blood to tube TEXT: See text for blood sample processing details

  - To extract the inguinal adipose tissue pad from each side of the mouse, use one set of forceps to hold the peritoneal membrane on the right side [1] and a second set of forceps to hold the edge of the skin above the peritoneal membrane on the other [2].

    - Membrane being grasped

    - Skin being grasped

  - Gently pull the skin away from the membrane to separate the layers from each other [1] and locate the inguinal adipose tissue depot along the skin [2].

    - Skin being pulled

    - Tissue depot being located

  - Pin down the outer edge of the skin to better access the adipose depot [1] and locate the inguinal lymph node in the center of adipose depot [2], using forceps and scissors to remove the lymph node as needed [3].

    - Center being pinned

    - Shot of LN Videographer: Important step

    - Depot being removed Videographer: Important step

  - After the lymph node has been removed, use the forceps to carefully grasp the end of the adipose depot nearest to the pinned point [1] and begin making small cuts at the connective membrane between the adipose tissue and the skin [2].

    - Depot being grasped

    - Incisions being made

  - Lift the adipose tissue away from the skin while making cuts for better access to the membrane [1] and place the depot in a polyethylene vial containing HEPES buffer on ice [2].

    - Tissue being lifted and cut

    - Talent playing depot into buffer on ice

  - To extract the epididymal adipose depots from the caudal end of the peritoneal cavity, use forceps to gently pull the first epididymal adipose depot from the dorsal end of the mouse [1] and locate the epididymis and vas deferens attached to this depot [2].

    - Depot being pulled

    - Shot of epididymis and vas deferens Video Editor: please emphasize epididymis and vas deferens when mentioned as necessary/appropriate

  - Then carefully cut between the adipose depot and the epididymis and vas deferens to separate the adipose from the other tissues [1] and place the depot in a polyethylene vial with HEPES buffer on ice [2].

    - Tissue being cut

    - Talent placing depot into buffer on ice

- Adipose Tissue Processing

  - When all of the tissues have been harvested, use 1-2 pairs of scissors to mince the adipose tissue samples into 0.5-millimeter tissue fragments [1].

    - WIDE: Talent mincing tissue Videographer: Important step

  - Next, add 1.5 milliliters of 2 milligram/milliliter collagenase buffer to the vials of adipose tissue pieces [1] and place the vials into a shaking incubator at 37 degrees Celsius and 150 revolutions per minute for 30-45 minutes [2].

    - Talent adding collagenase to vial(s), with collagenase container visible in frame

    - Talent placing vials into incubator

  - After 30 minutes, use a 1-milliliter pipet to triturate the samples several times [1]. If the tissue pieces are still too large for easy pipetting, return the samples to the incubator for an additional 15 minutes [2].

    - Samples being triturated

    - Talent placing vial(s) into incubator

  - Once the samples are fully digested, triturate the fragments another 10 times to ensure the creation of a single-cell suspension [1] and strain each sample through individual 70-micrometer filters into one 50-milliliter tube per sample [2].

    - Talent triturating fragment(s)

    - Talent filtering suspension

  - Rinse each vial with 5 milliliters of FACS (facks) buffer to collect any remaining cells [1] and filter each wash into the appropriate vial of cell sample on ice [2].

    - Talent adding buffer to vial, with buffer container visible in frame

    - Talent adding wash to tube

  - When all of the samples have been filtered, collect the cells by centrifugation [1-TXT] and aspirate the adipocyte supernatant from the samples [2].

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 400 x g, 4 °C

    - Shot of pellet(s), then adipocyte supernatant being removed

  - Next, carefully aspirate the infranatants, leaving the stromal-vascular fraction pellets intact [1], and resuspend the pellets in 1 milliliter of FACS buffer per tube [2].

    - Infranatant being removed

    - Shot of pellet, then pellet being resuspended in buffer

  - Then transfer the suspensions into new 1.5- or 1.7-milliliter tubes on ice until flow cytometric analysis by standard protocols [1].

    - Talent adding suspension to tube

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.4., 2.5., 3.1., 4.3., 4.7., 5.1.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.1., 3.2. in which retro-orbital injection is performed. In order to ensure success, we make sure the mice are fully anesthetized, syringes with liposomes are prepared ahead of time, and the procedure is performed slowly and gently.

# Results

- Results: Representative Liposome Identification, Uptake, and Analysis

  - Dynamic light scattering [1] reveals an average liposome diameter of 163.2 nanometers [2] and a zeta potential of minus 19.2 millivolts [3].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1A Video Editor: please emphasize 1632.nm text box

    - LAB MEDIA: Figure 1A Video Editor: please emphasize -19.2 mV text box

  - Cryogenic electron microscopy imaging reveals circular liposomes [1] with a relatively small standard deviation obtained from the average diameter as measured by dynamic light scattering [2].

    - LAB MEDIA: Figures 1B and 1C Video Editor: please emphasize circle(s) in image

    - LAB MEDIA: Figures 1B and 1C Video Editor: please emphasize data bars in graph

  - Flow cytometric analysis of samples from PBS-treated mice [1] can be used as a DiD (dye-D) fluorescence minus one controls with which to create DiD-positive gates [2].

    - LAB MEDIA: Figures 2B and 2C Video Editor: please emphasize gate/lack of cells in Figure 2B gate

    - LAB MEDIA: Figures 2B and 2C Video Editor: please emphasize gate/cells in gate in Figure 2C

  - As illustrated in this representative analysis [1], a 10 milligram/milliliter liposome-loading concentration of DiD is too high, surpassing the quantifiable range of the cytometer in all three tissues tested [2].

    - LAB MEDIA: Figures 3A-3C

    - LAB MEDIA: Figures 3A-3C Video Editor: please emphasize red data line in all three graphs

  - A 0.1 milligram/milliliter concentration demonstrates some signal [1] but a clear population beyond the PBS-treated cells is not observed [2].

    - LAB MEDIA: Figures 3A-3C Video Editor: please emphasize grey data line in all graphs

    - LAB MEDIA: Figures 3A-3C Video Editor: please emphasize black data line in all graphs

  - Therefore the 1 milligram/milliliter concentration [1], which demonstrates a clear distinction from the PBS control while still being readable by the analyzer [2], is recommended for use in the liposome preparation [3].

    - LAB MEDIA: Figures 3A-3C Video Editor: please emphasize blue data line in all graphs

    - LAB MEDIA: Figures 3D Video Editor: please emphasize blue data points in Figure 3D

    - LAB MEDIA: Figure 3D

  - Slightly different gating strategies are required for each tissue type [1], but most of the same cell types can be identified in each [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize Singlets, Live cells and CD45 graphs in each section of Figure

  - Once specific populations of interest are identified [1], the total size of each cell population and the frequency at which they are DiD-positive can be quantified [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize non-gating graphs in each section

    - LAB MEDIA: Figure 4 Video Editor: please emphasize DiD+ gate graph in each section

# Conclusion

- Conclusion Interview Statements

  - Alexander Klibanov: Preparing reagents and equipment and anticipating outcomes for each step is crucial. Unexpected results early on may ruin future outcomes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.4., 2.5., 3.2., 4.3., 5.1.)

  - Victoria Osinski: Histological methods can be used to assess liposome localization within whole tissue, while imaging flow cytometry can be used to verify liposome internalization of on a per-cell basis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera