# Submission ID #: 61588

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18784388

Title: In Vivo Structural Assessments of Ocular Disease in Rodent Models Using Optical Coherence Tomography

Authors and Affiliations: Rachael S. Allen1, 2, Katie Bales1,3, Andrew Feola1, 2, and Machelle T. Pardue1, 2, 3

1Center of Excellence for Visual and Neurocognitive Rehabilitation, Atlanta Veterans Affairs Medical Center

2Department of Biomedical Engineering, Georgia Institute of Technology

3Department of Ophthalmology, Emory University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Rachael Allen, PhD

restewa@emory.edu

# Co-Authors:

klbales@emory.edu

andrew.feola@bme.gatech.edu

machelle.pardue@bme.gatech.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 36

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Optical Coherence Tomography (OCT) Equipment Setup

  - Begin by opening the spectral-domain optical coherence tomography software [1] and entering the acquisition, study, and treatment arm information [2-TXT].

    - WIDE: Talent opening software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Information being entered TEXT: Name categories for easy searching

  - Under the Patient-Exam tab, click Test Examiner and select the name of the examiner [1-TXT].

    - SCREEN: To be provided by Authors: Tab being opened, test examiner being clicked, name being selected TEXT: Use Setup Examiners & Physicians to add new examiners

  - Click Study Name to define the study and open the Study tab to add a new study or to modify the treatments in an existing study. Click to the right of Select Treatment Arm to select a treatment arm [1].

    - SCREEN: To be provided by Authors: Study name being clicked, Study tab being opened, treatment arm being selected

  - To add a new timepoint for an entire group, click Add Patient. In the window, enter the ID number, first and last name, select the sex of the patient, and the Date of Birth [1].

    - SCREEN: To be provided by Authors:  Add patient being clicked, then information being entered

  - To add the individual rats, click Add Exam. To identify the rats, click on an exam and click Edit Exam. Enter the ID number into the Enter Notes box and click Save Changes [1-TXT].

    - SCREEN: To be provided by Authors: Add exam being clicked, exam being clicked, Edit exam being clicked, then ID number being entered and Save changes being clicked TEXT: See text for mouse experiment details

  - Next, attach the proper lens to the device [1], select the corresponding Configuration in the software [2], and dial in the associated reference arm position [3].

    - Talent attaching lens

    - SCREEN: To be provided by Authors: Configuration being selected

    - Associated position being dialed OR SCREEN: To be provided by Authors: Position being dialed

  - Under the Patient/Exam tab, double click the highlighted exam to proceed to the Imaging tab and begin imaging [1-TXT].

    - SCREEN: To be provided by Authors: Exam being double clicked/imaging beginning TEXT: Right click to delete default scan

  - To load a pre-set Scan Protocol, click Select a protocol from the list. For rat models of glaucoma and diabetic retinopathy, select a preset that consists of two OD (O-D) and 2 OS (O-S) scans [1-TXT].

    - SCREEN: To be provided by Authors: Select a protocol form the list being clicked, then present being selected TEXT: OD: oculus dextrus; OS: oculus sinister

  - Then place an anesthetized rat into a rodent alignment system that can rotate the animal in 3-dimensional space [1-TXT] and apply lubricant to the animal’s eyes [2].

    - Talent placing rat into system Videographer: More Talent than rat in shot TEXT: Anesthesia: ketamine 60 mg/kg + xylazine 7.5 mg/kg i.p.

    - ECU: Lubricant being applied

- Rodent OCT Imaging

  - Just before imaging, use a delicate task wipe to wick away any excess saline [1] and use the two rotational motions of the rodent alignment system to position the rat such that the gaze is horizontal and looking down the axis of the optical coherence tomography lens [2].

    - WIDE: Talent wiping eyes Videographer: More Talent than rat in shot

    - Talent positioning rat Videographer: More Talent than rat in shot; Videographer/Video Editor: shot will be used again

  - Use the Free Run mode to orient the retina for data collection. Then use the Aim mode for a continuous display of both the horizontal and vertical B-scans in real time [1].

    - SCREEN: To be provided by Authors: Free Run being selected, then retina being oriented, then Aim being selected and shot of horizonal and vertical b-scans

  - Move the scan head closer to the eye until the retina is visible [1] and use the rodent alignment system to adjust the animal position [2] until the optic nerve head is visible in the center. Make the horizontal scan horizontal and the vertical scan vertical [3].

    - Scan head being moved

    - Animal position being adjusted

    - SCREEN: To be provided by Authors: Optic nerve head becoming visible, horizontal scan being horizontal, vertical scan being vertical

  - Adjust the working distance such that the retinal image is flat and not curved [1] and adjust the reference arm position [2] to keep the image near the top of the display window [3-TXT].

    - SCREEN: To be provided by Authors: Working distance being adjusted

    - Reference arm being adjusted

    - SCREEN: To be provided by Authors: Image near top of display window TEXT: Caution: Do not push too far or eye image will flip back on itself

- Retinal Imaging

  - For retinal imaging of glaucoma, retinal degeneration, and diabetic retinopathy models, define a 3- x 3-millimeter volume scan [1] that consists of 1000 A scans x 100 B scans x 1 repeated B scan for averaging [2].

    - WIDE: Talent defining scan, with monitor visible in frame

    - SCREEN: To be provided by Authors: Scan parameters being set

  - Center the optic nerve in the horizontal and the vertical access so that the volume scan is in the center straight along the nasal-temporal and superior-inferior axes [1-TXT].

    - SCREEN: To be provided by Authors: Nerve being centered TEXT: Scan and re-center to make sure nerve in exact center and aligned along both axes as necessary

  - Click Snapshot to take a photo and click Save to save the image [1].

    - SCREEN: To be provided by Authors: Snapshot being clicked, then Save being clicked

  - Obtain a radial scan centered at the optic nerve head that is 1000 A scans x 4 B scans x 20 repeated B scans and use the repeated B scans to enhance the image clarity of the eye or retina to facilitate interpretation of the regions of the eye or layers of the retina during data analysis [1].

    - SCREEN: To be provided by Authors: Radial scan parameters being set, image being acquired, clarity being enhanced

  - Then save the image [1] and repeat the scan for the contralateral eye [2].

    - SCREEN: To be provided by Authors: Image being saved

    - Use 3.1.2. Talent positioning animal

- OCT Image Post-Processing

  - For post-processing of the images, open the appropriate mathematical modeling software program [1].

    - WIDE: Talent opening software, with monitor visible in frame

  - For processing the retina, select the optical coherence tomography scans to load [1] and click to define the center of the optic nerve head [2].

    - SCREEN: To be provided by Authors: Scan(s) being selected

    - SCREEN: To be provided by Authors: Center of nerve head being defined

  - The program will generate vertical lines that define the distances on either side of the optic nerve head. In the rat retina, these lines are at 0.5 and 1.2 millimeters from the center of the optic nerve head, with a total of 4 vertical lines representing the nasal-temporal and inferior-superior axes of the eye depending on the radial B scan currently analyzed [1].

    - SCREEN: To be provided by Authors: Vertical lines being generated Video Editor: please emphasize lines at 0.5 and 1.2 mm from center when mentioned

  - Along each line, delineate the retinal nerve fiber layer, the inner plexiform layer, the inner nuclear layer, the outer plexiform layer, the outer nuclear layer, the external limiting membrane, the inner and outer segments, the retinal pigment epithelium, and the total retinal thickness [1].

    - SCREEN: To be provided by Authors: Layers being delineated

  - When all of the layers have been delineated, export the measurements to a spreadsheet for data analysis [1].

    - SCREEN: To be provided by Authors: Data being exported

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 199. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative In Vivo Ocular Disease Structural Assessment

  - Representative spectral-domain optical coherence tomography images [1] reveal a thinner outer nuclear layer, which contains the photoreceptor cell bodies, in retinas from light-induced retinal degeneration BALB/c (balb-C) mice [2] compared to undamaged, control mice [3].

    - LAB MEDIA: Figures 3A and 3B

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize bracket and “total retinal thickness” text in Figure 3B

    - LAB MEDIA: Figures 3A and 3B Video Editor: please emphasize bracket and “total retinal thickness” text in Figure 3A

  - After quantifying the retinal layer thickness [1], a significant difference between undamaged and light-induced retinal degeneration mice is observed for the total retinal thickness [2], outer nuclear layer thickness [3], and inner and outer segment thickness [4].

    - LAB MEDIA: Figures 3C-3E

    - LAB MEDIA: Figures 3C-3E Video Editor: please add bracket and asterisk between data in Figure 3C

    - LAB MEDIA: Figures 3C-3E Video Editor: please add bracket and asterisk between data in Figure 3D

    - LAB MEDIA: Figures 3C-3E Video Editor: please add bracket and asterisk between data in Figure 3E

  - After 8 weeks of ocular hypertension [1], a distinct remodeling at the optic nerve head is observed, including optic nerve cupping [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video Editor: please emphasize space between tissues in Figure 4B

  - Quantification of the retinal nerve fiber layer thickness after 8 weeks of ocular hypertension [1] reveals a significant thinning compared to baseline measurements [2].

    - LAB MEDIA: Figure 4C

    - LAB MEDIA: Figure 4C Video Editor: please emphasize 8-weeks OHT data cluster

  - Imaging of retinas [1] from diabetic retinopathic model [2] and normal control Wistar rats [3] reveals that, at 6 weeks of age, the retinal nerve fiber layer and total retinal thickness are reduced in diabetic retinopathic rats [4] compared to Wistar rats in the peripheral retina [5], with the greatest differences observed in the inferior and temporal quadrants of the retina [6].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5B

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5A

    - LAB MEDIA: Figure 5 Video Editor: please emphasize peach data lines in Figures 5C and 5D

    - LAB MEDIA: Figure 5 Video Editor: please emphasize grey data lines in Figures 5C and 5D

    - LAB MEDIA: Figure 5 Video Editor: please add/emphasize Temp and Inf texts in both graphs

  - The axial length of the mouse eye [1] in myopia model mice [2] is visibly longer than that observed in wild-type eyes [3], with significantly longer axial lengths measured at 84 days of age [4] and demonstrating that the lack of the clock gene contributes to myopia development [5].

    - LAB MEDIA: Figure 6

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6B image

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Figure 6A image

    - LAB MEDIA: Figure 6 Video Editor: please emphasize Bmal1-/- data and/or add p<0.01 text

    - LAB MEDIA: Figure 6

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.