# Submission ID #: 61592

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18785608

Title: Evaluating Postural Control and Lower-Extremity Muscle Activation in Individuals with Chronic Ankle Instability

Authors and Affiliations: Lulu Yin1, Zhangqi Lai2, Xiaoyue Hu2, Kun Liu3, and Lin Wang2

1Department of Critical Care Medicine, Shanghai Tenth People’s Hospital, School of Medicine, Tongji University

2School of Kinesiology, Shanghai University of Sport

3Department of Rehabilitation Medicine, Shanghai Jiao Tong University Affiliated Sixth People’s Hospital

# Corresponding Author:

# Lin Wang

# wanglin@sus.edu.cn

# Co-Authors:

15301631350@163.com

laizhangqi@126.com

moonhxyy@163.com

liutushen2016@163.com

Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

Videographer: All screen captures provided; do not film

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 31

Introduction

- Introductory Interview Statements

Voiceover Talent: please record Introduction statements

REQUIRED:

  - JoVE’s Voiceover Talent: This protocol presents a novel approach for evaluating the coordination of the visual, somatosensory, and vestibular systems and related muscle activation required to maintain postural stability [1].

    - Use 3.3.1. Participant extending knee or 3.4.1. Participant closing eyes/putting hands on spine

REQUIRED:

  - JoVE’s Voiceover Talent: This technique can be used to perform a comprehensive investigation of the neuromuscular control for chronic ankle instability through the combination of Computerized Dynamic Posturography and related muscle activity [1].

    - Use 2.5.3. Talent putting electrodes on muscles

OPTIONAL:

  - JoVE’s Voiceover Talent: This method could also be used to explore postural stability and related muscle activity in other conditions, such as neurologic or musculoskeletal system disorders [1].

    - LAB MEDIA: Table 1

Protocol

- Equipment and Participant Preparation

  - Before beginning an analysis, turn on the CDP (C-D-P) system [1-TXT] and complete a self-calibration to confirm that the instrument is operating at a 100-hertz sampling frequency [2].

    - WIDE: Talent turning on system TEXT: CDP: computerized dynamic posturography

    - Talent calibrating instrument, with monitor visible in frame

  - In the software, double-click Balance Manager System, Clinical Module, and New Patient [1].

    - SCREEN: 2.2.1_2.3.1: 00:00-00:08

  - Input the Participant name, height, ID, weight, and age [1] and select Assessment, Sensory Organization Test, Motor Control Test, Adaption Test, Limits of Stability, and Unilateral Stance [2].

    - SCREEN: 2.2.1_2.3.1: 00:10-00:33 Video Editor: please speed up

    - SCREEN: 2.2.1_2.3.1: 00:34-00:41

  - Turn on the surface EMG (E-M-G) system [1-TXT] and double click the EMG Motion Tools icon [2].

    - Talent turning on system TEXT: EMG: electromyography

    - SCREEN: 2.4.2: 00:02-00:06

  - Specify the trigger signals [1-TXT] and establish the Participant ID [2] and place one wireless electrode onto the belly of each lower extremity muscle to be measured [3].

    - SCREEN: 2.5.1: 00:34-00:40 TEXT: e.g., vastus medialis, vastus lateralis, biceps femoris, tibialis anterior, peroneal longus, gastrocnemius medialis, and gastrocnemius lateralis

    - SCREEN: 2.5.1: 00:46-01:02 Video Editor: please speed up

    - Talent adding electrode(s) to muscles

  - Then use the synchronization line to connect the surface EMG (E-M-G) system with the CDP system [1-TXT] and adjust the surface EMG system camera to capture the signal indicator light of the CDP system [2].

    - Talent connecting systems TEXT: EMG: electromyography

    - Talent adjusting camera

  - When both systems are ready, use a safety harness to fix the Participant to the support bar [1] and carefully align the Participant’s bare feet with the force plates so that the Participant is facing the visual surround [2].

    - Talent fixing Participant to support bar

    - Talent helping Participant align foot with force plate

  - Then turn off the screen embedded in the visual surround [1].

    - Talent turning off screen

- Measurement Procedure

  - To conduct a sensory organization test, instruct the Participant to stand upright with their center of gravity as stable as possible [1] and have the Participant complete each test three times for 20 seconds per test under each condition as indicated in the Table [2].

    - WIDE: Talent instructing Participant to stand upright

    - LAB MEDIA: Table 1 Video Editor: please sequentially indicate rows from 1 to 6

  - For a unilateral stance analysis, instruct the Participant to place their hands on the anterior superior iliac spine with their eyes open [1] and to consider the unstable ankle side as the support leg [2].

    - Participant placing hands on spine Videographer: Important/difficult step

    - Participant indicating/putting weight on unstable ankle

  - Have the Participant fully extend and bend the knee joint of their non-supporting leg by approximately 30 degrees while standing stably for 10 seconds [1-TXT].

    - Talent instructing/Participant extending joint and bending knee Videographer: Important/difficult step TEXT: Repeat each measurement x3

  - After the third trial, have the Participant repeat the same measurement with their eyes closed [1].

    - Participant placing hands on spine and closing eyes Videographer: Important/difficult step

  - For a limit of stability test, instruct the Participant to maintain their center of gravity in the central area [1] until they hear a ring sound, at which point the Participant should lean their body and quickly shift their center of gravity into the targeted frame in one of eight directions in the screen for 10 seconds [2-TXT].

    - Participant maintaining center of gravity Videographer: Important/difficult step

    - Tone being sounded, then Participant leaning/shifting COG Videographer: Important/difficult step TEXT: Forward, forward-right, right, right-backward, backward-left, left and left forward Videographer/Video Editor: please include ring sounds as possible

  - To conduct a motor control test, instruct the Participant to restore their body stability in response to the unexpected slipping of the force plates [1-TXT].

    - Participant keeping balance while force plates slip Videographer: Important/difficult step TEXT: Repeat x3 for each slip condition

  - To perform an adaption test, instruct the Participant to restore their body stability by directing the toes upward or downward in response to five consecutive unexpected rotations at a 20-degree/second velocity [1].

    - Talent instructing Participant to respond/Participant coping with rotations Videographer: Important/difficult step

- Surface Electromyography (sEMG) Measurement and Data Processing

  - When all of the tests have been completed, in the processing window of the surface EMG software [1], import the C3d (C-three-D) file of the EMG raw data and mp4 file of the light video [2].

    - WIDE: Talent opening processing window, with monitor visible in frame

    - SCREEN: 4.1.1: 00:04-00:10

  - In the Processing pipeline operations, set the Butterworth filter with low-pass to 450 hertz and an order of 2, the high-pass to 20 hertz with an order of 2, the notch filter to 50 hertz, and the root mean square smoothing window to 100 milliseconds [1].

    - SCREEN: 4.2.1: 00:06-00:12

  - In the Generate Events tab, set all channels go above 5x baseline noise standard deviations for at least 50 milliseconds to muscle on and all channels drop below 5x standard deviations over baseline for at least 50 milliseconds to muscle off [1].

    - SCREEN: 4.3.1: 00:00-00:14

  - Then, in the Generate Parameters tab, select integral electromyography, root mean square, mean power frequency, medium frequency, [1].

    - SCREEN: 4.4.1: 00:00-00:19

Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

3.2.-3.7.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.2.-3.7.

Results

- Results: Representative Postural Control and Lower-Extremity Muscle Activation Evaluation

  - In this analysis [1], as indicated by the green bars, the participant was able to better coordinate their three sensory systems better and to more effectively respond [2] than their age-matched normative counterpoint in the dataset [3] using their vision [4], proprioception [5], and vestibule sensory sensations to maintain balance throughout the sensory analysis [6].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize green data bars

    - LAB MEDIA: Figure 2A Video Editor: please emphasize red data bars

    - LAB MEDIA: Figure 2B Video Editor: please emphasize VIS data bar

    - LAB MEDIA: Figure 2B Video Editor: please emphasize SOM data bar

    - LAB MEDIA: Figure 2B Video Editor: please emphasize VEST data bar

  - The participant mainly relied on the ankle strategy [1] and their ability to maintain postural stability [2].

    - LAB MEDIA: Figure 2C Video Editor: please emphasize data points on right side of graph

    - LAB MEDIA: Figure 3 Video Editor: please emphasize top left graph/red data bar in top left graph

  - The total swing between the left and right legs was normal both when the participant’s eyes were open [1] and when they were closed [2].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize top % Difference graph

    - LAB MEDIA: Figure 3 Video Editor: please emphasize bottom % Difference graph

  - The participant exhibited a delayed reaction time between the sending of the move signal and the beginning of body movement [1] but a normal movement velocity [2].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize red data bars

    - LAB MEDIA: Figure 4B

  - For the forward and right endpoint excursions, the movement distance of the center of gravity did not reach the normal range [1]. The maximum distance of the center of gravity movement was normal, however [2].

    - LAB MEDIA: Figure 4C Video Editor: please emphasize red data bars

    - LAB MEDIA: Figure 4D

  - The participant demonstrated a normal weight distribution [1] but an abnormal backward displacement response, suggesting a unilateral orthopedic injury [2].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5B Video Editor: please emphasize red data bar

  - In addition, the increase in amplitude scaling was bipedally symmetrical in relation to the amplitudes of the force plate slippage [1] and the sway energy score was normal [2].

    - LAB MEDIA: Figure 5C

    - LAB MEDIA: Figure 6

# Conclusion

- Conclusion Interview Statements

Voiceover Talent: please record Conclusion statement

  - JoVE’s Voiceover Talent: Be sure to accurately input the participant age, height, and weight and to correctly align the foot positions, as these parameters determine the location of the COP and affect the postural analysis [1].

    - Use 2.3.1.