• 61592_screenshot_2.2.1+2.3.1(00:00-00:41)

# 2.2.1 Balance Manager System, Clinical Module, and New Patient being clicked, then ID being entered

# 2.3.1 Patient height, weight, and age being entered, then parameters being selected

• 61592_screenshot_2.4.2(00:41-00:49)

# 2.4.2 Turn on the surface EMG (E-M-G) system [1-TXT] and double click the EMG Motion Tools icon [2].

• 61592_screenshot_2.5.1(00:49-02:01)

2.5.1 Trigger signal being specified, ID being established, and electrodes being matched

• 61592_screenshot_4.1.1(02:01-02:28)

4.1.1 Opening processing window, File(s) being imported, Light coming on/Talent cutting trial cycle.

•61592_screenshot_4.2.1(02:28-02:40)

# 4.2.1 In the Processing pipeline operations, set the Butterworth filter with low-pass to 450 hertz and an order of 2, the high-pass to 20 hertz with an order of 2, the notch filter to 50 hertz, and the root mean square smoothing window to 100 milliseconds [1].

•61592_screenshot_4.3.1(02:40-02:57)

4.3.1 In the Generate Events tab, set muscle on to “all channels go above 5x baseline noise standard deviations for at least 50 milliseconds” and muscle off to “all channels drop below 5x standard deviations over baseline for at least 50 milliseconds”

•61592_screenshot_4.4.1(02:57-03:21)

4.4.1 In the Generate Parameters tab, select integral electromyography, root mean square, mean power frequency, medium frequency