- 61593_screenshot_1

- 3.2.3 (Select Luminescent, Photograph, and Overlay) 00:02-00:10

- 3.3.1 (Set the exposure time to Auto, the Binning to small, the f-stop to 1 for luminescent and to 8 for photograph, and the Field of View to C. Click Acquire to image the bioluminescence.) 00:10-00:29

- 61593_screenshot_2

  - 3.4.1 (Set the Display format to Radiance and select the Circle to from the Region of Interest Tools in the Tool Palette panel) 00:01-00:20

  - 3.5.1 (Click Measure Regions of Interest to measure the surface bioluminescent intensity and use Configure Measurement to select the values relevant to the experiment. Export this data table as a .csv file) 00:20-00:40

- 61593_screenshot_3

  - 3.6.1 (Then use the Total Flux values for the bioluminescent intensity quantification in the file) 00:02-00:11