# No

# Submission ID #:  61602

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18788658

# Title:   FLIM-FRET Measurements of Protein-Protein Interactions in Live Bacteria

# Authors and Affiliations:

# Hanna Manko1, Vincent Normant2,3, Quentin Perraud2,3, Tania Steﬀan1, Véronique Gasser2,3, Emmanuel Boutant1, Éléonore Réal1, Isabelle J. Schalk2,3, Yves Mély1 and Julien Godet1, 4, *

# 1Université de Strasbourg, Laboratoire de Bioimagerie et Pathologies, UMR CNRS 7021, Illkirch, Strasbourg, France

# 2Université de Strasbourg, UMR 7242, ESBS, Bld Sébastien Brand, Illkirch, Strasbourg, France

# 3CNRS, UMR 7242, ESBS, Bld Sébastien Brand, Illkirch, Strasbourg, France

# 4Groupe Méthode Recherche Clinique, Hôpitaux Universitaires de Strasbourg, France

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Julien Godet (julien.godet@unistra.fr)

# Email Addresses for All Authors:

hanna.manko@etu.unistra.fr

normant@unistra.fr

q.perraud@unistra.fr

tania.steffan@unistra.fr

veronique.gasser@unistra.fr

emmanuel.boutant@unistra.fr

eleonore.real@unistra.fr

isabelle.schalk@unistra.fr

# yves.mely@unistra.fr

# julien.godet@unistra.fr

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Yes

If Yes, can you record movies/images using your own microscope camera?

Yes

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? (5-10 min walking distance)

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  37

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Hanna Manko: FLIM-FRET is a powerful technique able to confirm suspected or predicted PPIs. In this protocol we describe the way to analyze data in particular cases of unbalanced donor/acceptor quantities.

REQUIRED: What is the main advantage of this technique?

  - Hanna Manko: FLIM-FRET is able to provide information about PPIs directly in live cells. It is a highly relevant to investigate PPIs in the native cellular environment, in particular when fluorescent proteins are expressed at the endogenous level.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name:  NA

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: NA

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Hanna Manko: FLIM setup are getting available in an increasing number of imaging facilities. Imaging samples in FLIM-FRET is basically no more complicated than imaging in video microscopy.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Hanna Manko: Demonstrating the procedure will be Véronique Gasser, a research engineer from Dr Isabelle Schalk laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Fluorescent Tag Insertion into the Chromosomal Genome of P. aeruginosa

  - Begin by growing P. aeruginosa, E. coli TOP10, and E. coli helper bacteria, each in 5 milliliters of LB without antibiotic, at 30 degrees Celsius while shaking overnight [1]. On the next day, measure the optical density of the cultures [2] and mix an equal quantity of P. aeruginosa, E. coli TOP10, and E. coli helper in a 1.5-milliliter microtube [3].

    - WIDE: Establishing shot of talent placing culture tubes in the incubator and closing the lid.

    - Talent measuring OD600 of one of the cultures.

    - Talent adding the cultures to a microtube. TEXT: 500 µL each, OD600 nm = 1.0

  - Centrifuge the tube for 5 minutes at 9,300 x g to pellet the bacteria [1], then discard the supernatant [2] and resuspend the pellet in 50 microliters of LB [3]. Plate a spot of the mixture on preheated LB agar and incubate it for 5 hours at 37 degrees Celsius [3].

    - Talent putting the tube in the centrifuge and closing the lid.

    - Talent removing the supernatant.

    - Talent resuspending the pellet.

    - Talent plating a spot of the mixture on LB agar.

  - After the incubation, scrape the spot with a sterile inoculation loop [1] and resuspend it in 1 milliliter of LB [2]. Plate 100 microliters of this bacterial suspension on LB agar containing 10 micrograms per milliliter chloramphenicol and 30 micrograms per milliliter gentamicin [3], then incubate the plate for 2 days at 37 degrees Celsius [4].

    - Talent scraping the spot.

    - Talent resuspending the bacteria.

    - Talent plating the suspension.

    - Talent putting the plates in the incubator and closing the door.

  - Resuspend one colony in 1 milliliter of LB [1] and incubate it at 37 degrees Celsius with orbital shaking for 4 hours [2]. Then, centrifuge the tube for 3 minutes at 9,300 x g [3] and discard 950 microliters of supernatant [4].

    - Talent transferring a colony from the plate to the LB.

    - Talent putting the LB tube in the incubator and starting the shaking.

    - Talent putting the tube in the centrifuge and closing the lid.

    - Talent removing the supernatant.

  - Resuspend the pellet in 50 microliters of LB [1] and isolate the mixture on LB agar containing sucrose and no sodium chloride [2]. Incubate the plate overnight at 30 degrees Celsius [3].

    - Talent resuspending the pellet in LB.

    - Talent plating the mixture on the agar.

    - Talent putting the plate in the incubator and closing the door.

  - Spot isolated colonies on LB agar and LB agar containing 15 milligram per milliliter gentamicin in order to check for gentamicin sensitivity [1].

    - Talent spotting colonies on agar plates.

- Preparation of Agarose Pad

  - Place a microscope glass slide on a flat horizontal surface and arrange two glass slides topped with two layers of adhesive tape around it [1]. Pipette a 70-microliter droplet of 1% melted agarose onto the glass slide [2] and place a fourth slide on top to flatten the agarose droplet. Press down gently for about a minute [3].

    - Talent putting down the slide and putting the other 2 slides on each side.

    - Talent pipetting agarose on the slide.

    - Talent covering the agarose with another slide and gently pressing down.

  - Take off the upper slide and drop about 3 microliters of bacteria in 3 to 4 spots at different locations on the agarose pad [1]. Cover the agarose pad with a microscopy glass coverslip [2] and fix it with melted paraffin to seal it onto the glass slide. Start by fixing the four corners of the coverslip [3].

    - Talent taking off the slide and dropping bacteria on the pad.

    - Talent covering the agarose pad with a coverslip.

    - Talent fixing the coverslip at the corners.

- Imaging with a Two-photon Microscopy Setup

  - Place the microscopy slide on the stage with the coverslip facing the objective [1]. Turn the filter cube turret to select the eGFP cube and open the fluorescence lamp shutter, then send the fluorescence light towards the eyepiece of the microscope [2]. Focus the objective on the bacteria using the microscope knob [3].

    - Talent positioning the slide on the stage.

    - Talent turning the filter cube turret, opening the fluorescence lamp shutter, then sending the fluorescence light towards the eyepiece of the microscope. Authors: Is this done manually or using software? Manually

    - Talent using the knob to focus.

  - Select a region of interest in the sample using the joystick that controls the motorized stage [1]. Send the fluorescence emission path back towards the detector. Then, turn back the filter cube turret to select the dichroic cube for the 930 nanometer laser and set the laser power to 20 milliwatts [2].

    - Talent selecting the region of interest.

    - Talent sending the fluorescence emission towards the detector, turning the filter cube turret, and setting the laser power. Authors: Is this done manually or using software? Manually for the filter cube but with software for the lase power. (will you need a screencast too?)

  - Set the size of the region of interest to 30 micrometers, which adjusts the voltage operating the galvo-mirrors and defines the range of their movements. Turn on the detector and start scanning the sample [1].

    - SCREEN: Region size set, detector turned on and scanning started. Authors: If possible, please acquire screen captures for all SCREEN shots and upload them to your project page. Let me know when you have done so.  (the detector is turned on manually - not included in the screen cast)

  - Choose the field of view for imaging by finely moving the stage from the computer interface. This can be done on the setup by moving the cross on the image in the microscope control software, which will define the new center of the image, and pressing Move Stage [1].

    - SCREEN:  Field of view being selected.

  - A good field of view for acquisition should contain 10 to 30 immobile bacteria, all in focus. If interested in extracting single cells FLIM-FRET data, ensure that the bacteria are well individualized [1].

    - SCREEN: Good field of view.

  - Open the imaging software and check that the photons count rate is not too high to avoid a pile-up effect that can influence lifetime measurements. If necessary, lower the laser intensity to keep the photon count rate low [1].

    - SCREEN: SPCM software opened and photons count rate checked.

  - Adjust acquisition parameters, including the acquisition collection time, press the Start button, and wait for the acquisition to complete [1].

    - SCREEN: Parameters adjusted and Start pressed.

  - To analyze the data, open RStudio and create a new project. Move all analysis asc files into a folder called “data” in the main project folder, then open a new script file or the supplementary script FLIM-underscore-analysis-dot-R [1].

    - SCREEN: RStudio opened, new project created, files moved into appropriate folder, new script file opened.

  - Install the dedicated filmDiagRam package for film data analysis and call the package in the workspace [1-TXT].

    - SCREEN: Package installed and called in the workspace. TEXT: https://github.com/jgodet/flimDiagRam ; HowTo_FlimDiagRam Tutorial at https://github.com/jgodet/flimDiagRam/blob/master/HowTo.pdf

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.3; 2.6; 4.5 and 4.9

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

Step 4.9 : Mastering R coding for data analysis requires practice. Start simply by using ‘as-is’ the script that accompanies this manuscript and little by little try to conduct your own analyses to ultimately exploit the full potential of the R programming language

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 240. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: FLIM-FRET Data Visualization and Analysis

  - Empirical cumulative distribution functions of the fluorescence lifetimes measured for the different bacterial strains are shown here [1]. If FRET occurs, the functions are shifted towards the shorter-lived lifetimes [2].

    - LAB MEDIA: Figure 8.

    - LAB MEDIA: Figure 8. Video Editor: Emphasize A and B.

  - It is important to note that FRET can’t occur when the interaction of the two proteins results in a long distance between the two fluorophores, which can’t be distinguished from the absence of interaction. Therefore, it may be necessary to label the proteins at different positions to maximize the chances of probing the interaction [1].

    - LAB MEDIA: Figure 8. Video Editor: Emphasize C.

  - Due to the large difference in protein expressions between PvdA and PvdL, the same complex does not result in similar FLIM-FRET data. Unbalanced stoichiometries lead to differences in the contribution of the free as compared to the bound donor-labelled proteins in the recorded fluorescence lifetime distribution [1].

    - LAB MEDIA: Figure 8 A and B.

  - The diagram plot can be used to provide critical information about the stoichiometry [1]. In the PvdA-eGFP-mCherry PvdL mutant, the quantity of donor-labelled PvdA is much higher than the quantity of mCherry PvdL [2].

    - LAB MEDIA: Figure 9.

    - LAB MEDIA: Figure 9 A.

  - Amongst all donors present in the sample, only a few of them are interacting with PvdL [1]. The single tau1 value centered at approximately 2.3 nanoseconds suggests that each PvdA-eGFP donor can only transfer with one mCherry PvdL acceptor [2].

    - LAB MEDIA: Figure 9 A.

    - LAB MEDIA: Figure 9 A. Video Editor: Emphasize the area enclosed in red.

  - When the labelling is reversed, most of the eGFP PvdL proteins are expected to interact with PvdA-mCherry [1], which is confirmed by the higher alpha1 values. The tau1 values became more distributed, suggesting that multiple PvdA proteins may bind to a single PvdL protein [2].

    - LAB MEDIA: Figure 9 B.

    - LAB MEDIA: Figure 9 B. Video Editor: Emphasize the area enclosed in red.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (4.6, 4.7) This steps are important for correct lifetime measurements.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.