# Submission ID #:  61604

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18789268

# Title:   Mucociliary Epithelial Organoids from Xenopus Embryonic Cells: Generation, Culture and High-Resolution Live Imaging

# Authors and Affiliations:

Hae Jin Kang1, Hye Young Kim1

# 1Center for Vascular Research, Institute for Basic Science, Daejeon, Republic of Korea

# Corresponding Authors:

# Hye Young Kim (hykim@ibs.re.kr, hyeyoung.pitt@gmail.com)

# Email Addresses for All Authors:

# haejin@ibs.re.kr

# hykim@ibs.re.kr

# hyeyoung.pitt@gmail.com

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Yes

If Yes, can you record movies/images using your own microscope camera?

No

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Olympus SZ61

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  16

Number of Shots:  29

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Hye Young Kim: Mucocilary epithelium lines internal organs of our body and provides the first line of defense by clearing foreign particles. This protocol makes it possible to generate embryonic cell derived mucociliary epithelial organoids in 24 hours.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Hae Jin Kang: The key advantage of our method is that we can monitor the live progression of cell transitions on the surface of organoids. This reproducible, scalable, and rapid protocol for developing organoids will enable researchers to address fundamental questions for biology of the mucociliary epithelium.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the Institute for Basic Science and Korea Advanced Institute of Science and Technology.

# Protocol

- Isolation of deep ectoderm cells

  - To begin, obtain X. laevis embryos by manually collecting eggs from stimulated female frogs and performing in vitro fertilization [1]. De-jelly the fertilized embryos with gentle agitation in 2% cysteine in one third X modified Barth’s saline for about 5 minutes [2].

    - WIDE: Establishing shot of talent walking to the lab bench with the embryos in hand.

    - Embryos agitating in the 2% cysteine.

  - Culture the embryos in one third X MBS at the preferred temperature [1-TXT] until the first signs of stage 10 are detected, such as the appearance of dark pigmented cells around the blastopore at the vegetal view [2]. Select and gather embryos as they reach early stage 10 using hair tools under a stereoscope [3].

    - Talent putting the embryos in the incubator and closing the door. TEXT: 14–26 °C

    - Talent examining the embryos under a microscope for signs of stage 10.

    - SCOPE: Talent selecting stage 10 embryos.

  - Transfer the selected embryos into a DFA-filled Petri dish with a disposable transfer pipette [1], then remove the vitelline membrane of the embryos using sharp forceps from the vegetal side without disrupting the animal side of the embryo [2].

    - Talent putting an embryo into the Petri dish.

    - SCOPE: Talent removing the vitelline membrane.

  - To isolate the animal cap, position the animal side of the embryo up. Visually estimate the extent of the animal cap to be excised and make the first incision along the edge with a hair knife, pulling the knife outward to make the cut. Repeat this process to create a chain of small cuts to excise the animal cap [1]. Videographer: This step is important!

    - SCOPE: Talent making the small cuts on the animal side of the embryo.

  - Trim the thick-layered edge of the animal cap using a hair knife to prevent the inclusion of mesoderm precursors [1]. To separate deep ectoderm cells from the animal cap, transfer the excised animal caps to a Petri dish filled with calcium- and magnesium-free DFA with a disposable transfer pipette [2].

    - SCOPE: Talent trimming the edge of the animal cap.

    - Talent transferring the animal caps to the Petri dish with calcium- and magnesium-free DFA.

  - Position the animal caps to face animal-side up, maintaining a generous distance from other explants [1]. Wait for 5 to 10 minutes and then monitor the explants under a stereoscope [2]. Videographer: This step is important!

    - SCOPE: Talent positioning the animal caps.

    - Talent monitoring the explants with the microscope.

  - Once the loosened deep cells have been released from the edge of the dark-pigmented superficial layer, begin lifting the superficial layer away from the light-colored deep ectoderm cells. Carefully detach the superficial layer with a hair knife, starting at the edge [1]. Videographer: This step is difficult and important!

    - SCOPE: Talent lifting the superficial layer from the ectoderm cells and detaching it with a hair knife.

  - Then, collect the deep ectoderm cells with as little calcium- and magnesium-free DFA as possible [1]. Videographer: This step is important!

    - SCOPE: Talent collecting the deep ectoderm cells.

- Generation of Mucociliary Epithelial Organoids

  - Transfer collected deep ectoderm cells to non-adhesive PCR tubes containing 200 microliters of DFA and gently pipette the media 2 to 3 times to disperse the transferred cells [1]. Close the tubes and keep them upright to induce spontaneous aggregation at the bottom [2].

    - Talent transferring cells to a PCR tube by pipetting up and down.

    - Talent closing an upright PCR tube.

  - Monitor the aggregation process under a stereoscope [1]. Cells typically gather at the bottom of the PCR tube within an hour and assemble into spherical aggregates within 2 to 3 hours, depending on the size [2]. Videographer: This step is important!

    - Talent looking at the PCR tube through a microscope.

    - SCOPE: Aggregates at the bottom of the PCR tube.

  - To conduct live imaging or drug testing during the development of the mucociliary epithelial organoids, collect aggregates at 2 hours post aggregation using a 200-microliter pipette fitted with enlarged tips [1-TXT].

    - Talent collecting aggregates. TEXT: Cut pipette tips with sterilized scissors to enlarge

  - To allow aggregates to develop into mucociliary epithelial organoids in culture, collect them from the PCR tube at 5 hours post aggregation and transfer them to a DFA-filled Petri dish. Position the aggregates far apart from each other to prevent fusing [1].

    - Talent transferring the aggregates to the DFA-filled Petri dish.

  - Within 24 hours of culture at room temperature without any added factors, mature mucociliary epithelial organoids can be observed, rotating due to the beating cilia that covers the surface of the differentiated epithelium [1].

    - SCOPE: Mature epithelial organoids.

- High-resolution Live Imaging of Developing Organoids

  - Prepare a glass-bottom imaging chamber by gluing a cover glass to a custom-milled acrylic chamber with silicon grease, tightly sealing the chamber to prevent leakage of the culture media [1], then fill the imaging chamber with DFA [2].

    - Talent gluing a cover glass to the acrylic chamber.

    - Talent filling the chamber with DFA.

  - Pick up one hexagonal transmission electron microscopy, or TEM, grid using forceps [1-TXT] and apply a tiny amount of grease to the edge of the grid [2]. Press down lightly to secure the TEM grid to the bottom of the imaging chamber [3].

    - Talent picking up the TEM grid. TEXT: 75 mesh

    - Talent applying grease to the edge of the grid.

    - Talent pressing the grid to the bottom of the imaging chamber.

  - Transfer the aggregates to the imaging chamber and position them within the grid. Fill the chamber with DFA and seal it with a cover glass and grease [1]. To follow the progression of mucociliary epithelial organoid formation, collect time-lapse z-stack images of aggregates using a confocal microscope [2]. Videographer: This step is important!

    - Talent transferring the aggregates to the imaging chamber.

    - Talent setting up time lapse imaging.  Replaced with a SCOPE shot: the aggregate positioned inside of the imaging chamber

# 5.4.1.

# Results

- Results: Live Imaging of Developing Organoids

  - Mucociliary epithelial organoids were generated from multipotent progenitors of early gastrula stage X. laevis embryos. The organoids have a mature epidermis that is indistinguishable from that of a tadpole [1], including a fully differentiated epithelium [2], mucus-secreting goblet cells [3], multiciliated cells [4], and small secretory cells [5].

    - LAB MEDIA: Figure 1 C.

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the keratin images.

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the ITNL images.

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the acetylated tubulin images.

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the PNA images.

  - The dynamics of organoid development were followed by live imaging. To examine the epithelialization that emerges at the early stage of organoid formation [1], the embryos were labeled with fluorescently tagged tight junction proteins [2] and membrane localizing proteins [3].

    - LAB MEDIA: Figure 2 B.

    - LAB MEDIA: Figure 2 B. Video Editor: Emphasize the ZO-1-RFP images.

    - LAB MEDIA: Figure 2 B. Video Editor: Emphasize the mem-GFP images.

  - With dual-labeling, the sequential steps of ZO-1-positive tight junction formation can be marked and quantitatively analyzed during epithelialization. Some regions of cell-cell adhesion have scattered puncta of ZO-1 at different stages of epithelialization [1].

    - LAB MEDIA: Figure 2 B. Video Editor: Emphasize the green arrows on the ZO-1-RFP images.

  - In contrast, other areas have fully assembled, contiguous ZO-1 expression [1]. Over time, the puncta coalesce and connect to form contiguous tight junctions, which maintain their morphology even during cell division [2].

    - LAB MEDIA: Figure 2 B. Video Editor: Emphasize the yellow arrows on the ZO-1-RFP images.

    - LAB MEDIA: Figure 2 B.

  - As the tight junctions mature, cells dynamically move in and out of the surface along the apical planes of the organoids. Multi-scale analysis is possible by tracking cells spatiotemporally on the surface of differentiating organoids [1].

    - LAB MEDIA: Figure 2 C and D.

# Conclusion

- Conclusion Interview Statements

  - Hae Jin Kang : When attempting this protocol, remember to put the dark pigmented side facing up for the isolated animal caps and to monitor the tissue under the stereoscope. It is critical to separate the superficial layer of the animal cap at the right timing in calcium magnesium free DFA.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.6.1, 2.6.2, 2.7.1.

  - Hye Young Kim: We used this floating culture organoid method in combination with mechanical testing to discover that tissue mechanics can drive regeneration of the goblet cell precursors. This simple protocol offers handy ways to study dynamic cell behaviors as well as molecular and physical mechanisms regulating the mucociliary epithelium.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.