Screenshot 61605_2.3.3

- (TIRF settings being activated) 00:01 – 00:03

Screenshot 61605_2.4.1

- (Frames, laser powers, and gain level being set) 00:01 – 00:19

Screenshot 61605_2.5.1

- (Laser illumination being selected, then target cell being selected)  00:01 – 00:11

Screenshot 61605_3.1.2

- (Laser power being increased) 00:01 – 00:08

Screenshot 61605_3.2.1

- (Cell being bleached) 00:01 – 00:07

Screenshot 61605_3.3.1

- (Gain being increased, then imaging being initiated) 00:01 – 00:08

Screenshot 61605_4.1.2

- (Plugin being opened) 00:01 – 00:10

Screenshot 61605_4.2.1

- (Run analysis and Camera setup being selected) 00:01 – 00:12

Screenshot 61605_4.3.1

- (Pixel size and EM gain being entered) 00:01 – 00:13

Screenshot 61605_4.4.1

- (Parameters being set) 00:01 – 00:27

Screenshot 61605_5.1.2

- (ROI being selected) 00:01 – 00:13

Screenshot 61605_5.2.1

- (ROI being added to filter, then & uncertainty <24 being added to ROI values) 00:01 – 00:16

Screenshot 61605_5.3.1

- (Tab being opened, threshold distance being entered) 00:01 – 00:11

Screenshot 61605_5.4.1

- (Tab being selected, then maximum distance, frames per molecule, and off frames being set) 00:01 – 00:14

Screenshot 61605_5.5.1

- (Tab being opened, cross correlation being selected, then number of bins and magnification being set) 00:01 – 00:14

Screenshot 61605_5.6.1

- (Image being saved and exported) 00:01 – 00:19

Screenshot 61605_6.1.2

- (Line being drawn) 00:01 – 00:08

Screenshot 61605_6.2.1

- (Plot profile being selected, then length being acquired) 00:01 – 00:21

Screenshot 61605_6.3.1

- (Image being converted, then plugin being opened) 00:01 – 00:09

Screenshot 61605_6.4.1

- (Parameters being set) 00:01 – 00:10

Screenshot 61605_6.5.1

- (Estimate width, extend line, and display results being selected) 00:01 – 00:08

Screenshot 61605_6.6.1

- (Ok being clicked) 00:01 – 00:03