- 61609_screenshot_1

  - 3.3.2 (Open Imaging Wizard, Select Bioluminescence, Click Next.) 00:00 – 00:07.

  - 3.4.1 (Select Open Filter, Click Next. Check that Mouse, Photograph/Luminescent, C – 13.2 cm field of view, and subject height 1.50 cm are in use, Click Next. Click Add to add another wavelength in the emission filter. Highlight wavelength and change it to 500 nm, Click Update. Repeat for 520, 560, 580, 600, and 620 nm wavelengths. Imaging can begin after this step.) 00:08 – 01:15.