Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

We corrected the spelling and grammar errors still present in the manuscript.

• Protocol Language: Please ensure that ALL text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Examples NOT in the imperative: 1.3,-1.4.3

We ensured that all text protocol is in the imperative form.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please ensure that all specific details (e.g. button clicks for software actions, numerical values for settings, etc) have been added to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Please limit protocol length to 10 pages.

The protocol is limited to 10 pages.

• Protocol Numbering: All steps should be lined up at the left margin with no indentations. There must also be a one-line space between each protocol step.

The protocol has been revised accordingly.

• Protocol Highlight: After you have made all of the recommended changes to your protocol (listed above), please re-evaluate the length of your protocol section. There is a 10-page limit for the protocol text, and a 3- page limit for filmable content. If your protocol is longer than 3 pages, please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.
1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.
2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.
3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.
4) Notes cannot be filmed and should be excluded from highlighting.
5) Please bear in mind that software steps without a graphical user interface/calculations/ command line scripting cannot be filmed.

The protocol has been revised accordingly.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We made sure that the discussion follows this structure

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Figures and tables of the present manuscript are original.

Reviewer #1:
Manuscript Summary:
Overall, the protocol is succinct and largely useful to understand FLIM FRET. Sufficient background is given to understand the scope of the protocol. However, key pieces of information are missing from the protocol that would allow it to practically benefit a wider community.

We thank reviewer #1 for taking the time to review our manuscript, for providing generous feedback and for understanding the usefulness of our protocol for the FRET/FLIM community.

Major Concerns:
1. Even though the AURKA FRET biosensor has been tested before, in 1.3 or other appropriate sections, please either describe only the use of the demonstrated FRET pairs, or inform readers that FRET biosensor activity increases or decreases depending on both distance and orientation changes and hence the choice of the FRET pair.

We see the reviewer’s point on this particular aspect. To homogenise this protocol with the previous versions of our biosensors, we replaced the mTurquoise2/mNeonGreen pair with the mEGFP/mCherry one in Figure 1 of the revised version of the manuscript. This corresponds to our first version of our biosensor (see Bertolin et al, Nat Comm. 2016). Accordingly, we amended the protocol to account for this change (Lines 163, 166, 172, 178, and Results section). To help the reader to familiarize with this first version of the AURKA biosensor, we modified Fig. 4 and we added representative pictures and the corresponding DLifetime quantification of GFP-AURKA and of GFP-AURKA-mCherry in panel A. In the same panel, we also show the behavior of the biosensor upon treatment with MLN8237. In the manuscript, we also take advantage of these new pictures and their corresponding quantifications to further underline how the AURKA biosensor must be controlled (see point 2 of the present Response). We hope that the reviewer will be satisfied with these changes.

2. Donor only control is insufficient. Static, kinase-dead or chemical inhibition control is necessary to establish the validity of each FRET pair. While this is performed in Fig. 4, this experimental design should be clearly rationalized and emphasized.

We agree with the reviewer that a kinase-dead construct and/or AURKA inhibitors as MLN8237 are required to validate each (new) version of the AURKA biosensor. Although the need for these controls is already mentioned in the original version of the manuscript (point 2.5.1), we agree on the fact that the rationale of such controls should be made clearer to the readers. In light of the reviewer’s comment, we emphasized this point in the revised version of the manuscript (Lines 221-226). We now describe the use of MLN8237 more thoroughly in the manuscript (Lines 319-327; 385-390), and we added representative pictures and quantifications of DMSO versus MLN8237-treated cells in the revised Fig.4A. We hope that the reviewer will deem these new elements sufficient.

3. Cell cycle synchronization efficiency must be high to retain statistical significance in subsequent quantitation. Thus in 2.6, please detail what observations would help identify issues in synchronization efficiency.

We agree with the reviewer that synchronisation efficiency is a significant parameter to monitor, as it can vary among cell types. Following his/her comment, we now suggest the reader to verify this parameter using flow cytometry approaches prior to FRET/FLIM analyses (Lines 246-250).

4. In 2.7.3, please indicate whether pH indicators in the medium will affect FLIM imaging results.

We thank the reviewer for bringing this point to our attention! We agree that it is very important to state in the manuscript that substances in the cell medium as pH indicators and serum components as riboflavin could affect lifetime values, as they are a source of autofluorescence. Therefore, it is preferable to use imaging media that lack additives as phenol red or specific components to eliminate potential sources of unwanted fluorescence that could perturb FLIM values. These considerations are now present in the revised version of the manuscript (Lines 262-264).

5. The purpose of this article is to permit reliable FLIM AURKA biosensing on many platforms. While figures of a proprietary interface is helpful, it is not available to all. The use of ImageJ/Fiji macros without basic understanding should also not be encouraged. Please make every effort to describe the algorithms behind the software (binning, common fitting methods, etc) so readers can assess and perform calculations properly.

We thank the reviewer for his/her suggestion, and for helping us to broaden the impact of our FLIM calculation setup and method. A more detailed explanation is now available in the revised version of the manuscript, lines 281-288. In brief, the “is made of a spinning-disk microscope with a white laser for pulsed excitation, and a high-rate time-gated intensifier in front of the camera. Temporal gates of 2 nsec in a time window of 10 nsec are sequentially used to obtain a stack of five time-gated images. These images are then used to calculate the pixel-by-pixel mean fluorescence lifetime according to the following equation: τ= ΣΔti∙Ii/ΣIi, where Δti corresponds to the delay time of the of the ith gate while I indicates the pixel-by-pixel time-gated intensity image. This method ensures rapid FLIM measurements: no fitting or binning steps are required, and lifetime can be calculated in an online mode, with minimal photon budget”. We also added two additional references in the manuscript for a more detailed understating of our method.

6. In 3.4, the brief mentioning of exposure time is insufficient, as it does not consider other microscope set up regarding gain, camera sensitivity, or other settings. Please revise. Please add observations and methods to identify characteristic photobleaching time scale to avoid unintended effects in FLIM datasets.

We agree with the reviewer that users should be able to detect photobleaching events potentially affecting FLIM datasets. On the Inscoper setup, the user needs to monitor the fluorescence intensity of five images issued from the first gate. If no variations are observed/calculated, the user can autonomously assess the absence of photobleaching during the acquisition. This is now available in the revised version of the manuscript, lines 301-306.	

7. Fig. 4 C/D are redundant. Please either add control to D, or add statistical significance to C.

We thank the reviewer for his/her considerations. We believe that the two graphs deliver a different message. On one hand, C is needed to appreciate the differences between a donor-only construct and biosensors, and statistical significance is present to help the reader on data interpretation. On the other hand, D is needed to appreciate the differences between normal and kinase-dead biosensors carrying two different donor/acceptor pairs. Following up on the reviewers’ comments concerning the importance of different types of controls to validate any new AURKA biosensor (see point 2 of the present response and lines 221-226 of the revised version of the manuscript), we believe that both graphs are needed to better illustrate what parameters the end-user should take into account. Of note, the C/D panels of the revised Fig. 4 are now fused to panels B and C, respectively.

8. In 4.5, the authors should address the additional considerations directly relevant to AURKA instead of posing open-ended questions.

Following up on the previous comment and on data presented in Fig. 4, we believe that our open-ended questions allow users to perform a “checklist” with the key parameters needed to interpret the behaviour of the AURKA biosensor(s) in their hands. Such checklist aims at assessing the efficiency of new variants of the AURKA biosensor, or to confirm that of the existing ones. Therefore, we believe that these considerations are important in a protocol manuscript as those published by JoVE. To further underline the importance of this point for us, we removed the “If pertinent” formulation at the beginning of paragraph 4.5 (Line 370).

9. The authors describe multiplexing FRET biosensors as a challenging (P.9-10), which is inaccurate. There are published methods to multiplex 3 or more FRET biosensors. The authors should cite additional references to directly reflect the current state of development and suggest ways that the current protocol can interact with these works.

Again, we thank the reviewer for bringing this specific point to our attention! We agree on the fact that robust techniques exist for multiplexing FRET biosensors, and that multiplex approaches start to be used by an increasing number of teams. In these terms, we agree that “challenging” is an inappropriate word, and we modified it in the revised version of the manuscript with “A future perspective in the field of AURKA” (lines 491-492). We also added some perspective to the use of 3 biosensors for multiplexing AURKA functions (lines 497-501), as well as an additional reference.

10. The authors should describe biological drawbacks and limitations of the approach, especially in terms of the over-expression of a key, active kinase.

We thank the reviewer for his/her comment. We agree on the fact that caution should be exercised when massively overexpressing the AURKA biosensor. Considerations on the pertinence and/or limitation of a massive overexpression versus a physiological-like expression of the AURKA biosensor are present in lines 478-489 of the manuscript. We hope that these elements will be deemed sufficient by the reviewer. 

Minor Concerns:
1. Please remove the typo: - which can reach acidic pH - ","; p. 9.

We thank the reviewer for detecting this typo, which has been removed in the revised version of the manuscript (line 466).

Reviewer #2: 
Manuscript Summary:
Bertolin el al. studied the AURKA a multifunctional protein in the cell cycle. Its overexpression plays the important role in cancer. They have created a FRET based tool to study the activation and inactivation process of AURKA. The work is well planned and the fluorescence technology along with fluorescent probes became efficient way to study physiology activities. This paper reported fluorescent probe and it can be accepted after minor revision:

We thank Reviewer #2 for taking the time to evaluate our manuscript, and for his/her encouraging and positive comments concerning the structure of the manuscript and the efficiency of our method.

Minor Concerns:
1. At page no. 2-3, strategy of choosing the donor/acceptor pair details is useless. Just give in brief.
2. At page no 3, verifying of spectral properties of FRET is in excess. Shorten it.
3. At page no 5-6 FRET-FLIM protocol is too much. Give briefly only.

We thank the reviewer for providing suggestions on how to improve the flow of our manuscript. We agree that experimented users could find the choice strategy for donor/acceptor pairs, spectral properties of fluorophores and an in-depth FRET/FLIM protocol somehow excessive. However, we believe that readers with a low experience in FRET/FLIM analyses would benefit from a more thorough description of these key parameters. We also believe that these considerations are important in a protocol manuscript as those published by JoVE, which aims at providing step-by-step instructions on how to perform cutting-edge experiments and how to make them available to a larger community.

4. All figures are very indistinct. Repeat them or depict clearly to get it easy for readers.

We are sorry that figure rendering was of poor quality. We believe that this is due to the PDF conversion at the submission step. We will make sure that the final figures do not show a loss in resolution.

Reviewer #3: 
Manuscript Summary:
In this paper, Bertolin and colleagues set out to develop a novel AURKA FRET biosensor that detects the alteration of protein conformation change by Thr288 autophosphorylation. This FRET biosensor consists of a donner fluorescent protein, an acceptor fluorescent protein, and full-length Aurora kinase A protein. The authors quantified this kinase activity by Fluorescence Lifetime Imaging Microscopy with synchronized U2OS cells under different combinations of fluorescent proteins and kinase-dead mutant. The authors also provided a step-by-step protocol for the design of FRET biosensor and the analysis of Fluorescence Lifetime Imaging Microscopy results.

We thank Reviewer #3 for taking the time to evaluate our manuscript and for providing constructive comments.

Major Concerns:
1. During the activation of AURKA, two-step conformation change has been revealed by structural studies. Is this biosensor able to detect the two-step activation? The authors needed to mention the sensitivity of this biosensor and how much improved from the substate-based biosensor.

We thank the reviewer for this very interesting consideration. It is true that AURKA is known to be activated in a two-step process, which is driven by the AURKA partner TPX2 at mitosis. However, structural data also indicated that AURKA can be activated at the same extent with and without TPX2, meaning that autophosphorylation on Thr288 is sufficient to fully “prime” the kinase for activation (Zorba et al, eLife 2014). We never tried to assess whether the biosensor could also report on the second conformational change induced by TPX2. Therefore, we are unable to comment on its sensitivity concerning the two steps.

In addition, a substrate-based FRET biosensor has been used to detect the activity of AURKB at mitosis (Fuller et al, Nature 2008). Since it relies on a generic consensus sequence shared both by AURKA and AURKB, it can be considered a general reporter of the activity of the AURK family. These two biosensors are not mutually exclusive, but rather detect two distinct events which we find hard to compare: the conformational biosensor detects the activation/priming of AURKA, while the substrate-based one detects its enzymatic activity. We believe that these considerations go beyond the scope of the present protocol.

2. This FRET sensor uses the full-length of Aurora kinase A protein. Is full-length protein required to detect the conformational change? I concerned that the expression of a full-length protein with fluorescent proteins mimics the overexpression of Aurora kinase A protein and interferes with the endogenous cell cycle mechanism.

We agree with the reviewer on his/her concern. Indeed, one of the key parameters in the validation strategy of the AURKA biosensor focused on demonstrating that the biosensor could functionally replace the endogenous protein, and that its response was not interfering with the cell cycle. Indeed, the expression of full-length AURKA under its endogenous promoter rescued mitotic spindle abnormalities, and no cell cycle perturbation was observed (Bertolin et al, Nat Comm, 2016). We further comment on this aspect in lines 482-484 of the present manuscript. 

3. For negative control experiments, has non-phosphorylatable mutant been tested such as T288A? K162M also inhibits the conformation change of target protein (Fig 4), but it was not clear to me the relationships of the autophosphorylation of T288 and K162 from the manuscript.

We thank the reviewer for his/her comment. Although Thr288 is the key residue being phosphorylated in the process of AURKA activation, its mutation into Ala would trigger the phosphorylation of Thr287. With this nearby residue modified, AURKA is activated to the same extent as when Thr288 is phosphorylated. Therefore, a Thr288Ala mutant would not abolish AURKA activation. On the contrary, a Lys162Met mutation induces the disruption of a salt bridge normally established between Lys162 and Glu181, which results in a stable opening of the kinetic pocket of the kinase and which triggers its overall inactivation (Nowakowski et al, Structure 2002). This point has been partially introduced in the Results section (Lines 385-390). 

Minor Concerns:
Figure 1
1. What is the Y-axis?

These spectra are issued from the FP base website, where the Y axis is the intensity normalised to 1.

2. Why is the peak of mNeonGreen EM lower than others?

The peak of mNeonGreen is lower than the others because the fluorophore emission is extremely low with a 440-nm laser. This is the same for mCherry in the new Fig. 1 of the revised version of the manuscript. As the donor lifetime is the only key parameter in FRET/FLIM analyses, the wavelength used to measure it must be optimal for this fluorescent moiety. Its suitability for the emission of the acceptor is not mandatory.

Protocol 1.3.2
1. mNeon2 → mNeonGreen?

We thank the reviewer for detecting this typo, which has now been corrected.

Figure 4A, 4B
1. "After synchronizing cells in G2/M and releasing them into mitosis, we measured the lifetime of all the transfected constructs at the mitotic spindle (Figure 4). Of note, this structure was considered as a whole, and no ROIs within the spindle were analyzed."
What kind of criteria (image processing thresholding) did the authors use to plot ΔLifetime? It looks the only bright area was used to measure ΔLifetime.

We thank the reviewer for this important point. The Inscoper solution allows to calculate donor lifetime values only if the fluorescence intensity of the first gate is above 3000 gray levels (lines 307-310 of the revised version of the manuscript). This imaging parameter often takes into account both the spindle and the cytosol, and this is particularly true for the K162M mutant which shows a more intense fluorescence in the cytosol (see comment below for further details). As stated in the manuscript, the user can (i) analyse lifetime values on the entire cell and regardless of the subcellular localisation of AURKA, or (ii) draw ROIs on selected areas. In the case of the mitotic spindle, we drew a ROI on the entire mitotic spindle and we extracted its lifetime values.

2. In Fig 4B middle and bottom panel, the FRET sensor is distributed almost evenly in the cell. Does bipolar spindle form correctly inside the cell or K162M mutant lost the binding ability to the spindle?

We agree with the reviewer that the K162M mutant has a different subcellular distribution compared to the normal protein. In the case of AURKA, the expression of this mutation induces monopolar or multipolar mitotic spindles, which are incapable of performing a correct cell division. In either case, the kinase does not localize correctly to this structure, and it is found to be more abundant in the cytosol. A similar phenotype is retrieved upon treatment with MLN8237. We agree with the reviewer that this is an important element to point out, and we now detail this feature in the protocol as a piece of information to the end-user in terms of treatment efficacy or of transfection efficiency (Lines 325-327).