Editorial comments:

Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

2. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points.

Done

3. Please provide an email address for each author.

Done

4. Please define all abbreviations during the first-time use.

Done

5. Please ensure that the long Abstract is within 150-300-word limit and clearly states the goal of the protocol.

Done

6. JoVE cannot publish manuscripts containing commercial language. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.

Done

For example: Teflon, MilliQ, Shaefer slide, Zeiss, N.A 1.4, Biobeads, etc.

Shaefer slide is not a commercial; it refers to the glass slide used in Langmuir-Schaefer transfer. Others are corrected.

7. Please reword 612-615, 179-182, 206-209 as it matches with previously published literature.

The sentence has been rephrased.

8. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.”

Corrected accordingly.

9. The Protocol should contain only action items that direct the reader to do something. Please use complete sentences to describe the action.

Corrected accordingly.

10. Please ensure that individual steps of the protocol should only contain 2-3 actions sentences per step.

Corrected accordingly.

11. Please ensure you answer the “how” question, i.e., how is the step performed? For this please include mechanical actions, button clicks in the software, knob turns in the instrument, command lines, etc. If using long scripts please include as a supplementary file.

More details have been added accordingly.

12. There is a 10-page limit for the Protocol, but there is a 2.75-page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.

The filmable content has been highlighted.

13. Please do not make points in the representative result section. Please use paragraph style instead. Please ensure the results are described in the context of the presented technique. You performed an experiment: how did it help you to conclude what you wanted to and how is it in line with the title.
14. Each Figure Legend should include a title and a short description of the data presented in the Figure and relevant symbols.

Done.

15. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

The images, in fact, are not the same data. Copyright permission is not required.

16. As we are a methods journal, please ensure that the Discussion explicitly cover the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the technique

Thank you, the concerns have been addressed.

17. Please remove trademark (™) and registered (®) symbols from the Table of Equipment and Materials and sort the table in alphabetical order.

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The method described in this manuscript prepares a model system that can be used to study the fusion of the inner mitochondrial membrane, and perhaps other similar systems. The procedure is detailed and complete (other than a few minor details noted below) but is tedious and requires special equipment that is less common, but available. The authors clearly have gone to a lot of work to develop a working system and the fact that the procedure is tedious should not detract from this novel development.

Major Concerns:
None

Minor Concerns:
1. In Protocol 1.2 the lipids add up to just 98 mol%. This could be due to rounding, but appears that the authors have left out the fluorescent lipids which are likely 2 mol%.

The corresponding information of fluorescent lipid was added to the protocol.

2. Line 97, "hydrochloride" presumably means "hydrochloric acid"

Corrected

3. Line 110, do the authors really mean the cover slip was raised at 22 mm/sec. That seems fast.

Thank you for noticing the error. The speed should be 22mm/min. It has been corrected.

4. Line 128, there seems to be something missing after the work "using", presumable the type or wavelength of the lamp used to photo bleach.

Corrected.

5. Line 140, it is odd to list the concentration of DDM in "nM" but then list the I-Opa1 in "mol".

Units are adjusted.

6. Line 142, Biobeads are 30 micrograms or 30 milligrams?

Corrected.

7. Line 150, "1.5mol NaOH solution" should probably be in mmoles or mM.

High concentration of calcien can only be dissolved in extremely basic buffer. There are many ways of making a quenched calcien solution. Diluting 1.5M NaOH solution is the way it was done in these experiment.

8. Line 159, "Fig 4" should be "Fig 5"

Corrected.

9. Line 205, "Fig 5B" should be "Fig 5C"

Corrected.

10. Line 206, it seems excessive to list diffusion coefficient with 2 decimal places, when the error is 1000x more (22.27).

Thank you, the data has been adjusted.

11. Line 210, "Fig 3C" should be "Fig 5B"

Corrected.

12. In Figure 4, it is not clear why panel A and F fill the full image, but panels B-E are circular.

The figures are now adjusted.

13. In Figure 5C, the black line is not labeled. Also, the graph would be improved if the scale were changed to show more clearly the important area (which I assume is the increase in size seen in the green trace between 300 and 700 nm). Nothing above 1000 nm is visible.
Thanks, the figure has been adjusted.

Reviewer #2:
Manuscript Summary:
This is an intriguing and quite comprehensive manuscript about the model membrane platform for reconstituting mitochondrial membrane proteins. Please see some minor comments below:
- There may be a typo in Page 1, line 87 Mix lipid to into solution A (final concentration 1 mg/ml) that contains…

Thank you. This has been corrected.

- It will be helpful to the reader to write in details how this solution was prepared. Page 2 97 2. Methanol saturated with sodium hydroxide.

The information was added.

- Desalting column is Figure 5 not 4. It will be in the right order to relabel Figures 4 and 5 and make the appropriate changes throughout the text. Page 3 159 4.5 Remove extra Calcein using a PD-10 desalting column (Fig 4).

Corrected.

- I believe the figure is mislabeled here as well. Page 4 lane 210 copies of l-Opa1 is reconstituted in one liposome (Fig. 3C).

Corrected.

- Can authors expand on this? Page 5. Lane 226 Calcein intensity can be tracked in a time-dependent manner to provide quantitative detail for the efficiency and kinetics of membrane fusion [36].

The intensity tracking has been described in the reference. It is outside the scope of this protocol.

- Can authors describe on how and if they could control the orientation of reconstituted protein into the lipid bilayers or liposomes.

So far, we don’t have a solid way to control the orientation of the reconstituted transmembrane protein. The orientation is dependent on the protein structure and surfactant that apply. This has been noted in the text.

- It is not clear why s-OPA1 was used for the titration experiments. Page 3. Authors should expand on this.

Thanks, this information has been added.