# Submission ID #:  61631

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18797503

# Title:   Visualization of Pseudomonas aeruginosa within the Sputum of Cystic Fibrosis Patients

# Authors and Affiliations:

# Lindsay Jackson1, William DePas2, Amanda Morris1, Kevin Guttman1, Yvonne C W Yau1,3, Valerie Waters1,4

# 1Translational Medicine, Hospital for Sick Children, Toronto, Canada

# 2Center for Microbial Pathogenesis, Department of Pediatrics, University of Pittsburgh, Pennsylvania, United States

# 3Microbiology, Department of Pediatric Laboratory Medicine, Hospital for Sick Children, Toronto, Canada

# 4Infectious Diseases, Department of Pediatrics, Hospital for Sick Children, Toronto, Canada

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Lindsay Jackson	(Lindsay.Jackson@sickkids.ca)

# Email Addresses for All Authors:

w.depas@pitt.edu

Amanda.morris@sickkids.ca

kevin.guttman@sickkids.ca

Yvonne.yau@sickkids.ca

# Valerie.waters@sickkids.ca

# Lindsay.Jackson@sickkids.ca

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  42

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the Research Ethics Board (REB) at the Hospital for Sick Children.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Sputum Collection

  - Store the expectorated sputum in a sterile collection cup at 4 degrees Celsius for a maximum of 24 hours prior to fixation [1]. When ready to fix the samples, transfer them to a sterile 15-milliliter tube [2] and add an equal volume of 4% PFA [3], then incubate the sputum overnight at 4 degrees Celsius [4].

    - WIDE: Establishing shot of talent taking samples out of the refrigerator.

    - Talent transferring the sample to a 15mL tube.

    - Talent adding PFA to the sample, with the PFA container in the shot.

    - Talent putting the sample back in the refrigerator and closing the door. Videographer: Obtain multiple usable takes, this will be reused in 2.2.4.

  - Wash the samples by adding 5 milliliters of PBS for every 2 milliliters of fixed sputum [1]. Carefully remove the supernatant with a pipette and repeat the wash 2 more times [2]. Resuspend the pellet in twice the volume of PBS with 0.01% sodium azide [3] and store it at 4 degrees Celsius [4].

    - Talent adding PBS to the sample.

    - Talent removing supernatant.

    - Talent resuspending the sample.

    - Use 2.1.4.

- MiPACT Processing of Sputum

  - Add 2 milliliters of a 30% 29 to 1 acrylamide-bis-acrylamide solution to a 15-milliliter tube with the cap off inside a sealed anaerobic container [1]. Then, add 0.5 grams of hardener to 5 milliliters of PBS in a 15-milliliter tube [2], leave the cap off the tube, and store it in the sealed anaerobic container [3].

    - Talent adding acrylamide-bis-acrylamide to a tube in the anaerobic container.

    - Talent adding hardener to PBS.

    - Talent putting the hardener/PBS tube in the anaerobic container with the cap off.

  - Leave a few milliliters of sterile PBS in a tube, with the cap off, inside the anaerobic container [1]. Degas the hydrogel components in the sealed container with an anaerobic pack for 72 hours [2].

    - Talent putting a tube with PBS in the anaerobic container, with the cap off.

    - Sealed container with the hydrogel components.

  - Make a 5-milliliter solution of hydrogel with a final concentration of 0.2% hardener and 4% acrylamide-bis-acrylamide in PBS in a 15-milliliter tube [1]. Mix the hydrogel by inversion and filter sterilize it [2].

    - Talent putting together the hydrogel solution and inverting it to mix.

    - Talent filter sterilizing the solution.

  - Cut the sputum samples into 2 small sections with a scalpel [1], then place each sample in a well of an 8-chambered coverglass slide [2]. Add 300 microliters of the filter sterilized hydrogel solution to each well that contains sputum [3] and place it inside a sealed container with an anaerobic pack for 3 hours at 37 degrees Celsius [4].

    - Talent cutting the sputum sample.

    - Talent placing the sample pieces in the well of a slide.

    - Talent adding hydrogel to the sputum.

    - Talent putting the container with the coverglass and anaerobic pack in the incubator and closing the door.

  - Transfer the solidified hydrogel sputum samples to a 15-milliliter culture tube with 5 milliliters of 8% SDS at pH 8 [1] and allow the samples to clear for 3 to 14 days at 37 degrees Celsius [2] until the sputum becomes transparent [3].

    - Talent transferring the hydrogel to the culture tube.

    - Talent putting the tubes in the incubator and closing the door.

    - Tube with transparent sputum.

  - Use sterile tweezers to transfer each hydrogel-embedded sample to a 50-milliliter conical tube [1] and add 10 milliliters of PBS to wash the hydrogel [2]. Let the solution sit for 30 to 60 minutes before decanting, then repeat the wash 2 more times [3].

    - Talent transferring a hydrogel sample to a 50mL tube.

    - Talent adding PBS to the tube, with the PBS container in the shot.

    - Talent decanting the solution.

  - Store the washed samples in PBS with 0.01% sodium azide and RNase inhibitor at 4 degrees Celsius [1].

    - Talent putting the samples in the refrigerator and closing the door.

- Hydrogel Fluorescent in situ Hybridization (FISH) Protocol

  - Remove the hydrogel samples from their storage solution with tweezers and place the samples on a sterile surface [1]. Use a sterile scalpel to cut the hydrogels into approximately 1-millimeter thick slices [2] and place the sections into 1.5-milliliter tubes [3].

    - Talent transferring the samples from the storage tube to a sterile surface.

    - Talent cutting the hydrogel.

    - Talent placing the sections in tubes.

  - Prepare 1 milliliter of hybridization buffer in a 1.5-milliliter tube, then add the fluorescently labeled PseaerA probe and mix by inversion [1]. Add 200 to 500 microliters of hybridization buffer to each section, making sure that the entirety of the hydrogel sample is submerged [2]. Authors: How do you pronounce PseaerA?

    - Talent adding the probe to the hybridization buffer.

    - Talent adding the hybridization buffer to a sample.

  - Allow the PseaerA probe to hybridize with the hydrogel samples by placing them in the dark for approximately 18 to 24 hours at 46 degrees Celsius without shaking [1]. Then, add 1 milliliter of fresh wash buffer to the tubes [2] and incubate them in the dark for 6 hours at 48 degrees Celsius [3].

    - Talent putting the samples in the incubator and closing the door. Videographer: Obtain multiple usable takes, this will be reused in 4.3.3.

    - Talent adding fresh buffer to a tube.

    - Use 4.3.1.

  - Add 500 microliters of the 2% BSA in PBS to the hydrogel samples to block non-specific protein binding [1]. Then, incubate the samples overnight in the dark [2].

    - Talent adding the BSA solution to the hydrogel.

    - Talent placing the samples to incubate in a dark place. Videographer: Obtain multiple usable takes, this will be reused in 2.2.4.

  - On the next day, prepare the Psl0096-Texas Red (pronounce ‘P-S-L-0-0-9-6-Texas-red’) antibody solution by diluting the antibody to a final concentration of 0.112 micrograms per milliliter in 500 microliters of fresh 2% BSA in PBS [1]. Add the antibody solution to the hydrogel samples and incubate them in the dark for 6 hours [2].

    - Talent preparing the Psl0096-Texas Red solution.

    - Talent adding the solution to a hydrogel sample.

  - Next, stain the hydrogel samples with DAPI by incubating them with 250 microliters of RIMS solution and 10 micrograms per milliliter of DAPI [1] overnight, in the dark with gentle shaking [2].

    - Talent adding DAPI solution to a hydrogel sample.

    - Talent putting the samples on a shaker to incubate.

  - After staining, mount the samples onto 0.9 or 1.7-millimeter perfusion chambers and seal them with a glass coverslip [1]. Perform confocal laser scanning microscopy with 25, 40, 63, or 100 X magnifications [2].

    - Talent mounting the sample.

    - Talent using the microscope.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Immunofluorescence Images of Hydrogel Matrix-embedded Sputum Samples Collected from a Patient with an Early P. aeruginosa Infection

  - This protocol was used to obtain high resolution 3D images of P. aeruginosa cells and their in-situ structure within sputum [1]. An aggregate of cells within a sputum sample is shown here [2]. Individual rod-shapes were seen in green from the species-specific binding of the PseaerA-488 probe to P. aeruginosa cells [3].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3 A.

    - LAB MEDIA: Figure 3 B.

  - The Psl0096-Texas Red (pronounce ‘P-S-L-0-0-9-6-Texas-red’) antibody shows that the pseudomonal exopolysaccharide within the sputum was mostly overlapping with the P. aeruginosa cells [1]. Authors: Is the pronunciation correct?

    - LAB MEDIA: Figure 3 C.

  - This method can also be used for the visualization of pseudomonal cells within the sputum in relation to other bacterial cells and host structures [1]. A cluster of P. aeruginosa cells was seen phagocytosed within a eukaryotic cell, while other small coccal cell clusters were observed in the vicinity.

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize the blue and green nucleus in the middle.

  - It has also been demonstrated that the Psl0096 antibody can bind to Psl (‘P-S-L’) produced form planktonic P. aeruginosa [1].

    - LAB MEDIA: Supplemental Figure 2.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.