Submission ID #: 61644

Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18801468

Title: Halogenated Agent Delivery in Porcine Model of Acute Respiratory Distress Syndrome via an Intensive Care Unit Type Device

Authors and Affiliations: Raiko Blondonnet1,2, Bertille Paquette1,2, Jules Audard1,2, Ridvan Guler1,2, François-Xavier Roman1,2, Ruoyang Zhai2, Corinne Belville2, Loïc Blanchon2, Thomas Godet1, Emmanuel Futier1,2, Jean-Etienne Bazin1, Jean-Michel Constantin3, Vincent Sapin2,4, and Matthieu Jabaudon1,2,5

1Department of Perioperative Medicine, CHU Clermont-Ferrand, Clermont-Ferrand, France

2Université Clermont Auvergne, GReD, CNRS, INSERM

3Sorbonne University, GRC 29, AP-HP, DMU DREAM, Department of Anesthesiology and Critical Care, Pitié-Salpêtrière Hospital

4Department of Biochemistry and Molecular Genetics, CHU Clermont-Ferrand

5Division of Allergy, Pulmonary, and Critical Care Medicine, Vanderbilt University Medical Center

x   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

Corresponding Author:

Raiko Blondonnet

rblondonnet@chu-clermontferrand.fr

Co-Authors:

bpaquette@chu-clermontferrand.fr

jaudard@chu-clermontferrand.fr

rguler@chu-clermontferrand.fr

fxroman@chu-clermontferrand.fr

ruoyang.zhai@uca.fr

corinne.belville@uca.fr

loic.blanchon@uca.fr

tgodet@chu-clermontferrand.fr

efutier@chu-clermontferrand.fr

jebazin@chu-clermontferrand.fr

jean-michel.constantin@aphp.fr

vsapin@chu-clermontferrand.fr

mjabaudon@chu-clermontferrand.fr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

x 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   NO

If Yes, how far apart are the locations?

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 49

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

Raiko BLONDONNET: This model can help improve our understanding of the mechanisms involved in lung injury and to test halogenated agents as potential novel therapies for acute respiratory distress syndrome, a frequent and morbid condition in critically ill patients.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

Matthieu Jabaudon: The main advantage of this technique is that halogenated agents are delivered by an anesthetic conserving device, such as those used in ICU patients.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

Matthieu Jabaudon: Our technique uses a clinically relevant device to deliver inhaled ICU sedation, thus allowing novel translational approaches to the study of the effects of halogenated agents in ARDS.

In addition to the advantage

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? x Yes

Has any author been assigned more than two statements? x No

Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Animal Ethics Committee of the French Ministère de l’Education Nationale, de l’Enseignement Supérieur et de la Recherche (approval number 01505.03) before being registered at preclinicaltrials.eu (Pre-clinical registry identifier PCTE0000129)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Animal Preparation

  - After confirming a lack of response to pedal reflex in a 2-4-month old, 10-15-kilogram, white, male, Landrace piglet [1-TXT], use surgical exposure of the right internal jugular vein and the Seldinger method to insert a 3-lumen catheter into the vessel for central venous access [2].

    - WIDE: Talent checking pedal reflex Videographer: More Talent than pig in shot TEXT: Anesthesia: propofol 3 mg/kg + sufentanil 0.3 micrograms/kg i.v.

    - Catheter being inserted

  - Make a cutaneous midline incision on the ventral aspect of the neck, 2 cm lateral from the trachea. Use surgical forceps to dissect the tissues  After using an 18-gauge needle to make a puncture in the internal jugular vein in a craniocaudal direction, insert a 60-centimeter piece of 0.81-millimeter-diameter “J” guidewire through the needle [1] and quickly but carefully replace the needle with a venous catheter with three lines along the guidewire [2] and remove the guidewire while keeping the catheter in place [1].

    - Shot of needle, then guidewire being inserted through needle

    - Needle being removed/catheter being placed

  - Then, with the right forelimb of the piglet in extension, make a cutaneous incision on the right groin area of the piglet [1] and use surgical forceps to dissect the subcutaneous and muscular tissues [2].

    - Incision being made

Tissue being dissected

  - Use surgical exposure of the right femoral artery and the Seldinger method to insert a 20-centimeter, a 3-5-French thermodilution catheter as an arterial line [2].

    - Guidewire being removed

    - Catheter being inserted

- Acid-Induced Acute Lung Injury

  - For acid-induced acute lung injury, using the anatomical landmark of the last segment of the sternum [1], measure the distance between the tip of the endotracheal tube and the carina of the piglet [2].

    - WIDE: Talent identifying landmark Videographer: More Talent than pig in shot

    - Distance being measured

  - Use a black pen to mark this distance on a size 14 suction catheter [1] and insert the catheter through the endotracheal tube up to the landmark [2].

    - Distance being marked

    - Catheter being inserted

  - Then gently instill 4 milligrams/kilogram of 0.05-molar hydrogen chloric acid through the suction catheter for a period of 3 minutes [1] before removing the catheter [2].

    - Acid being instilled

    - Catheter being removed

- Mechanical Ventilation and Halogenated Anesthetics

  - After removing the catheter, set an intensive care ventilator to deliver volume-controlled ventilation [1] at a tidal volume of 6 milligrams/kilogram, a positive end-expiratory pressure of 5 centimeters of water, and an inspired oxygen fraction of 40% [2].

    - WIDE: Talent setting up ventilator

    - Shot of ventilator settings being set up as narrated/set as narrated

  - Next, attach the appropriate filling adapter to a 250-milliliter bottle of the halogenated agent of interest [1] and attach a 60-milliliter syringe to the adapter [2].

    - Talent attaching adapter to bottle

    - Talent attaching syringe to adapter

  - Turn the bottle upside down [1] and retract the plunger to fill the syringe with the agent [2].

    - Talent turning bottle upside down

    - Plunger being retracted

  - Turn the bottle upright and remove the syringe [1] and place a charcoal filter close to the ventilator [2].

    - Talent removing syringe from upright bottle

    - Talent placing filter to ventilator

  - Remove the protective cap from the charcoal filter [1] and use a flex tube to connect the filter to the expiratory valve of the ventilator [2].

    - Talent removing cap

    - Talent connecting filter to valve

  - Connect an ionomer membrane dryer line to the gas sampling port of an anesthetic conserving device [1] and connect one side of the gas sampling line to the ionomer membrane dryer line [2].

    - Talent connecting line to port

    - Talent connecting sampling line to dryer line

  - Connect the other side of the gas sampling line to the gas analyzer [1] and insert the anesthetic conserving device between the Y-piece of the respiratory circuit and the endotracheal tube [2].

    - Line being connected to analyze

    - Device being inserted

  - Ensure that the anesthetic conserving device is black side-up and is sloped toward the piglet [1] and deliver inhaled sedation through the anesthetic conserving device [2].

    - Talent adjusting device Videographer: More Talent than piglet in shot

    - Talent starting sedation Videographer: More Talent than piglet in shot

  - Place the syringe in the syringe pump [1] and connect the anesthetic agent line to the syringe [2].

    - Talent placing syringe into pump

    - Talent connecting line to syringe

  - Prime the agent line with a 1.5-milliliter bolus of the halogenated agent [1] and set the pump to the appropriate initial pump rate to 3 milliliters per hour of isoflurane or 5 milliliters per hour of sevoflurane [2-TXT].

    - Line being primed with bolus

    - Talent adjusting pump rate

  - Confirm that the gas analyzer displays an expired halogenated agent fraction or equivalent minimal alveolar concentration value greater than zero [1], giving an additional 300-microliter bolus of halogenated agent as necessary [2].

    - Shot of analyzer showing appropriate concentration value

    - Talent giving additional bolus

  - Then adjust the syringe pump rate as necessary to reach the appropriate concentration depending on the minute volume and targeted concentration [1-TXT], continuing to administer the 0.8-1.1 expired sevoflurane or 0.5-0.8 isoflurane fractions throughout the experiment [2].

    - Talent adjusting pump rate TEXT: i.e., 2-7 mL/h = 0.2-0.5% isoflurane; 4-10 mL/h = 0.5-1.4% sevoflurane

    - Talent delivering fraction(s)

- Monitoring

  - Use the external monitor to collect heart rate, blood pressure, and peripheral oxygen saturation measurements [1] and record the tidal volume, respiratory rate, set and auto-positive end-expiratory pressure, compliance of the respiratory system, airway resistance, inspiratory plateau pressure, peak inspiratory pressure, and driving pressure as measured by the ventilator [2].

    - WIDE: Talent checking monitor

    - Shot of measurement readouts

  - Use the Nitrogen Wash In-Wash Out method to calculate the lung functional residual capacity [1] and use the thermal indicator to measure the extravascular water volume of the lungs, cardiac index, and systemic vascular resistance [2].

    - Talent at computer or bench, calculating lung functional residual capacity

    - Shot of thermal indicator output

  - To measure the net alveolar fluid clearance rate, insert a soft 14-French suction catheter through the endotracheal tube into a wedged position in the distal bronchus [1] and apply gentle suction to collect an undiluted pulmonary edema fluid sample [2].

    - Catheter being inserted

    - Suction being applied

For mini bronchoalveolar lavage sampling, instill 50 milliliters of a 0.9% sodium chloride solution into the suction catheter [1] and collect the resulting volume of lavage [2].

    - NaCl being instilled into catheter

    - Sample being collected

  - For blood gas analysis, collect arterial blood gases through the arterial line in a 3-milliliter preset syringe with a Luer-Lok tip at baseline [1] and use a point-of-care blood gas analyzer to immediately measure the acute respiratory distress syndrome-partial pressure of arterial oxygen ratio, partial pressure of carbon dioxide, pH, serum lactate, and serum creatinine levels [2-TXT].

    - Talent collecting gas

    - Talent using analyzer to obtain measurements TEXT: Repeat measurements 1/h/4h after acid instillation

  - At the end of the experiment, harvest the whole lung tissue into alcohol acetified formalin for macro- and histologic tissue analysis [1].

    - Talent placing lung into fixative OR Shot of lung in fixative OR LAB MEDIA: Figure 7

## Protocol Script Questions

Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

3.3

4.1

4.9

4.11

5.3

5.4

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

The probably most difficult aspect of this procedure is described in steps 2.2 and 2.3. Indeed, the placement of both venous and artery catheters is at risk of  wounding the vessels during the puncture, of development of hemorrhagic shock if blood loss is too important, and the animals could ultimately die. Hopefully, our team has a strong experience in large animal models of ARDS and training and preparation are always required to perform these procedures, such as in the piglet model described in this video.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 20e. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Porcine Acute Respiratory Distress Syndrome (ARDS) Evaluation

  - In this representative experiment, a two-way repeated-measures analysis of variance [1] indicated a significant time by group interaction with a detrimental effect of hydrogen chloride-induced ARDS on the acute respiratory distress syndrome-partial pressure of arterial oxygen ratio [2] compared to sham animals without ARDS [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize HCl data line and data bars

    - LAB MEDIA: Figure 3 Video Editor: please emphasize SHAM data line and data bars

  - A significant between-group difference was noted in the undiluted pulmonary edema fluid levels of the total protein 4 hours after mechanical ventilation [1], with an association observed between hydrogen chloride-induced ARDS and increased bronchoalveolar protein levels [2] compared to that observed in sham animals [3].

    - LAB MEDIA: Figure 4 Video Editor: please add/emphasize P<10-4 text

    - LAB MEDIA: Figure 4 Video Editor: please emphasize HCl data bar

    - LAB MEDIA: Figure 4 Video Editor: please emphasize SHAM data bar

  - Two-way repeated-measures analysis of variance also revealed a significant time by group interaction [1] between hydrogen chloride-induced ARDS and increased extravascular lung water [2] compared to sham animals [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize HCl data line

    - LAB MEDIA: Figure 5A Video Editor: please emphasize SHAM data line

  - Cardiac output demonstrated an increased trend in acid-injured animals [1], while systemic vascular resistance values were slightly lower in the hydrogen chloride-induced ARDS group [2].

    - LAB MEDIA: Figures 5B and 5C Video Editor: please emphasize HCl data line in Figure 5B

    - LAB MEDIA: Figures 5B and 5C Video Editor: please emphasize SHAM data line in Figure 5C

  - Four hours after injury, macroscopic lung damage [1], including visible hemorrhage and congestion, can be observed within the red regions of lungs harvested from hydrogen chloride-induced ARDS animals [2] that is absent in untreated piglet lung tissue [3].

    - LAB MEDIA: Figures 7A and 7B

    - LAB MEDIA: Figures 7A and 7B Video Editor: please emphasize white arrows/regions indicated by white arrows

    - LAB MEDIA: Figures 7A and 7B Video Editor: please emphasize Figure 7A image

  - Histologic analysis reveals a greater cellularity within acid-injured lung tissue slices [1] with more areas of atelectasis and increased alveolar disruption, hyaline membranes, protein debris, hemorrhage [2], and alveolar wall thickening [4].

    - LAB MEDIA: Figures 7C and 7D

    - LAB MEDIA: Figures 7C and 7D Video Editor: please emphasize black arrowhead/cells indicated by black arrowhead in Figure 7D

    - LAB MEDIA: Figures 7C and 7D Video Editor: please emphasize white arrow/tissue indicated by white arrow in Figure 7D

    - LAB MEDIA: Figures 7C and 7D Video Editor: please emphasize black arrow/tissue indicated by black arrow in Figure 7D

  - These disruptions are absent in sham samples [1].

    - LAB MEDIA: Figures 7C and 7D Video Editor: please emphasize Figure 7C

Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Raiko BLONDONNET: In addition to administering halogenated volatiles, this model of acid-induced ARDS could be useful in studying specific pathways, such as those involved in lung epithelial injury and its repair.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? x Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.