## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
100X oil objective, N.A. 1.49 | Olympus | UAPON 100XOTIRF
Acryamide/bis (40%, 19:1) | Bio-Rad | 161-0144
Alkaline liquid detergent | Decon | 5332
Aminosilane (N-(2-Aminoethyl)-3-Aminopropyltrimethoxysilane) | UCT Specialties, LLC | A0700
Andor ixon Ultra DU 897V EMCCD | Andor | DU-897U-CSO-#BV
Andor Solis software | Andor |  | For controlling the Andor EMCCD
Band-pass filter | Chroma | 532/640/25
Band-pass filter | Chroma | NF03-405/488/532/635E-25
Biotin-PEG-SVA | Laysan Bio Inc | Biotin-PEG-SVA
Coenzyme A free acid | Prolume | 309-250
Coolterm software |  |  | For controlling the syringe pump
Desktop computer | Dell |  | For controlling the microscope, camera, stage, and pump.
Dichroic mirror | Semrock | R405/488/532/635
Direct-zol RNA microprep 50RNX | Fisher Scientific | NC1139450
Dual-Luciferase Reporter Assay System | Promega | E1910
Epoxy | Devcon | 14250
Firefly luciferin D-Luciferin free acid | Prolume | 306-250
Glacial acetic acid | Fisher Scientific | BP1185500
Hydrogen perioxide | Sigma-Aldrich | 216763-500ML
Immersion oil | Olympus | Z-81226A | Low auto-fluorescence
Luciferase Assay System | Promega | E1500
MEGASCRIPT T7 Transcription Kit | Thermo fisher | AM1334
Methanol | Fisher Scientific | MMX04751
Microscope | Olympus | IX83
Microscope slide | Thermo Scientific | 3048
Monoclonal anti-FLAG M2-Cy3 | Sigma-Aldrich | A9594
mPEG-SVA | Laysan Bio Inc | mPEG-SVA-5000
MS(PEG)4 | Thermo Scientific | 22341
NaCl (5M) | Thermo Scientific | AM9760G
No 1.5 microscope Cover glass | Fisherband | 12-544-C
Olympus Laser, 532nm 100mM | Olympus digital Laser system | CMR-LAS 532nm 100mW
Olympus TirfCtrl software | Olympus |  | For controlling the laser intensity and incident angle
Optical table | TMC vibration control | 63-563 | With vibration isolation
Phenol chloroform isoamyl alcohol mix | Sigma-Aldrich | 77617-100ml
Pierce RNA 3' End Biotinylation Kit | Thermo Scientific | 20160
Potassium hydroxide pellets | Sigma-Aldrich | P1767-500G
Prior motorized XY translation stage | Prior | PS3J100
Prior PriorTest software | Prior |  | For controlling the Prior motorized stage
Recombinant RNasin RNase Inhibitor | Promega | N2515
Stage top Incubator | In vivo scientific (world precision Instruments) | 98710-1 | With a custom built acrylic cage
Staining jar | Fisher Scientific | 08-817
Streptavidin | Thermo Scientific | 43-4301
Sulfuric acid | Fisher Scientific | A300212
SYBR green II | Fisher Scientific | S7564
Syringe | Hamilton | 1725RN
Syringe pump | Harvard apparatus | 55-3333
Tris (1M), pH = 7.0 | Thermo Scientific | AM9850G
Ultrasonic Bath | Branson | CPX1800H
Urea | Sigma-Aldrich | U5378-500G
Vaccinia Capping system | New England Biolabs | M2080S
Zymo-Spin IC Columns | Zymo Research | C1004