Response to the reviewers

Reviewer #1:

1. The true comparison for the CDR method would be horizontal motion-based incubation rather than static incubation. Traditional Western blot is not based on static incubation of reagents and therefore, the comparative study needs to be re-designed. The authors have pointed out in their discussion that both static and rocking shaker are comparable as others have found. However, the authors need to provide evidence of the same in this study.

We appreciate this reviewer’s comment. We agree that there are many ways to incubate membranes with antibodies. For example, membrane and antibody are (1) in a container with or without rocking, (2) in a sealed plastic bag, (3) on a parafilm, and (4) in a roller bottle. Different incubation methods are selected by individual labs, but the volume of diluted antibody is one of the factors considered. Roller-culture apparatus is commonly employed to reduce the volume of solution, but the potential of this technique to overcome MTL and shorten incubation times has not been well characterized.

In this study, we compared 2 methods (incubation on a parafilm vs. incubation in a roller bottle using a hybridization oven). It is clear that use of a roller bottle (CDR method) decreased the required amount of antigen (Fig. 2A) as well as the concentration of antibody (Fig. 2B).

In our previous publication in Journal of Biochemistry, we have shown that there was no difference in the sensitivity between Rocking and Static conditions as supplementary Figure S3, which was cited as reference 6 in our discussion. For your convenience, we provide it as Reviewer’s Figure 1.

2. Authors mention CGS reagent improves/maintains sensitivity of the signal, however, no quantitation has been provided to + CGS and - CGS blots.

Western blot has been used for quantitation purposes, but it is limited to a semi-quantitation with chemiluminescent detection.  We hesitated to show the quantitation of individual bands with chemiluminescence. This is the reason why we loaded different amounts of cell lysates in each lane (Figure 2A) to show the threshold of detection.  Presence of CGS lowered the detection limit in both static and CDR conditions. Further, we showed the increased sensitivity by CGS using slot blot in our previous publication in Journal Biochemistry as Supplementary Figure S2. In this figure, antibody concentration and incubation time were the same to study the effects of CGS and CDR. We provide this as Reviewer’s Figure 2.

Minor Concerns:
1. Line 136; step 4.2 Why not perform the washes within the tube rather than removing the membrane and placing it in a container with 50 ml PBST?

We appreciate this comment. We have already tried several different ways to wash the membrane.  As suggested, one of them was rinsing the membrane in the same 50 ml tube with rotation. We also tried a vortex method where the membrane was transferred to a new 50 ml tube and the tube was vortexed with PBS-T several times for 20 – 30 seconds each. When a larger membrane was used and rinsed with these alternative methods, we had a huge background at the final images. To decrease this background, we had to repeat these washing steps many times. It turned out that this took much longer than a traditional washing method using a container with agitation. In contrast, washing with a much larger volume of PBS-T in a salad spinner was more efficient to reduce the time. However, we mentioned the possibility of using traditional washing steps in the discussion in the case of high background.

2. Figure 2: All the blot data is highly adjusted in terms of background noise. Please provide data that displays a blot background along with raw data image files.

The data for Figure 2A and 2B were acquired with the same exposure times (15 s for 2A and 30 s for 2B) on the same day at the same time.  The images were cropped but not otherwise altered or adjusted.

Reviewer #2: 

-The authors describe the step-by-step protocol that they recently disclosed in Higashi S. et al. 2020 (J. Biochem.) but it looks like that the cited publication already contains exemplificative videos and the figures are not modified at all, but just copy/pated from the same recent publication (Figure 2 same as Figure 2, Figure 3 same as Figure 6 and Figure 4 same as Figure 7 of Higashi S., 2020, respectively).
Even though this may not be a concern for JoVE papers, I would recommend the authors to provide additional representative examples.

When we were invited to submit a paper by JoVE’s editor, we were told that no additional data were necessary. (Please see our response below.)

-The author state "When overnight incubation is needed with primary antibodies for example, a slightly longer CDR incubation time (30 min - 6 h) should be evaluated." (line 310). Indeed, more than half of the experimental time for a Western blot experiment is dedicated to sample preparation (preferably fresh), gel preparation and loading, transfer to membrane and blocking.

We agree with this reviewer’s comment. The purpose of this manuscript is to show a comprehensive method to shorten the time for western blotting itself. Figure 4 shows the comparison between a traditional method and our CDR method, where all membranes are already blocked. To avoid such confusion, we added a phrase in the discussion.

Moreover, since one of the hottest and explored reasearch field is based on analysis of post-translationally modified proteins, e.g. phospho-proteins, which are inherently less abundant than housekeeping genes such as actin, the incubation times with primary antibodies may turn out to be too long, even with the CDR+CGS protocol, thereby preventing anyways the use of CDR+CGS in a single day experiment.
Did the authors think about showing as additional results a representative quantification of a phosphorylated protein different from pERKs (which is a very abundant one)? It would be a compelling evidence to show a case where the sensitivity limit of traditional protocols is overcome by the CDR+CGS without sacrifycing the time, in the context of a low-abundance antigen.

We totally agree with this comment. PTM is one of the hottest areas in biological research. In our previous publication in Journal Biochemistry as Figure 4, we showed the autophosphorylation of exogenous v-src, where overnight incubation with the traditional method was reduced to 4 h with CDR+CGS. This figure is provided as Reviewer’s Figure 3.

One well-known PTM is glycosylation. We are working on chondroitin sulfate (CS) and heparan sulfate (HS) proteoglycans. Glycosaminoglycan (GAG) chains are linear polysaccharide with repetitive disaccharides with different sulfations, resulting in the huge heterogeneity. Although monoclonal antibodies (CS-56 for CS and 10E4 for HS, both IgM) have been used for histochemistry for a long time, these antibodies have gained infamy for their ambiguous signals and lack of reliable controls on western blot. At least 18-hour incubation with CS-56 was required without the aid of CGS. We applied this methodology to these antibodies and representative data are provided as Reviewer’s Figure 4. We analyzed minimum amounts of antigen and proved the specificity of signals. The manuscript with these data is now under a second revision.

-When discussing Figure 2, the authors state "In both static and CDR incubations, usage of CGS solution increased the sensitivity:" (line 230). While this holds true when comparing intra-condition (CDR or Static), counterintuitively the use of skim milk (60min-30min) under static conditions in Figure 2A, apparently resulted in a much brighter signal of the first bands as compared to its parallel under the CDR conditions. Indeed, although the static conditions with skim milk resulted in a way brighter initial signal, there does not appear to be a dilution curve at all. Conversely the CDR condition with skim milk has dimmer initial bands, reaches lower antigen amounts but, strangely, without a sequential fold-decrease
curve as in its parallel of Figure 2B.
How do the authors explain this? Why didn't the authors provide band quantification histograms to show that the dilution curve is accurate? Since Western blotting is used for relative quantification of samples, it is of paramount importance that any methodology aimed at reaching lower limits of sensitivity is also able to keep the relative differences over a wide dynamic range so as not to result in a misinterpreation of results.

We appreciate this comment and it is a good point. As mentioned above in the response to Reviewer 1, the data for Figure 2A and 2B were acquired with the same exposure times (15 s for 2A and 30 s for 2B) on the same day at the same time.  The images were cropped but not adjusted. While we do not have a straightforward and precise explanation of this pattern of results, we are confident that the careful planning and execution of these experiments has produced reliable data; transfer from a gel to a membrane was performed individually (no multiple transfer simultaneously) and membranes were blocked in separate containers. There could be many reasons such as uneven transfer from a gel to a membrane and altered activity of chemiluminescent substrate. This is another reason why we loaded different amounts of antigens in each lane (Figure 2A) and used different concentrations of antibody in individual membranes (Figure 2B). To have a better solution, we showed fluorescent detection with slot blot in our previous publication. Because of fluorescent detection, we can obtain a wider dynamic range compared to chemiluminescent detection. Because of slot blot, uneven transfer is likely to be avoided. We provide this data as Reviewer’s Figure 5.

Minor Concerns:
-Please provide a vendor and a catalog number for the plastic ring holders required for 14mL tube fixation inside the 50mL Falcon tube during rotatory incubation.

We appreciate this comment.  We created these rings in a machine shop. A sentence was added to the list.

As exemplified by the authors and as shown in the video in Higashi et al. 2020, the membranes are washed by placing them in NOT inside the salad spinner's strainer basket but rather directly inside the outer container. Why do the authors perform such a procedure?

As mentioned above, we attempted many techniques for washing the membrane and have used the one that was most effective. When membranes were placed inside the salad spinner’s strainer basket, we observed that the membrane’s exposure to dynamic PBS-T solution was actually fairly low, with the membrane exhibiting little movement. This technique thus yielded higher background. When membranes were placed outside the strainer basket at the margins of the device, its exposure to the PBS-T solution was greatly enhanced, and the membrane was more vigorously washed with a large volume of PBS-T. This yielded lower background, and therefore this is the technique we used for our experiments.

Did the author ever tried nitrocellulose instead? Many labs use nitrocellulose instead of PVDF membranes, the latter being more resistant. Is nitrocellulose going to be damaged by this procedure?

We have tried this method with nitrocellulose membranes. As long as the nitrocellulose membrane attaches to the wall of the tube during the incubation with the antibodies, it worked. Washing membrane in a salad spinner should be carefully performed, otherwise the nitrocellulose membrane could be damaged easily.

-Please use actual numbers to indicate antigen and antibody amounts, respectively in Figure 2A and B,rather than using an arrow.

Figure 2 was changed accordingly.