Reply to Editors and Reviewers

Manuscript #: JoVE61659

Corresponding author: Han-Sol Lee or Jin-Hee Han

We would like to thank the editors and reviewers for their helpful comments and suggestions. We revised our manuscript by incorporating all comments and suggestions accordingly. Please find our line-by-line responses to the editors and reviewers below.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

1) 1.2, 2.1: mention drill speed and bit size.

We added this information in 1.6 and 2.1 in the revised manuscript.

2) I suggest unhighlighting section 5 as there is nothing much to film here.

As the editor recommended, we unhighlighted section 5 in the revised manuscript.

• Protocol Numbering: Please adjust the numbering of your protocol section to follow JoVE’s instructions for authors, 1. should be followed by 1.1. and then 1.1.1. if necessary and all steps should be lined up at the left margin with no indentations. There must also be a one-line space between each protocol step.
Following the editor’s comments, we revised our manuscript accordingly.

• Protocol Highlight: After you have made all of the recommended changes to your protocol (listed above), please re-evaluate the length of your protocol section. There is a 10-page limit for the protocol text, and a 3- page limit for filmable content. If your protocol is longer than 3 pages, please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.

We confirm that the protocol text is less than 10 pages and the highlighted text for filming is less than 3 pages. The highlighting was carefully made following the instructions below in the revised manuscript.

(Need to be done.)

1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.

2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.

3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.

4) Notes cannot be filmed and should be excluded from highlighting.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We revised the discussion section to cover these points in the revised manuscript.

• References: Spell out journal names.
• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."
Not applicable to our manuscript. Figures and tables are original and not published previously in our manuscript.

Comments from Peer-Reviewers:

Reviewer #1:
Manuscript Summary:
The authors describe a protocol for recording calcium transients from the Lateral Amygdala (LA) from freely behaving mice in vivo by implantation of a GRIN lens. To date, most applications of GRIN technology have been limited to relatively superficial brain structures such as the neocortex or hippocampus. A clear description of how to accomplish this would be of great interest to a large number of neurobiologists with interest in the amygdala and other deep brain structures. Unfortunately, the current version of this manuscript is very difficult to follow, in part due to numerous grammatical issues, use of undefined terms, and unclear logic. It will be important for the authors to get editorial assistance to improve the use of the English language and make the descriptions clearer.

Major Concerns:
Besides the pervasive problems with the use of English terminology and grammar, there are several major issues that need to be addressed. All abbreviations should be defined when first used (e.g., GRIN, neuronal dynamics, AP,ML, DV).

As the reviewer commented, we ensured that all abbreviations are defined when first used in the revised manuscript.

In particular, "neuronal dynamics" is a vague term and it is unclear what the authors mean by it (see abstract, Introduction). Usually dynamics implies temporal patterns, but of what in this case?

We agree with the reviewer that “dynamics of neurons” is a vague term. We intended to mean the dynamics of neuronal activity such as temporal patterns of neuronal firing. We deleted it in the revised manuscript.

What is meant by calcium imaging having a "high entry-level" (top of page 2) or "high entry barriers" (short abstract) and the need for "lowering the entry-level" (short abstract)?

These were used to indicate the high level of technical difficulty to apply in vivo microendoscopic Ca2+ imaging to the amygdala in live mice. As the reviewer pointed out, however, it can be confusing. So, we deleted the sentences to avoid confusion in the revised manuscript.

One major assumption that is not addressed and that makes the internal logic unclear is what is actually being measured by imaging GCaMP fluoresence. The authors state they are measuring neuronal "activity" and the implication is that this is action potential-dependent but this is left unclear. What is being measured is an increase in fluorescence that is proportional to intracellular [Ca2+]. This could be due to neuronal spiking activity but could also be due to subthreshold Ca2+ entry or release from internal Ca2+ stores or something else. It is also possible that spiking occurs without a Ca2+ transient in the neuron (e.g., if multiple action potentials or a burst of action potentials is required).

We agree with the reviewer on this point. In response to the reviewer’s comments, we included more explanations about GCaMPs and how they have contributed to the neural circuit researches in the revised manuscript.

What is a "mobile home cage" and how is it necessary for baseplate attachment (Protocol point #3, Discussion point #2)?

Mobile home cage is a specialized round-shaped apparatus that allows awake and head-fixed mice for freely moving their legs during the baseplate attachment procedure. An air lifting table in this apparatus on which the legs of head-fixed mice are placed enables such free movement of legs although the head is fixed. The cells in the lateral nucleus of amygdala is usually quiet in a resting or anesthetized state so GCaMP fluorescence signals are rarely detected in these conditions, which makes it very difficult, sometimes impossible, to accurately focus cells with GRIN lens during baseplating. However, the movement of legs often produces GCaMP fluorescence signals in the cells of lateral nucleus of amygdala and thereby can help locating the baseplate. Thus, we used the mobile home cage in this protocol. We included this explanation in the protocol section3 of revised manuscript.

What is the "gripper" referred to in point 3.5?

Gripper is a small accessory that can be attached to the stereotaxic apparatus for holding a miniature microscope body for placing it to the target brain location. We added this description in the 3.6 Note.

In point 3.3 it says to remove paraffin film and epoxy bond but I do not see a protocol for attaching these items.

We added a protocol for attaching paraffin film and epoxy bond in the protocol 2.25.

What is "DAQ software"? Is this the unnamed "data processing software" that is used for motion correction, filtering, cropping the image and other things?

They are two different softwares. The “DAQ software” indicate data acquisition software that is used for controlling the microscope (LED power, lens focus, etc.) and data storage. This software is used for baseplate attachment and recording session. On the other hand, the “data processing software” is the one used for processing acquired data. We clarified this point in the revised manuscript.

In many cases, descriptions of procedures are imprecise and/or vague. When "the ventricle" is mentioned, which one (the lateral ventricle is most likely)?

The movement of ventricle is thought to cause irregular motion artifacts during optical imaging of GCaMP signal in the amygdala. Although the major contributor seems to be the lateral ventricle, it has not been demonstrated yet. So, we revised our manuscript accordingly.

What is the "motorized surgery arm" mentioned in Protocol point #2?

Since a consistent slow speed of the GRIN lens movement is critical for the successful GRIN lens implantation, motorized surgery arm can be useful. The motorized surgery arm is a stereotaxic manipulator which is controlled by computer software. Although the motorized arm is used in this protocol, other ways can also be fine as long as the lens moves consistently and slowly during implantation. We added these sentences in the revised manuscript.

Protocol point 2.3 and afterwards refers to software that is unnamed and the instructions appear to be specific to a specific software package (rather than discussing processes to be accomplished, the authors detail commands used for the specific software).

We indicated the name of software used for each process and added explanations for processes to be accomplished.

The Representative Results section is very hard to follow and is not well integrated with the Figure Legends. Why are cells not visible in the GFP animals in Figure 3 (see also Figure Legend for Figure 3)? Is this because the wrong filters or excitation wavelengths are used to visualize GFP or limitations of the GRIN lens?

The image presented in the Figure 3F (in the revised manuscript) is the ΔF/F image that represents a change of fluorescence, not fluorescence per se. Because there is virtually no substantial change of fluorescence in cells expressing GFP alone, no visible signal is detected in ΔF/F image of the GFP animals. We included this explanation in the revised manuscript.

Is GCaMP only bright enough when there is a calcium transient?

In this protocol, we used GCaMP7b which has been reported to have a relatively brighter background signal than other GCaMP proteins (Dana et al., 2019). Therefore, cells expressing GCaMP7b can be detected even without calcium transients.

Why was the DAPI image shown in Figure 4 (it is never said)?

DAPI image was included to show all cells in the field of view and no sign of tissue damage due to inflammation in brain tissue around the GRIN lens. However, as the reviewer correctly pointed out, description was missing in the original submission. We added the description in the revised manuscript.

Figure Legend 1 is almost impossible to follow. Both Acryl-cement and acrylic cement are used in text and legend. Are they the same (if so, be consistent and use one term for all)?

We apologize for the confusion. They are the same. We used “acrylic cement” for all in the revised manuscript.

Define the "needle track" being referred to for location of the GRIN lens.

Needle track is a sort of guide track that helps implanting the relatively thick GRIN lens into deep brain regions such as amygdala without causing a severe distortion of brain structure along the injection path. This guide track is called needle track because it is made by a lowering and elevating procedure of relatively thin 26G needle. This description has been added in the 2.4 Note of revised manuscript.

Why is its location described relative to the injection site rather than the ventricle, since it is the lateral ventricle that is being avoided?

The ventricle can also be used to establish the target location for needle track. However, we reasoned that it is more critical to precisely target viral expressing site for successful performance of imaging. So, we used viral injection site rather than lateral ventricle. Through repeated trials, we established an optimal condition that allowed needle track for efficiently targeting viral expressing site while avoiding motion artifacts caused by lateral ventricle movement. We included this explanation in the discussion of revised manuscript.

I have covered most of the main points above.
1. Page 1, paragraph 3: What is meant by "in electrophysiology, optogenetic identification is laborious"?

We intended to indicate that electrophysiology requires additional works for identification of defined cells compared to in vivo microendoscopic Ca2+ imaging. We deleted it in the revised manuscript.

2. Page 1, para 4 (also Long abstract, Abstract): "Hippocampus" need not be capitalized - use lower case "h".

We corrected this error in the revised manuscript.

Reviewer #2:
Manuscript Summary:
This manuscript outlines an approach for implanting a GRIN lens in the mouse lateral amygdala (LA) for in vivo calcium imaging of GECI-labeled neurons with a commercially-available miniaturized microscope. Conducing in vivo calcium imaging in the LA with a GRIN lens is challenging because this region is in close proximity to the lateral ventricle, which can cause excessive bleeding if disturbed during surgery. Lee & Han provide outline an approach for avoiding this problem. The information in the manuscript is potentially helpful for a technique that is rapidly growing in popularity, and the topic aligns with JOVE's content areas. However, major revisions are necessary for the publication to be suitable for publication.

Major Concerns:
1. The organization and content of the long abstract is lacking. It is not clear why neurochemical and electrophysiological methods are mentioned and what is "calcium imaging technique" (first paragraph)? There are several techniques to perform calcium imaging, for example using two-photon microscopy, three-photon microscopy, widefield microscopy, and implantation of GRIN lens inside the brain. The use of "this method" (3rd paragraph) is also not clear enough. It is recommended to rewrite it in a more organized way.

In response to the reviewer’s points, we rewrote the long abstract and introduction in a more organized way.

2. The content in the introduction is not complete, and in some points inaccurate. For example, GECIs are genetically encoded calcium indicators, not genetically engineered calcium indicators; calcium does not just flow into dendrites, but also the soma. The introduction would benefit from a more thorough explanation of how GECIs have been used to study neural circuits and the citations of these studies.

As the reviewer correctly pointed out, GECIs are genetically encoded calcium indicators. We corrected this error in the revised manuscript. The sentence, “calcium ion flows into dendritic branches of neuron” into “calcium ion flows into dendritic branches and soma of neurons” has been deleted during revision process. As the reviewer suggested, we also included more backgrounds about how GECIs have contributed to the neural circuit researches.

3. This manuscript claims for presenting guidelines for imaging the amygdala using a GRIN lens system. However, it is solely focused on the Inscopix system, and doesn't present (or even discuss) any alternative systems. This is also reflected in several steps that are not trivial, and apparently are implemented in the Inscopix data analysis package, such as PCA/ICA, and the authors present as a trivial step. As a reminder, Inscopix system is quite expensive and not all laboratories own it. In case the authors decide to focus on this specific system, it should be clarified in the title and/or abstract.

We agree with the reviewer on this point. We mentioned in the abstract that our protocol is based on the Inscopix system but not restricted to it. As the reviewer suggested, we also discussed alternative systems other than Inscopix in the revised manuscript.

4. As is, the protocol could not be replicated in another lab. The lack of detail makes this read as if it is for internal use in this particular lab. Specific missing details are listed here:

a. Page 2, Section 1, Step 1: No dose/injection route info for the pentobarbital injection

We added the following information in the 1.2 of revised manuscript: Anesthetize the mouse with pentobarbital (83 mg kg-1 of body weight) by intraperitoneal injection.

b. Page 2, Section 1, Step 2: How big should this craniotomy be?

We added the following information in the 1.6 of revised manuscript (1.2 moved to 1.6 in the revised manuscript): The size of the craniotomy is 1.6mm. Drill speed is 18000rpm and bit size is 0.6mm.

c. Page 2, Section 2, Step 2.1-2.4: Written as if all users have the same stereotaxic, please describe this more generally.

In response to the reviewer’s suggestion, we added an explanation of why motorized surgery arm is used in this step. We also added more general instructions in the section 2 of revised manuscript.

d. Page 3, Section 2, Step 3: clarify what is meant by "make a lens tract with a 26G needle"

Needle track is a sort of guide track that helps implanting the relatively thick GRIN lens into deep brain regions such as amygdala without causing a severe distortion of brain structure along the injection path. This guide track is called needle track because it is made by a lowering and elevating procedure of relatively thin 26G needle. This description has been added in the 2.4 Note of revised manuscript.

e. Page 3, Section 2, Step 5: clarify what is meant by "repeat lowering 1000um and raising 300um to the final point" and add why this step is important

It describes a repeated stepwise procedure of up (300um upward) and down (1000um downward) of GRIN lens during lens implantation. This up and down procedure is used to help release the pressure generated inside the brain tissue due to the lowering procedure of lens that otherwise can cause distortion of brain structures along the implantation path. We added this explanation in the 2.19 of revised manuscript.

f. Page 5, Section 4, Step 5: Adjusting the focal plane on miniaturized microscopes is not a trivial task, especially for non-commercial systems. This step needs a more detailed explanation.

Focal plane is determined by the distance between objective lens of microscope and GRIN lens implanted in the brain. To adjust the focal plane, objective lens position is manipulated while observing images. The distance between those two lenses that shows clear morphology of cells and blood vessels is set as focal plane for imaging. In this protocol, DAQ software (Inscopix) is used for manipulating the movement of objective lens during adjustment. We added this explanation in the 5.10 of revised manuscript.

g. The data processing section is written for a specific software. However, many researchers use the open-source version of the miniscope, not the Inscopix commercial product. See next comment for how to address this.

Minor Concerns:
1. There are typos and missing words throughout the introduction

We revised the introduction accordingly.

2. Page 4: "incubate" is not the proper word choice. I recommend "return mouse to home cage and allow 5-8 weeks for recovery and virus transduction."

Following the reviewer’s recommendation, we changed the sentence in the revised manuscript.

3. Page 5: There is no explanation about the behavior apparatus

We added more explanation about the behavior procedure and apparatus in the section 4 of revised manuscript. The information about behavior apparatus is also included in the material list. The method for connecting calcium imaging device and behavior system was also added.

4. Page 5: "deselect non-neural components among identified components by using human visual scrutiny." Please elaborate on the criteria used to determine a neuron from non-neuronal components

Two major criteria are used for this purpose. First, GCaMP signal originated from a neuron looks as a clear spherical shape. Thus, only the signal with a clear spherical shape is selected as a neuron. Second, given the diameter of the cell body of amygdala pyramidal cell is known to be approximately 20μm (McDonald., 1982, McDonald., 1984, Millhouse et al., 1983), only the signal roughly matches with this size is selected as a neuron. To determine the size of GCaMP signal, the actual size of a single-pixel is calculated based on the captured image of the lens surface (in step 3.9) and the maximum width of single spherical shape is calculated. For example, in this protocol, the diameter of the implanted GRIN lens is 600μm. Therefore, if the diameter of the lens is 400pixels, the actual size of the single-pixel is 1.5μm (20μm is about 13pixles). We added this explanation in the 6.8 Note of revised manuscript.