## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
3 in wafer | Silicon Materials Inc. |  | Silicon wafer
Centrifuge | Eppendorf | Minispin | Bench-top centrifuge
CleWin 3.0 | WieWeb software |  | Designing software
Epoxy glue | Devcon |  | 5 minutes epoxy glue
Fluidic connectors | Cluzeau Info Lab | N-333 | NanoPort kit for 1/16" OD tubing
Hen egg-white lysozyme | Roche | 10 837 059 001 | Lyophilized protein powder
High-vacuum silicone grease | Sigma-Aldrich | Z273554 | Dow Corning high-vacuum silicone grease
HMDS | Sigma-Aldrich | 440191 | Silane, chemical
Hot plate | Sawatec | HP-200-Z-HMDS BM | Hot plate
Isopropyl alcohol | Sigma-Aldrich |  | Solvent
Kapton tape | DuPont |  | Polyimide tape
Mask aligner | SUSS MicroTec | MJB4 | Mask aligner, UV source
Membrane filter | Millipore | GSWP04700 | 0.22 μm pore size filter
Microscope glass slide | Fisher Scientific | 12164682 | 3 x 1 in glass slides
NOA81 | Norland Products Inc. | NOA81 | Photocurable resin
Oven | Memmert |  | Oven
Parafilm | Sigma-Aldrich | P6543 | Parafilm M roll size 20 in. × 50 ft
PDMS | Dow Corning | Sylgard 184 | Silicone
PEG 400 | Hampton Research | HR2-603 | Chemical
Petri dish | Sigma-Aldrich | P5731 | 100 x 15 mm
PGMEA | Sigma-Aldrich | 484431 | Developer
Plasma equipment | Diener Electronic | ZEPTO | Plasma treatment
PMMA | Goodfellow | 137-745-63 | PMMA sheets 150x150 mm, 0.175 mm thickness
Pressure driven system | Elveflow | OB1 MK3+ | Pressure/vacuum controller
PTFE tubing | Elveflow/Darwin microfluidics | LVF-KTU-15 | PTFE tubing roll 1/16" OD X 1/32" ID
RC dialysis membrane | Spectra/Por |  | Various MWCOs
Scalpel | Swann-Morton |  | Carbon steel surgical blades
Sodium acetate | Sigma-Aldrich | S2889 | Chemical
Sodium chloride | Sigma-Aldrich | 746398 | Chemical
Solidworks | Dassault Systemes |  | 3D-CAD designing software
Spin coater | SPS | Spin150 | Wafer spinner
SU-8 3000 series | MicroChem Corp. | SU-8 3050 | Photoresist
Syringe | BD | 309628 | 1 mL Luer-Lok syringe
UV crosslinker | Uvitec | CL-508 | UV crosslinker