4.	Flow Cytometry

4.1.	For flow cytometric analysis of the cells, create a new experiment in the flow analysis software [1] and, under the Worksheet Tools menu, click New Density to create a forward scatter-area versus back scatter-area density plot on a linear scale [2].

4.1.1.	WIDE: Talent creating new experiment, with monitor visible in frame

4.1.2.	SCREEN: To be provided by Authors: Menu being opened, New Density being clicked, then plot being created. Video 4.1.2-4.5.1: 00:00-00:04

4.2.	Click New Histogram to create a DCV-blue histogram plot on a logarithmic scale [1] and briefly vortex the unstained negative control before loading the sample [2].

4.2.1.	SCREEN: To be provided by Authors: New Histogram being clicked Video 4.1.2-4.5.1: 00:05-00:15

4.2.2.	Sample being vortexed and/or loaded

4.3.	Click Start and Record to begin processing the unstained sample [1].

4.3.1.	SCREEN: To be provided by Authors: Start and Record being clicked Video 4.1.2-4.5.1: 00:16-00:30 (including software running time)

4.4.	While the sample is running, click Detector & Threshold Settings to adjust both the PMT (P-M-T) voltages to place the unstained cells on the scale of the forward and back scatter plot [1].

4.4.1.	SCREEN: To be provided by Authors: Detector & Threshold Settings being clicked, then PMT voltages being adjusted TEXT: PMT: photomultiplier tube voltages

Video 4.1.2-4.5.1: 00:31-01:00

4.5.	Adjust the PMT voltage for the DAPI channel to locate the position of the DCV-negative population in the ﬁrst decade of the DCV-blue histogram logarithmic plot [1]. Then click Stop to unload the unstained sample [2].

4.5.1.	SCREEN: To be provided by Authors: DAPI PMT being adjusted and click  stop Video 4.1.2-4.5.1: 01:01-01:37

4.5.2.	Talent clicking Stop and/or unloading unstained sample

4.6.	After briefly vortex and loading the stained sample, click Next Tube to create a new worksheet for the sample and click Start and Record to acquire at least 1 x 106 events [1].

4.6.1.	SCREEN: To be provided by Authors: Next Tube being clicked, then Start and Record being clicked/events being acquired Video 4.6.1-4.7.1: 00:00-00:25 (including software running time)

4.7.	Next, click New Density to create forward scatter- height versus forward scatter-width and DCV-blue versus DCV-red density plots on a linear scale [1]. When an appropriate number of events have been acquired, click Stop and unload the sample [2].

4.7.1.	SCREEN: To be provided by Authors: New Density being clicked, then plots being created Video 4.6.1-4.7.1: 00:50-01:43

4.7.2.	Talent clicking Stop and/or unloading tube

4.8.	On the forward scatter-area versus back scatter-area density plot, use the Polygon tool to draw a gate called “Cells” to include most of the cells and to exclude small debris [1].

4.8.1.	SCREEN: To be provided by Authors: Tool being selected and gate being drawn Video 4.8.1-4.9.1: 00:00-00:25

4.9.	Apply this gate to the forward scatter-height versus forward scatter-width plot and use the Rectangle tool to draw a “Single Cells” gate to exclude non-single cells [1].

4.9.1.	SCREEN: To be provided by Authors: Cells gate being applied, then Single Cells gate being drawn Video 4.8.1-4.9.1: 00:26-00:51

4.10.	Apply the “Single Cells” gate to the DCV-blue versus DCV-red density plot and adjust the scale to capture an extended profile [1].

4.10.1.	SCREEN: To be provided by Authors: Single Cells gave being applied to density plot, then scale being adjusted Video 4.10.1-4.11.1: 00:00-00:30

4.11.	Use the Polygon tool to draw a “DCV” gate to exclude the unstained cells and side population and apply the gate to a DCV-blue histogram plot on a linear scale. The three major peaks refer to the different 1C, 2C, and 4C DNA contents [1].

4.11.1.	SCREEN: To be provided by Authors: DCV gate being drawn Video 4.10.1-4.11.1: 00:31-01:04 then gate being applied to histogram Video Editor: please emphasize 1C, 2C, and 4C peaks (similar to Figure 2E) Video 4.11.1-4.13.1: 00:27-01:42

4.12.	Create a second DCV-blue versus DCV-red density plot on a linear scale and back gate the “DCV” gate onto the plot to locate the 1C and 4C populations [1].

4.12.1.	SCREEN: To be provided by Authors: Plot being created and scale being adjusted, then populations being back gated Video 4.11.1-4.13.1: 01:43-02:27

4.13.	Use the Ellipse tool to draw a gate on the 1C population and use the Polygon tool to gate the 4C population with a continuous curve [1].

4.13.1.	SCREEN: To be provided by Authors: 1C gate being drawn, then 4C gate being drawn Video 4.11.1-4.13.1: 02:28-03:30

4.14.	Create another DCV-blue versus DCV-red density plot on a linear scale and apply the 4C gate [1].

4.14.1.	SCREEN: To be provided by Authors: Plot being created, then gate being added Video 4.14.1-4.17.1: 00:00-00:08

4.15.	Adjust the scale to zoom in and use the Polygon tool to draw a “4C_1” gate for a more precise selection [1].

4.15.1.	SCREEN: To be provided by Authors: Scale being adjusted, then gate being drawn Video 4.14.1-4.17.1: 00:09-01:27

4.16.	Create a new forward scatter-area versus back scatter-area density plot and apply the 4C-1 gate. Three enriched populations separated by size corresponding to the leptotene-zygotene, pachytene, and diplotene spermatocytes should be observed [1].

4.16.1.	SCREEN: To be provided by Authors: Plot being created, then gate being applied Video 4.14.1-4.17.1: 01:28-01:41

4.17.	Draw one gate around each population and create a new DCV-blue versus DCV-red color dot plot on a linear scale to apply the 4C_1 gate to ensure that the three populations are in a continuous order within the gate [1].

4.17.1.	SCREEN: To be provided by Authors: Gate(s) being drawn, then plot being crated, and single gate being drawn Video 4.14.1-4.17.1: 01:50-03:50

4.18.	Next, create a new forward scatter-area versus back scatter-area density plot on a linear scale, apply the 1C gate, and select the unified size of cells as a pure round spermatid population [1].

4.18.1.	SCREEN: To be provided by Authors: Plot being created, gate being applied, and cells being selected Video 4.18.1-4.19.1: 00:00-00:09

4.19.	 Then use the Ellipse to draw an “round spermatid” gate [1].

4.19.1.	SCREEN: To be provided by Authors: RS gate being drawn Video 4.18.1-4.19.1: 00:10-00:45