# Submission ID #: 61682

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18813058

Title: Quantitative SERS Detection of Uric Acid via Formation of Precise Plasmonic Nanojunctions within Aggregates of Gold Nanoparticles and Cucurbit[n]uril

Authors and Affiliations: Weng-I Katherine Chio1, Gemma Davison1, Tabitha Jones1, Jia Liu1, Ivan P. Parkin1, and Tung-Chun Lee1,2

1Department of Chemistry, University College London (UCL)

2Institute for Materials Discovery, UCL

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Tung-Chun Lee

# tungchun.lee@ucl.ac.uk

# Co-Authors:

weng.chio.16@ucl.ac.uk

gemma.davison.18@ucl.ac.uk

tabitha.jones.19@ucl.ac.uk

ucqsjli@ucl.ac.uk

i.p.parkin@ucl.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 40

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Gold Nanoparticle (Au NP) Synthesis

  - For gold seen synthesis, dissolve 98.5 milligrams of gold three chloride trihydrate in 10 milliliters of deionized water in a glass vial to obtain a 25-millimolar auric chloride solution [1] and 64.5 milligrams of sodium citrate powder in 500 microliters of deionized water in a glass vial to obtain a 500-millimolar sodium citrate solution [2].

    - WIDE: Talent adding/mixing gold three chloride trihydrate to water, with stock gold three chloride trihydrate container visible in frame

    - Talent adding sodium citrate to vial, with stock sodium citrate container visible in frame

  - Next, dilute 1 milliliter of the auric chloride solution with 99 milliliters of water in a 250-milliliter blue-capped bottle to obtain a 0.25-millimolar auric chloride solution [1] and add 99.5 milliliters of the 0.25-milliolar auric chloride solution to a 250-milliliter, three-necked, round bottom flask equipped with a condenser [2].

    - Talent adding solution to bottle of water, with working solution container visible in frame

    - Talent adding solution to flask

  - Then heat the solution at 90 degrees Celsius under vigorous stirring for 15 minutes [1] before injecting 500 microliters of the sodium citrate solution into the flask [2], continuing to stir until the solution turns ruby-red [3].

    - Solution being stirred at 90 °C

    - Talent adding solution to flask

    - Solution being stirred

- Seeded Au NP Growth

  - To initiate seeded growth of the gold nanoparticles, transfer 25 milliliters of the gold seed solution to a 50-milliliter tube [1] and cool the solution to 70 degrees in a thermomixer [2].

    - WIDE: Talent adding solution to tube

    - Talent placing tube into thermomixer

  - While the solution is cooling, fill a 3-milliliter Luer lock disposable syringe with 2.5 milliliters of 25-millimolar auric chloride solution [1] and fill another 3-milliliter Luer lock disposable syringe with 2.5 milliliters of 60-millimolar sodium citrate solution [2].

    - Talent filling syringe with HAuCl4 solution, with HAuCl4 solution container visible in frame

    - Talent filling syringe with sodium citrate solution, with sodium citrate container visible in frame

  - Place the syringes into syringe pumps [1] and use Luer-to-MicroTight adapters to connect 150-micromolar internal diameter PEEK tubing to the syringes [2].

    - Talent placing syringe(s) into pump(s)

    - Talent connecting tubing to syringe

  - Insert the tubing into the centrifuge tube containing the cooled gold seed solution in the thermomixer [1] and set both syringe pumps to dispense 167.5 microliters of solution over 20 minutes [2].

    - Talent inserting tubing into tube

    - Talent setting pump(s)

  - Set the thermomixer rotation speed to 700 rotations per minute [1] and press Start on the syringe pump containing the 25-millimolar auric chloride solution [2].

    - Talent setting rotation speed

    - Talent pressing start on HAuCl4 solution pump

  - After 2 minutes, press Start on the syringe pump containing the 60-millimolar sodium citrate solution [1].

    - Talent pressing Start

  - After 30 minutes, remove an aliquot of the gold nanoparticle solution for analysis [1].

    - Talent removing aliquot

- Cucurbit[7]uril (CB7)-Uric Acid (UA) Complex Formation

  - To prepare a 0.4-millimolar CB7 (C-B-seven) solution, add 4.65 milligrams of CB7 to a 15-milliliter glass vial [1] and 10 milliliters of water to the vial [2].

    - WIDE: Talent adding CB7 to vial, with CB7 container visible in frame

    - Talent adding water to vial

  - After tightly capping, sonicate the vial at room temperature until the CB7 solid is completely dissolved [1].

    - Vial being sonicated/solution being dissolved

  - To prepare a 0.4-millimolar UA solution, add 2.69 milligrams of uric acid to a 50-milliliter centrifuge tube [1] and add 40 milliliters of water to the tube [2].

    - Talent adding acid to tube, with acid container visible in frame

    - Talent adding water to tube

  - After tightly capping, swirl the mixture in a thermomixer set to 70 degrees Celsius and 800 revolutions per minute for 2 hours [1].

    - Talent placing tube into thermomixer

  - When the solution has cooled to room temperature, dilute 5 milliliters of the 0.4-micromolar uric acid solution with 5 milliliters of water in a 15-milliliter glass vial to obtain a 0.2-millimolar uric acid solution [1].

    - Talent adding UA solution to water in vial

  - After tightly capping, sonicate the vial for 30 seconds [1].

    - Vial being sonicated

  - To prepare the CB7-uric acid complexes, add 750 microliters of the 0.4-millimolar CB6 solution and 750 microliters of the 0.4-millimolar uric acid solution to a 1.5-milliliter tube [1] and sonicate the mixture for 30 seconds [2].

    - Talent adding solution(s) to tube, with solution containers visible in frame

    - Talent sonicating tube

  - Then hold the tube at room temperature for 30 minutes to ensure the formation of the host-guest complexes [1-TXT].

    - Talent setting time, with tube at RT visible in frame TEXT: Repeat for each UA concentration of interest

- UA Surface-Enhanced Raman Spectroscopy (SERS) Sensing

  - In the Raman system software, click the Spectroscopy Application Wizards icon and select Raman [1].

    - WIDE: Talent clicking icon and selecting Raman, with monitor visible in frame

  - Start a new acquisition and set the integration time to 30 seconds, the scans to average to 5, and the boxcar to 0 [1].

    - SCREEN: To be provided by Authors: Acquisition being started, then integration time, scans to average, and boxcar being set

  - Then store the background spectrum and enter the laser wavelength [1].

    - SCREEN: To be provided by Authors: Spectrum being stored, then wavelength being entered

  - For SERS substrate formation, add 900 microliters of the 40-nanometer gold nanoparticle solution and 100 microliters of pre-formed CB7-urica acid complex solution to a 1.5-milliliter tube [1] and sonicate until the solution changes from ruby-red to purple [2].

    - Talent adding solution(s) to tube, with solution containers visible in frame

    - Talent sonicating tube

  - Transfer the sample solution to a semi-micro cuvette [1] and place the cuvette into the Raman sample holder [2].

    - Talent adding solution to cuvette

    - Talent placing cuvette into holder

  - Close the cover [1] and start the measurement [2].

    - Talent closing cover

    - Talent starting measurement

  - Then set the auto-saving to record five consecutive SERS spectra [1-TXT].

    - SCREEN: To be provided by Authors: System being set to record 5 consecutive SERS spectra TEXT: Repeat for each sample

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 204. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Au NP Characterization and UA Detection Within Au NP:CB7 Nanoaggregates

  - The ultraviolet-visible spectra for the synthesized gold nanoparticles [1] show a shift of the localized surface plasmon resonance peaks [2] from 521- to 529-nanometers after 10 growing steps [3], while the dynamic light scattering data show a narrow size distribution as the size of nanoparticles increases from 25.9 to 42.8 nanometers [3].

    - LAB MEDIA: Figures 4A-4D

    - LAB MEDIA: Figures 4A-4D Video Editor: please add/emphasize asterisk and/or emphasize tip of peak Figure 4A

    - LAB MEDIA: Figures 4A-4D Video Editor: please add/emphasize arrow in Figure 4

    - LAB MEDIA: Figures 4A-4D Video Editor: please emphasize arrow over peak in Figure 4C

  - The average sizes of G0 (G-zero), G5, and G10 measured from transmission electron images [1] are approximately 20-, 32- , and 40-nanometers respectively [2].

    - LAB MEDIA: Figure 4E

    - LAB MEDIA: Figure 4E Video Editor: please sequentially emphasize left, middle, and right images

  - In these representative analyses [1], host-guest complexes of CB7 and uric acid were formed with empty CB7 mediating the formation of precise plasmonic nanojunctions within the gold nanoparticle:CB7 nanoaggregates [2], as supported by the characteristic uric acid signals in the SERS spectrum [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize green data line

    - LAB MEDIA: Figure 5A Video Editor: please emphasize asterisks above green data line

  - Conversely, no SERS signals of uric acid can be observed in the absence of CB7 [1], illustrating the key role of CB7 in triggering gold nanoparticle aggregation [2].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize red data line

  - The high sensitivity of the detection scheme presented in this protocol is demonstrated [1] by the observation of clear SERS signals from the uric acid peaks at 640 [2] and 1130 centimeters [3] down to the 0.2-micromolar detection limit [4].

    - LAB MEDIA: Figures 5B-5D

    - LAB MEDIA: Figures 5B-5D Video Editor: please emphasize asterisks over 640 cm peaks in Figures 5B and 5C

    - LAB MEDIA: Figures 5B-5D Video Editor: please emphasize asterisks over 1130 cm peaks in Figure 5B and 5D

    - LAB MEDIA: Figures 5B-5D Video Editor: please emphasize 0.2 micromolar data lines in all graphs

  - In addition [1], very strong correlations between the SERS intensity and log concentration of uric acid [2] were obtained by power law for both peaks, with linear regions found in the range of 0.2- to 2-micromolar [3].

    - LAB MEDIA: Figures 5E and 5F

    - LAB MEDIA: Figures 5E and 5F Video Editor: please emphasize R2 equations in both graphs

    - LAB MEDIA: Figures 5E and 5F Video Editor: please emphasize 0.2-2 micromolar range in both graphs

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.