# Submission ID #:  61688

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18814888

# Title:   Neutron Radiography and Computed Tomography of Biological Systems at The Oak Ridge National Laboratory’s High Flux Isotope Reactor

# Authors and Affiliations:

Hassina Z. Bilheux1*, Maria Cekanova2,3,4*, Jeffrey M. Warren5*, Matthew J. Meagher6, Ryan Ross6, Jean C. Bilheux1,7, Singanallur Venkatakrishnan8, Jiao Y. Y. Lin1,9, Yuxuan Zhang1, Matthew R. Pearson9,10, Erik Stringfellow1

1Neutron Scattering Division, Oak Ridge National Laboratory, Oak Ridge, TN, USA

2College of Veterinary Medicine, The University of Tennessee, Knoxville, TN, USA

3UT-ORNL Graduate School of Genome, Science and Technology, The University of Tennessee, Knoxville, TN, USA

4Now at Integrity Laboratories, Knoxville, TN, USA

5Environmental Sciences Division, Oak Ridge National Laboratory, Oak Ridge, TN, USA

6Department of Cell & Molecular Medicine, Rush Medical College, Rush University, Chicago, IL, USA

7Computer Science and Mathematics Division, Oak Ridge National Laboratory, Oak Ridge, TN, USA

8Electrical and Electronics Systems Research Division, Oak Ridge National Laboratory, Oak Ridge, TN, USA

9Now at Second Target Station Project, Oak Ridge National Laboratory, Oak Ridge, TN, USA

10Neutron Technologies Division, Oak Ridge National Laboratory, Oak Ridge, TN, USA

# *These authors contributed equally.

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Hassina Z. Bilheux		(bilheuxhn@ornl.gov)

# Email Addresses for All Authors:

mcekanov@utk.edu

warrenjm@ornl.gov

matthew.j.meagher@gmail.com

Ryan_Ross@rush.edu

bilheuxjm@ornl.gov

venkatakrisv@ornl.gov

linjiao@ornl.gov

zhangy6@ornl.gov

pearsonmr@ornl.gov

stringfellde@ornl.gov

bilheuxhn@ornl.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:

Number of Shots:

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Instrument setup

  - On the beamline computer, open a terminal window, type css, and then press Enter to launch the user interface [1]. If not opened by default, choose the User Home option in the Menu tab to open the EPICS Imaging Interface [2].

    - WIDE: Establishing shot of talent at the computer launching the interface.

    - SCREEN: User Home option chosen and EPICS Imaging Interface opened. TEXT: EPICS:  Experimental Physics and Industrial Control System

Authors: Please create screen capture videos for steps 1.1 – 1.9, 3.1 – 3.12, and 4.1 – 4.3 in your text manuscript and upload them to your project page: https://www.jove.com/account/file-uploader?src=18814888. Please email me once the videos have been uploaded, and I will write the rest of the VO narration to match your videos.

  - Step 2

    - Shot

  - Step 3

- Data acquisition

  - Step 1

    - Shot

  - Step 2

    - Shot

  - Step 3

    - Shot

- Volume reconstruction and data processing/analysis

  - Step

    - Shot

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Neutron imaging of a rat femur, mouse lung, and plant root/soil system

  - A custom-designed interface was developed to guide this experimental protocol and minimize human error. The interface logically moves through the necessary steps prior to measuring a sample [1].

    - LAB MEDIA: Figure 3.

  - Neutron computed tomography, or nCT, of a rat’s femur with a titanium implant is shown here [1]. The false color attenuation-based nCT of the femur [2] and a diagonal cut through the bone to reveal the implant were obtained [3].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize C.

  - The implant does not interact with neutrons as much as the bone material, so its attenuation is minimal and it appears darker than the surrounding bone [1]. The trabecular bone, which is present within the medullary space of the femur, is clearly visible at the proximal end of the sample [2].

    - LAB MEDIA: Figure 5 C. Video Editor: Emphasize the dark grey implant in the bone.

    - LAB MEDIA: Figure 5 C. Video Editor: Emphasize where the red arrow is pointing.

  - The ability of neutrons to detect soft tissue specimens was demonstrated on an ethanol-fixed mouse lung [1]. The reconstructed volume of the lung was obtained from nCT [2]. A cut through the right lobe of the lung is illustrated here [3].

    - LAB MEDIA: Figure 6 A and B.

    - LAB MEDIA: Figure 6 C.

    - LAB MEDIA: Figure 6 D and E. Video Editor: Emphasize D.

  - The false color volumetric rendering of a plant root and soil system in a rectangular aluminum container was obtained as well [1]. Despite a poor signal-to-noise ratio, the root system in the soil is clearly visible in vertical cuts of the sample [2].

    - LAB MEDIA: Figure 7 A and B.

    - LAB MEDIA: Figure 7 C and D.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.