## Sheet1
Table 1: Correction factors needed for determination of dose rate in Protocol 1.
Correction Factor | Explanation
Nκ | Air kerma calibration factor
[(µen/ρ)Wair]water | Ration of mass energy absorption coefficients of water to air; approximately 1.05
Pq,Cham | Correction accounting for chamber stem affecting photon fluence perterbation by chamber; approximately 1.022
Psheath | Correction accounting for sheath protecting ionization chamber; value of 1, as chamber is waterproof
Ppol | Correction factor accounting for polarity; determined in Protocol 1
Pion | Correction factor accounting for ion recombination; determined in Protocol 1
PTp | Correction factor acocunting for temerpature and pressure on day of experiment; determined in Protocol 1