# Submission ID #: 61695

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18817023

Title: Size Determination and Phenotypic Analysis of Urinary Extracellular Vesicles Using Flow Cytometry

Authors and Affiliations: I.C. Navarro-Hernandez1,2, E. Acevedo-Ochoa1, G. Juárez-Vega1, D.E. Meza-Sánchez1, J.M. Hernández-Hernández2, and  J.L. Maravillas-Montero1

1Red de Apoyo a la Investigación, Universidad Nacional Autónoma de México e Instituto Nacional de Ciencias Médicas y Nutrición Salvador Zubirán

2Departamento de Biología Celular, Centro de Investigación y de Estudios Avanzados del Instituto Politécnico Nacional

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

José Luis Maravillas-Montero

maravillas@cic.unam.mx

# José Manuel Hernández-Hernández

# manolo@cell.cinvestav.mx

# Co-Authors:

itze.navarro9@gmail.com

erez128@gmail.com

guillermovega@cic.unam.mx

dmeza@cic.unam.mx

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 28

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Urinary Extracellular Vesicle (uEV) Staining

  - Before staining, calculate the relative number of uEVs by quantifying the protein content using any conventional colorimetric protein assay according to the manufacturer’s instructions [1].

    - WIDE: Talent loading plate onto analyzer

  - After quantification, label the tubes as indicated in the Table [1] and add 5 x 105 cells in 20 microliters of PBS to each tube [2].

    - LAB MEDIA: Table 1

    - Talent adding cells to tube(s), with PBS container visible in frame

  - Add the appropriate antibodies to each tube for an overnight incubation at 4 degrees Celsius [1].

    - Talent adding antibod(ies) to tube, with antibody container(s) visible in frame

  - The next morning, label the contents of the PBS plus CFSE (C-F-S-E) tube with 0.4 microliters of 5-nanomolar CFSE for a 10-minute incubation at 37 degrees Celsius [1-TXT].

    - Talent adding CFSE to tube, with CFSE container visible in frame TEXT: CFSE: carboxyfluorescein succinimidyl ester

  - At the end of the incubation, add 400 microliters of ice-cold PBS to all of the tubes [1] and place the tubes at 4 degrees Celsius [2].

    - Talent adding PBS to tube(s), with PBS container visible in frame

    - Talent placing tube(s) at 4 °C

- uEV Acquisition

  - To acquire uEVs by conventional flow cytometry, in the flow cytometry software [1], adjust the parameters such that 100 microliters of sample are captured at a slow running speed with a 10,000 on forward scatter-height and 2000 on side scatter-height threshold [2].

    - WIDE: Talent opening software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Parameters being set

  - When the parameters have been set, load the bead tube on the cytometer [1] and use the tube contents to create two dot plots [2].

    - Talent loading tube

    - SCREEN: To be provided by Authors: Dot plot(s) being created

  - Then create a dot plot and histogram for each fluorochrome used [1].

    - SCREEN: To be provided by Authors: Dot plot and histogram being created

  - Next, use the PBS and the second antibody control tube to set gates for the negative cut off values [1].

    - SCREEN: To be provided by Authors: Gate(s) being set

  - Use the autofluorescence control tube to set the gates for negative regions for the sample [1].

    - SCREEN: To be provided by Authors: Gate(s) being set

  - When all of the gating parameters have been set, run the experimental tubes [1] and save the experiment [2-TXT].

    - SCREEN: To be provided by Authors: Experimental tube being run

    - SCREEN: To be provided by Authors: Experiment being saved TEXT: Export data as FSC files

- Data Analysis

  - To analyze the data, click Add Samples to add the sample data [1] and select the exported FCS files [2].

    - WIDE: Talent adding sample data, with monitor visible in frame

    - SCREEN: To be provided by Authors: File(s) being selected

  - Click on the bead tube to open a side scatter-height versus forward scatter-height dot plot and click the T button to adjust both axes to view 0 to 100,000 events [1].

    - SCREEN: To be provided by Authors: Bead tube being clicked/dot plot being opened, then T button being clicked/axes being adjusted

  - Click Customize Axis, side scatter-height and forward scatter-height to change the scale value to a minimum of 0 and a maximum of 100,000 [1].

    - SCREEN: To be provided by Authors: Customize axis, SSC-H, or FSC-H being clicked/value being changed

  - Use the rectangle gate tool to set the gates for 0.1-, 0.3-, 0.5-, and 0.9-microns in the side scatter-height versus forward scatter-height and drag and drop the Gates function onto the All Samples option to apply the gates to all of the samples [1].

    - SCREEN: To be provided by Authors: Gate(s) being set, then Gate function being dragged onto All Samples option

  - Next, click the Autofluorescence tube and in the side scatter-height versus forward scatter-height dot plot with the size gates, click Single Gate Size [1].

    - SCREEN: To be provided by Authors: Tube being clicked, then Single Gate Size being clicked

  - In the new window, click the y-axis to select the histogram option. On the x-axis, select fluorescent channel 1-height and Range to create the positive region [1-TXT].

    - SCREEN: To be provided by Authors: y-axis being clicked/histogram being selected, then FL1-H and Range being selected/positive region being set TEXT: Repeat for FL2-H and FL4-H

  - Drag Gates onto All Samples to apply the gates to all of the samples and open the Layout Editor [1].

    - SCREEN: To be provided by Authors: Gates being dragged onto all samples, then layout editor being opened

  - Drag and drop each sample into the editor and select the size of the autofluorescence tube [1].

    - SCREEN: To be provided by Authors: Sample being dragged/dropped, then autofluorescence tube size being selected

  - Select the same size of the sample tubes and drag and drop the sample tubes into the editor [1].

    - SCREEN: To be provided by Authors: Size being selected, then dragged/dropped

  - When all of the samples have been added, click the histogram and open the Properties menu [1].

    - SCREEN: To be provided by Authors: Histogram being clicked, menu being opened

  - Then click Legend and add the mean intensity for the fluorochrome [1-TXT].

    - SCREEN: To be provided by Authors: Legend being clicked and MFI being added TEXT: Repeat for each fluorochrome and size

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 199. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative uEV Size Determination and Phenotypic Analysis

  - Here a 96-well plate [1] containing uEV fractions in wells 4E, 5E, and 6E [2] and blanks in wells 1A, 2A, and 3A can be observed [3].

    - LAB MEDIA: Supplementary Figure 2

    - LAB MEDIA: Supplementary Figure 2 Video Editor: please emphasize wells 4E, 5E, and 6E

    - LAB MEDIA: Supplementary Figure 2 Video Editor: please emphasize wells 1A, 2A, and 3A

  - If no purified uEV are present, the wells will exhibit a medium purple color [1].

    - LAB MEDIA: Supplementary Figure 2 Video Editor: please emphasize purple wells

  - UEV samples can be run on polyacrylamide gel [1] to quantify the amount of protein present within each collected fraction [2].

    - LAB MEDIA: Supplementary Figure 3

    - LAB MEDIA: Supplementary Figure 3 Video Editor: please emphasize dark bands in Urine cells, and -, with DTT, with beta mercaptoethanol lanes

  - As illustrated, the enrichment for proteins such as CD63 and CD9 can be used to validate the presence of uEVs within a specific fraction [1].

    - LAB MEDIA: Supplementary Figure 4 Video Editor: please emphasize lane 4 bands

  - Here an example of graphs obtained with the forward scatter beads and other commercial beads with different sizes can be observed [1].

    - LAB MEDIA: Figure 7

  - For this cytometer, the r-squared values are very close to 1.0, indicating the sensitivity of the cytometer to being able to differentiate between 0.1-, 0.3-, 0.5-, and 0.9-micron bead sizes [1-TXT].

    - LAB MEDIA: Figure 7 Video Editor: please add/emphasize r-squared equations TEXT: Do not use cytometer with r2 value < 0.7

  - As observed in this incorrect flow cytometric analysis [1], only the PBS tube [2]and one fluorochrome detector were used to set the negative and positive gates [3].

    - LAB MEDIA: Supplementary Figure 6

    - LAB MEDIA: Supplementary Figure 6 Video Editor: please emphasize SF6E

    - LAB MEDIA: Supplementary Figure 6 Video Editor: please emphasize SF6F

  - On the contrary, in this correct analysis, all of the negative controls based were considered [1].

    - LAB MEDIA: Supplementary Figure 7

  - After quantifying the number of uEVs/microliter [1], the Megamix bead data can be used to quantify the uEVs by size [2].

    - LAB MEDIA: Figures 8A and 8B Video Editor: please emphasize yellow highlighting in Figure 8B

    - LAB MEDIA: Figures 9A and 9B Video Editor: please emphasize gates in Figure 9B

  - The uEVs can then be further characterized based on their surface protein expression [1].

    - LAB MEDIA: Figure 11 Video Editor: please sequentially add/emphasize Figures 11B-11F

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.