Screenshot Summary:

61703_screenshot_1 
4.5.1. (Highlight wells, click on Show experiment and measurements information and click Reaction Start) 00:00 – 00:12 

61703_screenshot_2 
4.6.1 (Running of experiment and heat emission reads reaching zero) 00:00 – 00:03 
4.7.1 (Click Stop and then click Yes to save experiment) 00:03 – 00:06

61703_screenshot_3 
5.1.2 (Open software and select experiment) 00:00 – 00:05 
5.2.1 (Click Open for selected experiment) 00:05 – 00:10 
5.3.1 (Select All and click Define Baseline ) 00:10 – 00:16 
5.4.1 (Select time period and click to close window) 00:16 – 00:21 
5.5.1 (Click Use baseline correction and click Save and click to close window) 00:21 – 00:29 

61703_screenshot_4 
5.7.1 (Click Browse to upload the file of interest and select the experiment) 00:00 – 00:05 
5.8.1 (Click Open. The metabolic parameters will be automatically calculated for the 32 samples) 00:05 – 00:22 
5.9.1 (Click Growth Function) 00:22 – 00:28 
5.10.1 (Click Download Measures, select file location and click Save to export file) 00:28 – 00:38